## M.I Gen & lines-15-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-15
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | BTPS: U3 | 21:49 (14.02.2024) |  | O/O BOILER TUBE LEAKAGE
3 | BTPS: U2 | 00:03 (10.02.2024) |  | O/O TURBINE LUBEOIL HEADER PRESSURE DROPPING
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV EPIP-ITPL | 12:59 (30.01.2024) |  | O/O ON LINE CLEAR | 15DAYS
4 | 220kV Lingasugur-Sindanoor | 08:44 (15.02.2024) | 12:23 (15.02.2024) | O/O ON LINE CLEAR
5 | 220kV Sedam-Tandur | 10:11 (15.02.2024) | 15:56 (15.02.2024) | O/O ON LINE CLEAR
6 | 220kV Anchepalya-Nelamangala | 10:05 (15.02.2024) | 11:50 (15.02.2024) | O/O ON LINE CLEAR
7 | 400kV Kaiga-Guttur#2 | 10:53 (15.02.2024) | 19:14 (15.02.2024) | O/O ON LINE CLEAR
8 | 220kV Kemar-Varahi#2 | 10:54 (15.02.2024) | 15:25 (15.02.2024) | O/O ON LINE CLEAR
9 | 220kV Hubli-NRN#1 | 11:05 (15.02.2024) | 14:34 (15.02.2024) | O/O ON LINE CLEAR
10 | 220kV Bidadi-Kumbalgodu | 11:52 (15.02.2024) | 13:12 (15.02.2024) | TRIPPED
11 | 220kV Anchepalya-Nagamanagala#1&2 | 10:05 (15.02.2024) | 11:50 (15.02.2024) | O/O ON LINE CLEAR
12 | 220kV Anchepalya-Nagamanagala#1&2 | 11:52 (15.02.2024) | 13:12 (15.02.2024) | O/O ON LINE CLEAR
13 | 220kV Lingasugur-Kushtagi | 12:50 (15.02.2024) | 16:35 (15.02.2024) | O/O ON LINE CLEAR
14 | 220kV Kudachi-Athani | 13:28 (15.02.2024) | 14:15 (15.02.2024) | TRIPPED
15 | 220kV Lingapur-Halvarthy#2 | 13:30 (15.02.2024) | 14:24 (15.02.2024) | TRIPPED
16 | 220kV Kemar-Heggunje | 12:05 (15.02.2024) | 12:56 (15.02.2024) | O/O ON LINE CLEAR
17 | 220kV Lingasugur-B'bagewadi#1 | 17:02 (15.02.2024) | 19:03 (15.02.2024) | O/O ON LINE CLEAR
18 | 220kV Peenya-Sahakarnagar | 22:28 (15.02.2024) | 01:41 (16.02.2024) | O/O ON LINE CLEAR
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Chickmangalore-SMG | 09:05 (15.02.2024) | 18:06 (15.02.2024) | O/O ON P/R
2
3
40
41
42
43
44
45
46
47
48
49
50