## M.I Gen & lines-15-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-15
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U2 | 07:06 (14.03.2024) |  | O/O BOILER TUBE LEAKAGE
3 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV Y'hally-Hosur | 16:31 (24.02.2024) |  | TRIPPED
4 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
5 | 220kV Haveri-Shiggaon#2 | 23:28 (14.03.2024) | 14:08 (15.03.2024) | O/O ON LINE CLEAR
6 | 220Kv Gadag-Dhoni#1 | 15:31 (15.03.2024) | 18:51 (15.03.2024) | TRIPPED
7 | 220kV Kolar-T Gollahalli#1 | 09:21 (15.03.2024) |  | O/O ON LINE CLEAR
8 | 220kV Haveri-Shiggaon#1 | 11:34 (15.03.2024) | 14:07 (15.03.2024) | O/O ON LINE CLEAR
9 | 220kV Lingapur-Halvarthy | 11:38 (15.03.2024) | 16:11 (15.03.2024) | O/O ON LINE CLEAR
10 | 220kV Hoody-Begur | 11:52 (15.03.2024) | 12:33 (15.03.2024) | TRIPPED
11 | 220kV S'hally-Shobha dreams | 11:27 (15.03.2024) | 13:27 (15.03.2024) | TRIPPED
12 | 220kV Guttur-Neelgunda | 14:01 (15.03.2024) | 14:55 (15.03.2024) | TRIPPED
13 | 220kV Lingapur-JSWEL | 14:02 (15.03.2024) | 19:30 (15.03.2024) | TRIPPED
14 | 220Kv Gadag-Dhoni#1 | 15:31 (15.03.2024) | 18:51 (15.03.2024) | TRIPPED
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50