## M.I Gen & lines-15-04-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-04-15
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U7 | 21:33 (14.04.2024) |  | O/O BOILER TUBE LEAKAGE
3 | BTPS: U1 | 13:52 (15.04.2024) |  | O/O BOILER PROTECTION RELAY OPERATED
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
3 | 220kV Ambewadi-Xeldom | 07:49 (15.04.2024) | 12:07 (15.04.2024) | TRIPPED
4 | 220kV Gangavathy-Sindanoor | 09:37 (15.04.2024) | 11:10 (15.04.2024) | O/O ON LINE CLEAR
5 | 220kV SGS-TALGUPPA#2 | 10:41 (15.04.2024) | 12:01 (15.04.2024) | O/O ON LINE CLEAR
6 | 400kV UPCL-Hebbanahalli#2 | 13:01 (15.04.2024) | 19:51 (15.04.2024) | TRIPPED
7 | 400kV Nelamangala-Devnahalli H W Park | 13:28 (15.04.2024) | 17:46 (15.04.2024) | TRIPPED
8 | 220kV Hubli-Sirsi#2 | 13:30 (15.04.2024) | 18:09 (15.04.2024) | TRIPPED
9 | 220kV Shimoga-Chickmangalore | 13:58 (15.04.2024) | 15:58 (15.04.2024) | TRIPPED
10 | 220kV Madhugiri-Hiriyur | 13:52 (15.04.2024) | 15:42 (15.04.2024) | TRIPPED
11 | 220kV Davangere-Honnali#1 | 13:54 (15.04.2024) | 14:13 (15.04.2024) | TRIPPED
12 | 220kV Humnabad-Kapnoor | 17:50 (15.04.2024) | 22:18 (15.04.2024) | O/O ON LINE CLEAR
13 | 220kV NLM-Nittur | 17:51 (15.04.2024) | 19:16 (15.04.2024) | TRIPPED
14 | 220kV Shahpur-Lingasugur | 17:52 (15.04.2024) | 21:10 (15.04.2024) | TRIPPED
15 | 220kV Kalburgi-Nimbarga#1&2 | 17:42 (11.04.2024) | 17:36 (11.04.2024) | TRIPPED
16 | 220kV Kalburgi-Nimbarga#1&2 | 17:48 (11.04.2024) | 17:36 (11.04.2024) | TRIPPED
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV SMG-K B Cross | 13:38 (15.04.2024) | 20:57 (15.04.2024) | O/O ON P/R
2
3
40
41
42
43
44
45
46
47
48
49
50