## M.I Gen & lines-16-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-16
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | BTPS: U3 | 21:49 (14.02.2024) |  | O/O BOILER TUBE LEAKAGE
3 | BTPS: U2 | 00:03 (10.02.2024) |  | O/O TURBINE LUBEOIL HEADER PRESSURE DROPPING
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV EPIP-ITPL | 12:59 (30.01.2024) |  | O/O ON LINE CLEAR | 15DAYS
4 | 220kV Somanahalli/NRS | 00:01 (16.02.2024) | 00:28 (16.02.2024) | TRIPPED
5 | 220kV Somanahalli/NRS | 00:01 (16.02.2024) | 00:30 (16.02.2024) | TRIPPED
6 | 220kV RTPS-Lingasugur#1 | 07:16 (16.02.2024) | 11:10 (16.02.2024) | O/O ON LINE CLEAR
7 | 400kV ICT-2 @ DHP | 10:27 (16.02.2024) | 17:30 (16.02.2024) | O/O ON LINE CLEAR
8 | 220kV RTPS-Lingasugur#@ | 11:27 (16.02.2024) | 14:39 (16.02.2024) | O/O ON LINE CLEAR
9 | 220kV Hubli-NRN#1 | 11:41 (16.02.2024) | 19:41 (16.02.2024) | O/O ON LINE CLEAR
10 | 220kV SMG-Honnali#2 | 12:23 (16.02.2024) | 14:35 (16.02.2024) | TRIPPED
11 | 400kV RTPS-BTPS | 12:40 (16.02.2024) | 22:01 (16.02.2024) | TRIPPED
12 | 220kV Ambewdai-Ponda#2 | 15:14 (16.02.2024) | 17:02 (16.02.2024) | TRIPPED
13 | 220kV Lingasugur-Mallat | 16:20 (16.02.2024) | 19:10 (16.02.2024) | O/O ON LINE CLEAR
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Chickmangalore-SMG | 09:05 (16.02.2024) | 18:06 (16.02.2024) | O/O ON P/R
2 | 220kV Kadkola-Kaniyambetta | 20:48 (16.02.2024) | 07:38 (17.02.2024) | O/O ON P/R
3
40
41
42
43
44
45
46
47
48
49
50