## M.I Gen & lines-16-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-16
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U2 | 07:06 (14.03.2024) |  | O/O BOILER TUBE LEAKAGE
3 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
4 | YTPS: U1 | 02:34 (16.03.2024) | 05:11 (16.03.2024) | O/O MAX EVAPURATION TEMPERATURE
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV Y'hally-Hosur | 16:31 (24.02.2024) |  | TRIPPED
4 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
5 | 220kV Kolar-T Gollahalli#1 | 09:21 (15.03.2024) | 15:44 (16.03.2024) | O/O ON LINE CLEAR
6 | 220kV Narendra-Ambewadi#1&2 | 07:30 (16.03.2024) |  | O/O ON LINE CLEAR
7 | 220kV Kemar-Bajpe#2 | 10:13 (16.03.2024) | 13:44 (16.03.2024) | O/O ON LINE CLEAR
8 | 220kV EPIP-Hoody | 10:10 (16.03.2024) | 14:20 (16.03.2024) | O/O ON LINE CLEAR
9 | 220kV SMG-Honnali#1 | 10:17 (16.03.2024) | 13:48 (16.03.2024) | O/O ON LINE CLEAR
10 | 220kV SMG-A'Hally | 11:06 (16.03.2024) | 16:40 (16.03.2024) | TRIPPED
11 | 220kV Guttur-Chitradurga | 13:01 (16.03.2024) | 13:50 (16.03.2024) | TRIPPED
12 | 220kV SGS-Talaguppa#1 | 13:59 (16.03.2024) | 17:42 (16.03.2024) | TRIPPED
13 | 220kV Guttur-Davanagere#1 | 15:39 (16.03.2024) | 16:10 (16.03.2024) | TRIPPED
14 | 220kV Guttur-Davanagere#2 | 15:39 (16.03.2024) | 16:19 (16.03.2024) | TRIPPED
15 | 220kV Guttur-Davanagere#3 | 15:39 (16.03.2024) | 16:14 (16.03.2024) | TRIPPED
16 | 220kV Lingapur-JSW#2 | 16:26 (16.03.2024) | 18:44 (16.03.2024) | O/O ON LINE CLEAR
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Kadakola-Kannninpaet | 07:32 (16.03.2024) | 20:52 (16.03.2024) | O/O ON P/R
2 | 220kV K'hally-SMG | 11:07 (16.03.2024) | 16:54 (16.03.2024) | O/O ON P/R
3
40
41
42
43
44
45
46
47
48
49
50