## M.I Gen & lines-17-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-17
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 02:22 (17.01.2024) | 02:15 (18.01.2024) | O/O FEED WATER SYSTEM PROTECTION
2 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
3 | RTPS: U4 | 02:17 (17.01.2024) |  | O/O BOILER TUBE LEAKAGE
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON L/C | 72DAYS
2 | 220kV Sharavathy-Shimoga#3 | 20:20 (14.01.2024) |  | TRIPPED
3 | 220kV Kolar-Chintamani#1&2 | 09:28 (17.01.2024) | 17:02 (17.01.2024) | O/O ON L/C
4 | 220kV Kolar-Chintamani#1&2 | 09:28 (17.01.2024) | 17:03 (17.01.2024) | O/O ON L/C
5 | 220kV Chickmangaluru-SMG#1 | 11:00 (17.01.2024) | 18:18 (17.01.2024) | O/O ON L/C
6 | 220kV Heggunje-Varahi | 11:51 (17.01.2024) | 13:57 (17.01.2024) | O/O ON L/C
7 | 400kV BPS-Jagalur#2 | 13:16 (17.01.2024) | 18:01 (17.01.2024) | O/O ON L/C
8 | 220kV Ghtaprabha-Mugalkhod#1 | 15:27 (17.01.2024) | 17:53 (17.01.2024) | O/O ON L/C
9 | 220kV Ghtaprabha-NRN#1 | 00:04 (17.01.2024) | 12:33 (17.01.2024) | 'Tripped
10 | 220kV Anchepalya-NLM#1 | 16:29 (17.01.2024) | 17:57 (17.01.2024) | O/O ON L/C
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
40
41
42
43
44
45
46
47
48
49
50