## M.I Gen & lines-17-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-17
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | BTPS: U3 | 21:49 (14.02.2024) |  | O/O BOILER TUBE LEAKAGE
3 | BTPS: U2 | 00:03 (10.02.2024) |  | O/O TURBINE LUBEOIL HEADER PRESSURE DROPPING
4 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV EPIP-ITPL | 12:59 (30.01.2024) |  | O/O ON LINE CLEAR | 15DAYS
4 | 220kV Hoody-Malur | 06:20 (17.02.2024) | 07:02 (17.02.2024) | TRIPPED
5 | 220kV Lingasugur-Shahpur | 09:59 (17.02.2024) | 12:50 (17.02.2024) | O/O ON LINE CLEAR
6 | 220kV Kolar-Chintamani#2 | 09:56 (17.02.2024) | 13:32 (17.02.2024) | O/O ON LINE CLEAR
7 | 220kV Kolar-Chintamani# 1 | 14:27 (17.02.2024) |  | O/O ON LINE CLEAR
8 | 220kV Narendra-Hubli#1 | 10:19 (17.02.2024) | 20:32 (17.02.2024) | O/O ON LINE CLEAR
9 | 220kV Kudgi-G M Navar#3,5,6 | 10:06 (17.02.2024) | 16:00 (17.02.2024) | O/O ON LINE CLEAR
10 | 220kV Narendra-Ghataprabha#1&2 | 11:00 (17.02.2024) |  | O/O ON LINE CLEAR
11 | 220kV Shahpur-RTPS#1 | 13:00 (17.02.2024) | 19:00 (17.02.2024) | O/O ON LINE CLEAR
12 | 400kV RTPS-Munirabad | 14:07 (17.02.2024) | 15:39 (17.02.2024) | O/O ON LINE CLEAR
13 | 400kV Nelamangala-Yelhanka | 14:23 (17.02.2024) | 01:03 (18.02.2024) | TRIPPED
14 | 400kV Talguppa-Hassan | 15:03 (17.02.2024) | 16:16 (18.02.2024) | TRIPPED
15 | 400kV Nelamangala-Hassan | 15:21 (17.02.2024) | 16:32 (18.02.2024) | TRIPPED
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Chickmangalore-SMG | 08:10 (17.02.2024) |  | O/O ON P/R
2
3
40
41
42
43
44
45
46
47
48
49
50