## M.I Gen & lines-18-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-18
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
4 | 220kV Narendra-Ambewadi#1&2 | 07:30 (16.03.2024) |  | O/O ON LINE CLEAR
5 | 220kV Shally-Harohalli | 10:59 (18.03.2024) | 11:19 (18.03.2024) | TRIPPED
6 | 220kV Bidnal-Hubli#1 | 12:39 (18.03.2024) | 18:14 (18.03.2024) | TRIPPED
7 | 220kV Ambewadi-Ponda#2 | 13:01 (18.03.2024) | 17:52 (18.03.2024) | TRIPPED
8 | 220kV Narendra-Bidnal | 13:23 (18.03.2024) | 18:21 (18.03.2024) | O/O ON LINE CLEAR
9 | 220kV Narendra-Shiggaon | 13:21 (18.03.2024) | 18:22 (18.03.2024) | O/O ON LINE CLEAR
10 | 220kV Shiralkoppa-Ranebennur | 13:39 (18.03.2024) | 14:42 (18.03.2024) | TRIPPED
11 | 220kV Kemar-Bajpe#2 | 14:40 (18.03.2024) | 14:54 (18.03.2024) | O/O ON LINE CLEAR
12 | 220kV Bidnal-Nagjhari | 14:57 (18.03.2024) | 15:38 (18.03.2024) | TRIPPED
13 | 220kV Guttur-Davanagere#3 | 17:10 (18.03.2024) | 17:22 (18.03.2024) | TRIPPED
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Kadkola-K'pet | 19:01 (18.03.2024) | 07:10 (19.03.2024) | O/O ON P/R
2
3
40
41
42
43
44
45
46
47
48
49
50