## M.I Gen & lines-19-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-19
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U4 | 02:17 (17.01.2024) | 03:01 (19.01.2024) | O/O BOILER TUBE LEAKAGE
3 | UPCL: U1 | 11:53 (19.01.2024) | 00:16 (20.01.2024) | O/O BOILER LICENSE RENEWAL WORK
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 220KV Kanakapura KIADB-Somanahalli | 11:42 (19.01.2024) | 11:08 (19.01.2024) | O/O ON LINE CLEAR
3 | 220KV Chikkmagalur-Hassan | 01:04 (19.01.2024) | 01:37 (19.01.2024) | TRIPPED
4 | 220KV Humnabad-Kapnur (Gulbarga)-2 | 11:13 (19.01.2024) | 15:28 (19.01.2024) | O/O ON LINE CLEAR
5 | 400KV Nelamangla-Talaguppa | 13:10 (19.01.2024) | 15:06 (19.01.2024) | TRIPPED
6 | 220KV Kadur-Shimogga | 14:23 (19.01.2024) | 16:09 (19.01.2024) | TRIPPED
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220KV Shimogga-Chikkmagalur-(M2) | 09:01 (19.01.2024) | 18:03 (19.01.2024) | O/O ON POWER REGULATION
2
40
41
42
43
44
45
46
47
48
49
50