## M.I Gen & lines-19-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-18
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U2 | 00:03 (10.02.2024) |  | O/O TURBINE LUBEOIL HEADER PRESSURE DROPPING
2 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
3 | RTPS: U2 | 00:46 (19.02.2024) | 17:06 (19.02.2024) | O/O TRIPPED DUE TO HRH BONNET LEAKAGE
4 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV EPIP-ITPL | 12:59 (30.01.2024) |  | O/O ON LINE CLEAR | 15DAYS
4 | 220kV Narendra-Ghataprabha#1&2 | 11:00 (17.02.2024) | 22:38 (19.02.2024) | O/O ON LINE CLEAR
5 | 220kV Narendra-Ghataprabha#1&2 | 11:00 (17.02.2024) | 22:31 (19.02.2024) | O/O ON LINE CLEAR
6 | 220kV Kavoor-Mangalore#2 | 10:00 (19.02.2024) | 13:45 (19.02.2024) | O/O ON LINE CLEAR
7 | 220kV Hubli-NPH#2 | 11:10 (19.02.2024) | 17:11 (19.02.2024) | O/O ON LINE CLEAR
8 | 220kV RTPS-Shahpur#2 | 11:24 (19.02.2024) | 18:22 (19.02.2024) | O/O ON LINE CLEAR
9 | 400kV Guttur-Hiriyur#2 | 13:49 (19.02.2024) | 17:25 (19.02.2024) | TRIPPED
10 | 400kV Guttur-Dhoni | 14:03 (19.02.2024) | 16:58 (19.02.2024) | TRIPPED
11 | 220kV Ambewadi-Narendra#1 | 15:22 (19.02.2024) | 15:38 (19.02.2024) | O/O ON LINE CLEAR
12 | 220kV Hubli-NPH#1 | 15:13 (19.02.2024) | 15:55 (19.02.2024) | TRIPPED
13 | 220kV Kolar-T Gollahalli#1 | 21:55 (19.02.2024) | 02:30 (20.02.2024) | TRIPPED
14 | 220kV G B Nur-KIADB | 18:02 (19.02.2024) | 20:57 (20.02.2024) | TRIPPED
15 | 220kV Hubli-Narendra#1 | 10:21 (19.02.2024) | 22:07 (20.02.2024) | O/O ON LINE CLEAR
16 | 220kV Kadkola-K'betta | 09:01 (19.02.2024) | 17:10 (20.02.2024) | O/O ON LINE CLEAR
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Chickmangalore-SMG | 08:10 (17.02.2024) |  | O/O ON P/R
2 | 220kV Kadkola-K'betta | 21:21 (19.02.2024) |  | O/O ON P/R
3
40
41
42
43
44
45
46
47
48
49
50