## M.I Gen & lines-19-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-19
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
4 | 220kV Narendra-Ambewadi#1&2 | 07:30 (16.03.2024) | 18:01 (19.03.2024) | O/O ON LINE CLEAR
5 | 400kV Devanahalli H W Park-Pavagada#2 | 04:13 (19.03.2024) | 05:03 (19.03.2024) | TRIPPED
6 | 220kV Gadag-Bagalkote#1&2 | 10:37 (19.03.2024) | 11:38 (19.03.2024) | TRIPPED
7 | 220kV Nelamangala-D B Pura#2 | 10:49 (19.03.2024) | 13:07 (19.03.2024) | TRIPPED
8 | 400kV BPS-Pavagada#1 | 10:52 (19.03.2024) | 17:02 (19.03.2024) | O/O ON LINE CLEAR
9 | 220kV ADPH-Bagalkote#1 | 10:37 (19.03.2024) | 11:27 (19.03.2024) | TRIPPED
10 | 220kV ADPH-Bagalkote#2 | 10:37 (19.03.2024) | 11:29 (19.03.2024) | TRIPPED
11 | 220kV Bagalkote-Vajramatti#1 | 10:37 (19.03.2024) | 19:24 (19.03.2024) | TRIPPED
12 | 220kV Bagalkote-Vajramatti#2 | 10:37 (19.03.2024) |  | TRIPPED
13 | 220kV Bagalkote-Vajramatti Tfr 1 | 10:37 (19.03.2024) | 11:20 (19.03.2024) | TRIPPED
14 | 220kV Bagalkote-Vajramatti Tfr 2 | 10:37 (19.03.2024) | 11:54 (19.03.2024) | TRIPPED
15 | 220kV Kudgi-Vajramatti#1 | 10:37 (19.03.2024) | 12:15 (19.03.2024) | TRIPPED
16 | 220kV Vajramtti-M L Pura#1 | 10:37 (19.03.2024) | 12:18 (19.03.2024) | TRIPPED
17 | 220kV Humnabad-Sedam | 13:39 (19.03.2024) | 16:20 (19.03.2024) | TRIPPED
18 | 220kV SMG-Chickmangalore#1 | 14:42 (19.03.2024) | 18:49 (19.03.2024) | O/O ON LINE CLEAR
19 | 220kV Guttur-Neelgunda | 15:14 (19.03.2024) | 16:08 (19.03.2024) | TRIPPED
20 | 220kV Varahi-SMG#3 | 15:44 (19.03.2024) | 17:30 (19.03.2024) | TRIPPED
21 | 220kV Bidnal-Nagjhari | 15:01 (19.03.2024) | 17:17 (19.03.2024) | O/O ON LINE CLEAR
22 | 220kV RTPS-Lingasugur | 17:58 (19.03.2024) | 18:25 (19.03.2024) | TRIPPED
23 | 220kV Itagi-Neelgunda | 18:46 (19.03.2024) | 20:16 (19.03.2024) | TRIPPED
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Kadkola-K'pet | 20:42 (19.03.2024) | 07:21 (20.03.2024) | O/O ON P/R
2
3
40
41
42
43
44
45
46
47
48
49
50