## M.I Gen & lines-19-04-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-04-19
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U5 | 18:43 (18.04.2024) | 00:33 (20.04.2024) | O/O FOR ARRESTING OF H2 LEAKAGE
3 | BTPS: U1 | 13:52 (15.04.2024) |  | O/O BOILER PROTECTION RELAY OPERATED
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
3 | 220kV SGS-TGP#2 | 10:34 (19.04.2024) | 14:02 (19.04.2024) | O/O ON LINE CLEAR
4 | 220kV NPH-Bidnal | 12:01 (19.04.2024) | 16:41 (19.04.2024) | O/O ON LINE CLEAR
5 | 220kV Peenya-S B Pura | 12:34 (19.04.2024) | 13:47 (19.04.2024) | O/O ON LINE CLEAR
6 | 220kV Honnalli-SMG#2 | 12:20 (19.04.2024) | 12:48 (19.04.2024) | TRIPPED
7 | 220kV SGS-Sirsi#1 | 14:00 (19.04.2024) | 19:40 (19.04.2024) | TRIPPED
8 | 220kV SMG-Arasikere | 15:31 (19.04.2024) | 20:54 (19.04.2024) | TRIPPED
9 | 220kV Nelamangala-A'hally | 16:20 (19.04.2024) | 17:12 (19.04.2024) | TRIPPED
10 | 220kV B'bagewadi-Atria#1 | 16:14 (19.04.2024) |  | TRIPPED
11 | 400kV Guttur ICT-1 | 20:14 (19.04.2024) | 23:52 (19.04.2024) | TRIPPED
12 | 220kV Benkikere-Hosadurga | 16:37 (19.04.2024) | 17:12 (19.04.2024) | TRIPPED
13 | 220kV SMG-Varahi#1 | 17:07 (19.04.2024) |  | TRIPPED
14 | 220kV Guttur-Davanagere#3 | 11:14 (19.04.2024) | 18:29 (19.04.2024) | TRIPPED
15 | 220kV Guttur-Davanagere#2 | 18:14 (19.04.2024) |  | TRIPPED
16 | 220kV Guttur-Guttur SAS#1 | 18:14 (19.04.2024) | 19:07 (19.04.2024) | TRIPPED
17 | 220kV Guttur-Guttur SAS#2 | 18:14 (19.04.2024) | 19:08 (19.04.2024) | TRIPPED
18 | 220kV Ranebennur-S'koppa | 18:38 (19.04.2024) | 20:48 (19.04.2024) | TRIPPED
19 | 220kV Haveri-Shiggaon#1 | 20:29 (19.04.2024) | 21:58 (19.04.2024) | TRIPPED
20 | 220kV Tubinkere-Gopalpura | 19:00 (19.04.2024) | 21:27 (19.04.2024) | TRIPPED
21 | 220kV SGS-Shiralkoppa | 19:27 (19.04.2024) |  | TRIPPED
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50