## M.I Gen & lines-20-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-20
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | UPCL: U1 | 11:53 (19.01.2024) | 00:16 (20.01.2024) | O/O BOILER LICENSE RENEWAL WORK
3 | BTPS: U3 | 12:03 (20.01.2024) |  | O/O BOILER TUBE LEAKAGE
4 | YTPS: U1 | 16:02 (20.01.2024) |  | O/O BOILER TUBE LEAKAGE
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 220kV Ambewadi-Ponda #1 &2 line | 08:43 (20.01.2024) |  | O/O ON LINE CLEAR
3 | 400kV, 500MVA, ICT#3 , Hoody | 09:54 (20.01.2024) | 16:07 (20.01.2024) | O/O ON LINE CLEAR
4 | 220kV Kuduchi-Mahalingapura line | 12:27 (20.01.2024) | 17:12 (20.01.2024) | O/O ON LINE CLEAR
5 | 220kV Shobha-Somanahally line | 14:31 (20.01.2024) | 15:02 (20.01.2024) | TRIPPED
6 | 220kV Shobha-Hoody line | 14:31 (20.01.2024) | 20:00 (20.01.2024) | TRIPPED
7 | 220kV Lingasur-Sindhanur line | 15:18 (20.01.2024) | 16:24 (20.01.2024) | O/O ON LINE CLEAR
8 | 220kV Humnabad-Gulbarga#1 line | 15:23 (20.01.2024) | 18:56 (20.01.2024) | O/O ON LINE CLEAR
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220KV Shimogga-Chikkmagalur-(M2) | 09:42 (20.01.2024) | 17:07 (20.01.2024) | O/O ON POWER REGULATION
2
40
41
42
43
44
45
46
47
48
49
50