## M.I Gen & lines-20-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-20
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
4 | 220kV Bagalkote-Vajramatti#2 | 10:37 (19.03.2024) |  | O/O ON LINE CLEAR
5 | 220kV Kadkola-Bastipura#2 | 05:22 (20.03.2024) | 06:04 (20.03.2024) | TRIPPED
6 | 220kV Kadkola-Hootagally | 05:40 (20.03.2024) | 06:14 (20.03.2024) | TRIPPED
7 | 220kV Guttur-Davanagere#1 | 10:30 (20.03.2024) | 17:18 (20.03.2024) | TRIPPED
8 | 220kV Guttur-Davanagere#2 | 10:30 (20.03.2024) | 10:41 (20.03.2024) | TRIPPED
9 | 220kV Guttur-Davanagere#3 | 10:30 (20.03.2024) | 10:42 (20.03.2024) | TRIPPED
10 | 220kV Peenya-Subramanyapura | 11:03 (20.03.2024) | 14:03 (20.03.2024) | O/O ON LINE CLEAR
11 | 220kV Sindanoor-Gangavathi | 11:05 (20.03.2024) | 12:35 (20.03.2024) | O/O ON LINE CLEAR
12 | 220kV Ambewadi-Narendra | 11:09 (20.03.2024) | 13:07 (20.03.2024) | O/O ON LINE CLEAR
13 | 220kV SMG-Varahi#3 | 11:38 (20.03.2024) | 13:26 (20.03.2024) | O/O ON LINE CLEAR
14 | 220kV Haveri-Shiggaon#1 | 11:01 (20.03.2024) | 12:42 (20.03.2024) | O/O ON LINE CLEAR
15 | 220kV Doni-Halvarthy#1 | 11:30 (20.03.2024) | 16:58 (20.03.2024) | O/O ON LINE CLEAR
16 | 220kV Kemar-Puttur#1 | 12:10 (20.03.2024) | 14:19 (20.03.2024) | O/O ON LINE CLEAR
17 | 220kV Hoody-HBR | 14:41 (20.03.2024) | 16:41 (20.03.2024) | TRIPPED
18 | 220kV Guttur-Ranebennur | 16:06 (20.03.2024) | 17:16 (20.03.2024) | TRIPPED
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50