## M.I Gen & lines-21-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-21
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | BTPS: U3 | 12:03 (20.01.2024) |  | O/O BOILER TUBE LEAKAGE
3 | YTPS: U1 | 16:02 (20.01.2024) |  | O/O BOILER TUBE LEAKAGE
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 220kV Ambewadi-Ponda #1 &2 line | 08:43 (20.01.2024) |  | O/O ON LINE CLEAR
3 | 220kV DVG-Guttur#2&1 | 09:05 (21.01.2024) | 17:51 (21.01.2024) | TRIPPED
4 | 220kV DVG-Guttur#2&1 | 09:05 (21.01.2024) | 10:14 (21.01.2024) | TRIPPED
5 | 400kV Guttur-BTPS | 09:55 (21.01.2024) | 18:35 (21.01.2024) | O/O ON LINE CLEAR
6 | 220kV NRN-Kanbargi#2 | 10:46 (21.01.2024) | 20:59 (21.01.2024) | O/O ON LINE CLEAR
7 | 220kV DVG-Honnalli#1&2 | 09:06 (21.01.2024) | 10:29 (21.01.2024) | TRIPPED
8 | 220kV Dhoni-Halvarthy#1&2 | 09:38 (21.01.2024) | 17:14 (21.01.2024) | O/O ON LINE CLEAR
9 | 220kV DVG-Guttur#1&3 | 13:26 (21.01.2024) | 14:38 (21.01.2024) | TRIPPED
10 | 220kV DVG-Guttur#1&3 | 13:26 (21.01.2024) | 14:26 (21.01.2024) | TRIPPED
11 | 220kV Shobha dreams-hoody | 14:13 (21.01.2024) | 18:14 (21.01.2024) | TRIPPED
12 | 220kV Shobha dreams-Somanahalli | 14:13 (21.01.2024) | 14:47 (21.01.2024) | TRIPPED
13 | 220kV HSR-Mylsandra#1 | 16:16 (21.01.2024) | 17:51 (21.01.2024) | O/O ON LINE CLEAR
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220KV Shimogga-Chikkmagalur-(M2) | 09:06 (21.01.2024) | 18:04 (21.01.2024) | O/O ON POWER REGULATION
2
40
41
42
43
44
45
46
47
48
49
50