## M.I Gen & lines-21-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-21
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U2 | 00:03 (10.02.2024) |  | O/O TURBINE LUBEOIL HEADER PRESSURE DROPPING
2 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
3 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV EPIP-ITPL | 12:59 (30.01.2024) |  | O/O ON LINE CLEAR | 15DAYS
4 | 220kV Ghataprabha-Mugalkhod#1 | 12:22 (21.02.2024) | 17:05 (21.02.2024) | O/O ON LINE CLEAR
5 | 220kV Hubli-NRN#1 | 10:35 (21.02.2024) | 18:59 (21.02.2024) | O/O ON LINE CLEAR
6 | 220kV Guttur-Hiriyur#2 | 10:41 (21.02.2024) | 17:34 (21.02.2024) | O/O ON LINE CLEAR
7 | 400kV BPS-Jagalur#2 | 11:59 (21.02.2024) | 16:30 (21.02.2024) | O/O ON LINE CLEAR
8 | 220kV Hoody-HAL#2 | 12:49 (21.02.2024) | 12:50 (21.02.2024) | TRIPPED
9 | 220kV EDC-HAL | 12:49 (21.02.2024) | 12:55 (21.02.2024) | TRIPPED
10 | 220kV Doddabalpura | 13:21 (21.02.2024) | 13:49 (21.02.2024) | BUS DEAD
11 | 220kV A'station-EDC | 12:50 (21.02.2024) | 13:13 (21.02.2024) | TRIPPED
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Chickmangalore-SMG | 08:34 (21.02.2024) | 18:03 (21.02.2024) | O/O ON P/R
2 | 220kV Kadkola-K'betta | 07:18 (21.02.2024) | 20:44 (21.02.2024) | O/O ON P/R
3
40
41
42
43
44
45
46
47
48
49
50