## M.I Gen & lines-21-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-21
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
4 | 220kV Bagalkote-Vajramatti#2 | 10:37 (19.03.2024) |  | O/O ON LINE CLEAR
5 | 220kV Jagalur-Thalak | 10:22 (21.03.2024) | 17:12 (21.03.2024) | O/O ON LINE CLEAR
6 | 400kV Raichur-Raichur#2 | 10:55 (21.03.2024) | 14:09 (21.03.2024) | O/O ON LINE CLEAR
7 | 220kV Dhoni-Halvarthy#2 | 12:10 (21.03.2024) | 16:57 (21.03.2024) | O/O ON LINE CLEAR
8 | 400kV Jindal-BPS#2 | 13:05 (21.03.2024) | 23:32 (21.03.2024) | O/O ON LINE CLEAR
9 | 220kV Bidnal-Haveri#2 | 14:45 (21.03.2024) | 16:40 (21.03.2024) | O/O ON LINE CLEAR
10 | 400kV Nelamangala-Hassan | 15:11 (21.03.2024) | 15:31 (21.03.2024) | O/O ON LINE CLEAR
11 | 220kv Bidnal- Hathi- 2 | 15:30 (21.03.2024) | 18:28 (21.03.2024) | O/O ON LINE CLEAR
12 | 220kv Narendra- Kalburgi- 1 | 16:39 (21.03.2024) | 17:31 (21.03.2024) | TRIPPED
13 | 220kv Narendra- Kalburgi- 2 | 16:39 (21.03.2024) | 19:00 (21.03.2024) | TRIPPED
14 | 220kv Madhugiri- VN pura -1 | 21:33 (21.03.2024) | 22:39 (21.03.2024) | TRIPPED
15 | 220kv Madhugiri- VN pura KIADB | 22:33 (21.03.2024) | 23:45 (21.03.2024) | O/O ON LINE CLEAR
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kv Kadakola- K'betta | 20:44 (21.03.2024) | 07:54 (22.03.2024) | O/O ON P/R
2
3
40
41
42
43
44
45
46
47
48
49
50