## M.I Gen & lines-22-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-22
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U2 | 00:03 (10.02.2024) |  | O/O TURBINE LUBEOIL HEADER PRESSURE DROPPING
2 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
3 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
4 | RTPS: U4 | 17:00 (22.02.2024) |  | O/O BOILER TUBE LEAKAGE
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV EPIP-ITPL | 12:59 (30.01.2024) |  | O/O ON LINE CLEAR | 15DAYS
4 | 220kV SGS-SMG#3 | 00:29 (22.02.2024) | 12:44 (22.02.2024) | TRIPPED
5 | 220kV G M Navar-Kudgi#6 | 08:35 (22.02.2024) |  | O/O ON LINE CLEAR
6 | 220kV Guttur-Kaiga#1 | 10:07 (22.02.2024) | 19:41 (22.02.2024) | O/O ON LINE CLEAR
7 | 220kV Ghataprapha-Mugalkod#2 | 12:40 (22.02.2024) | 16:02 (22.02.2024) | O/O ON LINE CLEAR
8 | 220kV Hubli-Narendra#1 | 10:45 (22.02.2024) | 20:25 (22.02.2024) | O/O ON LINE CLEAR
9 | 220kV Shimoga-Shantigrama | 14:03 (22.02.2024) | 14:53 (22.02.2024) | TRIPPED
10 | 220kV Shimoga-A'hally | 14:13 (22.02.2024) | 14:26 (22.02.2024) | TRIPPED
11 | 220kV Talguppa-S'grama | 14:18 (22.02.2024) | 14:56 (22.02.2024) | TRIPPED
12 | ICT-1 @ Talguppa | 14:18 (22.02.2024) | 14:53 (22.02.2024) | TRIPPED
13 | ICT-3 @ Talguppa | 14:18 (22.02.2024) | 14:49 (22.02.2024) | TRIPPED
14 | 220kV SGS-Sirsi#1&2 | 14:17 (22.02.2024) | 16:11 (22.02.2024) | TRIPPED
15 | 220kV SGS-S'koppa | 14:17 (22.02.2024) | 15:20 (22.02.2024) | TRIPPED
16 | 220kV Guttur-chitradurga/Davanagere | 15:18 (22.02.2024) | 22:48 (22.02.2024) | TRIPPED
17 | 220kV Y'hally-Hosur | 15:09 (22.02.2024) | 18:23 (22.02.2024) | O/O ON LINE CLEAR
18 | 220kV SGS-S'koppa | 18:19 (22.02.2024) | 19:36 (22.02.2024) | O/O ON LINE CLEAR
19 | 220kV Hassan-Shimoga | 18:28 (22.02.2024) | 23:48 (22.02.2024) | O/O ON LINE CLEAR
20 | 220kV RTPS-Lingasugur#2 | 18:34 (22.02.2024) |  | TRIPPED
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50