## M.I Gen & lines-22-04-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-04-22
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
3 | 220kV Nittur-Nelamangala | 19:02 (21.04.2024) | 08:52 (22.04.2024) | TRIPPED
4 | 220kV Malur-Somanahalli#1 | 10:35 (22.04.2024) | 12:16 (22.04.2024) | O/O ON LINE CLEAR
5 | 220kV Malur-Somanahalli#1 | 13:12 (22.04.2024) | 14:12 (22.04.2024) | O/O ON LINE CLEAR
6 | 220kV Chikkodi-Mugalkhod#2 | 10:45 (22.04.2024) | 12:32 (22.04.2024) | O/O ON LINE CLEAR
7 | 220kV Kolar-Malur#1 | 11:07 (22.04.2024) | 13:57 (22.04.2024) | TRIPPED
8 | 220kV Nelamangala-D B Pura#2 | 12:10 (22.04.2024) | 14:18 (22.04.2024) | O/O ON LINE CLEAR
9 | 220kV Nelamangala-D B Pura#1 | 12:11 (22.04.2024) | 14:17 (22.04.2024) | O/O ON LINE CLEAR
10 | 220kV Kudachi-M L Pura | 12:34 (22.04.2024) | 13:44 (22.04.2024) | O/O ON LINE CLEAR
11 | 220kV Karwar-Kadra#1 | 12:58 (22.04.2024) | 18:05 (22.04.2024) | O/O ON LINE CLEAR
12 | 220kV SMG-Hassan#2 | 13:14 (22.04.2024) | 13:55 (22.04.2024) | TRIPPED
13 | 220kV Hubli-Sirsi#1&2 | 13:22 (22.04.2024) | 16:21 (22.04.2024) | O/O ON LINE CLEAR
14 | 220kV G M Navar Station | 15:53 (22.04.2024) | 16:50 (22.04.2024) | BUS DEAD
15 | 220kV Narayanpura | 15:45 (22.04.2024) | 16:30 (22.04.2024) | BUS DEAD
16 | 220kV Kalburgi-Nimbarga#1 | 16:20 (22.04.2024) | 17:57 (22.04.2024) | TRIPPED
17 | 220kV Thalak-H M Hole#2 | 16:25 (22.04.2024) | 19:12 (22.04.2024) | TRIPPED
18 | 220kV Lingasugur-Shahpur | 16:38 (22.04.2024) | 07:09 (23.04.2024) | TRIPPED
19 | 220kV Kudligi-H M Hole#2 | 16:48 (22.04.2024) | 18:01 (22.04.2024) | TRIPPED
20 | 220kV Lingasugur-RTPS#2 | 18:05 (22.04.2024) | 19:31 (22.04.2024) | TRIPPED
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50