## M.I Gen & lines-23-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-23
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | BTPS: U3 | 12:03 (20.01.2024) |  | O/O BOILER TUBE LEAKAGE
3 | YTPS: U1 | 16:02 (20.01.2024) |  | O/O BOILER TUBE LEAKAGE
4 | RTPS: U4 | 02:35 (23.01.2024) | 06:37 (23.01.2024) | O/O FURNACE PRESSURE LOW
5 | YTPS: U2 | 23:17 (22.01.2024) | 04:40 (23.01.2024) | O/O TURBINE OVERSPEED
6
7
8 |  |  |  |  | 22
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV Hiriyur(PGCIL)-Chitradurga | 10:17 (23.01.2024) | 13:31 (23.01.2024) | O/O ON LINE CLEAR
4 | 220kV Chikkodi-Kanagala1 &2 | 10:30 (23.01.2024) | 12:00 (23.01.2024) | O/O ON LINE CLEAR
5 | 220kV Chikkodi-Kanagala1 &2 | 12:10 (23.01.2024) | 13:23 (23.01.2024) | O/O ON LINE CLEAR
6 | 220kV Hoody-Shobha dreams | 11:09 (23.01.2024) | 14:45 (23.01.2024) | O/O ON LINE CLEAR
7 | 220kV Narendra-Kanbargi#1 | 11:26 (23.01.2024) | 19:05 (23.01.2024) | O/O ON LINE CLEAR
8 | 220kV Gadag-Bagalkote#1 | 11:28 (23.01.2024) | 13:52 (23.01.2024) | O/O ON LINE CLEAR
9 | 220kV SMG-SGS#1 | 12:45 (23.01.2024) | 17:33 (23.01.2024) | O/O ON LINE CLEAR
10 | 220kV Somanahalli-Shobha dreams | 14:52 (23.01.2024) | 16:56 (23.01.2024) | O/O ON LINE CLEAR
11 | 220KV Bagalkot-Gadag-2 | 17:48 (22.01.2024) | 13:49 (23.01.2024) | TRIPPED
12 | 400kV Guttur-BTPS | 08:45 (23.01.2024) | 18:42 (23.01.2024) | O/O ON LINE CLEAR
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220Kv Shimoga-Chickmangaluru | 10:00 (23.01.2024) | 17:47 (23.01.2024) | O/O ON POWER REGULATION |  | 220KV Chikkamagalur-Shimogga (M2) | 1026 | 1809 | Oo on P/R
2
40
41
42
43
44
45
46
47
48
49
50