## M.I Gen & lines-23-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-23
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U2 | 00:03 (10.02.2024) |  | O/O TURBINE LUBEOIL HEADER PRESSURE DROPPING
2 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
3 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
4 | RTPS: U4 | 17:00 (22.02.2024) |  | O/O BOILER TUBE LEAKAGE
5 | UPCL: U2 | 01:00 (24.02.2024) |  | O/O DUE TO CLINKER FORMATION IN BOILER
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV EPIP-ITPL | 12:59 (30.01.2024) |  | O/O ON LINE CLEAR | 15DAYS
4 | 220kV RTPS-Lingasugur#2 | 18:34 (22.02.2024) |  | TRIPPED
5 | 220kV G M Navar-Kudgi#6 | 08:35 (22.02.2024) |  | O/O ON LINE CLEAR
6 | 220kV Guttur-Ranebennur | 02:45 (23.02.2024) | 03:15 (23.02.2024) | TRIPPED
7 | 220kV RTPS-Lingasugur#1 | 06:50 (23.02.2024) | 09:24 (23.02.2024) | O/O ON LINE CLEAR
8 | 220kV Guttur-Haveri#1 | 07:25 (23.02.2024) | 17:36 (23.02.2024) | TRIPPED
9 | 220kV Hubli-Narendra#1 | 11:06 (23.02.2024) | 19:24 (23.02.2024) | O/O ON LINE CLEAR
10 | 220kV SMG-VPH#2 | 12:05 (23.02.2024) | 17:44 (23.02.2024) | TRIPPED
11 | 220kV Athani-Mahalingapura | 14:18 (23.02.2024) | 14:38 (23.02.2024) | TRIPPED
12 | 220kV Kushtagi-Gangavathi | 16:27 (23.02.2024) |  | TRIPPED
13 | 220kv Hassan-Shanthigrama | 22:42 (23.02.2024) | 02:10 (24.02.2024) | O/O ON LINE CLEAR
14 | 220kV Kushtagi-Lingasur | 22:57 (23.02.2024) | 01:35 (24.02.2024) | O/O ON LINE CLEAR
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Chikkamagalur-Shimoga(M2) | 07:44 (23.02.2024) |  | O/O ON POWER REGULATION
2 | 220kV Kadakola-kaniyanpetta | 20:54 (23.02.2024) | 07:34 (23.02.2024) | O/O ON POWER REGULATION
3
40
41
42
43
44
45
46
47
48
49
50