## M.I Gen & lines-23-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-23
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
4 | 220kV Davangere -Honnali line #1 | 08:18 (23.03.2024) | 10:45 (23.03.2024) | O/O ON LINE CLEAR
5 | 220kV Mylasandra-HSR #1 | 09:33 (23.03.2024) | 14:57 (23.03.2024) | O/O ON LINE CLEAR
6 | 220kV Somanahlly -Shobha dreams line | 09:39 (23.03.2024) | 15:13 (23.03.2024) | O/O ON LINE CLEAR
7 | 220kV Basavan Bagevadi -GM Navar | 09:00 (23.03.2024) |  | O/O ON LINE CLEAR
8 | 220kV Basavan Bagevadi - Lingasagur line 1&2 | 09:36 (23.03.2024) |  | O/O ON LINE CLEAR
9 | 220kV HN Pura-Gopalapura line 1&2 | 10:15 (23.03.2024) | 12:00 (23.03.2024) | O/O ON LINE CLEAR
10 | 220kV HN Pura-Gopalapura line 1&2 | 12:15 (23.03.2024) | 13:50 (23.03.2024) | O/O ON LINE CLEAR
11 | 400kV BPS-Jindal #3 line | 11:45 (23.03.2024) | 19:34 (23.03.2024) | O/O ON LINE CLEAR
12 | 220kV Guttur-Davangere line 1,2 &3 | 11:42 (23.03.2024) | 12:01 (23.03.2024) | O/O ON LINE CLEAR
13 | 220kV Madhugiri-Gowribidanur | 12:26 (23.03.2024) | 15:10 (23.03.2024) | TRIPPED
14 | 220kV Ambewadi-Ponda #2 line | 13:15 (23.03.2024) |  | O/O ON LINE CLEAR
15 | 400kV Hoody-Kolar PGCIL # 1 line | 13:19 (23.03.2024) | 16:45 (23.03.2024) | O/O ON LINE CLEAR
16 | 220kV Kadakola -Kannepete | 20:45 (23.03.2024) | 07:27 (23.03.2024) | O/O ON LINE CLEAR
17 | 220kV Basavan Bagevadi -ADPH line # 1 & 2 | 09:36 (23.03.2024) | 17:30 (23.03.2024) | O/O ON LINE CLEAR
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50