## M.I Gen & lines-23-04-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-04-23
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
3 | 220kV B'Bagewadi-Fortune five#2 | 10:10 (23.04.2024) | 17:10 (23.04.2024) | O/O ON LINE CLEAR
4 | 220kV B'bagewadi-G M Navar#1&2 | 11:04 (23.04.2024) |  | O/O ON LINE CLEAR
5 | 220kV Davanagere-Honnalli#2 | 11:12 (23.04.2024) | 13:19 (23.04.2024) | O/O ON LINE CLEAR
6 | 220kV Shiralkoppa-Ranebeenur | 11:36 (23.04.2024) | 13:29 (23.04.2024) | O/O ON LINE CLEAR
7 | 220kV Ambewadi-Xeldom | 12:59 (23.04.2024) | 14:04 (23.04.2024) | TRIPPED
8 | 220kV Humnabad-Kapnoor#2 | 13:14 (23.04.2024) | 14:43 (23.04.2024) | O/O ON LINE CLEAR
9 | 220kV ADPH-Bagalkote#1 | 13:24 (23.04.2024) | 15:52 (23.04.2024) | O/O ON LINE CLEAR
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50