## M.I Gen & lines-24-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-24
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | BTPS: U3 | 12:03 (20.01.2024) | 14:28 (24.01.2024) | O/O BOILER TUBE LEAKAGE
3 | YTPS: U1 | 16:02 (20.01.2024) |  | O/O BOILER TUBE LEAKAGE
4 | RTPS: U6 | 08:57 (24.01.2024) |  | O/O BOILER TUBE LEAKAGE
5 | RTPS: U7 | 14:14 (24.01.2024) | 18:09 (24.01.2024) | O/O BOILER TUBE LEAKAGE
6
7
8 |  |  |  |  | 22
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220KV Lingapur-Munirabad-1&2 | 09:03 (24.01.2024) | 12:54 (24.01.2024) | O/O ON LINE CLEAR
4 | 220KV Lingapur-Munirabad-1&2 | 13:08 (24.01.2024) | 17:10 (24.01.2024) | O/O ON LINE CLEAR
5 | 400KV RTPS-BTPS | 08:57 (24.01.2024) | 16:37 (24.01.2024) | TRIPPED
6 | 220KV Malur-Hoody | 09:42 (24.01.2024) | 10:08 (24.01.2024) | TRIPPED
7 | 220KV Hiriyur-Hiriyur(PGCIL) | 10:30 (24.01.2024) | 16:38 (24.01.2024) | O/O ON LINE CLEAR
8 | 220KV Kanbargi-Narendra-1 | 10:32 (24.01.2024) | 19:33 (24.01.2024) | O/O ON LINE CLEAR
9 | 220KV Shimogga-SGS (S3) | 10:33 (24.01.2024) | 14:50 (24.01.2024) | O/O ON LINE CLEAR
10 | 400KV BPS-Jagalur-1 | 11:52 (24.01.2024) | 15:52 (24.01.2024) | O/O ON LINE CLEAR
11 | 220KV Tubinkere-Kothipura | 12:44 (24.01.2024) | 16:45 (24.01.2024) | O/O ON LINE CLEAR
12 | 220KV Narendra-Hubli-1&2 | 13:38 (24.01.2024) | 18:44 (24.01.2024) | TRIPPED
13 | 220KV Narendra-Hubli-1&2 | 13:38 (24.01.2024) | 13:58 (24.01.2024) | TRIPPED
14 | 220KV NPH-Bidnal | 16:36 (24.01.2024) | 20:14 (24.01.2024) | TRIPPED
15 | 220KV NPH-Hubli-3 | 16:37 (24.01.2024) | 18:00 (24.01.2024) | TRIPPED
16 | 220KV Malur-Sarjapura VTP EXORA | 18:44 (24.01.2024) | 22:23 (24.01.2024) | TRIPPED
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | [5 empty] | 220KV Chikkamagalur-Shimogga (M2) | 1026 | 1809 | Oo on P/R
2
40
41
42
43
44
45
46
47
48
49
50