## M.I Gen & lines-24-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-24
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U2 | 00:03 (10.02.2024) |  | O/O TURBINE LUBEOIL HEADER PRESSURE DROPPING
2 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
3 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
4 | RTPS: U4 | 17:00 (22.02.2024) | 07:59 (25.02.2024) | O/O BOILER TUBE LEAKAGE
5 | UPCL: U2 | 01:00 (24.02.2024) |  | O/O DUE TO CLINKER FORMATION IN BOILER
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV EPIP-ITPL | 12:59 (30.01.2024) | 17:37 (23.02.2024) | O/O ON LINE CLEAR | IDLE CHARGED
4 | 220kV G M Navar-Kudgi#6 | 08:35 (22.02.2024) | 18:38 (24.02.2024) | O/O ON LINE CLEAR
5 | 220kV Kadra-Kodasally#1&2 | 06:52 (24.02.2024) | 11:52 (24.02.2024) | TRIPPED
6 | 400kV Hoody-Kolar#2 | 07:17 (24.02.2024) | 08:02 (24.02.2024) | TRIPPED
7 | 220kV NLM-D B Pura#1&2 | 08:43 (24.02.2024) |  | O/O ON LINE CLEAR
8 | 220kV SGS-Sirsi#1 | 09:16 (24.02.2024) | 10:08 (24.02.2024) | O/O ON LINE CLEAR
9 | 220kV Hubli-NRN#1 | 10:57 (24.02.2024) | 20:14 (24.02.2024) | O/O ON LINE CLEAR
10 | 400kV Hoody-Kolar#2 | 11:07 (24.02.2024) | 15:10 (24.02.2024) | O/O ON LINE CLEAR
11 | 220kV HAL-Hoody#1 | 11:25 (24.02.2024) | 16:24 (24.02.2024) | O/O ON LINE CLEAR
12 | 220kV SMG-A'hally | 14:59 (24.02.2024) | 15:58 (24.02.2024) | TRIPPED
13 | 220kV Y'hally-Hosur | 16:31 (24.02.2024) |  | TRIPPED
14 | ICT-2 @ KOLAR | 19:02 (24.02.2024) | 22:10 (24.02.2024) | O/O ON LINE CLEAR
15 | 220kV Nagjhari-Ambewadi#1&2 | 22:26 (24.02.2024) |  | O/O ON LINE CLEAR
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Chikkamagalur-Shimoga(M2) | 08:16 (24.02.2024) | 18:50 (24.02.2024) | O/O ON POWER REGULATION
2
3
40
41
42
43
44
45
46
47
48
49
50