## M.I Gen & lines-24-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-24
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U2 | 11:30 (24.02.2024) | 21:57 (24.02.2024) | O/O OIL TEMP HIGH AGAIN
3 | RTPS: U2 | 23:11 (24.02.2024) |  | O/O BOILER TUBE LEAKAGE
4 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
5 | RTPS: U5 | 22:40 (24.02.2024) |  | O/O BOILER TUBE LEAKAGE
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
4 | 220kV Ambewadi-Ponda #2 line | 13:15 (23.03.2024) |  | O/O ON LINE CLEAR
5 | 220kV Basavan Bagevadi - Lingasagur line 1 | 09:36 (23.03.2024) | 16:45 (24.03.2024) | O/O ON LINE CLEAR
6 | 220kV Basavan Bagevadi - Lingasagur line 2 | 09:36 (23.03.2024) | 17:09 (24.03.2024) | O/O ON LINE CLEAR
7 | 220kV Basavan Bagevadi -GM Navar | 09:00 (23.03.2024) |  | O/O ON LINE CLEAR
8 | 400kV Kaiga-Guttur#2 | 10:58 (24.03.2024) | 12:56 (24.03.2024) | TRIPPED
9 | 220kV Puttenhalli-Sahakarnagar | 07:07 (24.03.2024) | 08:20 (24.03.2024) | O/O ON LINE CLEAR
10 | 220kV Narendra-Kanbargi#1&2 | 10:01 (24.03.2024) | 17:02 (24.03.2024) | O/O ON LINE CLEAR
11 | 220kV ADPH-Bagalkote#1 | 18:13 (24.03.2024) |  | TRIPPED
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Kadkola-K'betta | 20:47 (24.03.2024) | 07:48 (25.03.2024) | O/O ON P/R
2
3
40
41
42
43
44
45
46
47
48
49
50