## M.I Gen & lines-24-04-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-04-24
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
3 | 220kV B'bagewadi-G M Navar#1&2 | 11:04 (23.04.2024) | 17:02 (24.04.2024) | O/O ON LINE CLEAR
4 | 400kV Munirabad-Doni | 07:41 (24.04.2024) | 23:01 (24.04.2024) | O/O ON LINE CLEAR
5 | 400kV Guttur-Kaiga#2 | 10:26 (24.04.2024) | 18:14 (24.04.2024) | O/O ON LINE CLEAR
6 | 220kV B'bagewadi | 10:16 (24.04.2024) | 12:17 (24.04.2024) | BUS DEAD
7 | 220kV Shimoga-Honnali#2 | 11:51 (24.04.2024) | 19:33 (24.04.2024) | TRIPPED
8 | 220kV Kushtagi-Gangavathi | 12:24 (24.04.2024) | 12:52 (24.04.2024) | TRIPPED
9 | 220kV Shimoga-A'halli | 12:34 (24.04.2024) | 13:16 (24.04.2024) | TRIPPED
10 | 220kV B'bagewadi-ADPH#1 | 12:53 (24.04.2024) | 13:58 (24.04.2024) | TRIPPED
11 | 220kV B'bagewadi-ADPH#2 | 12:53 (24.04.2024) | 14:07 (24.04.2024) | TRIPPED
12 | 220kV Kushtagi-Gangavathy | 13:54 (24.04.2024) | 14:30 (24.04.2024) | TRIPPED
13 | 220kV Shimoga-Honnali#1 | 17:51 (24.04.2024) | 19:33 (24.04.2024) | O/O ON LINE CLEAR
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50