## M.I Gen & lines-25-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-25
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U2 | 00:03 (10.02.2024) |  | O/O TURBINE LUBEOIL HEADER PRESSURE DROPPING
2 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
3 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
4 | RTPS: U4 | 17:00 (22.02.2024) | 07:59 (25.02.2024) | O/O BOILER TUBE LEAKAGE
5 | UPCL: U2 | 01:00 (24.02.2024) |  | O/O DUE TO CLINKER FORMATION IN BOILER
6 | RTPS: U4 | 15:04 (25.02.2024) | 21:56 (25.02.2024) | O/O TEMP LOW
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV Y'hally-Hosur | 16:31 (24.02.2024) |  | TRIPPED
4 | 220kV NLM-D B Pura#1&2 | 08:43 (24.02.2024) | 17:47 (25.02.2024) | O/O ON LINE CLEAR
5 | 220kV Y'hally-Hosur | 16:31 (24.02.2024) |  | TRIPPED
6 | 220kV Nagjhari-Ambewadi#1 | 22:26 (24.02.2024) | 06:44 (26.02.2024) | O/O ON LINE CLEAR
7 | 220kV Nagjhari-Ambewadi#2 | 22:26 (24.02.2024) | 06:46 (26.02.2024) | O/O ON LINE CLEAR
8 | 220kV K B Cross-SMG | 07:31 (25.02.2024) | 09:41 (25.02.2024) | O/O ON LINE CLEAR
9 | 220kV Guttur-Davanagere#1&2&3 | 09:12 (25.02.2024) | 09:35 (25.02.2024) | TRIPPED
10 | 220kV Guttur-Davanagere#1&2&3 | 09:12 (25.02.2024) | 09:28 (25.02.2024) | TRIPPED
11 | 220kV Guttur-Davanagere#1&2&3 | 09:46 (25.02.2024) | 10:25 (25.02.2024) | TRIPPED
12 | 220kV S'hally-Mylsandra#2 | 11:12 (25.02.2024) |  | O/O ON LINE CLEAR | 3DAYS
13 | 220kV S'hally-Khoday's | 11:15 (25.02.2024) |  | O/O ON LINE CLEAR | 3DAYS
14 | 220kV NRN-Hubli#1 | 12:24 (25.02.2024) | 19:12 (25.02.2024) | O/O ON LINE CLEAR
15 | 220kV Guttur-Ranebennur | 13:39 (25.02.2024) | 17:03 (25.02.2024) | O/O ON LINE CLEAR
16 | 220kV Sharavathy-SMG#1 | 13:34 (25.02.2024) | 15:13 (25.02.2024) | TRIPPED
17 | 500MVA ICT-1 @ Kolar | 17:34 (25.02.2024) | 21:40 (25.02.2024) | O/O ON LINE CLEAR
18 | 220kV Shahpur-Firozabad#2 | 23:55 (25.02.2024) | 00:05 (26.02.2024) | TRIPPED
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Chikkamagalur-Shimoga(M2) | 07:00 (25.02.2024) | 18:18 (25.02.2024) | O/O ON POWER REGULATION
2 | 220kV Kadkola-K'betta | 21:28 (24.02.2024) |  | O/O ON POWER REGULATION
3
40
41
42
43
44
45
46
47
48
49
50