## M.I Gen & lines-25-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-25
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U2 | 11:30 (24.03.2024) | 21:57 (24.03.2024) | O/O OIL TEMP HIGH AGAIN
3 | RTPS: U2 | 23:11 (24.03.2024) | 02:47 (25.03.2024) | O/O BOILER TUBE LEAKAGE
4 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
5 | RTPS: U5 | 22:40 (24.03.2024) |  | O/O BOILER TUBE LEAKAGE
6 | BTPS: U3 | 04:44 (26.03.2024) |  | O/O BOILER TUBE LEAKAGE
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
4 | 220kV Ambewadi-Ponda #2 line | 13:15 (23.03.2024) | 13:35 (25.03.2024) | O/O ON LINE CLEAR
5 | 220kV Basavan Bagevadi -GM Navar | 09:00 (23.03.2024) |  | O/O ON LINE CLEAR
6 | 220kV ADPH-Bagalkote#1 | 18:13 (24.03.2024) | 11:14 (25.03.2024) | TRIPPED
7 | 220kV Narendra-Hubli#1 | 11:04 (25.03.2024) | 17:34 (25.03.2024) | O/O ON LINE CLEAR
8 | 220kV Narendra-Hubli#2 | 11:05 (25.03.2024) | 17:36 (25.03.2024) | O/O ON LINE CLEAR
9 | 220kV Ranebennur-S'koppa | 11:34 (25.03.2024) | 14:45 (25.03.2024) | O/O ON LINE CLEAR
10 | 220kV Shahpur-Kalburgi#2 | 12:25 (25.03.2024) | 14:34 (25.03.2024) | O/O ON LINE CLEAR
11 | 220kV Kolar-Malur#1 | 12:01 (25.03.2024) | 13:23 (25.03.2024) | O/O ON LINE CLEAR
12 | 220kV Guttutr-Chitradurga | 13:27 (25.03.2024) | 13:48 (25.03.2024) | TRIPPED
13 | 220kV Firozabad-Shahpur#1 | 15:46 (25.03.2024) | 17:23 (25.03.2024) | O/O ON LINE CLEAR
14 | 220kV RTPS-Ramasamudra#1 | 13:15 (25.03.2024) | 14:44 (25.03.2024) | O/O ON LINE CLEAR
15 | 220kV RTPS-Ramasamudra#2 | 14:44 (25.03.2024) | 17:28 (25.03.2024) | O/O ON LINE CLEAR
16 | 220kV Lingasugur-Sindanoor | 17:16 (25.03.2024) | 17:40 (25.03.2024) | TRIPPED
17 | 100MVA TFR-2 @ Shimoga | 22:46 (25.03.2024) | 04:42 (25.03.2024) | TRIPPED
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50