## M.I Gen & lines-25-04-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-04-25
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
3 | 220kV Kushtagi-Lingasugur | 10:55 (25.04.2024) | 14:09 (25.04.2024) | O/O ON LINE CLEAR
4 | 220kV Guttur-Chitradurga | 11:15 (25.04.2024) | 12:55 (25.04.2024) | O/O ON LINE CLEAR
5 | 220kV Guttur-Ranebennur | 12:18 (25.04.2024) | 13:34 (25.04.2024) | O/O ON LINE CLEAR
6 | 220kV Hubli-Narendra#1 | 12:59 (25.04.2024) | 21:43 (25.04.2024) | TRIPPED
7 | 220kV Shantigrama-C R Patna | 13:02 (25.04.2024) | 13:48 (25.04.2024) | TRIPPED
8 | 220kV SGS-SMG#1 | 15:23 (25.04.2024) | 16:09 (25.04.2024) | TRIPPED
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50