## M.I Gen & lines-26-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-26
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U6 | 08:57 (24.01.2024) | 20:06 (26.01.2024) | O/O BOILER TUBE LEAKAGE
3 | YTPS: U1 | 16:02 (20.01.2024) |  | O/O BOILER TUBE LEAKAGE
4
5
6
7
8 |  |  |  |  | 22
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220 kV RTPS-Mallath | 09:50 (26.01.2024) | 13:09 (26.01.2024) | O/O ON LINE CLEAR
4 | 220kV Shimogga-Varahi - 1 | 10:28 (26.01.2024) | 15:19 (26.01.2024) | O/O ON LINE CLEAR
5 | 400kV RTPS-BTPS | 18:26 (26.01.2024) | 20:25 (26.01.2024) | O/O ON LINE CLEAR
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220KV Shimogga-Chikkamagalur | 08:54 (25.01.2024) | 18:25 (26.01.2024) | O/O ON P/R |  | 220KV Chikkamagalur-Shimogga (M2) | 1026 | 1809 | Oo on P/R
2
40
41
42
43
44
45
46
47
48
49
50