## M.I Gen & lines-26-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-26
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U2 | 00:03 (10.02.2024) | 05:54 (26.02.2024) | O/O TURBINE LUBEOIL HEADER PRESSURE DROPPING
2 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
3 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
4 | UPCL: U2 | 01:00 (24.02.2024) |  | O/O DUE TO CLINKER FORMATION IN BOILER
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV Y'hally-Hosur | 16:31 (24.02.2024) |  | TRIPPED
4 | 220kV S'hally-Mylsandra#2 | 11:12 (25.02.2024) |  | O/O ON LINE CLEAR | 3DAYS
5 | 220kV S'hally-Khoday's | 11:15 (25.02.2024) |  | O/O ON LINE CLEAR | 3DAYS
6 | 220kV Kavoor-Bajpe#1 | 10:34 (26.02.2024) | 17:08 (26.02.2024) | O/O ON LINE CLEAR
7 | 220kV NRN-Hubli#1 | 10:37 (26.02.2024) | 17:25 (26.02.2024) | O/O ON LINE CLEAR
8 | 220kV Lingapura-BTPS | 10:57 (26.02.2024) | 13:50 (26.02.2024) | O/O ON LINE CLEAR
9 | 220kV Ghataprapha-Mugalkod#1 | 12:08 (26.02.2024) | 18:32 (26.02.2024) | O/O ON LINE CLEAR
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Chikkamagalur-Shimoga(M2) | 07:00 (26.02.2024) | 18:18 (26.02.2024) | O/O ON POWER REGULATION
2 | 220kV Kadkola-K'betta | 21:28 (24.02.2024) | 07:01 (26.02.2024) | O/O ON POWER REGULATION
3
40
41
42
43
44
45
46
47
48
49
50