## M.I Gen & lines-27-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-27
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | YTPS: U1 | 16:02 (20.01.2024) | 10:20 (27.01.2024) | O/O BOILER TUBE LEAKAGE
3 | RTPS: U2 | 10:57 (27.01.2024) |  | O/O DUE TO STEAM LEAKAGE
4
5
6
7
8 |  |  |  |  | 22
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV C'maglur-Shimoga | 08:37 (27.01.2024) | 18:02 (27.01.2024) | O/O ON LINE CLEAR
4 | 220kV Vajamangala-Hootagally | 08:56 (27.01.2024) | 17:56 (27.01.2024) | O/O ON LINE CLEAR
5 | 220kV Hootgally-Basthipura lines 1 | 09:18 (27.01.2024) | 17:37 (27.01.2024) | O/O ON LINE CLEAR
6 | 220kV Hootgally-Basthipura lines 2 | 09:20 (27.01.2024) | 17:38 (27.01.2024) | O/O ON LINE CLEAR
7 | 220kV Mallat-RTPS | 09:51 (27.01.2024) | 18:12 (27.01.2024) | O/O ON LINE CLEAR
8 | 500MVA ICT 1 @ Somanahally | 10:43 (27.01.2024) |  | O/O ON LINE CLEAR
9 | 220kV A.wadi-Ponda line 2 | 10:40 (27.01.2024) | 12:53 (27.01.2024) | O/O ON LINE CLEAR
10 | 220kV A.wadi-Narendra line 1 & 2 | 10:56 (27.01.2024) | 16:03 (27.01.2024) | O/O ON LINE CLEAR
11 | 220kV STRP-Shimoga | 17:45 (27.01.2024) |  | O/O ON LINE CLEAR
12 | 400kV Dhoni-Guddadahally | 18:02 (27.01.2024) | 00:47 (28.01.2024) | O/O DUE TO CT PROBLEM @ GUDDADAHALLY
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Hebbani-TK Hally lines 1 & 2 | 21:11 (27.01.2024) | 06:47 (27.01.2024) | O/O ON P/R |  | 220KV Chikkamagalur-Shimogga (M2) | 1026 | 1809 | Oo on P/R
2
40
41
42
43
44
45
46
47
48
49
50