## M.I Gen & lines-27-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-27
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | BTPS: U3 | 04:44 (26.03.2024) |  | O/O BOILER TUBE LEAKAGE
3 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
4 | RTPS: U2 | 10:58 (27.03.2024) |  | O/O BOILER TUBE LEAKAGE
5 | RTPS: U6 | 01:02 (27.03.2024) |  | O/O BOILER TUBE LEAKAGE
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
4 | 220kV Basavan Bagevadi -GM Navar 1&2 | 09:00 (23.03.2024) |  | O/O ON LINE CLEAR
5 | 400kV RTPS-BTPS | 01:02 (27.03.2024) | 05:42 (27.03.2024) | TRIPPED
6 | 220kV Shiggaon-Narendra | 06:10 (27.03.2024) | 13:03 (27.03.2024) | TRIPPED
7 | 220kV Bidnal Station | 06:10 (27.03.2024) | 06:30 (27.03.2024) | BUS DEAD
8 | 220kV Narendra-Bidnal | 06:09 (27.03.2024) | 13:04 (27.03.2024) | TRIPPED
9 | 220kV Guddadahally-Lingapur#1 | 09:24 (27.03.2024) | 13:20 (27.03.2024) | O/O ON LINE CLEAR
10 | 400kV Guttur-Hiriyur#1 | 12:37 (27.03.2024) | 17:52 (27.03.2024) | O/O ON LINE CLEAR
11 | 220kV SGS-Shimoga#3 | 13:41 (27.03.2024) | 16:38 (27.03.2024) | TRIPPED
12 | 220kV Harthi-Gadag#2 | 11:19 (27.03.2024) | 17:36 (27.03.2024) | O/O ON LINE CLEAR
13 | 220kV Gadag-Doni#1 | 18:13 (27.03.2024) | 20:05 (27.03.2024) | O/O ON LINE CLEAR
14 | 220kV Kadkola-K'betta | 19:25 (27.03.2024) |  | TRIPPED
15 | 220kV Shiggaon-Haveri#2 | 23:19 (27.03.2024) |  | O/O ON LINE CLEAR
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50