## M.I Gen & lines-28-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-28
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U2 | 10:57 (27.01.2024) |  | O/O DUE TO STEAM LEAKAGE
3 | RTPS: U7 | 08:47 (28.01.2024) | 11:46 (28.01.2024) | O/O FLAME FAILURE
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 500MVA ICT 1 @ Somanahally | 10:43 (27.01.2024) |  | O/O ON LINE CLEAR
4 | 220kV STRP-Shimoga | 17:45 (27.01.2024) |  | O/O ON LINE CLEAR
5 | 220kV Hootagally-Bastipura#1&2 | 07:17 (28.01.2024) | 17:45 (28.01.2024) | O/O ON LINE CLEAR
6 | 220kV Hootagally-Bastipura#1&2 | 07:17 (28.01.2024) | 17:46 (28.01.2024) | O/O ON LINE CLEAR
7 | 220kV Vajamangala-Hootagally | 07:00 (28.01.2024) | 17:51 (28.01.2024) | O/O ON LINE CLEAR
8 | 220kV Lingapura-Guddadahally | 09:58 (28.01.2024) | 15:06 (28.01.2024) | O/O ON LINE CLEAR
9 | 220kV Ambewadi-Narendra#1&2 | 08:46 (28.01.2024) | 19:16 (28.01.2024) | O/O ON LINE CLEAR
10 | 220kV Ambewadi-Narendra#1&2 | 08:46 (28.01.2024) | 19:46 (28.01.2024) | O/O ON LINE CLEAR
11 | 220kV Peenya-NRS | 11:47 (28.01.2024) | 16:02 (28.01.2024) | O/O ON LINE CLEAR
12 | 220kV Peenya-Sahakarnagar | 12:21 (28.01.2024) | 15:53 (28.01.2024) | O/O ON LINE CLEAR
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Chickmangalauru-Shimoga | 08:35 (28.01.2024) | 18:08 (28.01.2024) | O/O ON P/R |  | 220KV Chikkamagalur-Shimogga (M2) | 1026 | 1809 | Oo on P/R
2
40
41
42
43
44
45
46
47
48
49
50