## M.I Gen & lines-28-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-28
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
3 | UPCL: U2 | 01:00 (24.02.2024) |  | O/O DUE TO CLINKER FORMATION IN BOILER
4 | YTPS: U2 | 12:14 (28.02.2024) | 16:45 (28.02.2024) | O/O ON ELECTRICAL PROBLEM
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV Y'hally-Hosur | 16:31 (24.02.2024) |  | TRIPPED
4 | 220kV S'hally-Mylsandra#2 | 11:12 (25.02.2024) |  | O/O ON LINE CLEAR | 3DAYS
5 | 220kV S'hally-Khoday's | 11:15 (25.02.2024) |  | O/O ON LINE CLEAR | 3DAYS
6 | 220kV Ghataprabha-Mugalkod#2 | 06:20 (28.02.2024) | 08:03 (28.02.2024) | TRIPPED
7 | 220kV Benkikere-Hosadurga#1&2 | 10:30 (28.02.2024) | 17:40 (28.02.2024) | O/O ON LINE CLEAR
8 | 220kV Kemar-Kavoor | 10:36 (28.02.2024) | 15:30 (28.02.2024) | O/O ON LINE CLEAR
9 | 220kV NPH-Hubli#2 | 11:04 (28.02.2024) | 17:20 (28.02.2024) | O/O ON LINE CLEAR
10 | 220kV Mugalkhod-GDPH#1 | 13:17 (28.02.2024) | 15:30 (28.02.2024) | O/O ON LINE CLEAR
11 | 400kV Guttur ICT-2 | 12:23 (28.02.2024) | 18:04 (28.02.2024) | O/O ON LINE CLEAR
12 | 220kV RTPS-Lingasugur#2 | 13:08 (28.02.2024) | 13:44 (28.02.2024) | TRIPPED
13 | 220kV Ambewadi-Ponda#1 | 14:20 (28.02.2024) | 15:44 (28.02.2024) | TRIPPED
14 | 220kV Shimoga-Sharavathy#4 | 14:58 (28.02.2024) | 15:31 (28.02.2024) | TRIPPED
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Kadkola-K'betta | 20:49 (28.02.2024) | 07:06 (28.02.2024) | O/O ON POWER REGULATION
2
3
40
41
42
43
44
45
46
47
48
49
50