## M.I Gen & lines-29-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-29
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U2 | 10:57 (27.01.2024) |  | O/O DUE TO STEAM LEAKAGE
3
4
5
6
7
8 |  |  |  |  | 22
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 500MVA ICT 1 @ Somanahally | 10:43 (27.01.2024) | 23:11 (29.01.2024) | O/O ON LINE CLEAR
4 | 220kV STRP-Shimoga | 17:45 (27.01.2024) | 10:19 (29.01.2024) | O/O ON LINE CLEAR
5 | 400kV ICT-1 @Narendra | 09:08 (28.01.2024) | 14:10 (29.01.2024) | O/O ON LINE CLEAR
6 | 220kV Nagnathpura-Mylsandra | 09:15 (29.01.2024) | 15:25 (29.01.2024) | TRIPPED
7 | 220kV Hiriyur-Hiriyur(PGCIL) | 10:53 (29.01.2024) | 18:30 (29.01.2024) | O/O ON LINE CLEAR
8 | 220kV Kadkola-K'pet | 10:58 (29.01.2024) | 19:32 (29.01.2024) | O/O ON LINE CLEAR
9 | 220kV Varahi-SMG#1 | 11:30 (29.01.2024) | 15:13 (29.01.2024) | O/O ON LINE CLEAR
10 | 220kV RTPS-Lingasugur#1 | 23:04 (29.01.2024) | 23:27 (29.01.2024) | TRIPPED
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
40
41
42
43
44
45
46
47
48
49
50