## M.I Gen & lines-29-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-29
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | BTPS: U3 | 04:44 (26.03.2024) | 04:44 (29.03.2024) | O/O BOILER TUBE LEAKAGE
3 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
4 | RTPS: U2 | 10:58 (27.03.2024) | 17:59 (29.03.2024) | O/O BOILER TUBE LEAKAGE
5 | RTPS: U6 | 01:02 (27.03.2024) | 01:15 (30.03.2024) | O/O BOILER TUBE LEAKAGE
6 | RTPS: U2 | 08:08 (30.03.2024) |  | O/O CWP TRIPPED
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
4 | 220kV Guttur-Davanagere#1 | 08:49 (29.03.2024) | 13:13 (29.03.2024) | O/O ON LINE CLEAR
5 | 400kV Guttur-BTPS#1 | 09:26 (29.03.2024) |  | O/O ON LINE CLEAR
6 | 220kV Narendra-Hubli#1 | 10:34 (29.03.2024) | 21:03 (29.03.2024) | TRIPPED
7 | 220kV Peenya-Sahakarnagar | 10:39 (29.03.2024) | 11:05 (29.03.2024) | TRIPPED
8 | 220kV Shimoga-A'halli(B1) | 14:19 (29.03.2024) | 14:55 (29.03.2024) | TRIPPED
9 | 220kV Ferozabad-Shahpur | 14:21 (29.03.2024) | 15:33 (29.03.2024) | TRIPPED
10 | 220kV Shimoga-Chickmangaluru#1 | 15:13 (29.03.2024) | 18:56 (29.03.2024) | O/O ON LINE CLEAR
11 | 220kV Chintamani-Mittemari#2 | 18:00 (29.03.2024) |  | O/O ON LINE CLEAR
12 | 220kV Kolar-Kolar(PGCIL)#2 | 18:34 (29.03.2024) | 21:47 (29.03.2024) | O/O ON LINE CLEAR
13 | 400kV RTPS-BTPS | 20:33 (29.03.2024) | 01:34 (30.03.2024) | TRIPPED
14 | 220Kv Raichur-RTPS#1&2 | 22:30 (29.03.2024) | 00:19 (30.03.2024) | TRIPPED
15 | 220Kv Raichur-RTPS#1&2 | 22:30 (29.03.2024) | 01:43 (30.03.2024) | TRIPPED
16 | 100MVA Tfr1 @ RTPS | 22:30 (29.03.2024) | 00:30 (30.03.2024) | TRIPPED
17 | 220kV Kalburgi-Nimarga#1&2 | 11:02 (29.03.2024) |  | O/O ON LINE CLEAR
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Kadkola-K'pet | 18:08 (29.03.2024) | 07:04 (30.03.2024) | O/O ON P/R
2
3
40
41
42
43
44
45
46
47
48
49
50