## M.I Gen & lines-31-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-31
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U2 | 10:57 (27.01.2024) |  | O/O DUE TO STEAM LEAKAGE
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV EPIP-ITPL | 12:59 (30.01.2024) |  | O/O ON LINE CLEAR | 15DAYS
4 | 220kV STRP-SMG | 13:21 (30.01.2024) | 10:01 (31.01.2024) | TRIPPED
5 | 400kV BTPS-RTPS | 10:15 (30.01.2024) |  | O/O ON LINE CLEAR | 2DAYS
6 | 220kV Raichur-RTPS#1 | 09:05 (31.01.2024) | 19:44 (31.01.2024) | O/O ON LINE CLEAR
7 | 220kV T K Hally-Vajamangala | 02:15 (31.01.2024) | 02:33 (31.01.2024) | TRIPPED
8 | 220kV Lingasugur-Kushtagi | 10:48 (31.01.2024) | 12:31 (31.01.2024) | O/O ON LINE CLEAR
9 | 220kV Shahbad-Kapnoor | 11:22 (31.01.2024) | 14:36 (31.01.2024) | O/O ON LINE CLEAR
10 | 220kV Hubli-NPH#1 | 10:46 (31.01.2024) | 13:33 (31.01.2024) | O/O ON LINE CLEAR
11 | 220kV Kolar-Malur#1 | 13:06 (31.01.2024) | 15:47 (31.01.2024) | O/O ON LINE CLEAR
12 | 220kV Tubinkere-Channapatna | 12:28 (31.01.2024) | 13:05 (31.01.2024) | TRIPPED
13 | 220kV BTPS-Lingapura | 13:34 (31.01.2024) | 15:55 (31.01.2024) | TRIPPED
14 | 400kV Talguppa | 14:40 (31.01.2024) | 15:45 (31.01.2024) | BUS DEAD
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Shimoga-Chickmangaluru | 09:01 (30.01.2024) | 18:11 (31.01.2024) | O/O ON P/R
2 | 220kV Hebbani-T K Halli#1&2 | 15:08 (31.01.2024) |  | O/O ON P/R
40
41
42
43
44
45
46
47
48
49
50