## M.I Gen & lines-31-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-31
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U3 | 02:18 (18.02.2024) | 18:20 (31.03.2024) | O/O ANNUAL OVER HAULING
3 | BTPS: U3 | 17:32 (31.03.2024) | 21:04 (31.03.2024) | O/O
4 | RTPS: U3 | 04:26 (01.04.2024) |  | O/O TRIPPED
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
2 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
3 | 220kV Chintamani-Mittemari#2 | 18:00 (29.03.2024) |  | O/O ON LINE CLEAR
4 | 220kV Kalburgi-Nimarga#1&2 | 11:02 (29.03.2024) |  | O/O ON LINE CLEAR
5 | 400kV Guttur-BTPS#1 | 09:26 (29.03.2024) |  | O/O ON LINE CLEAR
6 | 220kV Narendra-Shiggaon | 06:35 (31.03.2024) | 11:48 (31.03.2024) | TRIPPED
7 | 220kV Bidnal-Narendra | 06:45 (31.03.2024) | 11:37 (31.03.2024) | TRIPPED
8 | 400kV RTPS-Raichur#2 | 08:53 (31.03.2024) | 14:03 (31.03.2024) | O/O ON LINE CLEAR
9 | 220kV Shimoga-A'halli | 11:36 (31.03.2024) | 18:59 (31.03.2024) | TRIPPED
10 | 220kV Hoody-Begur | 12:55 (31.03.2024) | 14:42 (31.03.2024) | TRIPPED
11 | 220kV K B Cross-Shimoga | 15:14 (31.03.2024) | 19:00 (31.03.2024) | O/O ON LINE CLEAR
12 | 220kV BTPS-Lingapura | 15:34 (31.03.2024) | 17:42 (31.03.2024) | TRIPPED
13 | 220kV Bidnal-Harthi#1 | 15:17 (31.03.2024) | 19:45 (31.03.2024) | TRIPPED
14 | 220kV Malur-Somanhalli#1 | 18:57 (31.03.2024) | 20:18 (31.03.2024) | O/O ON LINE CLEAR
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50