## 22-01-2022
Sl No | Circle | Division | Sub Dvn | OM Unit | Station Name | Feeder No /Name | IF LT Work DTC code capacity | Nomenclature of Works | CAPEX/ Maintenance | Work order No and Date | Sanctioned Date | Date of LC planned | Areas affected | No: of consumers affected |  | Duration of LC required |  |  | Remarks (changeover arranged details) | Work Belongs to Station / BESCOM | LC Taken or Not (Yes / No) | Issues | Remarks | Station/Feeder charged time |  |  | Confirmed by concern officers | Remarks (If time extended)
[14 empty] | HT consumers | LT consumers | From | To | Total interruption period in | [5 empty] | From | To | Total interruption period in
1 | SOUTH | JAYANAGAR | S2 | 3 | ADUGODI | F02 | 507 | LT CABLE STRINGING | Maintenance | K8777 |  | 2022-01-22 | VINAYAKA NAGARA |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
2 | SOUTH | JAYANAGAR | S2 | 2 | VICTORIYA | F15 | 258 | LT CABLE STRINGING | Maintenance | K8780 |  | 2022-01-22 | GMT TYRE JC ROAD |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
3 | SOUTH | JAYANAGAR | S5 | U1 | ISRO layout | F-08 Vikram Nagar | DT-568, DT-685, DT-14, DT-447 | Energization of UG cable & Dismantling work | Capex | 14.1927/J-9038 |  | 2022-01-22 | Bikisipura,Mango Garden, Prathima Industrial Layout,kashi Nagar Lake, Isro Layout |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
4 | SOUTH | JAYANAGAR | S5 | U1 | ISRO layout | F-09 Jayanagar |  | Dismantling Work | Capex | 14.1927/J-9020 |  | 2022-01-22 | Vittal Nagar,Maruthi Layout,50Feet Road,Kumaraswami Layout |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
5 | SOUTH | JAYANAGAR | S5 | U1 | ISRO layout | F-04 Isro Layout Pipe Line | DT-604, DT-605 | Energization of UG cable work | Capex | 14.1927/J-9016 |  | 2022-01-22 | Isro Layout, Kumara Swamy Layout,Pipe Line Road |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
6 | SOUTH | JAYANAGAR | S5 | U2 | Subramanyapura | F04-METRO |  | Dismantling Work | Capex | 14.1927/J-9039 |  | 2022-01-22 | Annapoorna Industrial Area, Shardhanagar and Sourrounding Area |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
7 | SOUTH | JAYANAGAR | S9 | U2 | Padmanabhanagar | F01-Banagiri Nagar | TC-37,43,131 | 3 GOS Structure/LT AB Cable Charging & Dimantling | Capex | 14.1927/J-9008/17.12.2020 |  | 2022-01-22 | KIMS College RoadCT Bed Road,7th Cross Road |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
8 | SOUTH | KORAMANGALA | S17 | Marathalli | KADUBISANAHALLI | F07-FMULTIPLEX-MARATHALLY |  | OH To UG | Capex |  |  | 2022-01-22 | Marathalli service road, Anand Nagar, LRDE Layout, |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
9 | SOUTH | HSR | S8 | Hongasandra | Velankani | F-14 Velankani | DTC657, 1289, 1460, 281 | Preventive maintenance for RMU / Tree Trimming / renovation of deteriorated jumps & DTC maintenance | Maintenance |  |  | 2022-01-22 | Hongasandra, Garebhavi palya 9th main, Sri Rama Nagara |  |  | 10:00 | 17:00 | 7:00 | NIL | BESCOM
10 | SOUTH | HSR | S12 | Panduranga Nagar | SOUTH CITY | F2 | Tc-323,Tc-322 | LT AB Cable | Capex | N-15423 Dt:16.09.2021 |  | 2022-01-22 | M S Ramahai city,Sai enclave ,Ragavendra L/O &surrounding |  |  | 10:00 | 18:00 | 8:00 | NO | BESCOM
11 | SOUTH | HSR | S12 | Panduranga Nagar | RBI | F9 | TC-3,TC-25,TC-175,TC-487,TC-172 | Convertion | Capex | N-15445 Dt:16.09.2021 |  | 2022-01-22 | Kothnur main road, ganesha temple, Rose Gardent , vasantha valabha &surrounding |  |  | 10:00 | 18:00 | 8:00 | NO | BESCOM
12 | SOUTH | HSR | S13 | Electronic city | Velankani | F15 | 12 | RMU & Preventive maintenance and Tree trimimg works | Maintenance | _ |  | 2022-01-22 | Green house layout , Doddathogur |  |  | 11:00 | 14:00 | 3:00 | NIL | BESCOM
13 | SOUTH | HSR | S11 | Bellandur | Shobha | F-08 Shobha | TC 673, 674, 672, 211, S11 HT 134, 1175 | Conversion of 11kv OH line in to UG cable of F-13 Shobha MUSS feeder feeding to diff locations of Bellandur O&M | Capex |  |  | 2022-01-22 | Samayaka APPT |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
14 | SOUTH | HSR | S11 | KASAVANAHALLI | shobha | F-18 shobha | RMU charging | Conversion of 11kv OH line in to UG cable of F-06 DB Halli MUSS feeder feeding to diff locations of Kasavanahalli O&M | Capex |  |  | 2022-01-22 | muneshwara temple road |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
15 | EAST | INDIRANAGAR | E11 | AKSHAY NAGAR | ITI | F8 ANANDAPURA |  | 240 Sqmm Cable Charging | Capex |  |  | 2022-01-22 | OBMR L/O |  |  | 10:00 | 16:00 | 6:00 |  | BESCOM
16 | EAST | INDIRANAGAR | E11 | Bhattarhalli | ITI | F2 MEDAHALLI |  | GOS & 95 Sqmm & AB Cable Charging | Capex |  |  | 2022-01-22 | Tata Steel |  |  | 10:00 | 16:00 | 6:00 |  | BESCOM
17 | EAST | INDIRANAGAR | E10 | BGH | ITI | F5 ITI | Shiva Temple TC | LT AB Cable Laying+ Dismantling | Capex | 405/19/OH to UG/IND/14-192/F-3134 |  | 2022-01-22 | Vivkannda Street, Nehru Street |  |  | 250:00 | 400:00 | 150:00 | Part Feeder | BESCOM
18 | EAST | INDIRANAGAR | E10 | KGP | NGEF | F16 NGEF | DTC 134 | Dismantling | Capex | 405/20/Inr/OH to UG/14-202/G-1033 |  | 2022-01-22 | NAGAVARA PALYA ROAD |  |  | 250:00 | 400:00 | 150:00 | Part Feeder | BESCOM
19 | EAST | INDIRANAGAR | E10 | BGH | NGEF | F8 NGEF | DTC Church, DTC 321, | Dismantling | Capex | 405/21/INR/OH to UG/14-192/H-1310 |  | 2022-01-22 | PAI LAYOUT |  |  | 250:00 | 400:00 | 150:00 | Part Feeder | BESCOM
20 | EAST | INDIRANAGAR | E10 | KGP | BGM | F17 & F14 BGM | BG 408,127,358,613 | GOS & LT AB CABLE | Capex |  |  | 2022-01-22 | KG Pura Main Road |  |  | 250:00 | 400:00 | 150:00 | Part Feeder | BESCOM
21 | EAST | SHIVAJINAGAR | E5 | COOKS TOWN | PR | F-7 | 26 | HT UG cable raising and structure work uinder OH to UG conversion project | Capex | G-45950 (31.03.2020) | LT Line | 2022-01-22 | LIQUOR SHOP TC |  |  | 10:00 | 17:00 | 7:00 | - | BESCOM
22 | EAST | SHIVAJINAGAR | E5 | LINGARAJAPURA | BANASWADI | F9 | 0 | HT UG cable raising and structure work uinder OH to UG conversion project | Capex | G-45751 (31.03.2020) | HT LINE | 2022-01-22 | BANASWADI MAIN ROAD |  |  | 10:00 | 17:00 | 7:00 | - | BESCOM
23 | EAST | SHIVAJINAGAR | E9 | GOVINDAPUR | HBR | F-06 | TC 54 to 68 | Maintainance | Maintenance | NIL | 11 kv Branch line | 2022-01-22 | Nagawara Main Road |  |  | 10:00 | 72:00 | 62:00 | - | BESCOM
24 | EAST | WHITEFIELD | E12 | HOODY | HOODY | F07-I.T.I-AUXILLARY | ALL | OH TO UG CABLE WORK | Capex |  |  | 2022-01-22 | GRAPHITE ROAD |  |  | 11:00 | 14:00 | 3:00 |  | BESCOM
25 | NORTH | JALAHALLI | C3 | Jalahally | Gokul | F7 - MES road |  | For GOS Maintenance & Tree trimming, Sag correction | Maintenance |  |  | 2022-01-22 | Muthyalanagar |  |  | 12:00 | 13:00 | 1:00 |  | BESCOM
26 | NORTH | JALAHALLI | N9 | HESARAGHATTA | SOLADEVANAHALLI | F-4 HESARAGHATTA EXP & F-8 SASUVEGHATTA |  | HT JUMP REPLACEMENT , TREE TRIMMING WORKS & GOS MAINTAINANCE | Maintenance |  |  | 2022-01-22 | HULICHIKKANAHALLI, KT PURA, TB CROSS, HESARAGHATTA, BILIJAJI, DASENAHALLI, GUDDDADAHJALLI, BGS COLLEGE, CCBF, CPDO, KMF, CENTRAL POULTRY, DANISH FARM PARTS OF NELAMANGA & KANASAWADI O&M |  |  | 11:00 | 14:00 | 3:00 |  | BESCOM
27 | NORTH | JALAHALLI | N9 | D BYALAKERE | ABBIGERE | F-7 ABBIGERE |  | HT JUMP REPLACEMENT | Maintenance |  |  | 2022-01-22 | MYDARAHALLI, VINAYAKA LAYOUT, SHETTIHALLI RAILWAY GATE |  |  | 11:00 | 13:00 | 2:00 |  | BESCOM
28 | NORTH | HEBBAL | C7 | 19A | PUTTENAHALLI | F13 | Shanthini HT, tc 248, HT 20, SLV Vaibhav 1&2, SLV defence HT, HT 19, HT 677,HT 266 | Conversion of 11KV OH to UG Line for F13 ( Puttenahalli Muss) Venkatala BLR Feeder in Yelahanka Old Town O&M 19A of C7 Sub Division, Hebbal Division | Capex | B-4830 & 08.01.2021 |  | 2022-01-22 | Vinayak nagar 5thd cross Rd |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
29 | NORTH | HEBBAL | C7 | 19A | PUTTENAHALLI | F12 | TC 341, HT 128, HT 206, HT55, HT 342, | Conversion of 11KV OH to UG Line for F12 ( Puttenahalli Muss) MARUTHI NAGAR BLR Feeder in Yelahanka Old Town O&M 19A of C7 Sub Division, Hebbal Division | Capex | B-4832 & 08.01.2021 |  | 2022-01-22 | NH road, from kogilu |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
30 | NORTH | HEBBAL | C7 | 19A | PUTTENAHALLI | F1 | Sri Lakshmi HT, colive PG HT, SPHT 13, TC 678 | Conversion of 11KV OH to UG Line for F1 ( Puttenahalli Muss) Bagalur Air Force feeder Feeder in Yelahanka Old Town O&M 19A of C7 Sub Division, Hebbal Division | Capex | C-3988 & 22.07.2021 |  | 2022-01-22 | Baba Nagar |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
31 | NORTH | HEBBAL | C7 | 19 | KHB | F12 | Someshwara Nagr | Estimate for Conversion of Existing11 KV HT OverHead Line into HT UG cable pertaining to F-12 Feeder KHB MUSS, Feeding to different locations of C-7 Sub-division ,under Phase-II on total Turnkey Basis Under RC-10. | Capex | 2021/OH to UG/14-192/HT/Phase-II/RC-10/C7/C-3990 |  | 2022-01-22 | Someshwara Nagr |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
32 | NORTH | HEBBAL | C7 | 19A | KHB | F11 | DTC-696, DTC-571 | Conversion of 11KV OH to UG Line for F11 ( KHB Muss) Feeder in Yelahanka Old Town O&M 19A of C7 Sub Division, Hebbal Division | Capex | B-4832 & 08.01.2021 |  | 2022-01-22 | JAKUUR MAIN ROAD NEAR BARODA BANK |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
33 | WEST | KENGERI | K1 | Kengeri | RR Nagara | F3 |  | Estimate for Conversion of HT Overhead to HT UG Cable for F3 Feeder BWSSB Feeder emanating from RR Nagara MUSS in O&M U-22 kengeri of K1 Sub Dvn, Kengeri Dvn. Under (RC 14) Total turnkey basis | Capex | I-15017 I-15217 I-15317 Dt:22.02.2021 |  | 2022-01-22 | Balaji Layout Vijayshree Layout Mukambika Layout BHEL Layout |  |  | 9:00 | 17:00 | 8:00 |  | BESCOM
34 | WEST | KENGERI | K1 | Kengeri | RR Nagara | F6 |  | Estimate for Conversion of HT Overhead to HT UG Cable for F6 Feeder Doddabele Feeder emanating from Provident MUSS in O&M U-22 kengeri of K1 Sub Dvn, Kengeri Dvn. Under (RC 14) Total turnkey basis | Capex | J-15104 J-15304 J-15404 Dt:03.04.2021 |  | 2022-01-22 | Doddaballi Road, Good darth Road |  |  | 9:00 | 17:00 | 8:00 |  | BESCOM
35 | WEST | KENGERI | K1 | Kengeri | VRUSHABHAVATHY | F12 |  | Estimate for Conversion of HT Overhead to HT UG Cable for F12 -RV College Feeder emanating from vrishabhavathi MUSS in O&M U-22 kengeri of K1 Sub Dvn, Kengeri Dvn. | Capex | J-15107 J-15307 J-15407 Dt:17.04.2021 |  | 2022-01-22 | Harsha layout,Vidyapit Road,BGS Hospital Road,Mysore Hyway |  |  | 9:00 | 17:00 | 8:00 |  | BESCOM
36 | WEST | KENGERI | K2 | DB Kallu | Widea | F-9 |  | Estimate for conversion of 11KV OH Line to HT UG Cable of F09 feeder from Widia muss in Doddabidarakallu O&M-3, K2 Sub divin, Kengeri Divin, Bangalore | Capex | I-15410 I-15610 I-15710 ,DT:22-02-2021 |  | 2022-01-22 | Parlay guest House |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
37 | WEST | KENGERI | K2 | Herohalli | Byadarahalli | F-3 |  | Estimate for conversion of 11KV OH Line to HT UG Cable of F3 feeder from Byadarahalli muss in Herohalli O&M-1, K2 Sub divin, Kengeri Divin, Bangalore-91 | Capex | I-15404 I-15704 I-15604 ,DT:13-01-2021 |  | 2022-01-22 | Thungha Nagar |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
38 | WEST | KENGERI | K2 | Herohalli | Byadarahalli | F-4 |  | Estimate for conversion of 11KV OH Line to HT UG Cable of F4 feeder from Byadarahalli muss in Herohalli O&M-1, K2 Sub divin, Kengeri Divin, Bangalore-91 | Capex | J-15504 J-15704 J-15804 Dt:28-10-2021 |  | 2022-01-22 | Achraya collage Andrahalli |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
39 | WEST | KENGERI | K2 | Herohalli | Byadarahalli | F-6 |  | Estimate for conversion of 11KV OH Line to HT UG Cable of F6 feeder from Byadarahalli muss in Herohalli O&M-1, K2 Sub divin, Kengeri Divin, Bangalore-91 | Capex | I-15416 I-15616 I-15716 ,DT:22.02.2021 |  | 2022-01-22 | Hosahalli Road |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
40 | WEST | KENGERI | K4 | KST | B MUTT | F9 |  | Estimate for Conversion of HT Overhead to HT UG Cable for F09 Feeder Satellite Club Feeder BANDEMUTTA MUSS in O&M U21 K4 Sub Dvn, Kengeri Dvn.RC 14 | Capex | J-15105 J-15305 J-15405 Dt:17.04.2021 |  | 2022-01-22 | SIR MV 1st Block |  |  | 9:00 | 17:00 | 8:00 |  | BESCOM
41 | WEST | KENGERI | K4 | KST | SIR MV | F15 |  | Estimate for Conversion of HT Overhead to HT UG Cable for F15 Feeder KHB PLATINUM FEEDER, SIR M V MUSS, in O&M U21 K4 Sub Dvn, Kengeri Dvn.RC 14 | Capex | I-15025 I-15225 I-15325 Dt:22.02.2021 |  | 2022-01-22 | Gandi Nagar |  |  | 9:00 | 17:00 | 8:00 |  | BESCOM
42 | WEST | KENGERI | K4 | RR Layout | SIR MV | F4 |  | Estimate prepared for convertion of OH to HT UG Cable for F4 Feeder RR Layout of Sir M V MUSS in O&M-24 RR Layoutof K-4 Subdivison Nagadevanhalli Bangalore-56 | Capex | I-15023 I-15223 I-15323 Dt:22.02.2021 |  | 2022-01-22 | BDA Area Block -1 |  |  | 9:00 | 17:00 | 8:00 |  | BESCOM
43 | WEST | KENGERI | K4 | RR Layout | SIR MV | F6 |  | Estimate prepared for convertion of OH to HT UG Cable for F6 Feeder RR Layout of Sir M V MUSS in O&M-24 RR Layoutof K-4 Subdivison Nagadevanhalli Bangalore-56 | Capex | I-15021 I-15221 I-15321 Dt:22.02.2021 |  | 2022-01-22 | Bhuveneswar Nagar,dodabasti Main Road, kalyani Layout,RR layout, Upadhya Layout |  |  | 9:00 | 17:00 | 8:00 |  | BESCOM
44 | BRC | HOSAKOTE | AV1 | Manduru | 66/11KV Hosakote | F-13 Manduru | 112 | For arranging power supply to private residential layout of M/s Ecosprings Pvt Ltd at kattugollahalli Village | Capex | S-140014 / 18-09-2020 |  | 2022-01-22 | Huskuru, Bendaiganahalli, Laghumenehalli, Pruksha, Nimbekaipura, Bommenahalli, Manduru , Gunduru, hancharahalli , Kattugollahalli , Sringaripura, Jyothipura, Thirumenahalli |  |  | 11:00 | 17:00 | 6:00 | For replacement of 2/Rabbit ACSR Conductor by Coyote Conductor | BESCOM
45 | BRC | HOSAKOTE | AV1 | Manduru | 66/11KV Hosakote | F-16 Budigere | 175 | For arranging power supply to private residential layout of M/s Ecosprings Pvt Ltd at kattugollahalli Village | Capex | S-140014 / 18-09-2020 |  | 2022-01-22 | Huskuru, Bendaiganahalli, Laghumenehalli, Pruksha, Nimbekaipura, Bommenahalli, Manduru , Gunduru, hancharahalli , Kattugollahalli , Sringaripura, Jyothipura, Thirumenahalli |  |  | 11:00 | 17:00 | 6:00 | For replacement of 2/Rabbit ACSR Conductor by Coyote Conductor | BESCOM
46 | RAMANAGARA | CHANDAPURA | AT1 | Mayasandra | Attibele | F24 janadhara shubha & F5 mayasandra |  | Tree trimming & 11 KV/LT jump replacement. GOS maintaminance, LT lead relacement, Jungle cutting and KRDCL WORK | Maintenance |  |  | 2022-01-22 | Janadhara Shubha phase 1 & 2, Ramalinga Reddy industrial estate, Shettihalli village |  |  | 11:00 | 14:00 | 3:00 |  | BESCOM
47 | RAMANAGARA | CHANDAPURA | AT1 | Sarjapura,Dommasandra | Dommasandra | F05-NERIGA, F09-CHAMBENAHALLI & F11-NIRANTHARA-JYOTHI |  | Tree trimming & 11 KV/LT jump replacement. GOS maintaminance, LT lead relacement, Jungle cutting | Maintenance |  |  | 2022-01-22 | Kuthganhalli,Kamanahalli,Chikkanahalli,Madapanahalli,Koogur,Banahalli |  |  | 11:00 | 14:00 | 3:00 |  | BESCOM
48 | RAMANAGARA | CHANDAPURA | JN1 | Jigani | Jigani_66/11kv | F3-NANJAPURA |  | TREE TRMMING WORK | Maintenance |  |  | 2022-01-22 | Nanjapura Village |  |  | 10:00 | 14:00 | 4:00 |  | BESCOM
49 | RAMANAGARA | CHANDAPURA | AN1 | Anekal Town | AKLMUSS | F-06 IB |  | Tree triming , Transformet yard Cleaning and GOS maintaince | Maintenance |  |  | 2022-01-22 | Mahathma Temple , Rama Temple |  |  | 12:10 | 14:20 | 2:10 |  | BESCOM
50 | RAMANAGARA | CHANDAPURA | AN1 | Anekal O&M Unit | AKLMUSS | F-08 Chilling centre |  | Tree triming , Transformet yard Cleaning and GOS maintaince | Maintenance |  |  | 2022-01-22 | Venteswar Takies , Haldenahalli , Vidhath School , Ram kutter |  |  | 9:30 | 12:00 | 2:30 |  | BESCOM
51 | KOLAR | KOLAR | KL1 | O & M-4 | 220/66/11kv Kolar | F2 & F4 Feeders |  | for shifting of 250 KVA Trans former as per request of sri A Anand kumar at jayanagara under DCW | Maintenance | D25471/24/11/2021 |  | 2022-01-22 | jayanagara petechamanahalli RG lay out |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
52 | TUMKUR | TUMKUR | TK1 | North Section | Antharasanahalli(AF-03) Yallapura | AF-03 YALLAPURA | 59 | Jungle cutting | Maintenance |  |  | 2022-01-22 | Antharasanahalli,sathyasai layout |  |  | 11:00 | 14:00 | 3:00 | Partial feeder | BESCOM
53 | DAVANAGERE | DAVANAGERE | DV2 | Unit-1 | AVARAGERE_66 | F-16 GOSHALA | 12 | DEPARTMENT | Maintenance | ---- |  | 2022-01-22 | GOSHALA , RUDRAPPA RICE MILL, MAHINDRA SHOW ROOM |  |  | 10:00 | 17:00 | 7:00 | ---- | BESCOM
54 | DAVANAGERE | DAVANAGERE | DV2 | Unit-2 | DAVANAGERE_66 | F-04 BT | 58 | DEPARTMENT | Maintenance | ---- |  | 2022-01-22 | Mandakki batti karl marx nagar siddarameshwar nagar indira nagar koli channappa |  |  | 10:00 | 17:00 | 7:00 | ---- | BESCOM
55 | DAVANAGERE | DAVANAGERE | DV2 | Unit-2 | DAVANAGERE_66 | F-11 LF-1 | 48 | DEPARTMENT | Maintenance | ---- |  | 2022-01-22 | mandipete, binny company road, chamaraj pete circle, clock tower, mahaveer road |  |  | 10:00 | 17:00 | 7:00 | ---- | BESCOM
56 | DAVANAGERE | DAVANAGERE | DV2 | Unit-3 | YARAGUNTA_66 | F-15 COMMERCIAL | 41 | DEPARTMENT | Maintenance | ---- |  | 2022-01-22 | DODDA PETE,VIJAYALAXMI ROAD,CHOWKIPETE,BASAVARAJ PETE,HAGEDIBBA CIRCLE, AMBEDKAR CIRCLE |  |  | 10:00 | 17:00 | 7:00 | ---- | BESCOM
57 | DAVANAGERE | DAVANAGERE | DV2 | Unit-3 | YARAGUNTA_66 | F-06 SHIVALI | 103 | DSCL/DEPARTMENT | Maintenance | ---- |  | 2022-01-22 | SPS NAGARA, BN LAYOUT FIRST,BASHA NAGARA 1 TO 7TH CROSS,RAJAULLA MUSTAFA NAGARA, BD LAYOUT ,SSM NAGARA,RAJKUMAR LAYOUT |  |  | 10:00 | 17:00 | 7:00 | ---- | BESCOM
58 | DAVANAGERE | DAVANAGERE | DV2 | UNIT-4 | DAVANGERE | DURGAMBIKA | 33 | DSCL DAVANGERE | Maintenance | ---- |  | 2022-01-22 | HONDADA CIRCLE, JALI NAGARA, SHIVAJI NAGARA M B KERI. CHALUVADI KERI. |  |  | 10:00 | 16:00 | 6:00 | ---- | BESCOM
59 | DAVANAGERE | DAVANAGERE | DV2 | Unit-1 | AVARAGERE_66 | F-14 MAHAVEERA | 53 | DEPARTMENT | Maintenance | ---- |  | 2022-01-22 | BT Layout,KR ROAD.IMAM NAGARA .ARLI MARA CIRCLE, MAGANAHALLI ROAD,BETHUR ROAD. |  |  | 10:00 | 17:00 | 7:00 | ---- | BESCOM
60 | TUMKUR | TIPTUR | TP1 | O&M-3,4 | BANDIHALLI_110KV | F9 Ramenahalli | 67 | Shifting of 11 Kv Line Spot at National High Way | Maintenance |  |  | 2022-01-22 | Ramenahalli, Huchagondanahalli, Peddihalli, Kallegowdanapalya, Annamlenahalli, Eralagere, Ramashetihalli |  |  | 10:00 | 18:00 | 8:00 |  | BESCOM
61 | TUMKUR | TIPTUR | TP1 | O&M-3,4 | BANDIHALLI_110KV | F7 Kotanayakanahalli | 69 | Shifting of 11 Kv Line Spot at National High Way | Maintenance |  |  | 2022-01-22 | Huchagondanahalli, Kotanayakanahalli, Maruthibadavane, Peddihalli, Bommenahalli |  |  | 10:00 | 18:00 | 8:00 |  | BESCOM
62 | TUMKUR | TIPTUR | TU1 | O&M-1 | THALKERE | F1-MANGIKUPPE, F2 -TALKERE, & F3 AYARAHALLI | 48 | Link line from D KALKERE GADDE BAILU TO THORE to reduce the over load of overload Feeder | Maintenance |  |  | 2022-01-22 | MANGIKUPPE , TALKERE, AYARAHALLI |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
63 | TUMKUR | MADHUGIRI | MG1 | BADAVANAHALLI O&M-2 | PULAMAGATTA 66/11KV | F01-RANATAVALA, F02-KOTAGARALAJAHALLI, F03-BASAVANAHALLI, F04-SARJAMMANAHALLI NJY | 224 | For Bifurcation of FROM F-6 Thonachagondanhalli to F2 Kotagarlahalli feeder in Badavanahalli o&m-2 section(Bullasandra village to Bullasandra G Hatti) | Capex | R-4602/27.01.2021 |  | 2022-01-22 | KOTAGARLAHALLI, BULLASANDRA, HONNAPURA, SARJAMMANAHLLI, BHEEMANAKUNTE |  |  | 10:00 | 18:00 | 8:00 |  | BESCOM
64 | DAVANAGERE | CHITRADURGA | CD1 | O&M-1 | 66/11 kv muss chithradurga | F-12 JCR | 48 | road widening work | Capex |  |  | 2022-01-22 | JCR EXTENSION 5.6.7.JCR 1ST CROSS,MARUTHI NAGARA ,GOPALAPURA ROAD,IMATH NAGARA,JAYAPADMA BUILDING, ANJUMAN CERCIAL,G-7 SUPER MARKET UDAYA NARSINGHOME |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
65 | DAVANAGERE | CHITRADURGA | CD1 | O&M-1 | 66/11 kv muss chithradurga | F-1 Nagara | 69 | road widening work | Capex |  |  | 2022-01-22 | CHIF OFFICE,BL GOWDA LEYOUT SUTHAMUTHA,THIJJI CERCAL SUTHAMUTHA,BESCOM DIVISION OFFICE,DC OFFICE SUTHAMUTHA,TB SUTHAMUTHA,LAKSHMI BAJAR SUTHAMUTHA,MYSOOR BANK SUTHAMUTHA,CHIKKAPETE SUTHAMUTHA,DODDAPETE SUTHAMUTHA |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
66 | DAVANAGERE | CHITRADURGA | CD1 | O&M-2 | 66/11 kv muss chithradurga | F-8 vidyanagara | 210 | road widening work | Capex |  |  | 2022-01-22 | vidyanagara,THARALHABALHU NAGARA M.K HALLI, M.R. NAGARA,TRAK TARMINAL,HANUMANTHA NAGARA, JMIT COLONY HIMBAGA |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
67 | WEST | RAJAJINAGAR | N3 | 9 | NRS | F23 | 378 | ERECTION OF POLE AND LAYING OF AB CABLE | Capex | WORK ORDER NUMBER YET TO BE RECEIVED |  | 2022-01-22 | HP PETROL BUNK AND SURROUNDING AREA WARD NO106 | 0 | 356 | 10:30 | 17:30 | 7:00 | WORK ORDER TO BE ISSUED -CONTRACTOR HAS AGREED TO COMPLETE THE WORK | BESCOM
68 | WEST | RAJAJINAGAR | N2 | O&M-5 | Chandralayout | Chandralayout/F2 | 2)DTC84-ADJASCENT TO WIIDIA LAYOUT 13)DTC155- NEAR VINAYAKA LAYOUT 14)DTC190-VINAYAKA LAYOUT 15)DTC316-VINAYAKA LAYOUT 1ST MAIN 16)DTC83- SUBBANNA GARDEN17)DTC328- SUBBANNA GARDEN 18)DTC147-SHIVANANDNAGARA | Estimate for conversion of LT Overhead line in to AB Cable pertaining to F2 Feeder , Chandralayout MUSS in O&M-5,N2 Sub-division. | Capex | 2021/RN/14.1927/P-113457/15-04-2021 |  | 2022-01-22 | SHIVANANDNAGARA, ,VINAYAKA LAYOUT 3RD MAIN,VINAYAKA LAYOUT 1ST MAIN,MOODALAPALYA, | 2 | 1978 | 10:30 | 17:30 | 7:00 |  | BESCOM
69 | WEST | RAJAJINAGAR | N2 | O&M-4 | Chandralayout | Chandralayout/F4 | 5)N2T-60, karnataka pharmacy 6)N2T-106, opp, coffee day7)N2T-18.club,8)N2T-54, 3rd main RPC Layout 9)N2T-17,Moori 5th main Rpc layout, | Estimate for conversion of LT Overhead line in to AB Cable pertaining to F4 Feeder , Chandralayout S/S in O&M-4,N2 Sub-division. | Capex | 2020/RN/14-1927/N106341/DTD:19-11-2020 |  | 2022-01-22 | 4th main,5th main, Hampinagara, Remco layout, service Road Hampinagara, | 0 | 1785 | 10:30 | 17:30 | 7:00 |  | BESCOM
70 | WEST | RAJAJINAGAR | N6 | O&M2 (SUNKADAKATTE) | SRIGANDHA KAVALU | F-6 | 816, 342, 126,215, 125,343, 341, 893,54 | ESTIMATE FOR CONVERSION OF HT OH TO UG AND LT OVERHEAD LINE TO LT AB CABLE IN F -06 FEEDER OF SRIGANDHA KAVALU MUSS IN O&M-02 OF N6 SUB DIVISION | Capex | N-106347 / 2.11.2020 |  | 2022-01-22 | SUNKADAKATTE, PIPELINE RAOAD SUNAKADAKATTE. | 0 | 785 | 10:30 | 17:30 | 7:00 |  | BESCOM
71 | WEST | RAJAJINAGAR | N6 | O&M-1 (KAMAKSHIPALYA) | BYADARAHALLI | F9 | TC- 108,113,114,115, | ESTIMATE FOR CONVERSION OF HT OH TO UG AND LT OVERHEAD LINE TO LT AB CABLE IN F -09 FEEDER OF BYADARAHALLI MUSS IN O&M-01 OF N6 SUB DIVISION | Capex | P-113463/ 15.4.2021 |  | 2022-01-22 | KAREEM SAB LAYOUT, NEAR KONEGA GARMENTSSOWMYA PACKING PIPE LINE ,SUNKADAKKTTEDR WATERRAMAN COMPOUNDD.R INDUSTRIESHI TECH PRECISION | 0 | 5214 | 10:30 | 17:30 | 7:00 | Work will be taken up as schelduled from 5th Jan 2022 | BESCOM
72 | WEST | RAJAJINAGAR | N2 | O&M-4 | Telecom layout | Telecom layoutF-6 | 1)N2T-75,addl Govt middle school,2)N2T-11,Govt middle school,3)N2T-53,Adichuchanagiri,4)N2T-35,Addl Grave yard,5)N2T-36,Prabhakar | Estimate for conversion of LT Overhead line in to AB Cable pertaining to F-6 Feeder , Telecom layout S/S in O&M-4,N2 Sub-division. | Capex | 2020/RN/14-1927/N106261/DTD:02-11-2020 |  | 2022-01-22 | 2nd main, 3rd main,4th main, Hampinagara, 1st D main, 1st main, Binny layout, pipeline, | 1 | 2345 | 10:30 | 17:30 | 7:00 |  | BESCOM
73 | WEST | RAJAJINAGAR | N2 | O&M-5 | Chandralayout | Chandralayout/F2 | 19)DTC156- VINAYAKA LAYOUT 3RD MAIN 20)DTC315-VINAYAKA LAYOUT 1ST MAIN 21)DTC59-MOODALAPALYA 22)DTC46- CHANDRA LAYOUT 23)DTC90- CHANDRA LAYOUT 24)DTC18-GKW LAYOUT 25)DTC115-GKW LAYOUT | Estimate for conversion of LT Overhead line in to AB Cable pertaining to F2 Feeder , Chandralayout MUSS in O&M-5,N2 Sub-division. | Capex | 2021/RN/14.1927/P-113457/15-04-2021 |  | 2022-01-22 | CHANDRA LAYOUT,GKW LAYOUT,PF LAYOUT,VINAYAKA LAYOUT,VINAYAKA LAYOUT 3RD MAIN,VYALIKAVAL LAYOUT | 1 | 1512 | 10:30 | 17:30 | 7:00 |  | BESCOM
74 | WEST | RAJAJINAGAR | N3 | 9 | NRS | F16 | 392 | ERECTION OF POLE AND LAYING OF AB CABLE | Capex | WORK ORDER NUMBER YET TO BE RECEIVED |  | 2022-01-22 | KHB COLONY 2ND STAGE BASAVESHWARANAGAR BANGALORE WARD NO105 | 0 | 259 | 10:30 | 17:30 | 7:00 | WORK ORDER TO BE ISSUED -CONTRACTOR HAS AGREED TO COMPLETE THE WORK | BESCOM
75 | WEST | RAJAJINAGAR | N3 | 9 | NRS | F3 | 500 | ERECTION OF POLE AND LAYING OF AB CABLE | Capex | WORK ORDER NUMBER YET TO BE RECEIVED |  | 2022-01-22 | 8TH CROSS WEST OF CHORD ROAD WARD NO 107 | 0 | 310 | 10:30 | 17:30 | 7:00 | WORK ORDER TO BE ISSUED -CONTRACTOR HAS AGREED TO COMPLETE THE WORK | BESCOM
76 | WEST | RAJAJINAGAR | N2 | O&M-5 | Chandralayout | Chandralayout/F2 | 26)DTC87-PF LAYOUT 27)DTC88-PF LAYOUT 28)DTC49-VINAYAKA LAYOUT 29)DTC314-VINAYAKA LAYOUT 3RD MAIN 30)DTC245-VYALIKAVAL LAYOUT 31)DTC265-VYALIKAVAL HBCS 32)DTC89-KPA BLOCK CHANDRALAYOUT. | Estimate for conversion of LT Overhead line in to AB Cable pertaining to F2 Feeder , Chandralayout MUSS in O&M-5,N2 Sub-division. | Capex | 2021/RN/14.1927/P-113457/15-04-2021 |  | 2022-01-22 | VYALIKAVAL HBCS KPA BLOCK, CHANDRALAYOUT. | 0 | 1214 | 10:30 | 17:30 | 7:00 |  | BESCOM
77 | WEST | RAJAJINAGAR | N2 | O&M-4 | Telecom layout | Telecom layoutF-6 | 6)N2T-37, Ramesh 7th main Rpc layout,7)N2T-92,opp, swimming pool,8)N2T-76,Geeth mandira, 9)N2T-27, Hosahalli 10)N2T-28, Chamundi | Estimate for conversion of LT Overhead line in to AB Cable pertaining to F-6 Feeder , Telecom layout S/S in O&M-4,N2 Sub-division. | Capex | 2020/RN/14-1927/N106261/DTD:02-11-2020 |  | 2022-01-22 | 1st main 9th K main, 9th H main, 9th main, Hosahalli Vijayanagara, 6th main , 5th cross, 10th cross, 1 | 1 | 2145 | 10:30 | 17:30 | 7:00 |  | BESCOM
78 | WEST | RAJAJINAGAR | N6 | O&M-1 (KAMAKSHIPALYA) | BYADARAHALLI | F9 | 1.1612e+23 | ESTIMATE FOR CONVERSION OF HT OH TO UG AND LT OVERHEAD LINE TO LT AB CABLE IN F -09 FEEDER OF BYADARAHALLI MUSS IN O&M-01 OF N6 SUB DIVISION | Capex | P-113463/ 15.4.2021 |  | 2022-01-22 | VIJAYALAKSHMIN KALAYANASTRERLAM FACTORYSYSTEMATICS EXPORTSLAKSHMI CHEMICALPRABHAKAR 2KARIYANNA EX CHARMANIE | 0 | 4125 | 10:30 | 17:30 | 7:00 |  | BESCOM
79 | WEST | RAJAJINAGAR | N2 | O&M-4 | Telecom layout | Telecom layoutF-6 | 11)N2T-29, Binny 12)N2T-52, Corportion bank 13)N2T-148, Addl prabhakar 14)N2T-30, cambridge school 15)N2T-34, Grave yard, RPClayout, | Estimate for conversion of LT Overhead line in to AB Cable pertaining to F-6 Feeder , Telecom layout S/S in O&M-4,N2 Sub-division. | Capex | 2020/RN/14-1927/N106261/DTD:02-11-2020 |  | 2022-01-22 | 1th cross, 12th cross, 7th main, pipeline, Haminagara, | 0 | 1789 | 10:30 | 17:30 | 7:00 |  | BESCOM
80 | WEST | RAJAJINAGAR | N2 | O&M-5 | Chandralayout | chandralayout/F6 | 1)DTC269-NANJARASAPPA LAYOUT, 2)DTC327- NEAR SKYLINE BBMP PARK, 3)DTC222- BAPUJI HBCS LAYOUT, 4)DTC330 MARUTHINAGARA, 5)DTC320-CHANDRA LAYOUT, | Estimate for conversion of LT Overhead line in to AB Cable pertaining to F6 Feeder , Chandralayout MUSS in O&M-5,N2 Sub-division. | Capex | 2021/RN/14.1927/P-113458/15-04-2022 |  | 2022-01-22 | NANJARASAPPA LAYOUT NEAR SKYLINE BBMP PARK BAPUJI HBCS LAYOUT CANARA BANK COLONY,MARUTHINAGARA CHANDRA LAYOUT | 1 | 1458 | 10:30 | 17:30 | 7:00 |  | BESCOM
81 | WEST | RAJAJINAGAR | N3 | 9 | NRS | F23 | 213 | ERECTION OF POLE AND LAYING OF AB CABLE | Capex | WORK ORDER NUMBER YET TO BE RECEIVED |  | 2022-01-22 | WEST OF CHORD ROAD SURROUNDING AREA WARD NO 106 | 0 | 296 | 10:30 | 17:30 | 7:00 | WORK ORDER TO BE ISSUED -CONTRACTOR HAS AGREED TO COMPLETE THE WORK | BESCOM
82 | DAVANAGERE | CHITRADURGA | HL1 | Shivaganga | Chitralli | F-8 SHIVAGANGA | 189 | 11KV link line for bifurcate the load from F-8 Shivaganga feeder from Echaghatta MUSS to Mahadevapura limits | Capex |  |  | 2022-01-22 | Shivaganga,Mahadevapura,madderu,Gilikenahalli Halehalli |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
83 | TUMKUR | KUNIGAL | KU1 | O&M-2 | Kempanahally 66/11KV | F-09 Kempanahalli | 38 | Replacement of Existing 4ACSR conductor by Rabbit conductor from MUDALAPALYA to GOWDAYANAPALYA of feeder F09-KEMPASAGARA at O&M-2 section in kunigal sub division | Capex |  |  | 2022-01-22 | Mudalapalya |  |  | 10:30 | 14:30 | 4:00 |  | BESCOM
84 | TUMKUR | KUNIGAL | KU1 | O&M-2 | Bhaktharahally 66/11KV | F11 Bagenahalli | 1 | Estimate for LT Reconductring of 2/4 ACSR Conductor by New Rabbit conductor of 63 KVA DTC in F11 Bagenahalli feeder at Kurudihalli Village in O&M-2 Section, Kunigal Sub division, Kunigal Division | Capex |  |  | 2022-01-22 | Kurudihalli |  |  | 11:00 | 16:00 | 5:00 |  | BESCOM
85 | TUMKUR | KUNIGAL | HLD | H Durga | 66/11KV Nidasale MUSS | F3 YKR | 32 | EST FOR HT RECONDUCTORING FROM UJJINI TO CHALAMASANDRA VILLAGE F03 Y K R FEEDER IN H.DURGA SECTION H DURGA S/D | Capex |  |  | 2022-01-22 | CHALAMASANDRA VILLAGE |  |  | 10:00 | 15:00 | 5:00 |  | BESCOM
86 | DAVANAGERE | HIRIYUR | HY1 | HIRIYUR | HIRIYUR | NH4 BYPASS | [5 empty] | 2022-01-22 | PAVAGADA ROAD AND GANDHINAGARA |  |  | 10:00 | 18:00 | 8:00 |  | BESCOM

## O&M SO Numbers (hidden)
Sl No | Sub Division | AEE Name | AEE Number | O&M Name | AE Name | AE Whats app Number | JE / SO Name | JE / SO Whats app Number
1 | S1 | Ramadevi | 9449844661 | Jayanagar | Nagaraj | 9449840404 |  | `
2 |  |  |  | Jayanagar T Block | Prakash | 8880468232
3 |  |  |  | Jayanagar 8th Block | Prakash | 8880468232
4 | S2 | Ramesh | 9449844662 | S.R.Nagar | Mahesh | 9449840413
5 |  |  |  | Wilson Garden | Lokesh Kumar | 9449840411
6 |  |  |  | Shanthi Nagar | Lokesh | 9449840411
7 | S5 | Mohan Kumar | 9449844665 | Vasanthapura | Vinay Kumar | 9449867507
8 |  |  |  | ISRO Layout | Rajesh | 9008762527
9 | S18 | Jagadish | 827789318 | Chikkalasandra | Shivashankar | 9449840421
10 |  |  |  | Poorna Pragna Layout | Anil Kumar | 9972034347
11 | S6 | Prakash | 9449844660 | Konana Kunte | Ramesh Danigonda | 9449840430
12 |  |  |  | JP Nagar | Ramaprasad | 9449840423
13 |  |  |  | Puttenehalli | Krishnaiah | 9449840425
14 | S9 | Kavitha | 9449844669 | BSK 2nd stage | Rudresh | 9739516864
15 |  |  |  | Padmanabha Nagar | Geetha | 8904270868
16 | S14 | Venkatesh Sagar | 8277893196 | JP Nagar 2nd Phase | Anand | 9449840426
17 |  |  |  | BTM Layout 2nd Stage | Kiran | 9449840428
18 | S15 | Lakshmisha | 8277893192 | Katriguppe | Dhavalesh | 9449840437
19 |  |  |  | Ittamadu | Rajshekar | 8277889657
20 | S3 | Nagappa | 9449844663 | Austin Town | Abhishek | 9449840447
21 |  |  |  | Murgesh Palya | Manohar | 9449840445
22 | S4 | Manoj Kumar | 9449844664 | Koramangala | Vasantha Kumar | 9449840452
23 |  |  |  | Adugodi | Shruthi | 9742582614
24 | S7 | Praveen | 9449844667 | Kundalahalli | Manjunath | 9449840457
25 |  |  |  | Munnekolala | Chandra Nayak | 9449840458
26 |  |  |  | Panatur | Rajashekar | 9449840459
27 | S16 | Jayaram | 8277893193 | Madivala | Asha(I/C) | 9900724229
28 |  |  |  | S G Palya | Asha | 9900724229
29 | S17 | Narayana Swamy | 8277893183 | HAL | Vardaraju | 9449840453
30 |  |  |  | Basava Nagar | Yogaraj | 7899388153
31 |  |  |  | Marathalli | Somashekar | 7975314622
32 | S10 | R Kumar | 9449844670 | Begur | Sunil | 9449840472
33 |  |  |  | Basavanapura | Santhosh | 9449840474
34 | S11 | Puttappa | 9449844826 | Dodda Kannahali | Sathish | 9449840481
35 |  |  |  | Bellandur | Lakshminarayan Reddy | 9449840478
36 |  |  |  | Kasavanahalli | Nagaraj | 9449841576
37 | S12 | Venugopal | 9449844827 | Panduranga Nagar | Amith Kumar | 9449840484
38 |  |  |  | Talaghattapura | Ravikumar | 9449840482
39 | S13 | Nagbushan | 9449841593 | Electronic City | Venkatesh | 9449840463
40 |  |  |  | Singasandra | Mohan | 9449841578
41 |  |  |  | Chennakeshav Nagar | Shiva Kumar | 9449840480
42 | S8 | Srinivas | 9449844668 | Bommanahalli | Manjunath | 7411632554
43 |  |  |  | Honga sandra | Manjunath | 9241241999
44 | S19 | Amogha sidda bandi vaddar | 8277893180 | Vijay Bank Layout | Prashanth Kumar | 9449840471
45 |  |  |  | Bilekahalli | Narayan Swamy | 9449841579
46 | S20 | Manjunath C P | 8277893186 | Agara | Yatish | 9449840476
47 |  |  |  | HSR Layout | Vinay Kumar | 9632648465
48 |  |  |  | ITI Layout | Manjunath R S | 9663865956
49 | E10 | Ramesh | 9449868808 | Pai Layout | Santhosh | 9449874211
50 |  |  |  | Kaggadasapur | Vijay Nayak | 9449874212
51 |  |  |  | Kasthuri Nagar | Nawaz | 9880331825
52 | E11 | Basappa | 8277893923 | Ramamurthy Nagar | Vishwanath | 9449874210
53 |  |  |  | Akshay Nagar | Kishor | 9449874349
54 |  |  |  | Bhattarahalli | Triven Kumar | 8152011061
55 | E3 | Rajashekar Gandad | 9449844673 | B Station | Srinivas | 9449874213
56 |  |  |  | Ulsoor | Rudramuni | 9449874203
57 |  |  |  | Someshwara | Srinivas | 9449874202
58 | E6 | Manjunath | 9449844676 | Indira Nagar | Goutham | 9449874259
59 |  |  |  | Jeevan Bheema Nagar | Kusuma | 9449874208
60 |  |  |  | Domlur Hal 2nd Stage | Prabha | 9141182607
61 | E4 | Sali | 9449844674 | White Field | Chethan | 9449874204
62 |  |  |  | Varthur | Mahadeva | 7829438127
63 |  |  |  | Kadugodi | Naveen | 9449874205
64 | E7 | Krishna Murthy | 9449844677 | K.R. Puram | Geetha | 9449189488
65 |  |  |  | Ayyappa Nagar | Muniya Nayak | 9008275600
66 |  |  |  | Devasandra | Ajay Kumar | 9449874662
67 | E12 | Subramanya | 8277893920 | Mahadevapura | Raghu | 9902557868
68 |  |  |  | EPIP | Vijay Kumar | 8310693824
69 |  |  |  | Hoody | Sindhya | 9632264434
70 | E1 | Parisha Nayak | 9449844671 | Benson Town | Hanumanthappa | 9449874765
71 |  |  |  | Frazer Town | Gurumurthy | 9449874764
72 |  |  |  | Venkateshpura | Adhi Narayan | 9449874810
73 | E2 | Poorna chandra Tejaswi | 9449844672 | C Station | Lokesh | 8217052327
74 |  |  |  | Tasker Town | Ramanjaneiyal | 9449874902
75 |  |  |  | Bharathi Nagar | Lakshman | 9980666356
76 | E5 | Basappa | 9449844675 | Cooks Town | Naveen | 9449874977
77 |  |  |  | Lingaraja Pura | Mahadevappa | 9731732565
78 | E8 | Chalapathy | 9449844678 | Banasawadi | Vinay | 9449869316
79 |  |  |  | Babsab Palya | Naresh | 9986281360
80 |  |  |  | R.S. Palya | Shariff | 9945699822
81 |  |  |  | Hanumanth Nagar | Manoj Kumar | 9986029491
82 | E9 | Sundresh Nayak | 9449877171 | Govindpura | Bharath | 9449874909
83 |  |  |  | Dasarahalli | Preetham | 9449875060
84 |  |  |  | Kothanur | Shashidar | 9449875059
85 |  |  |  | Thanisandra | Rangaswamy | 8073030757
86 | W3 | Sheshachala | 9449844683 | Gory Playa | Jayaram | 9449840364
87 |  |  |  | Sourastra Pet | Raghavendra | 9741077366
88 |  |  |  | Magadi Road | Girish | 9449863587
89 | W4 | Somashekar | 9449844688 | Gandhi Nagar | Suresh Giri | 9900450450
90 |  |  |  | Cotton Pet | Rajesh | 9448087507
91 |  |  |  | RT Street | Suresh Giri | 9900450450
92 |  |  |  | Vasantha Nagar | Kalegowda | 9741415101
93 | W5 | Rajkumar Naik | 9449844685 | Cubbon Pet | Muniraju | 9845079198
94 |  |  |  | Nagarath Pet | Rajesh | 9449875558
95 |  |  |  | City Market | Fakuruddhin | 9448190880
96 | C1 | Siddaraju | 9449844641 | Prakash Nagar | Bharathi | 9449864485
97 |  |  |  | Oklipuram | Ashok | 9449864491
98 |  |  |  | Devaiah Park | Rashmi | 8884446684
99 |  |  |  | Rajaji Nagar 2nd Stage | Srinivas | 9449864493
100 | C2 | Nagesh | 9449844642 | Palace Guttahalli | Parinitha | 9632554177
101 |  |  |  | Vyalikaval | Roopa | 9449864536
102 |  |  |  | Sheshadri Puram | Santhosh | 9449864498
103 |  |  |  | Malleshwaram | Manjunath | 9036912106
104 | C6 | Puttaswamy | 9449844646 | Mathikere | Vidya | 9449864547
105 |  |  |  | Yeshwanthapura | Anil Kumar | 9886895738
106 | C3 | Basavarajayya | 9449844643 | Jalahalli | Rohith | 9449864541
107 |  |  |  | Abbigere | Raghunath | 9449864538
108 | C9 | Dakya Nayak | 8277893915 | Vidyaranyapura | Lakshmikanth | 9449864918
109 |  |  |  | Virupakshapura | Veeraswamy | 9449864923
110 |  |  |  | Kodigehalli | Govinda Raj | 9449864896
111 |  |  |  | M S Palya | Shankre Gowda | 8277893930
112 | N9 | Ajaya jawan | 8277893918 | Soldevanahalli | Kiran | 9449865452
113 |  |  |  | Bagalagunte | Shashikiran | 9449865451
114 |  |  |  | Byalakere | Shivakumar | 9742626494
115 |  |  |  | Hesaraghatta | Keerthi | 8277893937
116 | C4 | Raju | 9449844644 | Sanjaya Nagar | Sri. Manjunath | 9449864892
117 |  |  |  | Ganganagar | Sri. Puttaswamy | 9449864894
118 |  |  |  | Hebbal | Mohamad Aseeq | 9449864897
119 | C5 | Sri. Prabhakar Y | 9449844645 | Kavalbyrasandra | Ramu | 9449864899
120 |  |  |  | Gandhi Nagar | Akkamma | 9901939604
121 |  |  |  | K.G.Halli | Ramu | 9449864899
122 | C7 | Dhananjay | 9449844647 | Yelahanka Old Town | Kiran | 9449864908
123 |  |  |  | Yelahanka New Town | Sri. Sathish Babu(I/C) | 9449864903
124 |  |  |  | Rajanakunte | . Laxmi Narayan | 9535633663
125 | C8 | Uday Kumar K | 9449841574 | Sahakar Nagar | Phanindra Nayak | 9449864912
126 |  |  |  | Jakkur | Santhosh | 9449864914
127 | N4 | Narayan | 9449844654 | Laggere | Anil | 9449865398
128 |  |  |  | Kempegowda Nagar | Narasimha Murthy | 9449865513
129 |  |  |  | Heggana Halli | Sri. Nagaraj | 9449865396
130 | N5 | Manohar Shetty | 9449844655 | T. Dasarahalli | Dhanalakshmi | 9449865418
131 |  |  |  | Shettyhalli | Sri. Venugopal | 9449865590
132 |  |  |  | Peenya (SRS) | Kiran | 9449865416
133 |  |  |  | Chokkasandra | Kiran | 9449865394
134 | N7 | Dhanareddy | 9449844657 | Mahalakshmi Layout | Girish | 9449865458
135 |  |  |  | Gorguntte palya | Girish (I/C) | 9449865520
136 |  |  |  | Nandini Layout | Dinesh | 9449865461
137 | N1 | Asha | 9449844651 | 6th Block Rajaji Nagar | Chandrashekar Murthy | 9844608666
138 |  |  |  | 2nd Block Rajaji Nagar | Anand Murthy | 9449868872
139 |  |  |  | 3rd Block Rajaji Nagar | . Tv Sunitha | 9449868873
140 | N2 | Gangaram Rajputh | 9449844652 | RPC Layout | Santhosh | 9449869136
141 |  |  |  | Chandra Layout | Chetan Kumar (I/C) | 9901000369
142 |  |  |  | Marena Halli | Chandrashekar | 9449869137
143 | N3 | Dhanejeya | 9449844653 | Basaveshwara Nagar | Shankar Raj | 9449870128
144 |  |  |  | Industrial Town | Sri. Anand | 9449870117
145 | N6 | Kariyappa | 9449844656 | Kamakshi Palya | Keshava Murthy(I/C) | 9449870177
146 |  |  |  | Sunkadakatte | Anadkumar Ae (I/C) | 9449868853
147 | N8 | Lakshmi Narasappa | 9449844897 | Papareddy Palya/ Mallathahalli | Shashishekar | 9449869450
148 |  |  |  | Nagarabhavi | Mohan | 9449869442
149 |  |  |  | Sriganda Kavalu | Rajashekar | 9449870085
150 | N10 | Bheemana Gowda | 8277893190 | Kalyan Nagar | Prakash(I/C) | 9449870039
151 |  |  |  | Pattegar Palya | Prakash | 9449870039
152 | W1 | Prashanth M | 9449844681 | Avalahalli-1 | Nagamani | 9886987510
153 |  |  |  | Avalahalli-2 | Shivaram | 9148921513
154 | W2 | Umesh | 9449844682 | Chamaraj pete | Chethan | 9449870534
155 |  |  |  | Shankarpuram | Hemanth | 9449870535
156 |  |  |  | Gandhi Bazar | Mayur | 9449870536
157 | W6 | Prashanth Kumar V | 9449844686 | Byatarayanapura | Shruthi | 9886511049
158 |  |  |  | Nayandanahalli | Venktesh (I/C) | 9449870968
159 |  |  |  | New timber yard layout | Nagaraj | 9449870992
160 | W7 | Prakash | 9449844894 | Rajajeshwari Nagar | Sri. Dinakar | 9449870938
161 |  |  |  | Channasandra | . Mutturaj (I/C) | 9986128041
162 | W8 | Geetha | 8277890545 | Hanumantha Nagar | Avinash | 9449870596
163 |  |  |  | Thyagaraj Nagar | Muniraju (I/C) | 9036607245
164 | K1 | Ashok hingar | 9449844687 | Kengeri | Chandrashekar | 9449870327
165 |  |  |  | Kumbalagudu | Vasanthkumar | 9916617455
166 |  |  |  | Ramohalli | Mohith | 9900765041
167 | K2 | Malthesh | 9449844892 | Aerohalli | Nagarjun | 9535453355
168 |  |  |  | Andrahalli | Vidya Sagar | 9632740780
169 |  |  |  | Doddabidirukallu | Obbyya | 9449866735
170 | K3 | Rajesh | 9449844893 | Kaggalipura |  |  | Girish | 8867057292
171 |  |  |  | Agara | Umesh Kumar C | 9980704739
172 | K4 | Nagabhusan NG | 8277893934 | RR Layout | Roopa | 9449870366
173 |  |  |  | Kengeri Satilite Town | Nikitha | 9448435051
174 |  |  |  | Anajana Nagar | Renuka Prasanna | 9449870320
175 | DB1 | Rohith | 9448279080 | O&M -I | Rajappa | 9880986736
176 |  |  |  | O&M -II |  |  | Hanumantha Gowda | 9739218475
177 |  |  |  | BASHETTIHALLI |  |  | Mohan Kumar | 9449873413
178 |  |  |  | MELEKOTE CROSS | Lakshman | 9620087927
179 | DB2 | Mohan | 8277892573 | KANSAWADI |  |  | Kempe Gowda | 9880625473
180 |  |  |  | SASALU |  |  | Mani Nayak | 9902536229
181 |  |  |  | DODDABELAVANGALA |  |  | Kumaraswamy | 8152831962
182 |  |  |  | THUBGERE |  |  | Nagesh | 7019548491
183 | DPT | Umesh | 8277892562 | THAYMAGONDLU | Hemanth | 9449873969
184 |  |  |  | DABASPETE | Naveen Kumar | 9449873968
185 | NM1 | Nagaraj | 9448279077 | O&M -I | Mallikarjun | 8277892551
186 |  |  |  | O&M -2 | Deepak | 8277892552
187 |  |  |  | MADANAYAKANALLI | Suresh | 9483696600
188 |  |  |  | SONDEKOPPA |  |  | Mohan Kumar | 8277892553
189 | DH1 | Sandeep (inch) | 9448279082 | O&M -I | Sathish | 9449871584
190 |  |  |  | O&M -II | Mallikarjun | 9449871644
191 |  |  |  | AVATHI |  |  | Muniraju | 9108925924
192 |  |  |  | BUDIGERE |  |  | Karan Kumar | 9880314595
193 |  |  |  | VIJAYAPURA-1 | Manasa | 9449871571
194 |  |  |  | VIJAYAPURA-2 | Gopal Nayak | 9620678099
195 | HK1 | Anil kumar | 9448279084 | HOSAKOTE Town | Sridhar Murthy | 9972453393
196 |  |  |  | PILLAGUPPA | Vittal | 9902866644
197 |  |  |  | MUGABALA | Santhosh | 8095536418
198 |  |  |  | THIRUMALASHETTYHALLI CROSS (SIGEHALLI) | Gangaraju | 9663942627
199 |  |  |  | JADIGENAHALLI | Mohan Ram | 9449871164
200 |  |  |  | DEVANGONDI |  |  | Muniraju | 9448004572
201 | NG1 | SP Kolkar | 9448279085 | NANDAGUDI |  |  | Chalapathi | 9449871747
202 |  |  |  | SULIBELE-1 | Anil | 9620696649
203 |  |  |  | BENDIGANAHALLI |  |  | Srinivas | 9845192963
204 | VD1 | Venkateshwar KN | 9449871699 | VIDYA NAGAR |  |  | Yogesh | 9449871692
205 |  |  |  | SADAHALLI GATE | Rajesh | 9449871702
206 | AV1 | Narayanaswamy Gowda | 9449871689 | AVALAHALLI | Anand | 9481120039
207 |  |  |  | SAI GARDEN (KADUGODI) | Muralidhar | 7892549565
208 |  |  |  | DODDAGUBBI |  |  | Basavaraju | 9449871184
209 | BD1 | Anuradha | 9448094839 | BYRAMANGALA |  |  | Yogesh | 9880313484
210 |  |  |  | Manchanayakanahalli |  |  | Sandesh Kumar | 9844167107
211 |  |  |  | BIDADI | Shivaraju | 9481492383
212 |  |  |  | BANNIKUPPE-1 |  |  | Rama Lingaiah | 9449872466 ( not using whats app number he had only one number )
213 |  |  |  | URAGALLI |  |  | Rukmangad | 9164620335
214 | CP1 | Shivakumar | 9448279090 | O&M -I | Chandrashekar | 9449866773
215 |  |  |  | O&M -II | Deelip Kr | 9449866774
216 |  |  |  | O&M -III ( MUDIGERE ) |  |  | Girish | 9986476007
217 | CP2 | Chidanand | 9448279091 | KODAMBALLI | Abhishek | 9449873055
218 |  |  |  | O&M -I ( Honganur ) | Abhishek | 9449873055
219 |  |  |  | SARAGURU |  |  | Raghvendra | 9036540902
220 |  |  |  | O&M -II ( KUDLUR ) | Rajan | 9739255137
221 |  |  |  | B.V HALLI |  |  | Mahendra | 8971762768
222 | RM1 | Ravikumar | 9448279088 | O&M -I | Raviprasad | 8904121592
223 |  |  |  | O&M -II | Prabhakar | 9986147178
224 |  |  |  | O&M -III | Geethanjali | 9036129189
225 | RM2 | Chandhana | 9980909144/9538099144 | SHANABOGANAHALLI |  |  | Veerabhadrhaya | 8861675241
226 |  |  |  | JALAMANGALA |  |  | Rafel | 9986934411
227 |  |  |  | SUGUNAHALLI |  |  | Balaram | 9845608755
228 |  |  |  | KYLANCHA |  |  | Santhosh | 8861176011
229 |  |  |  | BANNIGUPPE |  |  | Doddaramahiah | 9663979300
230 | BE1 | Puttaswamy | 9535489500 | BEVOORU |  |  | Kiran | 9742134333
231 |  |  |  | GOWDAGERE |  |  | Prakash | 9916295481
232 |  |  |  | DASHAVAARA |  |  | Siddu Nanjegowda I/C Je | 9740681090
233 | AN1 | Venkataswamy I/c AEE | 9448279092 | ANEKAL Rural |  |  | Prasannakumar | 9886738840
234 |  |  |  | ANEKAL Urbun |  |  | Shivakumar | 9844436649
235 |  |  |  | INDALAVADI |  |  | Ravindranath Reddy | 9449866793
236 | AT1 | Venkateshwara K N | 9449844891 | ATTIBELE | Nagaraj | 9448192625
237 |  |  |  | ATTIBELE INUSTRIAL AREA | Harish | 9449866784
238 |  |  |  | DOMMASANDRA | Narayana Swamy | 6360647922
239 |  |  |  | MAYASANDRA | Prashanth | 9449866795
240 |  |  |  | SARJAPURA | Suresh | 9449866797
241 | CH1 | Venkataswamy | 9448279093 | BOMMASANDRA | Ganesh | 9449866794
242 |  |  |  | CHANDAPURA | Suresh | 9449866783
243 |  |  |  | Surya City |  |  | Suresh | 9620968955
244 |  |  |  | HEBBAGODI | Ashok | 9449866788
245 | JN1 | Bharath Chowhan | 9448991274 | JIGANI | Dhanabjaya | 9449871781
246 |  |  |  | BANNERAGHATTA | Nagesh | 9449872309
247 |  |  |  | KIADB | Dinesh | 9449871782
248 | VE1 | Rajkumar | 8277892574 | VEERASANDRA | Vijay | 9449844799
249 |  |  |  | ANANTHANAGAR | Ananthamurthy | 8310087934
250 |  |  |  | MUTTHANALLURU | Anand Hv | 9902053010
251 | HA1 | Krishnamurthy | 9449841648 | HAROHALLI | Chandrashekar | 9449866767
252 |  |  |  | JAKKASANDRA |  |  | Raju | 8123124966
253 |  |  |  | MARALAVADI |  |  | Sathish | 9591909797
254 | KP1 | B S Shankarappa | 9448279086 | O&M -I | Ravikumar | 9844678453
255 |  |  |  | O&M -II | Ranjan | 9741919656
256 |  |  |  | O&M -III | Ravikumar | 9844678453
257 | KP2 | Madesh | 9964668852 | KODIHALLI | Ramesh | 8105970602
258 |  |  |  | HUKUNDHA |  |  | Ranjan | 9741919656
259 |  |  |  | HUNASENAHALLI |  |  | Muthuraj I/C | 9980112103
260 | SA1 | Shankarappa I/c AEE | 9448279086 | SATHANUR |  |  | Gaviraj | 9449866765
261 |  |  |  | KABBALU |  |  | Babuprasad | 9535938885
262 |  |  |  | DODAA ALAHALLI |  |  | Narayan | 9538524252
263 | KD1 | Thyakra Nayak | 9448042373 | KUDUR | Manoj | 9243961143
264 |  |  |  | SOLUR |  |  | Manjunath | 9845441242
265 |  |  |  | THIPPASANDRA |  |  | Girijamma | 9686877879
266 | MA1 | Sahakar Nayak | 9448279078 | O&M -I | Shivaraj | 9731343484
267 |  |  |  | O&M -II | Narasimhamurthy | 9900798345
268 | TV1 | Madhu | 9449844871 | MACHOHALLI | Channegowda | 9449873937
269 |  |  |  | CHANDRAPPA CIRCLE | Innsayuthalla Khan | 9902338542
270 |  |  |  | TAVAERKERE | Srinivas | 9686800795
271 | KL1 | KMV Swamy | 9448279059 | O&M-I | Vijaykumar | 9448522822
272 |  |  |  | O&M-II | Mallikarjunayya | 8123441468
273 |  |  |  | O&M-III | Vijay Kumar | 7760426666
274 |  |  |  | O&M-IV | Srinath | 9900114427
275 | KL2 | Nagaraj | 9448279060 | KEMBODI | Chowdreddy | 9342333335
276 |  |  |  | VOKKALERI |  |  | Srinivas | 8073130193
277 |  |  |  | VEMGAL |  |  | Nagarathna | 9449878184
278 |  |  |  | NARASAPURA | Gurappa | 6363237736
279 |  |  |  | HOLLURU |  |  | Venkatesh | 9449878205
280 |  |  |  | KYALNUR |  |  | Ramachandra | 9916211202
281 |  |  |  | SUGUTUR |  |  | Arun Kumar | 9972941802
282 | SP1 | Ramatirtha | 9448279063 | O&M-I | Devaraj | 9844396481
283 |  |  |  | O&M-II | Nanjundeshwara | 7019040365
284 |  |  |  | LAKSHMIPURA | Rk Srinivas Kumar | 9448342103
285 |  |  |  | GOWNAPALLLI | Anand A | 9620998013
286 |  |  |  | YELDUR | Srinivas | 9964088406
287 | BG1 | Ramakrishna | 9448279065 | O&M-I | Gopinath | 8904651077
288 |  |  |  | O&M-II | Shankar Kumar | 9449878336
289 |  |  |  | O&M-III |  |  | Manjunath | 9964580938
290 |  |  |  | KARAHALLI |  |  | Mallesh | 7349087530
291 |  |  |  | BUDIKOTE |  |  | Pandiyan | 9482758339
292 |  |  |  | KAMSAMUDRA |  |  | Mohan | 9449878359
293 | KG1 | Hemalatha | 9448279064 | ROBERTSONPET-1 | Praveen Kumar | 8105905947
294 |  |  |  | ROBERTSONPET-2 | Vimal | 9480328424
295 |  |  |  | ANDERSONPETE-1 | Ezhil Arasi | 9901195372
296 |  |  |  | ANDERSONPETE-2 | Uday Kumar | 9972213122
297 |  |  |  | BEML | Kiruba Rani | 9480203017
298 | BM1 | Ravindra Babu | 9448283395 | BETHAMANGALA |  |  | Narayan Swamy | 9036180812
299 |  |  |  | SUNDRAPALYA |  |  | Srinivas Gowda
300 |  |  |  | KYASAMBALLI |  |  | Mousuf | 9663538884
301 | MB1 | V M Ramesh | 9448279067 | BYRKUR |  |  | Subramani | 9902405807
302 |  |  |  | O&M-I | Kanal Kumar | 9844877766
303 |  |  |  | O&M-II |  |  | Srinath | 9036710659
304 |  |  |  | AVANI |  |  | Narayana Awamy | 9964787254
305 |  |  |  | M N HALLY |  |  | Venkatesh | 9964253309
306 |  |  |  | THAYLUR |  |  | Anjappa | 9008430873
307 |  |  |  | NANGLI |  |  | Bhaskar | 9108556419
308 | ML1 | Ansar Basha | 9448279066 | O&M-I |  |  | Balasubramanya | 9480625611
309 |  |  |  | O&M-II |  |  | Hemanth | 9449878095
310 |  |  |  | LAKKUR |  |  | Srinivas | 9916696328
311 |  |  |  | MASTHI |  |  | Chandrappa | 9902916211
312 |  |  |  | TEKAL |  |  | Gangadhar | 9449878299
313 |  |  |  | KUDIYANUR |  |  | Srinath | 9945029849
314 |  |  |  | SHIVARAPATNA |  |  | Rajkumar | 9972880350
315 |  |  |  | CHIKKAKOTHNUR |  |  | Sathish | 9480170333
316 | CM1 | Jayanth | 9448279061 | O&M-I |  |  | Sunil Kumar | 9686057858
317 |  |  |  | O&M-II |  |  | Aslam Pasha | 9945327677
318 |  |  |  | O&M-III |  |  | Sunil Kumar | 9686057858
319 |  |  |  | O&M-IV |  |  | Srinivas | 9901408880
320 | CM2 | Srinivas kumar | 9448279062 | KAIWARA-1 |  |  | Rasul Patel | 8050353924
321 |  |  |  | KAIWARA-2 |  |  | P.N Gangulappa | 7483021756
322 |  |  |  | YEGWAKOTE |  |  | Mariswamy | 9945850039
323 |  |  |  | BATLAHALLI |  |  | Gopalakrishna Babu | 9481300696
324 |  |  |  | KENCHARAHALLI |  |  | Dilip Kumar | 9448512791
325 |  |  |  | IRAGAMPALLI |  |  | Anil | 9741370152
326 | SG1 | Rahman | 9448279074 | O&M-I |  |  | Kiran | 7022730568
327 |  |  |  | O&M-II |  |  | Muniraju | 8861949397
328 |  |  |  | O&M-III |  |  | Vijay Kumar | 9945346314
329 | SG2 | Prabhu | 9448279076 | JANGAMANAKOTE-1 |  |  | Uma Shankar | 9449528986
330 |  |  |  | JANGAMANAKOTE-2 |  |  | Ramkrsihna | 8660137884
331 |  |  |  | MELUR |  |  | Anand | 9902037927
332 |  |  |  | DIBBURAH ALLI-1 |  |  | Murali | 9482135108
333 |  |  |  | DIBBURAH ALLI-2 |  |  | Murali | 9482135108
334 | BP1 | Somashekhar | 9448279071 | O&M-I |  |  | Lakshmi Narayanan | 9972362291
335 |  |  |  | O&M-II |  |  | Basawaraj | 8553139679
336 |  |  |  | PATHAPALAYA |  |  | Harish | 9845462033
337 |  |  |  | CHELLUR |  |  | Naveen | 7022334459
338 | CB1 | Manjunath | 9448279068 | O&M-I |  |  | Purushotham | 9535626832
339 |  |  |  | O&M-II |  |  | Abdul Kuddus | 8050310736
340 |  |  |  | O&M-III |  |  | Sridhar | 9483730498
341 |  |  |  | O&M-IV |  |  | Raghavendra | 7026523165
342 | CB2 | Vasu deva | 9448279069 | NANDI |  |  | Nagesh | 9448035404
343 |  |  |  | PERESANDRA |  |  | Sujay | 9972212596
344 |  |  |  | MANDIKAL |  |  | Manjunath | 9972461721
345 |  |  |  | O&M-V |  |  | Narasimha Murthy | 998600729
346 | GB1 | Vinay kumar | 9448279073 | O&M-I |  |  | Jayasimha Gs | 9483730517
347 |  |  |  | O&M-II |  |  | Manjunath | 9448901321
348 |  |  |  | VIDHURASHPATHA |  |  | Gopal | 9449147496
349 |  |  |  | MANCHENAHALLI |  |  | Narayan Swamy | 9483730520
350 |  |  |  | THONDEBHAVI |  |  | Shiva Prasad | 9483730523
351 |  |  |  | ALIPURA |  |  | Irshad | 9483730521
352 |  |  |  | HOSUR |  |  | Mubarak Pasha | 9483730519
353 | GD1 | Dayananad | 9448867002 | GUDIBANDE |  |  | Ravanappa | 7619677791
354 |  |  |  | VATADA HOSAHALLI |  |  | Shekhar | 8861619974
355 |  |  |  | D PALYA |  |  | Raghu | 9611390890
356 | HLD | Veerabhadrachar | 9449843532 | HULIYURDURGA |  |  | Mohammad Ghoush | Not using whatsapp 9449844138
357 |  |  |  | SANTHE MAVATTHURU |  |  | Lokesh | 9482154279
358 |  |  |  | YADAVANI |  |  | Srinivas | 9901092843
359 | KU1 | Javi rangappa | 9448279049 | O&M 1 |  |  | Srinivas Hm | 9449844166
360 |  |  |  | KEMPANAHALLI |  |  | Raju | 9148367136
361 |  |  |  | O&M 2 |  |  | Sindhura | 9902557027
362 | YD1 | Girish | 9448998060 | YEDIYURU |  |  | Mahadeva Swamy | 8951509096
363 |  |  |  | AMRUTHURU |  |  | Kishore | 9481849308
364 | KYT | HR Srinivas | 9449843533 | KYATHSANDRA (East Section) |  |  | Sathish | 9482117652
365 |  |  |  | URDIGERE |  |  | Jayaram | 9449844087
366 |  |  |  | HONNUDIKE |  |  | Shiva Kumar | 9449878457
367 | NT1 | Anilkumar D | 9448279048 | NITTUR | Uday Kumar | 9945023763
368 |  |  |  | KADABA |  |  | Shivanadh | 8660484504
369 |  |  |  | HOSKERE |  |  | Kanthraj | 9880983553
370 | TK1 | Manjunath A | 9448279045 | WEST Section (Chickpete) | Ashwath Narayan | 9743734573
371 |  |  |  | CENTRAL Section | Lokesh | 7019440719
372 |  |  |  | NORTH Section (Sira gate) | Anil Kumar Inc | 9449844370
373 | TK2 | Venkatesh MS | 9448088690 | SARASWATHIPURAM | Nagaraj Rao | 9964280422
374 |  |  |  | TUMKUR SOUTH (Someshwar Nagar) | Satish Inc Ae | 9449843510
375 |  |  |  | JAYANAGARA | Lakshmishiya | 9449844312
376 | TK3 | NHABUL SHARIF | 9448088760 | KORA | Chandrushekar | 9449841505
377 |  |  |  | C T KERE |  |  | Balaji H | 9449844252
378 |  |  |  | BELLAVI | Hl Rangaraju Inc Ae | 9449684934
379 | TK4 | Harish | 9448279046 | GULUR | Promodh | 9945248292 | M Shivakumar | 9449878483
380 |  |  |  | HEBBUR |  |  | Advishyya | 9449878469
381 |  |  |  | SIDDARTA NAGARA |  |  | Niggaya | 9449878499
382 | GU1 | Anil Kumar | 9448279047 | O&M1 | Rajesh | 9449844214
383 |  |  |  | O&M2 | Rajappa Shetty | 9449844247
384 |  |  |  | C S PURA | Dhanujaya | 9449844232
385 |  |  |  | CHELUR |  |  | Naveen | 9449844223
386 | CN1 | Rajeshkar NC | 9448279051 | O&M-1 |  |  | Yogendra | 98844365628
387 |  |  |  | O&M-2 |  |  | Irfan | 9632821468
388 |  |  |  | HULIYARU-1 | Umesh Naik | 9741324545
389 |  |  |  | HULIYARU-2 |  |  | Hanumanth Rayappa | 8618863066
390 |  |  |  | HANDANAKERE |  |  | Rajshekar | 9845914124
391 |  |  |  | THIMMANAHALLI |  |  | Raghu Gr | 8431354511
392 | TP1 | Chandrashekar INCH | 9844973128 | O&M1 | Chandrushekar | 9844973128
393 |  |  |  | O&M2 | Chethan Ko | 9900792564
394 |  |  |  | O&M3 |  |  | Kumar Dr | 9535429188
395 |  |  |  | O&M4 | Parameshswae Shetty S | 9663248494
396 |  |  |  | HONNAVALLI |  |  | Nandish Gn | 9611558553
397 |  |  |  | NONAVINKERE |  |  | Sangamesh | 6361947781
398 |  |  |  | BILIGERE |  |  | Basavraj D | 9449844093
399 | TU1 | Chandra naik | 9448279052 | O&M1 |  |  | Girish | 9964058058
400 |  |  |  | O&M2 |  |  | Kantharaju | 9986911685
401 |  |  |  | TANDAGA |  |  | Umeshwaraih | 9900868912
402 |  |  |  | MAYASANDRA |  |  | Narayanappa | 9844514557
403 |  |  |  | DANDINASHIVARA |  |  | Someshkar | 9449307881
404 | KH1 | Praveen | 9448279054 | O&M1 | Krishnnaya | 9743918767
405 |  |  |  | O&M2 |  |  | Shanthappa | 9980098439
406 |  |  |  | BYALYA |  |  | Shanthkumar | 9449843801
407 |  |  |  | NITRAHALLI |  |  | Channakeshava | 9449843791
408 | KR1 | Mallana V | 9448279058 | O&M1 | Prasannakumar | 9449843937
409 |  |  |  | O&M2 |  |  | Mallaiah | 9449843949
410 |  |  |  | HOLAVANAHALLI | Yogesh | 9449843945
411 |  |  |  | THEETHA |  |  | Veereshkumar | 9449843930
412 |  |  |  | THOVINAKERE |  |  | Ashok Nayak | 9449843938
413 |  |  |  | KOLALA |  |  | Manoj Cv | 7406782129
414 | MG1 | Krishna Murthy | 9448279053 | O&M1 | Akash Varm | 7204123977
415 |  |  |  | O&M2 |  |  | Mohamadh Irrfan | 8317387645
416 |  |  |  | MIDIGESHI |  |  | Akarm Shariff | 9945160562
417 |  |  |  | BADAVANAHALLI1 |  |  | Shivanna | 8970771992
418 |  |  |  | BADAVANAHALLI2 |  |  | Mohamadh Irrfan | 8317387645
419 |  |  |  | HOSKERE |  |  | N Rammaya | 9945292323
420 |  |  |  | ID HALLI |  |  | Rangadamayya | 9449843783
421 | PG1 | Krishna murthy (inch AEE) | 9448279057 | O&M1 | Anjaneya Babu | 9448155533
422 |  |  |  | MANGALWADA | Chowdappa | 9845640045
423 |  |  |  | Y N HOSKOTE |  |  | H Thimmaya | 9538121351
424 |  |  |  | NAGALAMADIKE |  |  | Sanjeevarayappa | 9740107588
425 |  |  |  | VENKATAPURA |  |  | H Thimmaya | 9538121351
426 |  |  |  | C K PURA |  |  | Rajashekar | 9742894328
427 |  |  |  | KOTGUDDA |  |  | Ramanjannappa | 9449843639
428 | SR1 | Shanthraju HE | 9448279055 | O&M1 | Rakesh | 9449843614
429 |  |  |  | O&M2 |  |  | Nagaraj | 9449843765
430 |  |  |  | O&M3 | Rajanna | 9449843615
431 |  |  |  | PATTANAYAKANAHALLI |  |  | Murlidhar | 7619600256
432 |  |  |  | BARAGUR |  |  | Lokesh | 9148927649
433 | SR2 | Govindharayaa | 9448279056 | KALLAMBELLA | Aravindh | 7353303080
434 |  |  |  | BUKKAPATTANA |  |  | Virupakshappa | 9480284399
435 |  |  |  | TAVAREKERE |  |  | Prahakar | 9663243708
436 |  |  |  | BRAHMASANDRA |  |  | Govindh Raju | 9844717182
437 | AG1 | Tirthesh | 9448094833 | ANAGODU |  |  | Harish | 9449875823
438 |  |  |  | MAYKONDA |  |  | Jayappa | 9916859436
439 |  |  |  | ATTIKERE |  |  | Nataraj | 8453464748
440 |  |  |  | ANAJI |  |  | Prashuram | 9902183933
441 | CG1 | Lohith kumar | 9448279032 | O&M1 | Raghavendra | 9886552771
442 |  |  |  | O&M2 | Ravipraksh | 9886486292
443 |  |  |  | NALLURU | Basavaraju | 9620680540
444 |  |  |  | GOPPENAHALLI | Shivakumar | 9483338800
445 |  |  |  | LINGADAHALLI | Shivakumar | 8105073134
446 | DV1 | Ramachandra G | 9448279028 | O&M1 | Thippeswamy | 9591340344
447 |  |  |  | O&M2 | Chethan Chakravarthy | 7338389447
448 |  |  |  | O&M3 | Shivakumar | 9482459132
449 |  |  |  | O&M4 | Veeradrappa | 8861988655
450 |  |  |  | O&M5 | Pavakumar T | 9620009028
451 |  |  |  | O&M6 |  |  | Basavaraju | 7411670969
452 | DV2 | Prabhakar | 9448279029 | O&M1 | Ravikumar | 8310176446
453 |  |  |  | O&M2 | Ravikumar | 8310176446
454 |  |  |  | O&M3 |  |  | Vishwanath | 9945977455
455 |  |  |  | O&M4 |  |  | Mukundh | 9448578093
456 | DV3 | GM nayak | 9448279030 | O&M1 | Raghavendra Prasadh | 9900191532
457 |  |  |  | O&M2 | Halesh Naik | 9535632766
458 |  |  |  | KUKKAWADA | Mohan Kumar T | 9113604775
459 |  |  |  | YELEBETHUR |  |  | Shivashankar | 8660333211
460 | JL1 | Praveen GM | 9448279031 | O&M1 |  |  | Rafeeq | 7022208766
461 |  |  |  | O&M2 |  |  | Ranganath | 6360378978
462 |  |  |  | SOKKE |  |  | Maruthi Patil Mg | 9686049282
463 |  |  |  | PALLAGATTE |  |  | Santh R | 9901630800
464 |  |  |  | BILICHODU |  |  | Anjaneya | 9739066104
465 | SB1 | Nagarajappa T | 9448279033 | O&M1(Santhebennur) | Shashikumar R | 9164830630
466 |  |  |  | DEVARAHALLI |  |  | Sneha | 9741792050
467 |  |  |  | BASAVAPATTANA |  |  | Nagaraj Naik | 9481159694
468 |  |  |  | THYAAVANGI |  |  | Ragunath E | 9449876162
469 |  |  |  | KERE BILACHI |  |  | Srikanth | 7676659659
470 | HH1 | Basavaraj P(inch) | 9448279036 | O&M1 | Maruthesh | 8548041194
471 |  |  |  | O&M2 |  |  | Gurumurthy | 9481306220
472 |  |  |  | POONAMGHATTA |  |  | Babu | 6362920397
473 |  |  |  | BENNEHALLI |  |  | Srinivas | 9844664278
474 | HN1 | Ravi Kiran | 9448279035 | KYASINAKERE |  |  | Rudranaik | 9964069785
475 |  |  |  | KUNDURU |  |  | Vinayaka | 9739149910
476 |  |  |  | SASIVEHALLI |  |  | Suresh Naik | 9743198570
477 |  |  |  | O&M 1 | Vasanth Hirabaragi | 7353436377
478 |  |  |  | O&M2 |  |  | Shivaraju | 9886081356
479 | HR1 | Lakshmappa | 9448279034 | O&M1 | Markandiah | 9901924945
480 |  |  |  | O&M2 | Raghavendra | 9591565455
481 |  |  |  | BELLODI |  |  | Prabhu | 9449703210
482 |  |  |  | MALEBENNURU | Kotresh | 9739242458
483 |  |  |  | O&M3 |  |  | Umesh | 9886423004
484 | NY1 | Srinivasa BK | 8277893935 | NYAMTHI-1 | Ramesh Achar | 9742974166
485 |  |  |  | NYAMTHI-2 |  |  | Pavan Kumar | 7816966966
486 |  |  |  | SAVALANGA |  |  | Shadaksharayya | 8861467336
487 |  |  |  | CHELURU |  |  | L N Shivakumar | 9886592904
488 |  |  |  | KATHIGE |  |  | Uma Maheshwar | 9019579050
489 | TL1 | Jayappa | 8277893181 | TELAGI | Virupakshappa | 8197164885
490 |  |  |  | NEELAGUNDA |  |  | Ravikumar | 9538114087
491 |  |  |  | HALUVAGLU |  |  | Umesh | 9611651004
492 |  |  |  | UCHHANGI DURGA |  |  | Manjappa | 9972977560
493 |  |  |  | KANCHIKERE |  |  | Mohammad Razak | 9008303810
494 | CK1 | Raju NS | 9448279042 | O&M1 | Vani | 8497005528
495 |  |  |  | O&M2 |  |  | Dhananjay | 9611540172
496 |  |  |  | SANIKERE |  |  | Banu Murthy | 7892538841
497 |  |  |  | DODDABIRENAHALLI |  |  | Suresh | 9901561010
498 |  |  |  | PARASHURAMPURA |  |  | Shivakumar | 9108839472
499 | HY1 | Girish (Incharge aee) | 8197468967 | O&M1 | Girish | 8197468967
500 |  |  |  | O&M2 | Raghu Naik | 8971496298
501 |  |  |  | DINDAVARA | Palanna | 9742223720
502 |  |  |  | HARIYABBE | Hanumantharaya | 9901606117
503 |  |  |  | IMANGALA |  |  | Govardhan | 9611297802
504 |  |  |  | RANGANATHAPURA |  |  | Ravi Naik | 9731702764
505 |  |  |  | MARADIHALLI |  |  | Ashok | 9482068053
506 | MK1 | Shivaprasad | 9449758095 | RAMPURA KOLALA |  |  | Shrenkanth | 9449145982
507 |  |  |  | NAGASAMUDRA |  |  | Shrenkanth | 9449145982
508 |  |  |  | B G KERE |  |  | Abibulla | 9902645247
509 |  |  |  | MOLKALMORU | Chandrakanth Reddy | 9886953399
510 | TLK | Mamatha | 8277893184 | TALAK |  |  | Surlingappa | 9449877244
511 |  |  |  | HIREHALLI |  |  | Dandappa Badiger | 7338444590
512 |  |  |  | NAYAKANAHATTI |  |  | Boranna | 9449877328
513 |  |  |  | DODDA ULLARTHI |  |  | Sathish | 9449877355
514 | CD1 | Thimmanna | 9448279037 | O&M1 | Shivappa | 9742846618
515 |  |  |  | O&M2 | Anil Kumar | 7975154805
516 |  |  |  | O&M3 | Basanthappa | 9980420990
517 |  |  |  | O&M4 | Sunil Kumar | 8747875953
518 | CD2 | Kiran Reddy | 9448279038 | HIREGUNTANNURU |  |  | Shivayogi | 7975603288
519 |  |  |  | BARAMASAGARA |  |  | Manjunath | 6363515900
520 |  |  |  | SIRIGERI |  |  | Srinivasa | 8660063351
521 |  |  |  | PANDARAHALLI |  |  | Ravi | 9449748740
522 |  |  |  | TURUVANURU |  |  | Girish Reddy | 8762620029
523 |  |  |  | BHEEMASANDRA |  |  | Dakshinamurthy | 8296709125
524 | HD1 | Thirupathi Nayak | 9448279039 | O&M1 | Suresh Jatty | 9743865807
525 |  |  |  | O&M2 |  |  | Tippeswamy | 9686869068
526 |  |  |  | Madadkere |  |  | Ranganath | 9449861474
527 |  |  |  | Baguru |  |  | Jayanna | 9902842580
528 | HL1 | Nagaraj | 9448279040 | O&M 1 | Manoj | 8722605233
529 |  |  |  | MALLADIHALLI |  |  | Naveen | 6360140436
530 |  |  |  | CHIKKAJAJURU | Basavaraju | 9449877014
531 |  |  |  | H.D PURA |  |  | Tippeswamy | 8892433828
532 |  |  |  | SHIVAGANGA |  |  | Tippeswamy | 8892433828
533 | SRP | Niranjana Murthy | 9591858523 | Mathodu |  |  | Rajappa | 9008701943
534 |  |  |  | Kanchipura |  |  | Murthy | 9686470256
535 |  |  |  | Srirampura |  |  | Murthy | 9686470256
536 |  |  |  | Belguru |  |  | Rajappa | 9008701943

## Issues (hidden)
Due to work order not approved
Due o BESCOM Vehicle unavailable
Work already completed,
no need of LC
No work hence no need to LC
LC not taken due to Rain
LC time postponed due to Rain
Due to Material Shortage
Due to Agency's Labour Shortage/not available
LC not requested by Section Officer
Due to Budget shortage
Due to other emergency BESCOM works
In order to provide uninterrupted power supply
Due to Strike/VIP Programs/Officials Visiting
Not requested for LC
Others