## BESCOM
Sl No | Circle | Division | Sub Dvn | OM Unit | Station Name | Feeder No /Name | IF LT Work DTC code capacity | Nomenclature of Works | CAPEX/ Maintenance | Work order No and Date | Sanctioned Date | Date of LC planned | Areas affected | No: of consumers affected |  | Duration of LC required |  |  | Remarks (changeover arranged details) | Work Belongs to Station / BESCOM | LC Taken or Not (Yes / No) | Issues | Remarks | Station/Feeder charged time |  |  | Confirmed by concern officers | Remarks (If time extended)
[14 empty] | HT consumers | LT consumers | From | To | Total interruption period in | [5 empty] | From | To | Total interruption period in
1 | SOUTH | JAYANAGAR | S2 | 3 | ADUGODI | F02 | 459 | LT CABLE STRINGING | Maintenance | K8777 |  | 2022-01-29 | LAKSHMI ROAD |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
2 | SOUTH | JAYANAGAR | S2 | 2 | KANTEERAVA | F10 | 229 | LT CABLE STRINGING | Maintenance | K8779 |  | 2022-01-29 | BLUE BELL |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
3 | SOUTH | JAYANAGAR | S2 | 3 | B-STATION | F-6 | _ | RMU REPAIR AND MAINTENANCE | Maintenance | _ |  | 2022-01-29 |  |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
4 | SOUTH | JAYANAGAR | S5 | U1 | ISRO layout | F-08 Vikram Nagar | HT-129, HT-85, HT-102, HT-164 | Energization of UG cable & Dismantling work | Capex | 14.1927/J-9038 |  | 2022-01-29 | Bikisipura,Mango Garden, Prathima Industrial Layout,kashi Nagar Lake, Isro Layout |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
5 | SOUTH | JAYANAGAR | S9 | U1 | Padmanabhanagar | F13-Saroja Complex | TCNO -90,92,173,418,325 | 3 GOS Structure/LT AB Cable Charging & Dimantling | Capex | 14.1927/J-9031/15.03.2021 & 14.1927/J-9013/17.12.2020 |  | 2022-01-29 | Brigade PETUNIA ,INDO AMERICAN,K.R Road BSK 2ND Stage |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
6 | SOUTH | JAYANAGAR | S9 | U2 | Padmanabhanagar | F01-Banagiri Nagar | TC-144,271,140,59,57,386 | 3 GOS Structure/LT AB Cable Charging & Dimantling | Capex | 14.1927/J-9008/17.12.2020 |  | 2022-01-29 | Papaiah Graden kiran appartment Surronding BSK 3rd stage |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
7 | SOUTH | JAYANAGAR | S9 | U2 | Padmanabhanagar | F08-Rajiv Nagar | TC-76 | 3 GOS Structure/LT AB Cable Charging & Dimantling | Capex | 14.1927/J-9011/17.12.2020 & 14.1927/J-9034/15.03.2021 |  | 2022-01-29 | 17th Cross ,R.K Layout Road,Maharaja Agrasena Hospital |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
8 | SOUTH | JAYANAGAR | S18 | U2 Chikkallasandra | Subramanyapura | F11 |  | RMU CHARGING WORK | Capex | OH-UG/ Ph-3/ RC-13/14.1927/J-8968 dt:16.02.2020 |  | 2022-01-29 | Martha's hospital Road,Uttarahalli Circle, Govt. Hospital Uttarahalli |  |  | 10:00 | 17:00 | 7:00 | NO | BESCOM
9 | SOUTH | KORAMANGALA | S17 | Marathalli | HAL | F02-MARATHAHALLI |  | OH To UG & RMU Maintenance | Capex |  |  | 2022-01-29 | Marathalli, Deepa Nursing Home, Sanjay Nagar, Manjunatha Nagar, BESCOM Old office road, |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
10 | SOUTH | KORAMANGALA | S17 | Basavanagar | HAL | F15-Dynasty |  | Feeder Maintenance & RMU Maintenance | Maintenance |  |  | 2022-01-29 | Krishnappa Garden, Oracle, Dynasty |  |  | 11:00 | 13:00 | 2:00 |  | BESCOM
11 | SOUTH | KORAMANGALA | S7 | Munekolala | 220/66KV Divyashree MUSS | F-09 Green Garden | TC-192,TC-193,TC-194,TC-196,TC-195 | Estimation for Conversion of existing 11kV Overhead Line into Under Ground Cable pertaining toF-09 Green Garden Feeder of 220/66KV Divyashree MUSS feeding to different locations in Munekolala O&M unit of S7 sub division, Koramangala Division, Bangalore South Circle, BESCOM. | Capex |  |  | 2022-01-29 | Sai Baba Temple Road |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
12 | SOUTH | KORAMANGALA | S7 | Munnekolala | 66/11KV Divyashree | F-04 Thubarahalli | TC-483,TC484,TC486,TC487 | Estimation for Conversion of existing 11kV Overhead Line into Under Ground Cable pertaining to F-10 Siddapura Feeder of Divyashree MUSS feeding to different locations in Munnekolala O&M unit of S7 sub division, Koramangala Division, Bangalore South Circle, BESCOM. | Capex |  |  | 2022-01-29 | Victorain Meadows Road |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
13 | SOUTH | KORAMANGALA | S7 | Panathur | 66/11KV Kadabeesanahalli MUSS | F -09 Dentol College | TC-NA, TC-39, TC-320, TC-NA, TC-420 | Estimation for Conversion of existing 11kV Overhead Line into Under Ground Cable pertaining to F -09 Dentol College Feeder of 220/66KV Kadabeesanahalli MUSS feeding to different locations in Panathur O&M unit of S7 sub division, Koramangala Division, Bangalore South Circle, BESCOM. | Capex |  |  | 2022-01-29 | Ashwath Nagara |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
14 | SOUTH | KORAMANGALA | S7 | Panathur | 66/11KV Cessna MUSS | F -03 Kaverappa Layout | HT-317,TC-470,TC-341,TC-340, | Estimation for Conversion of existing 11kV Overhead Line into Under Ground Cable pertaining to F -03 Kaverappa Layout Feeder of 220/66KV Cessna MUSS feeding to different locations in Panathur O&M unit of S7 sub division, Koramangala Division, Bangalore South Circle, BESCOM. | Capex |  |  | 2022-01-29 | KAVERAPPA LAYOUT |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
15 | SOUTH | KORAMANGALA | S7 | Panathur | 66/11KV Kadubeesanahalli MUSS | F -05 Akruthi Appt | TC-685/539/427,TC-NA,TC-42,TC-185 | Estimation for Conversion of existing 11kV Overhead Line into Under Ground Cable pertaining to F -05 Akruthi Appt Feeder of 220/66KV Kadubeesanahallii MUSS feeding to different locations in Panathur O&M unit of S7 sub division, Koramangala Division, Bangalore South Circle, BESCOM. | Capex |  |  | 2022-01-29 | PANATHUR MAIN ROAD |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
16 | SOUTH | KORAMANGALA | S7 | Panathur | Kadabisanahally | F09-Dental College | RMU Preventive Maintenance work |  |  |  |  | 2022-01-29 | TVS SHOW ROOM MARATHALLI BRIDGE |  |  | 10:30 | 12:30 | 2:00 |  | BESCOM
17 | SOUTH | KORAMANGALA | S7 | Panathur | Kadabisanahally | F09-Dental College | RMU Preventive Maintenance work |  |  |  |  | 2022-01-29 | NEAR KMF DIARY MARATHALLI BRIDGE |  |  | 12:30 | 14:00 | 1:30 |  | BESCOM
18 | SOUTH | HSR | S12 | Panduranga Nagar | SOUTH CITY | F9 | MSTC-86, MSTC-818,MSTC-54,MSTC,TC-407 | Convertion | Capex | N-15442 Dt:16.09.2021 |  | 2022-01-29 | Gottigere main road,gundappa L/O &surrounding |  |  | 10:00 | 18:00 | 8:00 | NO | BESCOM
19 | EAST | INDIRANAGAR | E11 | Ramamurthy Nagar | ITI | F12 PURVANKARA |  | 95 Sqmm Cable Charging | Capex |  |  | 2022-01-29 | Pamp Peak L/O |  |  | 10:00 | 16:00 | 6:00 |  | BESCOM
20 | EAST | INDIRANAGAR | E11 | Bhattarhalli | ITI | F6A |  | AB Cable Charging | Capex |  |  | 2022-01-29 | TC Palya Road |  |  | 10:00 | 16:00 | 6:00 |  | BESCOM
21 | EAST | INDIRANAGAR | E11 | Bhattarhalli | ITI | F2 MEDAHALLI |  | 95 Sqmm Cable Charging | Capex |  |  | 2022-01-29 | Deccan Factory |  |  | 10:00 | 16:00 | 6:00 |  | BESCOM
22 | EAST | INDIRANAGAR | E10 | KGP | NGEF | F1 NGEF | DTC 108,DTC549 | Dismantling | Capex | 405/20/OH to UG/IND/14-192/G-1014 |  | 2022-01-29 | Basith Road |  |  | 250:00 | 400:00 | 150:00 | Part Feeder | BESCOM
23 | EAST | INDIRANAGAR | E10 | BGH | ITI | F5 ITI | DTC-SIVA TEMPLE DTC | AB CABLE | Capex | 405/19/OH to UG/IND/14-192/F-3134 |  | 2022-01-29 | SIVA TEMPLE AND SORROUNDING AREA |  |  | 250:00 | 400:00 | 150:00 | Part Feeder | BESCOM
24 | EAST | INDIRANAGAR | E10 | KGP | BGM | F17 & F14 BGM | BG 591,441,717 | GOS & LT AB CABLE | Capex |  |  | 2022-01-29 | KG Pura Main Road |  |  | 250:00 | 400:00 | 150:00 | Part Feeder | BESCOM
25 | EAST | INDIRANAGAR | E6 | Domlur | LEELA S/S | F3 LEELA | TC348 (NAL Compound) & 433 (Venugopal TC) | LT UG Cable commissioning Dismantling | Capex | 405/19/Inr/OH to UG/14-192/F-3144 |  | 2022-01-29 | 6th cross , 8th cross, 13th main, 15th main, NAL Compound & Venugopal TC |  |  | 250:00 | 399:00 | 149:00 | LT UG BOX Required | BESCOM
26 | EAST | SHIVAJINAGAR | E5 | COOKS TOWN | PR | F-7 | 26 | HT UG cable raising and structure work uinder OH to UG conversion project | Capex | G-45950 (31.03.2020) | LT Line | 2022-01-29 | NORTH AVENUE ROAD |  |  | 10:00 | 17:00 | 7:00 | - | BESCOM
27 | NORTH | MALLESHWARAM | C2 | Sheshadripuram | A STATION | SHESHADRIPURAM F8 | 111010202 066 | STRUCTURE MAINTENANCE | Maintenance |  |  | 2022-01-29 | 2ND MAIN ROAD, ANJANEYA BLOCK. |  |  | 11:00 | 13:00 | 2:00 |  | BESCOM
28 | NORTH | MALLESHWARAM | C6 | Mathikere O&M 10 | Mathikere 66/11KV | MTK F9 |  | OH TO UG CONVERSION OF 11KV LINE | Capex |  |  | 2022-01-29 | jp park, HMT Layout |  |  | 10:00 | 16:00 | 6:00 |  | BESCOM
29 | NORTH | JALAHALLI | C3 | Jalahally | Gokul | F10 - Chamundeshwari layout |  | For GOS Maintenance & Tree trimming | Maintenance |  |  | 2022-01-29 | Chamundeshwari layout |  |  | 12:00 | 13:00 | 1:00 |  | BESCOM
30 | NORTH | JALAHALLI | C9 | KODIGEHALLI | RMV MUSS | F09 | full feeder | maintenance and jump replacement | Maintenance | NO work order maitainance |  | 2022-01-29 | BALAJI L/O,BADRAAPPA L/O,RING ROAD,MARUTHI NAGAR, |  |  | 11:00 | 14:00 | 3:00 |  | BESCOM
31 | NORTH | JALAHALLI | C9 | KODIGEHALLI | SKN | F17 | full feeder | maintenance and jump replacement | Maintenance | NO work order maitainance |  | 2022-01-29 | MLA L/O |  |  | 11:00 | 14:00 | 3:00 |  | BESCOM
32 | NORTH | JALAHALLI | C9 | MS PALYA | ATTUR | F-7 | full feeder | ERRECTION OF TRANSFORMER WORK | Capex | NO work order maitainance |  | 2022-01-29 | ESCSORTS L/O, AKSHAYANAGARA , THIRUMALA NAGARA ,KAVERI L/O,CB HALLI BRUNDAVANA L/O,ADITHYANGARA ,MS PALYA |  |  | 11:00 | 17:00 | 6:00 |  | BESCOM
33 | NORTH | JALAHALLI | N9 | HESARAGHATTA | SOLADEVANAHALLI | F-4 HESARAGHATTA EXP & F-8 SASUVEGHATTA |  | HT JUMP REPLACEMENT , TREE TRIMMING WORKS & GOS MAINTAINANCE | Maintenance |  |  | 2022-01-29 | HULICHIKKANAHALLI, KT PURA, TB CROSS, HESARAGHATTA, BILIJAJI, DASENAHALLI, GUDDDADAHJALLI, BGS COLLEGE, CCBF, CPDO, KMF, CENTRAL POULTRY, DANISH FARM PARTS OF NELAMANGA & KANASAWADI O&M |  |  | 11:00 | 14:00 | 3:00 |  | BESCOM
34 | NORTH | JALAHALLI | N9 | SOLADEVANAHALLI | ABBIGERE | ABG F-07 |  | LT AB CABLING & 1-3 GOS STR WORK | Capex | 1764276 & 1813166 |  | 2022-01-29 | Royal Street, Vinayaka Layout |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
35 | NORTH | HEBBAL | C8 | SKN 20 | SKN | F3,F8 | 655, 590 | CONVERTION OH/UG | Capex | 1615108/13.01.2021 |  | 2022-01-29 | THALAKAVERY LAYOUT |  |  | 10:00 | 16:00 | 6:00 |  | BESCOM
36 | NORTH | HEBBAL | C8 | JAKKUR 20A | shoba | F10 | 705, 655, 590 | CONVERTION OH/UG | Capex | 1615108/13.01.2021 |  | 2022-01-29 | HEGDENAGARA |  |  | 10:00 | 16:00 | 6:00 |  | BESCOM
37 | NORTH | HEBBAL | C7 | 19A | PUTTENAHALLI | F13 | Kogilu cross Rd to Bagalur Rd | Conversion of 11KV OH to UG Line for F13 ( Puttenahalli Muss) Venkatala BLR Feeder in Yelahanka Old Town O&M 19A of C7 Sub Division, Hebbal Division | Capex | B-4830 & 08.01.2021 |  | 2022-01-29 | NH |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
38 | NORTH | HEBBAL | C7 | 19A | PUTTENAHALLI | F12 | TC 561, TC 61, HDFC HT, Adithiya TC | Conversion of 11KV OH to UG Line for F12 ( Puttenahalli Muss) MARUTHI NAGAR BLR Feeder in Yelahanka Old Town O&M 19A of C7 Sub Division, Hebbal Division | Capex | B-4832 & 08.01.2021 |  | 2022-01-29 | Kogilu Main Road |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
39 | NORTH | HEBBAL | C7 | 19A | PUTTENAHALLI | F1 | TC 131, TC 545 | Conversion of 11KV OH to UG Line for F1 ( Puttenahalli Muss) Bagalur Air Force feeder Feeder in Yelahanka Old Town O&M 19A of C7 Sub Division, Hebbal Division | Capex | C-3988 & 22.07.2021 |  | 2022-01-29 | Saralaya Hospital |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
40 | NORTH | HEBBAL | C7 | 19A | KHB | F11 | YHT-271, DTC-50 | Conversion of 11KV OH to UG Line for F11 ( KHB Muss) Feeder in Yelahanka Old Town O&M 19A of C7 Sub Division, Hebbal Division | Capex | B-4832 & 08.01.2021 |  | 2022-01-29 | JAKKUR MAIN ROAD NEAR INDIAN PETROL PUMP |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
41 | NORTH | HEBBAL | C4 | 15 | SAHARNAGARA | F6-KEMPAPURA | 31 | OVER HEAD TO UG CABLE WORK | Capex | C-4032/05.07.2021 |  | 2022-01-29 | DASRAHALLI MAIN ROAD, BHUVANESHWARI NAGRA, VENKATEGOWDA L/O, COFFE BOARD L/O PARK |  |  | 10:00 | 18:00 | 8:00 |  | BESCOM
42 | NORTH | PEENYA | N7 | O&M 8 | MAHALAKSHMI LAYOUT | F8 BOVIPALYA | 05 NOS | OH TO LT AB CABLECONVERSION WORK | Capex |  |  | 2022-01-29 | M.L.Puram 2nd Stage, 9th & 10th Main M.L.A office, Surrounding Area. |  |  | 10:00 | 18:00 | 8:00 |  | BESCOM
43 | WEST | RR NAGAR | W2 | U-6 | NATIONAL_COLLEGE_66 | F05-SURVEYOR-STREET-COOL-CORNER | 111060204 074 | MICRO LEVEL FEEDER WORK | Capex |  |  | 2022-01-29 | JAIN TEMPLE ROAD |  |  | 10:30 | 12:30 | 2:00 |  | BESCOM
44 | WEST | KENGERI | K1 | Kengeri | RR Nagara | F5 |  | Estimate for Conversion of HT Overhead to HT UG Cable for F5 Feeder Kengeri Feeder emanating from RR Nagar MUSS in O&M U-22 kengeri of K1 Sub Dvn, Kengeri Dvn. Under (RC 14) Total turnkey basis | Capex | J-15103 J-15303 J-15403 Dt:03.04.2021 |  | 2022-01-29 | Uttrahali Road, Konchandra Road, Kodipallia,Annpurnashwary layout |  |  | 9:00 | 17:00 | 8:00 |  | BESCOM
45 | WEST | KENGERI | K1 | Kengeri | RR Nagara | F10 |  | Estimate for Conversion of HT Overhead to HT UG Cable for F10 Feeder Global Village Feeder emanating from RR Nagara MUSS in O&M U-22 kengeri of K1 Sub Dvn, Kengeri Dvn. Under (RC 14) Total turnkey basis | Capex | I-15018 I-15218 I-15318 Dt:22.02.2021 |  | 2022-01-29 | Bhoomika Layout,Patangiri, BHEL Layout |  |  | 9:00 | 17:00 | 8:00 |  | BESCOM
46 | WEST | KENGERI | K1 | Kengeri | VRUSHABHAVATHY | F12 |  | Estimate for Conversion of HT Overhead to HT UG Cable for F12 -RV College Feeder emanating from vrishabhavathi MUSS in O&M U-22 kengeri of K1 Sub Dvn, Kengeri Dvn. | Capex | J-15107 J-15307 J-15407 Dt:17.04.2021 |  | 2022-01-29 | Harsha layout,Vidyapit Road,BGS Hospital Road,Mysore Hyway |  |  | 9:00 | 17:00 | 8:00 |  | BESCOM
47 | WEST | KENGERI | K2 | Herohalli | Byadarahalli | F-6 |  | Estimate for conversion of 11KV OH Line to HT UG Cable of F6 feeder from Byadarahalli muss in Herohalli O&M-1, K2 Sub divin, Kengeri Divin, Bangalore-91 | Capex | I-15416 I-15616 I-15716 ,DT:22.02.2021 |  | 2022-01-29 | Hosahalli Road |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
48 | WEST | KENGERI | K2 | Herohalli | Byadarahalli | F-3 |  | Estimate for conversion of 11KV OH Line to HT UG Cable of F3 feeder from Byadarahalli muss in Herohalli O&M-1, K2 Sub divin, Kengeri Divin, Bangalore-91 | Capex | I-15404 I-15704 I-15604 ,DT:13-01-2021 |  | 2022-01-29 | Andrahalli Main Road |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
49 | WEST | KENGERI | K2 | Herohalli | Byadarahalli | F-4 |  | Estimate for conversion of 11KV OH Line to HT UG Cable of F4 feeder from Byadarahalli muss in Herohalli O&M-1, K2 Sub divin, Kengeri Divin, Bangalore-91 | Capex | 1694266 dt-24.0.2021 |  | 2022-01-29 | Behind Eastern School |  |  | 10:00 | 17:00 | 7:00 |  | BESCOM
50 | WEST | KENGERI | K4 | KST | B MUTT | F9 |  | Estimate for Conversion of HT Overhead to HT UG Cable for F09 Feeder Satellite Club Feeder BANDEMUTTA MUSS in O&M U21 K4 Sub Dvn, Kengeri Dvn.RC 14 | Capex | J-15105 J-15305 J-15405 Dt:17.04.2021 |  | 2022-01-29 | SIR MV 1st Block |  |  | 9:00 | 17:00 | 8:00 |  | BESCOM
51 | WEST | KENGERI | K4 | KST | B MUTT | F11 |  | ESTIMATE FOR CONVERSION OF 11KV OH LINE INTO UG CABLE SYSTEM OF EXISTING F-11 FEEDER( Sir.M.V Layout 8th block) FEEDING FROM SIR M V MUSS IN ANJANANAGARA O&M UNIT-1, K-4 SUB DIVISION ON RATE CONTRACT BASIS | Capex | I-15029 I-15229 I-15329 Dt:25.02.2021 |  | 2022-01-29 | Poonamparijatam |  |  | 9:00 | 17:00 | 8:00 |  | BESCOM
52 | WEST | KENGERI | K4 | RR Layout | SIR MV | F2 |  | Estimate prepared for convertion of OH to HT UG Cable for F2 Feeder Maruthinagara of Sir M V MUSS in O&M-24 RR Layoutof K-4 Subdivison Nagadevanhalli Bangalore-56 | Capex | I-15031 I-15231 I-15331 Dt:25.02.2021 |  | 2022-01-29 | Ullal Nagar, Maruti nagar |  |  | 9:00 | 17:00 | 8:00 |  | BESCOM
53 | WEST | KENGERI | K4 | RR Layout | SIR MV | F4 |  | Estimate prepared for convertion of OH to HT UG Cable for F4 Feeder RR Layout of Sir M V MUSS in O&M-24 RR Layoutof K-4 Subdivison Nagadevanhalli Bangalore-56 | Capex | I-15023 I-15223 I-15323 Dt:22.02.2021 |  | 2022-01-29 | BDA Area Block -1 |  |  | 9:00 | 17:00 | 8:00 |  | BESCOM
54 | WEST | KENGERI | K4 | RR Layout | SIR MV | F6 |  | Estimate prepared for convertion of OH to HT UG Cable for F6 Feeder RR Layout of Sir M V MUSS in O&M-24 RR Layoutof K-4 Subdivison Nagadevanhalli Bangalore-56 | Capex | I-15021 I-15221 I-15321 Dt:22.02.2021 |  | 2022-01-29 | Bhuveneswar Nagar,dodabasti Main Road, kalyani Layout,RR layout, Upadhya Layout |  |  | 9:00 | 17:00 | 8:00 |  | BESCOM
55 | KOLAR | KGF | ML1 | LAKKUIR | LAKKUIR | F05- SAMPANGERE |  | Est for APS to 15 hp power installation in favourof Sri.Venugopal s/o Venkataswamy Ajjapanahalli (v) Masthi Section of Malur Sub-Division | Capex | V-12159/28.09.2021 |  | 2022-01-29 | Ajjapanahalli |  |  | 13:00 | 14:00 | 1:00 |  | BESCOM
56 | SOUTH | KORAMANGALA | S3 |  | AMARJYOTHI | F1 | [5 empty] | 2022-01-29 | NEAR EMBASSY GOLF LINK, BUSINESS PARK, KORAMANGALA ROAD |  |  | 10:00 | 11:30 | 1:30 |  | BESCOM
57 | SOUTH | KORAMANGALA | S3 |  | AMARJYOTHI | F12 | [5 empty] | 2022-01-29 | Ejipura main road, Dhanalakshmi Pharma |  |  | 11:30 | 13:00 | 1:30 |  | BESCOM
58 | SOUTH | KORAMANGALA | S3 |  | AMARJYOTHI | F2 | [5 empty] | 2022-01-29 | NEAR 24 TH CROSS EG PURA MAIN ROAD. |  |  | 13:00 | 14:00 | 1:00 |  | BESCOM
59 | SOUTH | KORAMANGALA | S3 |  | AMARJYOTHI | F7 | [5 empty] | 2022-01-29 | NEAR MUSS, NAGASANDRA, S.L.NO:0331 |  |  | 14:30 | 16:00 | 1:30 |  | BESCOM
60 | SOUTH | KORAMANGALA | S17 |  | K & C VALLEY | F12 | [5 empty] | 2022-01-29 | NEAR MUSS, AIRFORCE INSTITUTE KEMPAPURA |  |  | 16:00 | 17:30 | 1:30 |  | BESCOM
61 | NORTH | HEBBAL | C8 |  | SAHAKARA NAGAR | F12 | [5 empty] | 2022-01-29 | 12TH CROSS NEAR TC 29 (13TH MAIN), S.L.NO:0379 |  |  | 10:00 | 11:30 | 1:30 |  | BESCOM
62 | NORTH | HEBBAL | C8 |  | SAHAKARA NAGAR | F11 | [5 empty] | 2022-01-29 | NEAR MUSS,S.NO: 0259 |  |  | 11:30 | 13:00 | 1:30 |  | BESCOM
63 | NORTH | HEBBAL | C8 |  | SAHAKARA NAGAR | F2 | [5 empty] | 2022-01-29 | NEAR MUSS,S.NO: 0182 |  |  | 13:00 | 14:00 | 1:00 |  | BESCOM
64 | NORTH | HEBBAL | C8 |  | SAHAKARA NAGAR | F1 | [5 empty] | 2022-01-29 | NEAR MUSS,S.NO: 0242 |  |  | 14:30 | 16:00 | 1:30 |  | BESCOM
65 | NORTH | HEBBAL | C8 |  | SAHAKARNAGAR | F11 | [5 empty] | 2022-01-29 | NEAR MUSS, OPP. C8 S/D OFFICE |  |  | 16:00 | 17:30 | 1:30 |  | BESCOM
66 | EAST | SHIVAJINAGAR | E8 |  | BANASWADI_66 | F16 | [5 empty] | 2022-01-29 | Babusapalya area |  |  | 10:30 | 13:30 | 3:00 |  | BESCOM
67 | EAST | INDIRANAGAR | E6 |  | LEELAVENTURE_66 | F12 | [5 empty] | 2022-01-29 | Domlur II stage, HAL 2nd stage |  |  | 14:00 | 17:00 | 3:00 |  | BESCOM
68 | TUMKUR | KUNIGAL | KU1 | o&M-2 | Bhaktharahally 66/11KV | F-10 Vanigere | 32 | Estimate for HT Reconductoring Of 4 ACSR Conductor by Rabbit ACSR Conductor at F-10 Vanigere | Capex |  |  | 2022-01-29 | Vanigere |  |  | 12:00 | 16:00 | 4:00 |  | BESCOM

## O&M SO Numbers (hidden)
Sl No | Sub Division | AEE Name | AEE Number | O&M Name | AE Name | AE Whats app Number | JE / SO Name | JE / SO Whats app Number
1 | S1 | Ramadevi | 9449844661 | Jayanagar | Nagaraj | 9449840404 |  | `
2 |  |  |  | Jayanagar T Block | Prakash | 8880468232
3 |  |  |  | Jayanagar 8th Block | Prakash | 8880468232
4 | S2 | Ramesh | 9449844662 | S.R.Nagar | Mahesh | 9449840413
5 |  |  |  | Wilson Garden | Lokesh Kumar | 9449840411
6 |  |  |  | Shanthi Nagar | Lokesh | 9449840411
7 | S5 | Mohan Kumar | 9449844665 | Vasanthapura | Vinay Kumar | 9449867507
8 |  |  |  | ISRO Layout | Rajesh | 9008762527
9 | S18 | Jagadish | 827789318 | Chikkalasandra | Shivashankar | 9449840421
10 |  |  |  | Poorna Pragna Layout | Anil Kumar | 9972034347
11 | S6 | Prakash | 9449844660 | Konana Kunte | Ramesh Danigonda | 9449840430
12 |  |  |  | JP Nagar | Ramaprasad | 9449840423
13 |  |  |  | Puttenehalli | Krishnaiah | 9449840425
14 | S9 | Kavitha | 9449844669 | BSK 2nd stage | Rudresh | 9739516864
15 |  |  |  | Padmanabha Nagar | Geetha | 8904270868
16 | S14 | Venkatesh Sagar | 8277893196 | JP Nagar 2nd Phase | Anand | 9449840426
17 |  |  |  | BTM Layout 2nd Stage | Kiran | 9449840428
18 | S15 | Lakshmisha | 8277893192 | Katriguppe | Dhavalesh | 9449840437
19 |  |  |  | Ittamadu | Rajshekar | 8277889657
20 | S3 | Nagappa | 9449844663 | Austin Town | Abhishek | 9449840447
21 |  |  |  | Murgesh Palya | Manohar | 9449840445
22 | S4 | Manoj Kumar | 9449844664 | Koramangala | Vasantha Kumar | 9449840452
23 |  |  |  | Adugodi | Shruthi | 9742582614
24 | S7 | Praveen | 9449844667 | Kundalahalli | Manjunath | 9449840457
25 |  |  |  | Munnekolala | Chandra Nayak | 9449840458
26 |  |  |  | Panatur | Rajashekar | 9449840459
27 | S16 | Jayaram | 8277893193 | Madivala | Asha(I/C) | 9900724229
28 |  |  |  | S G Palya | Asha | 9900724229
29 | S17 | Narayana Swamy | 8277893183 | HAL | Vardaraju | 9449840453
30 |  |  |  | Basava Nagar | Yogaraj | 7899388153
31 |  |  |  | Marathalli | Somashekar | 7975314622
32 | S10 | R Kumar | 9449844670 | Begur | Sunil | 9449840472
33 |  |  |  | Basavanapura | Santhosh | 9449840474
34 | S11 | Puttappa | 9449844826 | Dodda Kannahali | Sathish | 9449840481
35 |  |  |  | Bellandur | Lakshminarayan Reddy | 9449840478
36 |  |  |  | Kasavanahalli | Nagaraj | 9449841576
37 | S12 | Venugopal | 9449844827 | Panduranga Nagar | Amith Kumar | 9449840484
38 |  |  |  | Talaghattapura | Ravikumar | 9449840482
39 | S13 | Nagbushan | 9449841593 | Electronic City | Venkatesh | 9449840463
40 |  |  |  | Singasandra | Mohan | 9449841578
41 |  |  |  | Chennakeshav Nagar | Shiva Kumar | 9449840480
42 | S8 | Srinivas | 9449844668 | Bommanahalli | Manjunath | 7411632554
43 |  |  |  | Honga sandra | Manjunath | 9241241999
44 | S19 | Amogha sidda bandi vaddar | 8277893180 | Vijay Bank Layout | Prashanth Kumar | 9449840471
45 |  |  |  | Bilekahalli | Narayan Swamy | 9449841579
46 | S20 | Manjunath C P | 8277893186 | Agara | Yatish | 9449840476
47 |  |  |  | HSR Layout | Vinay Kumar | 9632648465
48 |  |  |  | ITI Layout | Manjunath R S | 9663865956
49 | E10 | Ramesh | 9449868808 | Pai Layout | Santhosh | 9449874211
50 |  |  |  | Kaggadasapur | Vijay Nayak | 9449874212
51 |  |  |  | Kasthuri Nagar | Nawaz | 9880331825
52 | E11 | Basappa | 8277893923 | Ramamurthy Nagar | Vishwanath | 9449874210
53 |  |  |  | Akshay Nagar | Kishor | 9449874349
54 |  |  |  | Bhattarahalli | Triven Kumar | 8152011061
55 | E3 | Rajashekar Gandad | 9449844673 | B Station | Srinivas | 9449874213
56 |  |  |  | Ulsoor | Rudramuni | 9449874203
57 |  |  |  | Someshwara | Srinivas | 9449874202
58 | E6 | Manjunath | 9449844676 | Indira Nagar | Goutham | 9449874259
59 |  |  |  | Jeevan Bheema Nagar | Kusuma | 9449874208
60 |  |  |  | Domlur Hal 2nd Stage | Prabha | 9141182607
61 | E4 | Sali | 9449844674 | White Field | Chethan | 9449874204
62 |  |  |  | Varthur | Mahadeva | 7829438127
63 |  |  |  | Kadugodi | Naveen | 9449874205
64 | E7 | Krishna Murthy | 9449844677 | K.R. Puram | Geetha | 9449189488
65 |  |  |  | Ayyappa Nagar | Muniya Nayak | 9008275600
66 |  |  |  | Devasandra | Ajay Kumar | 9449874662
67 | E12 | Subramanya | 8277893920 | Mahadevapura | Raghu | 9902557868
68 |  |  |  | EPIP | Vijay Kumar | 8310693824
69 |  |  |  | Hoody | Sindhya | 9632264434
70 | E1 | Parisha Nayak | 9449844671 | Benson Town | Hanumanthappa | 9449874765
71 |  |  |  | Frazer Town | Gurumurthy | 9449874764
72 |  |  |  | Venkateshpura | Adhi Narayan | 9449874810
73 | E2 | Poorna chandra Tejaswi | 9449844672 | C Station | Lokesh | 8217052327
74 |  |  |  | Tasker Town | Ramanjaneiyal | 9449874902
75 |  |  |  | Bharathi Nagar | Lakshman | 9980666356
76 | E5 | Basappa | 9449844675 | Cooks Town | Naveen | 9449874977
77 |  |  |  | Lingaraja Pura | Mahadevappa | 9731732565
78 | E8 | Chalapathy | 9449844678 | Banasawadi | Vinay | 9449869316
79 |  |  |  | Babsab Palya | Naresh | 9986281360
80 |  |  |  | R.S. Palya | Shariff | 9945699822
81 |  |  |  | Hanumanth Nagar | Manoj Kumar | 9986029491
82 | E9 | Sundresh Nayak | 9449877171 | Govindpura | Bharath | 9449874909
83 |  |  |  | Dasarahalli | Preetham | 9449875060
84 |  |  |  | Kothanur | Shashidar | 9449875059
85 |  |  |  | Thanisandra | Rangaswamy | 8073030757
86 | W3 | Sheshachala | 9449844683 | Gory Playa | Jayaram | 9449840364
87 |  |  |  | Sourastra Pet | Raghavendra | 9741077366
88 |  |  |  | Magadi Road | Girish | 9449863587
89 | W4 | Somashekar | 9449844688 | Gandhi Nagar | Suresh Giri | 9900450450
90 |  |  |  | Cotton Pet | Rajesh | 9448087507
91 |  |  |  | RT Street | Suresh Giri | 9900450450
92 |  |  |  | Vasantha Nagar | Kalegowda | 9741415101
93 | W5 | Rajkumar Naik | 9449844685 | Cubbon Pet | Muniraju | 9845079198
94 |  |  |  | Nagarath Pet | Rajesh | 9449875558
95 |  |  |  | City Market | Fakuruddhin | 9448190880
96 | C1 | Siddaraju | 9449844641 | Prakash Nagar | Bharathi | 9449864485
97 |  |  |  | Oklipuram | Ashok | 9449864491
98 |  |  |  | Devaiah Park | Rashmi | 8884446684
99 |  |  |  | Rajaji Nagar 2nd Stage | Srinivas | 9449864493
100 | C2 | Nagesh | 9449844642 | Palace Guttahalli | Parinitha | 9632554177
101 |  |  |  | Vyalikaval | Roopa | 9449864536
102 |  |  |  | Sheshadri Puram | Santhosh | 9449864498
103 |  |  |  | Malleshwaram | Manjunath | 9036912106
104 | C6 | Puttaswamy | 9449844646 | Mathikere | Vidya | 9449864547
105 |  |  |  | Yeshwanthapura | Anil Kumar | 9886895738
106 | C3 | Basavarajayya | 9449844643 | Jalahalli | Rohith | 9449864541
107 |  |  |  | Abbigere | Raghunath | 9449864538
108 | C9 | Dakya Nayak | 8277893915 | Vidyaranyapura | Lakshmikanth | 9449864918
109 |  |  |  | Virupakshapura | Veeraswamy | 9449864923
110 |  |  |  | Kodigehalli | Govinda Raj | 9449864896
111 |  |  |  | M S Palya | Shankre Gowda | 8277893930
112 | N9 | Ajaya jawan | 8277893918 | Soldevanahalli | Kiran | 9449865452
113 |  |  |  | Bagalagunte | Shashikiran | 9449865451
114 |  |  |  | Byalakere | Shivakumar | 9742626494
115 |  |  |  | Hesaraghatta | Keerthi | 8277893937
116 | C4 | Raju | 9449844644 | Sanjaya Nagar | Sri. Manjunath | 9449864892
117 |  |  |  | Ganganagar | Sri. Puttaswamy | 9449864894
118 |  |  |  | Hebbal | Mohamad Aseeq | 9449864897
119 | C5 | Sri. Prabhakar Y | 9449844645 | Kavalbyrasandra | Ramu | 9449864899
120 |  |  |  | Gandhi Nagar | Akkamma | 9901939604
121 |  |  |  | K.G.Halli | Ramu | 9449864899
122 | C7 | Dhananjay | 9449844647 | Yelahanka Old Town | Kiran | 9449864908
123 |  |  |  | Yelahanka New Town | Sri. Sathish Babu(I/C) | 9449864903
124 |  |  |  | Rajanakunte | . Laxmi Narayan | 9535633663
125 | C8 | Uday Kumar K | 9449841574 | Sahakar Nagar | Phanindra Nayak | 9449864912
126 |  |  |  | Jakkur | Santhosh | 9449864914
127 | N4 | Narayan | 9449844654 | Laggere | Anil | 9449865398
128 |  |  |  | Kempegowda Nagar | Narasimha Murthy | 9449865513
129 |  |  |  | Heggana Halli | Sri. Nagaraj | 9449865396
130 | N5 | Manohar Shetty | 9449844655 | T. Dasarahalli | Dhanalakshmi | 9449865418
131 |  |  |  | Shettyhalli | Sri. Venugopal | 9449865590
132 |  |  |  | Peenya (SRS) | Kiran | 9449865416
133 |  |  |  | Chokkasandra | Kiran | 9449865394
134 | N7 | Dhanareddy | 9449844657 | Mahalakshmi Layout | Girish | 9449865458
135 |  |  |  | Gorguntte palya | Girish (I/C) | 9449865520
136 |  |  |  | Nandini Layout | Dinesh | 9449865461
137 | N1 | Asha | 9449844651 | 6th Block Rajaji Nagar | Chandrashekar Murthy | 9844608666
138 |  |  |  | 2nd Block Rajaji Nagar | Anand Murthy | 9449868872
139 |  |  |  | 3rd Block Rajaji Nagar | . Tv Sunitha | 9449868873
140 | N2 | Gangaram Rajputh | 9449844652 | RPC Layout | Santhosh | 9449869136
141 |  |  |  | Chandra Layout | Chetan Kumar (I/C) | 9901000369
142 |  |  |  | Marena Halli | Chandrashekar | 9449869137
143 | N3 | Dhanejeya | 9449844653 | Basaveshwara Nagar | Shankar Raj | 9449870128
144 |  |  |  | Industrial Town | Sri. Anand | 9449870117
145 | N6 | Kariyappa | 9449844656 | Kamakshi Palya | Keshava Murthy(I/C) | 9449870177
146 |  |  |  | Sunkadakatte | Anadkumar Ae (I/C) | 9449868853
147 | N8 | Lakshmi Narasappa | 9449844897 | Papareddy Palya/ Mallathahalli | Shashishekar | 9449869450
148 |  |  |  | Nagarabhavi | Mohan | 9449869442
149 |  |  |  | Sriganda Kavalu | Rajashekar | 9449870085
150 | N10 | Bheemana Gowda | 8277893190 | Kalyan Nagar | Prakash(I/C) | 9449870039
151 |  |  |  | Pattegar Palya | Prakash | 9449870039
152 | W1 | Prashanth M | 9449844681 | Avalahalli-1 | Nagamani | 9886987510
153 |  |  |  | Avalahalli-2 | Shivaram | 9148921513
154 | W2 | Umesh | 9449844682 | Chamaraj pete | Chethan | 9449870534
155 |  |  |  | Shankarpuram | Hemanth | 9449870535
156 |  |  |  | Gandhi Bazar | Mayur | 9449870536
157 | W6 | Prashanth Kumar V | 9449844686 | Byatarayanapura | Shruthi | 9886511049
158 |  |  |  | Nayandanahalli | Venktesh (I/C) | 9449870968
159 |  |  |  | New timber yard layout | Nagaraj | 9449870992
160 | W7 | Prakash | 9449844894 | Rajajeshwari Nagar | Sri. Dinakar | 9449870938
161 |  |  |  | Channasandra | . Mutturaj (I/C) | 9986128041
162 | W8 | Geetha | 8277890545 | Hanumantha Nagar | Avinash | 9449870596
163 |  |  |  | Thyagaraj Nagar | Muniraju (I/C) | 9036607245
164 | K1 | Ashok hingar | 9449844687 | Kengeri | Chandrashekar | 9449870327
165 |  |  |  | Kumbalagudu | Vasanthkumar | 9916617455
166 |  |  |  | Ramohalli | Mohith | 9900765041
167 | K2 | Malthesh | 9449844892 | Aerohalli | Nagarjun | 9535453355
168 |  |  |  | Andrahalli | Vidya Sagar | 9632740780
169 |  |  |  | Doddabidirukallu | Obbyya | 9449866735
170 | K3 | Rajesh | 9449844893 | Kaggalipura |  |  | Girish | 8867057292
171 |  |  |  | Agara | Umesh Kumar C | 9980704739
172 | K4 | Nagabhusan NG | 8277893934 | RR Layout | Roopa | 9449870366
173 |  |  |  | Kengeri Satilite Town | Nikitha | 9448435051
174 |  |  |  | Anajana Nagar | Renuka Prasanna | 9449870320
175 | DB1 | Rohith | 9448279080 | O&M -I | Rajappa | 9880986736
176 |  |  |  | O&M -II |  |  | Hanumantha Gowda | 9739218475
177 |  |  |  | BASHETTIHALLI |  |  | Mohan Kumar | 9449873413
178 |  |  |  | MELEKOTE CROSS | Lakshman | 9620087927
179 | DB2 | Mohan | 8277892573 | KANSAWADI |  |  | Kempe Gowda | 9880625473
180 |  |  |  | SASALU |  |  | Mani Nayak | 9902536229
181 |  |  |  | DODDABELAVANGALA |  |  | Kumaraswamy | 8152831962
182 |  |  |  | THUBGERE |  |  | Nagesh | 7019548491
183 | DPT | Umesh | 8277892562 | THAYMAGONDLU | Hemanth | 9449873969
184 |  |  |  | DABASPETE | Naveen Kumar | 9449873968
185 | NM1 | Nagaraj | 9448279077 | O&M -I | Mallikarjun | 8277892551
186 |  |  |  | O&M -2 | Deepak | 8277892552
187 |  |  |  | MADANAYAKANALLI | Suresh | 9483696600
188 |  |  |  | SONDEKOPPA |  |  | Mohan Kumar | 8277892553
189 | DH1 | Sandeep (inch) | 9448279082 | O&M -I | Sathish | 9449871584
190 |  |  |  | O&M -II | Mallikarjun | 9449871644
191 |  |  |  | AVATHI |  |  | Muniraju | 9108925924
192 |  |  |  | BUDIGERE |  |  | Karan Kumar | 9880314595
193 |  |  |  | VIJAYAPURA-1 | Manasa | 9449871571
194 |  |  |  | VIJAYAPURA-2 | Gopal Nayak | 9620678099
195 | HK1 | Anil kumar | 9448279084 | HOSAKOTE Town | Sridhar Murthy | 9972453393
196 |  |  |  | PILLAGUPPA | Vittal | 9902866644
197 |  |  |  | MUGABALA | Santhosh | 8095536418
198 |  |  |  | THIRUMALASHETTYHALLI CROSS (SIGEHALLI) | Gangaraju | 9663942627
199 |  |  |  | JADIGENAHALLI | Mohan Ram | 9449871164
200 |  |  |  | DEVANGONDI |  |  | Muniraju | 9448004572
201 | NG1 | SP Kolkar | 9448279085 | NANDAGUDI |  |  | Chalapathi | 9449871747
202 |  |  |  | SULIBELE-1 | Anil | 9620696649
203 |  |  |  | BENDIGANAHALLI |  |  | Srinivas | 9845192963
204 | VD1 | Venkateshwar KN | 9449871699 | VIDYA NAGAR |  |  | Yogesh | 9449871692
205 |  |  |  | SADAHALLI GATE | Rajesh | 9449871702
206 | AV1 | Narayanaswamy Gowda | 9449871689 | AVALAHALLI | Anand | 9481120039
207 |  |  |  | SAI GARDEN (KADUGODI) | Muralidhar | 7892549565
208 |  |  |  | DODDAGUBBI |  |  | Basavaraju | 9449871184
209 | BD1 | Anuradha | 9448094839 | BYRAMANGALA |  |  | Yogesh | 9880313484
210 |  |  |  | Manchanayakanahalli |  |  | Sandesh Kumar | 9844167107
211 |  |  |  | BIDADI | Shivaraju | 9481492383
212 |  |  |  | BANNIKUPPE-1 |  |  | Rama Lingaiah | 9449872466 ( not using whats app number he had only one number )
213 |  |  |  | URAGALLI |  |  | Rukmangad | 9164620335
214 | CP1 | Shivakumar | 9448279090 | O&M -I | Chandrashekar | 9449866773
215 |  |  |  | O&M -II | Deelip Kr | 9449866774
216 |  |  |  | O&M -III ( MUDIGERE ) |  |  | Girish | 9986476007
217 | CP2 | Chidanand | 9448279091 | KODAMBALLI | Abhishek | 9449873055
218 |  |  |  | O&M -I ( Honganur ) | Abhishek | 9449873055
219 |  |  |  | SARAGURU |  |  | Raghvendra | 9036540902
220 |  |  |  | O&M -II ( KUDLUR ) | Rajan | 9739255137
221 |  |  |  | B.V HALLI |  |  | Mahendra | 8971762768
222 | RM1 | Ravikumar | 9448279088 | O&M -I | Raviprasad | 8904121592
223 |  |  |  | O&M -II | Prabhakar | 9986147178
224 |  |  |  | O&M -III | Geethanjali | 9036129189
225 | RM2 | Chandhana | 9980909144/9538099144 | SHANABOGANAHALLI |  |  | Veerabhadrhaya | 8861675241
226 |  |  |  | JALAMANGALA |  |  | Rafel | 9986934411
227 |  |  |  | SUGUNAHALLI |  |  | Balaram | 9845608755
228 |  |  |  | KYLANCHA |  |  | Santhosh | 8861176011
229 |  |  |  | BANNIGUPPE |  |  | Doddaramahiah | 9663979300
230 | BE1 | Puttaswamy | 9535489500 | BEVOORU |  |  | Kiran | 9742134333
231 |  |  |  | GOWDAGERE |  |  | Prakash | 9916295481
232 |  |  |  | DASHAVAARA |  |  | Siddu Nanjegowda I/C Je | 9740681090
233 | AN1 | Venkataswamy I/c AEE | 9448279092 | ANEKAL Rural |  |  | Prasannakumar | 9886738840
234 |  |  |  | ANEKAL Urbun |  |  | Shivakumar | 9844436649
235 |  |  |  | INDALAVADI |  |  | Ravindranath Reddy | 9449866793
236 | AT1 | Venkateshwara K N | 9449844891 | ATTIBELE | Nagaraj | 9448192625
237 |  |  |  | ATTIBELE INUSTRIAL AREA | Harish | 9449866784
238 |  |  |  | DOMMASANDRA | Narayana Swamy | 6360647922
239 |  |  |  | MAYASANDRA | Prashanth | 9449866795
240 |  |  |  | SARJAPURA | Suresh | 9449866797
241 | CH1 | Venkataswamy | 9448279093 | BOMMASANDRA | Ganesh | 9449866794
242 |  |  |  | CHANDAPURA | Suresh | 9449866783
243 |  |  |  | Surya City |  |  | Suresh | 9620968955
244 |  |  |  | HEBBAGODI | Ashok | 9449866788
245 | JN1 | Bharath Chowhan | 9448991274 | JIGANI | Dhanabjaya | 9449871781
246 |  |  |  | BANNERAGHATTA | Nagesh | 9449872309
247 |  |  |  | KIADB | Dinesh | 9449871782
248 | VE1 | Rajkumar | 8277892574 | VEERASANDRA | Vijay | 9449844799
249 |  |  |  | ANANTHANAGAR | Ananthamurthy | 8310087934
250 |  |  |  | MUTTHANALLURU | Anand Hv | 9902053010
251 | HA1 | Krishnamurthy | 9449841648 | HAROHALLI | Chandrashekar | 9449866767
252 |  |  |  | JAKKASANDRA |  |  | Raju | 8123124966
253 |  |  |  | MARALAVADI |  |  | Sathish | 9591909797
254 | KP1 | B S Shankarappa | 9448279086 | O&M -I | Ravikumar | 9844678453
255 |  |  |  | O&M -II | Ranjan | 9741919656
256 |  |  |  | O&M -III | Ravikumar | 9844678453
257 | KP2 | Madesh | 9964668852 | KODIHALLI | Ramesh | 8105970602
258 |  |  |  | HUKUNDHA |  |  | Ranjan | 9741919656
259 |  |  |  | HUNASENAHALLI |  |  | Muthuraj I/C | 9980112103
260 | SA1 | Shankarappa I/c AEE | 9448279086 | SATHANUR |  |  | Gaviraj | 9449866765
261 |  |  |  | KABBALU |  |  | Babuprasad | 9535938885
262 |  |  |  | DODAA ALAHALLI |  |  | Narayan | 9538524252
263 | KD1 | Thyakra Nayak | 9448042373 | KUDUR | Manoj | 9243961143
264 |  |  |  | SOLUR |  |  | Manjunath | 9845441242
265 |  |  |  | THIPPASANDRA |  |  | Girijamma | 9686877879
266 | MA1 | Sahakar Nayak | 9448279078 | O&M -I | Shivaraj | 9731343484
267 |  |  |  | O&M -II | Narasimhamurthy | 9900798345
268 | TV1 | Madhu | 9449844871 | MACHOHALLI | Channegowda | 9449873937
269 |  |  |  | CHANDRAPPA CIRCLE | Innsayuthalla Khan | 9902338542
270 |  |  |  | TAVAERKERE | Srinivas | 9686800795
271 | KL1 | KMV Swamy | 9448279059 | O&M-I | Vijaykumar | 9448522822
272 |  |  |  | O&M-II | Mallikarjunayya | 8123441468
273 |  |  |  | O&M-III | Vijay Kumar | 7760426666
274 |  |  |  | O&M-IV | Srinath | 9900114427
275 | KL2 | Nagaraj | 9448279060 | KEMBODI | Chowdreddy | 9342333335
276 |  |  |  | VOKKALERI |  |  | Srinivas | 8073130193
277 |  |  |  | VEMGAL |  |  | Nagarathna | 9449878184
278 |  |  |  | NARASAPURA | Gurappa | 6363237736
279 |  |  |  | HOLLURU |  |  | Venkatesh | 9449878205
280 |  |  |  | KYALNUR |  |  | Ramachandra | 9916211202
281 |  |  |  | SUGUTUR |  |  | Arun Kumar | 9972941802
282 | SP1 | Ramatirtha | 9448279063 | O&M-I | Devaraj | 9844396481
283 |  |  |  | O&M-II | Nanjundeshwara | 7019040365
284 |  |  |  | LAKSHMIPURA | Rk Srinivas Kumar | 9448342103
285 |  |  |  | GOWNAPALLLI | Anand A | 9620998013
286 |  |  |  | YELDUR | Srinivas | 9964088406
287 | BG1 | Ramakrishna | 9448279065 | O&M-I | Gopinath | 8904651077
288 |  |  |  | O&M-II | Shankar Kumar | 9449878336
289 |  |  |  | O&M-III |  |  | Manjunath | 9964580938
290 |  |  |  | KARAHALLI |  |  | Mallesh | 7349087530
291 |  |  |  | BUDIKOTE |  |  | Pandiyan | 9482758339
292 |  |  |  | KAMSAMUDRA |  |  | Mohan | 9449878359
293 | KG1 | Hemalatha | 9448279064 | ROBERTSONPET-1 | Praveen Kumar | 8105905947
294 |  |  |  | ROBERTSONPET-2 | Vimal | 9480328424
295 |  |  |  | ANDERSONPETE-1 | Ezhil Arasi | 9901195372
296 |  |  |  | ANDERSONPETE-2 | Uday Kumar | 9972213122
297 |  |  |  | BEML | Kiruba Rani | 9480203017
298 | BM1 | Ravindra Babu | 9448283395 | BETHAMANGALA |  |  | Narayan Swamy | 9036180812
299 |  |  |  | SUNDRAPALYA |  |  | Srinivas Gowda
300 |  |  |  | KYASAMBALLI |  |  | Mousuf | 9663538884
301 | MB1 | V M Ramesh | 9448279067 | BYRKUR |  |  | Subramani | 9902405807
302 |  |  |  | O&M-I | Kanal Kumar | 9844877766
303 |  |  |  | O&M-II |  |  | Srinath | 9036710659
304 |  |  |  | AVANI |  |  | Narayana Awamy | 9964787254
305 |  |  |  | M N HALLY |  |  | Venkatesh | 9964253309
306 |  |  |  | THAYLUR |  |  | Anjappa | 9008430873
307 |  |  |  | NANGLI |  |  | Bhaskar | 9108556419
308 | ML1 | Ansar Basha | 9448279066 | O&M-I |  |  | Balasubramanya | 9480625611
309 |  |  |  | O&M-II |  |  | Hemanth | 9449878095
310 |  |  |  | LAKKUR |  |  | Srinivas | 9916696328
311 |  |  |  | MASTHI |  |  | Chandrappa | 9902916211
312 |  |  |  | TEKAL |  |  | Gangadhar | 9449878299
313 |  |  |  | KUDIYANUR |  |  | Srinath | 9945029849
314 |  |  |  | SHIVARAPATNA |  |  | Rajkumar | 9972880350
315 |  |  |  | CHIKKAKOTHNUR |  |  | Sathish | 9480170333
316 | CM1 | Jayanth | 9448279061 | O&M-I |  |  | Sunil Kumar | 9686057858
317 |  |  |  | O&M-II |  |  | Aslam Pasha | 9945327677
318 |  |  |  | O&M-III |  |  | Sunil Kumar | 9686057858
319 |  |  |  | O&M-IV |  |  | Srinivas | 9901408880
320 | CM2 | Srinivas kumar | 9448279062 | KAIWARA-1 |  |  | Rasul Patel | 8050353924
321 |  |  |  | KAIWARA-2 |  |  | P.N Gangulappa | 7483021756
322 |  |  |  | YEGWAKOTE |  |  | Mariswamy | 9945850039
323 |  |  |  | BATLAHALLI |  |  | Gopalakrishna Babu | 9481300696
324 |  |  |  | KENCHARAHALLI |  |  | Dilip Kumar | 9448512791
325 |  |  |  | IRAGAMPALLI |  |  | Anil | 9741370152
326 | SG1 | Rahman | 9448279074 | O&M-I |  |  | Kiran | 7022730568
327 |  |  |  | O&M-II |  |  | Muniraju | 8861949397
328 |  |  |  | O&M-III |  |  | Vijay Kumar | 9945346314
329 | SG2 | Prabhu | 9448279076 | JANGAMANAKOTE-1 |  |  | Uma Shankar | 9449528986
330 |  |  |  | JANGAMANAKOTE-2 |  |  | Ramkrsihna | 8660137884
331 |  |  |  | MELUR |  |  | Anand | 9902037927
332 |  |  |  | DIBBURAH ALLI-1 |  |  | Murali | 9482135108
333 |  |  |  | DIBBURAH ALLI-2 |  |  | Murali | 9482135108
334 | BP1 | Somashekhar | 9448279071 | O&M-I |  |  | Lakshmi Narayanan | 9972362291
335 |  |  |  | O&M-II |  |  | Basawaraj | 8553139679
336 |  |  |  | PATHAPALAYA |  |  | Harish | 9845462033
337 |  |  |  | CHELLUR |  |  | Naveen | 7022334459
338 | CB1 | Manjunath | 9448279068 | O&M-I |  |  | Purushotham | 9535626832
339 |  |  |  | O&M-II |  |  | Abdul Kuddus | 8050310736
340 |  |  |  | O&M-III |  |  | Sridhar | 9483730498
341 |  |  |  | O&M-IV |  |  | Raghavendra | 7026523165
342 | CB2 | Vasu deva | 9448279069 | NANDI |  |  | Nagesh | 9448035404
343 |  |  |  | PERESANDRA |  |  | Sujay | 9972212596
344 |  |  |  | MANDIKAL |  |  | Manjunath | 9972461721
345 |  |  |  | O&M-V |  |  | Narasimha Murthy | 998600729
346 | GB1 | Vinay kumar | 9448279073 | O&M-I |  |  | Jayasimha Gs | 9483730517
347 |  |  |  | O&M-II |  |  | Manjunath | 9448901321
348 |  |  |  | VIDHURASHPATHA |  |  | Gopal | 9449147496
349 |  |  |  | MANCHENAHALLI |  |  | Narayan Swamy | 9483730520
350 |  |  |  | THONDEBHAVI |  |  | Shiva Prasad | 9483730523
351 |  |  |  | ALIPURA |  |  | Irshad | 9483730521
352 |  |  |  | HOSUR |  |  | Mubarak Pasha | 9483730519
353 | GD1 | Dayananad | 9448867002 | GUDIBANDE |  |  | Ravanappa | 7619677791
354 |  |  |  | VATADA HOSAHALLI |  |  | Shekhar | 8861619974
355 |  |  |  | D PALYA |  |  | Raghu | 9611390890
356 | HLD | Veerabhadrachar | 9449843532 | HULIYURDURGA |  |  | Mohammad Ghoush | Not using whatsapp 9449844138
357 |  |  |  | SANTHE MAVATTHURU |  |  | Lokesh | 9482154279
358 |  |  |  | YADAVANI |  |  | Srinivas | 9901092843
359 | KU1 | Javi rangappa | 9448279049 | O&M 1 |  |  | Srinivas Hm | 9449844166
360 |  |  |  | KEMPANAHALLI |  |  | Raju | 9148367136
361 |  |  |  | O&M 2 |  |  | Sindhura | 9902557027
362 | YD1 | Girish | 9448998060 | YEDIYURU |  |  | Mahadeva Swamy | 8951509096
363 |  |  |  | AMRUTHURU |  |  | Kishore | 9481849308
364 | KYT | HR Srinivas | 9449843533 | KYATHSANDRA (East Section) |  |  | Sathish | 9482117652
365 |  |  |  | URDIGERE |  |  | Jayaram | 9449844087
366 |  |  |  | HONNUDIKE |  |  | Shiva Kumar | 9449878457
367 | NT1 | Anilkumar D | 9448279048 | NITTUR | Uday Kumar | 9945023763
368 |  |  |  | KADABA |  |  | Shivanadh | 8660484504
369 |  |  |  | HOSKERE |  |  | Kanthraj | 9880983553
370 | TK1 | Manjunath A | 9448279045 | WEST Section (Chickpete) | Ashwath Narayan | 9743734573
371 |  |  |  | CENTRAL Section | Lokesh | 7019440719
372 |  |  |  | NORTH Section (Sira gate) | Anil Kumar Inc | 9449844370
373 | TK2 | Venkatesh MS | 9448088690 | SARASWATHIPURAM | Nagaraj Rao | 9964280422
374 |  |  |  | TUMKUR SOUTH (Someshwar Nagar) | Satish Inc Ae | 9449843510
375 |  |  |  | JAYANAGARA | Lakshmishiya | 9449844312
376 | TK3 | NHABUL SHARIF | 9448088760 | KORA | Chandrushekar | 9449841505
377 |  |  |  | C T KERE |  |  | Balaji H | 9449844252
378 |  |  |  | BELLAVI | Hl Rangaraju Inc Ae | 9449684934
379 | TK4 | Harish | 9448279046 | GULUR | Promodh | 9945248292 | M Shivakumar | 9449878483
380 |  |  |  | HEBBUR |  |  | Advishyya | 9449878469
381 |  |  |  | SIDDARTA NAGARA |  |  | Niggaya | 9449878499
382 | GU1 | Anil Kumar | 9448279047 | O&M1 | Rajesh | 9449844214
383 |  |  |  | O&M2 | Rajappa Shetty | 9449844247
384 |  |  |  | C S PURA | Dhanujaya | 9449844232
385 |  |  |  | CHELUR |  |  | Naveen | 9449844223
386 | CN1 | Rajeshkar NC | 9448279051 | O&M-1 |  |  | Yogendra | 98844365628
387 |  |  |  | O&M-2 |  |  | Irfan | 9632821468
388 |  |  |  | HULIYARU-1 | Umesh Naik | 9741324545
389 |  |  |  | HULIYARU-2 |  |  | Hanumanth Rayappa | 8618863066
390 |  |  |  | HANDANAKERE |  |  | Rajshekar | 9845914124
391 |  |  |  | THIMMANAHALLI |  |  | Raghu Gr | 8431354511
392 | TP1 | Chandrashekar INCH | 9844973128 | O&M1 | Chandrushekar | 9844973128
393 |  |  |  | O&M2 | Chethan Ko | 9900792564
394 |  |  |  | O&M3 |  |  | Kumar Dr | 9535429188
395 |  |  |  | O&M4 | Parameshswae Shetty S | 9663248494
396 |  |  |  | HONNAVALLI |  |  | Nandish Gn | 9611558553
397 |  |  |  | NONAVINKERE |  |  | Sangamesh | 6361947781
398 |  |  |  | BILIGERE |  |  | Basavraj D | 9449844093
399 | TU1 | Chandra naik | 9448279052 | O&M1 |  |  | Girish | 9964058058
400 |  |  |  | O&M2 |  |  | Kantharaju | 9986911685
401 |  |  |  | TANDAGA |  |  | Umeshwaraih | 9900868912
402 |  |  |  | MAYASANDRA |  |  | Narayanappa | 9844514557
403 |  |  |  | DANDINASHIVARA |  |  | Someshkar | 9449307881
404 | KH1 | Praveen | 9448279054 | O&M1 | Krishnnaya | 9743918767
405 |  |  |  | O&M2 |  |  | Shanthappa | 9980098439
406 |  |  |  | BYALYA |  |  | Shanthkumar | 9449843801
407 |  |  |  | NITRAHALLI |  |  | Channakeshava | 9449843791
408 | KR1 | Mallana V | 9448279058 | O&M1 | Prasannakumar | 9449843937
409 |  |  |  | O&M2 |  |  | Mallaiah | 9449843949
410 |  |  |  | HOLAVANAHALLI | Yogesh | 9449843945
411 |  |  |  | THEETHA |  |  | Veereshkumar | 9449843930
412 |  |  |  | THOVINAKERE |  |  | Ashok Nayak | 9449843938
413 |  |  |  | KOLALA |  |  | Manoj Cv | 7406782129
414 | MG1 | Krishna Murthy | 9448279053 | O&M1 | Akash Varm | 7204123977
415 |  |  |  | O&M2 |  |  | Mohamadh Irrfan | 8317387645
416 |  |  |  | MIDIGESHI |  |  | Akarm Shariff | 9945160562
417 |  |  |  | BADAVANAHALLI1 |  |  | Shivanna | 8970771992
418 |  |  |  | BADAVANAHALLI2 |  |  | Mohamadh Irrfan | 8317387645
419 |  |  |  | HOSKERE |  |  | N Rammaya | 9945292323
420 |  |  |  | ID HALLI |  |  | Rangadamayya | 9449843783
421 | PG1 | Krishna murthy (inch AEE) | 9448279057 | O&M1 | Anjaneya Babu | 9448155533
422 |  |  |  | MANGALWADA | Chowdappa | 9845640045
423 |  |  |  | Y N HOSKOTE |  |  | H Thimmaya | 9538121351
424 |  |  |  | NAGALAMADIKE |  |  | Sanjeevarayappa | 9740107588
425 |  |  |  | VENKATAPURA |  |  | H Thimmaya | 9538121351
426 |  |  |  | C K PURA |  |  | Rajashekar | 9742894328
427 |  |  |  | KOTGUDDA |  |  | Ramanjannappa | 9449843639
428 | SR1 | Shanthraju HE | 9448279055 | O&M1 | Rakesh | 9449843614
429 |  |  |  | O&M2 |  |  | Nagaraj | 9449843765
430 |  |  |  | O&M3 | Rajanna | 9449843615
431 |  |  |  | PATTANAYAKANAHALLI |  |  | Murlidhar | 7619600256
432 |  |  |  | BARAGUR |  |  | Lokesh | 9148927649
433 | SR2 | Govindharayaa | 9448279056 | KALLAMBELLA | Aravindh | 7353303080
434 |  |  |  | BUKKAPATTANA |  |  | Virupakshappa | 9480284399
435 |  |  |  | TAVAREKERE |  |  | Prahakar | 9663243708
436 |  |  |  | BRAHMASANDRA |  |  | Govindh Raju | 9844717182
437 | AG1 | Tirthesh | 9448094833 | ANAGODU |  |  | Harish | 9449875823
438 |  |  |  | MAYKONDA |  |  | Jayappa | 9916859436
439 |  |  |  | ATTIKERE |  |  | Nataraj | 8453464748
440 |  |  |  | ANAJI |  |  | Prashuram | 9902183933
441 | CG1 | Lohith kumar | 9448279032 | O&M1 | Raghavendra | 9886552771
442 |  |  |  | O&M2 | Ravipraksh | 9886486292
443 |  |  |  | NALLURU | Basavaraju | 9620680540
444 |  |  |  | GOPPENAHALLI | Shivakumar | 9483338800
445 |  |  |  | LINGADAHALLI | Shivakumar | 8105073134
446 | DV1 | Ramachandra G | 9448279028 | O&M1 | Thippeswamy | 9591340344
447 |  |  |  | O&M2 | Chethan Chakravarthy | 7338389447
448 |  |  |  | O&M3 | Shivakumar | 9482459132
449 |  |  |  | O&M4 | Veeradrappa | 8861988655
450 |  |  |  | O&M5 | Pavakumar T | 9620009028
451 |  |  |  | O&M6 |  |  | Basavaraju | 7411670969
452 | DV2 | Prabhakar | 9448279029 | O&M1 | Ravikumar | 8310176446
453 |  |  |  | O&M2 | Ravikumar | 8310176446
454 |  |  |  | O&M3 |  |  | Vishwanath | 9945977455
455 |  |  |  | O&M4 |  |  | Mukundh | 9448578093
456 | DV3 | GM nayak | 9448279030 | O&M1 | Raghavendra Prasadh | 9900191532
457 |  |  |  | O&M2 | Halesh Naik | 9535632766
458 |  |  |  | KUKKAWADA | Mohan Kumar T | 9113604775
459 |  |  |  | YELEBETHUR |  |  | Shivashankar | 8660333211
460 | JL1 | Praveen GM | 9448279031 | O&M1 |  |  | Rafeeq | 7022208766
461 |  |  |  | O&M2 |  |  | Ranganath | 6360378978
462 |  |  |  | SOKKE |  |  | Maruthi Patil Mg | 9686049282
463 |  |  |  | PALLAGATTE |  |  | Santh R | 9901630800
464 |  |  |  | BILICHODU |  |  | Anjaneya | 9739066104
465 | SB1 | Nagarajappa T | 9448279033 | O&M1(Santhebennur) | Shashikumar R | 9164830630
466 |  |  |  | DEVARAHALLI |  |  | Sneha | 9741792050
467 |  |  |  | BASAVAPATTANA |  |  | Nagaraj Naik | 9481159694
468 |  |  |  | THYAAVANGI |  |  | Ragunath E | 9449876162
469 |  |  |  | KERE BILACHI |  |  | Srikanth | 7676659659
470 | HH1 | Basavaraj P(inch) | 9448279036 | O&M1 | Maruthesh | 8548041194
471 |  |  |  | O&M2 |  |  | Gurumurthy | 9481306220
472 |  |  |  | POONAMGHATTA |  |  | Babu | 6362920397
473 |  |  |  | BENNEHALLI |  |  | Srinivas | 9844664278
474 | HN1 | Ravi Kiran | 9448279035 | KYASINAKERE |  |  | Rudranaik | 9964069785
475 |  |  |  | KUNDURU |  |  | Vinayaka | 9739149910
476 |  |  |  | SASIVEHALLI |  |  | Suresh Naik | 9743198570
477 |  |  |  | O&M 1 | Vasanth Hirabaragi | 7353436377
478 |  |  |  | O&M2 |  |  | Shivaraju | 9886081356
479 | HR1 | Lakshmappa | 9448279034 | O&M1 | Markandiah | 9901924945
480 |  |  |  | O&M2 | Raghavendra | 9591565455
481 |  |  |  | BELLODI |  |  | Prabhu | 9449703210
482 |  |  |  | MALEBENNURU | Kotresh | 9739242458
483 |  |  |  | O&M3 |  |  | Umesh | 9886423004
484 | NY1 | Srinivasa BK | 8277893935 | NYAMTHI-1 | Ramesh Achar | 9742974166
485 |  |  |  | NYAMTHI-2 |  |  | Pavan Kumar | 7816966966
486 |  |  |  | SAVALANGA |  |  | Shadaksharayya | 8861467336
487 |  |  |  | CHELURU |  |  | L N Shivakumar | 9886592904
488 |  |  |  | KATHIGE |  |  | Uma Maheshwar | 9019579050
489 | TL1 | Jayappa | 8277893181 | TELAGI | Virupakshappa | 8197164885
490 |  |  |  | NEELAGUNDA |  |  | Ravikumar | 9538114087
491 |  |  |  | HALUVAGLU |  |  | Umesh | 9611651004
492 |  |  |  | UCHHANGI DURGA |  |  | Manjappa | 9972977560
493 |  |  |  | KANCHIKERE |  |  | Mohammad Razak | 9008303810
494 | CK1 | Raju NS | 9448279042 | O&M1 | Vani | 8497005528
495 |  |  |  | O&M2 |  |  | Dhananjay | 9611540172
496 |  |  |  | SANIKERE |  |  | Banu Murthy | 7892538841
497 |  |  |  | DODDABIRENAHALLI |  |  | Suresh | 9901561010
498 |  |  |  | PARASHURAMPURA |  |  | Shivakumar | 9108839472
499 | HY1 | Girish (Incharge aee) | 8197468967 | O&M1 | Girish | 8197468967
500 |  |  |  | O&M2 | Raghu Naik | 8971496298
501 |  |  |  | DINDAVARA | Palanna | 9742223720
502 |  |  |  | HARIYABBE | Hanumantharaya | 9901606117
503 |  |  |  | IMANGALA |  |  | Govardhan | 9611297802
504 |  |  |  | RANGANATHAPURA |  |  | Ravi Naik | 9731702764
505 |  |  |  | MARADIHALLI |  |  | Ashok | 9482068053
506 | MK1 | Shivaprasad | 9449758095 | RAMPURA KOLALA |  |  | Shrenkanth | 9449145982
507 |  |  |  | NAGASAMUDRA |  |  | Shrenkanth | 9449145982
508 |  |  |  | B G KERE |  |  | Abibulla | 9902645247
509 |  |  |  | MOLKALMORU | Chandrakanth Reddy | 9886953399
510 | TLK | Mamatha | 8277893184 | TALAK |  |  | Surlingappa | 9449877244
511 |  |  |  | HIREHALLI |  |  | Dandappa Badiger | 7338444590
512 |  |  |  | NAYAKANAHATTI |  |  | Boranna | 9449877328
513 |  |  |  | DODDA ULLARTHI |  |  | Sathish | 9449877355
514 | CD1 | Thimmanna | 9448279037 | O&M1 | Shivappa | 9742846618
515 |  |  |  | O&M2 | Anil Kumar | 7975154805
516 |  |  |  | O&M3 | Basanthappa | 9980420990
517 |  |  |  | O&M4 | Sunil Kumar | 8747875953
518 | CD2 | Kiran Reddy | 9448279038 | HIREGUNTANNURU |  |  | Shivayogi | 7975603288
519 |  |  |  | BARAMASAGARA |  |  | Manjunath | 6363515900
520 |  |  |  | SIRIGERI |  |  | Srinivasa | 8660063351
521 |  |  |  | PANDARAHALLI |  |  | Ravi | 9449748740
522 |  |  |  | TURUVANURU |  |  | Girish Reddy | 8762620029
523 |  |  |  | BHEEMASANDRA |  |  | Dakshinamurthy | 8296709125
524 | HD1 | Thirupathi Nayak | 9448279039 | O&M1 | Suresh Jatty | 9743865807
525 |  |  |  | O&M2 |  |  | Tippeswamy | 9686869068
526 |  |  |  | Madadkere |  |  | Ranganath | 9449861474
527 |  |  |  | Baguru |  |  | Jayanna | 9902842580
528 | HL1 | Nagaraj | 9448279040 | O&M 1 | Manoj | 8722605233
529 |  |  |  | MALLADIHALLI |  |  | Naveen | 6360140436
530 |  |  |  | CHIKKAJAJURU | Basavaraju | 9449877014
531 |  |  |  | H.D PURA |  |  | Tippeswamy | 8892433828
532 |  |  |  | SHIVAGANGA |  |  | Tippeswamy | 8892433828
533 | SRP | Niranjana Murthy | 9591858523 | Mathodu |  |  | Rajappa | 9008701943
534 |  |  |  | Kanchipura |  |  | Murthy | 9686470256
535 |  |  |  | Srirampura |  |  | Murthy | 9686470256
536 |  |  |  | Belguru |  |  | Rajappa | 9008701943

## Issues (hidden)
Due to work order not approved
Due o BESCOM Vehicle unavailable
Work already completed,
no need of LC
No work hence no need to LC
LC not taken due to Rain
LC time postponed due to Rain
Due to Material Shortage
Due to Agency's Labour Shortage/not available
LC not requested by Section Officer
Due to Budget shortage
Due to other emergency BESCOM works
In order to provide uninterrupted power supply
Due to Strike/VIP Programs/Officials Visiting
Not requested for LC
Others