## Sheet1
LT Feeder pillar box & Distribution Boxes
Sl.No. | Name of the firm | Approved Materials | Valid upto | O.M.No. & Date | To be revalidated
1 | M/s Larsen & Turbo Limited, Electrical & Automation A-10, MIDC,Ahmadnagar - 414 001, Maharashtra Contact No: 91 -22-67051748 E-mail: Ese-cmt@Lntebg.com | LT Feeder Piller Box as per IS-13947 Part1&2: 8Way & 12Way with Poreclain Rewireable Cut out and 1 No. of 630 Amps Load Break Switch with Cu bus Bar | 21.01.2021 | GM(QS&S)/DGM-3/BC-11/19-20/CYS-18 dtd: 02.05.2019 (Subject to revalidation every year)
2 | M/s Jean Muller India Pvt Ltd., No.266, SIDCO Industrial Estate, Thirumudivakkam, Chennai – 6000044. TamilNadu (Ph No: 914423772262) (E-mail:NSudarsan@jeanmuller.in) | LT Feeder Pillar Box as per IS-13947 Part1&2: 8Way & 12Way Incoming:- Fuse Switch Disconnector with HRC Fuse Outgoing:- Fuse Switch Disconnector with HRC Fuse | 31.01.2023 | GM(QS&S)DGM(El.,)-3)/BC-11/ 19-20/Cys-106 dated:03.09.2019 (Subject to revalidation every year)
3 | M/s SGP Industries, Madapatna, Near Vinayaka Engg Works, Harragadde post, Jigani hobli, Anekal Taluk, Bangalore – 560105 (Mob: 9591075579, 8050777535, 8951892319) E-mail:sgp_indl@rediffmail.com | LT Feeder Pillar Box | 25.10.2024 | GM(QS&S)DGM(El.,)-3)/BC-11/ 19-20/Cys-165 dated:09.12.2019 (Subject to revalidation every year)
LT AB Cable Distribution Box
4 | M/s Victor switchgear Pvt Ltd., A-11, Nice Area, Satpur MIDC, Nashik, Maharashtra-422007 Contact No: 91-8928244555 Email:tanish.malhotra@victorindia.com | Fabricated/Deep drawn i)LT Distribution box for 100kVA DTC with MCCB’s (Sheet metal) as per IS 13947(Part1&2) | 27.10.2022 | GM(Q,S&S)DGM -3)/BC-11/18-19/cys-188 dated:07.02.2019 (Subject to Revalidation Every Year) | 12.08.2021 GM(QS&S)/DGM-3/BC-11/20-21/CYS-75 dtd:13.08.2020
|  | ii)LT Distribution box for 250kVA DTC with MCCB’s (Sheet metal) as per IS 13947(Part1&2) | 29.01.2023
|  | Deep Drawn/ Fabrication Metal Boxes suitable for • Feeder Pillar Boxes • Single & Three phase DB – 6&20 connections. • LT CT Meter boxes for 25,63,100 & 250kVA DTC | 29.01.2023
5 | M/s Raychem RPG (P) Ltd., No.37/7, Ground Floor, Aga Abbas Ali Road, Off Halasur Road, Bangalore-560 042 (Factory unit: Village Kanjari, Taluka: Halol, Near Halol GIDC, Dist Panchamahal-389 350). Contact No: 91 80 46676900 E-mail: www.raychemprg.com | SMC Distribution Box | 18.01.2024 | GM(Q,S&S)DGM -3)/BC-11/18-19/cys-208 dated:12.03.2019 (Subject to Revalidation Every Year)
|  | Deep Drawn Type Single phase LT Distribution Box for AB cable | 15.09.2023 | GM(Q,S&S)DGM -3)/BC-11/19-20/cys-202 dated:01.02.2020
|  | Deep Drawn Type Three phase LT Distribution Box for AB cable | 25.05.2023
6 | M/s LEOTECH, PB. No: 4427, # 70, 2nd Main Road, Industrial Town, Rajajinagar, Bangalore- 560 044 Ph No:91-80-23303182 E-mail:info@leotechindia.com | SMC LT AB Cable Distribution Box | 15.07.2024 | GM(Q,S&S)DGM -3)/BC-11/19-20/cys-203 dated:01.02.2020 (Subject to revalidation every year)
SMC Street light Metering Box
SMC LT Distribution Box as per IS 13947
7 | M/s Sanskriti Composites Private Limited., 77/79, Sri Arabinda Road, Salkia, Howrah. Ph No:9831158358 E-mail: aayush@sanskriticomposites.com coordinator@sanskriticomposites.com | SMC spring loaded LT AB Cable Distribution Box for single phase and three phase connection | 20.02.2022 | GM(Q,S&S)DGM -3)/BC-11/19-20/cys-214 dated:25.02.2020
8 | M/s Deelakshya Electricals Pvt Ltd Regd Off: C-13, New No:23/1, 3rd floor, 3rd main, (KSSIDC) Industrial Estate, Rajajinagar, Bangalore -560044 Factory Unit: No.M-130(KSSIDC), Industrial Estate, Rajajinagar, Bangalore – 560044. Contact No: 9845510901 & 080 23384722 E-mail: info@deelakshyaelectricals.com | Deep Drawn LT ABC Distribution Box for Single Phase & Three Phase | 11.03.2025 | GM(QS&S)/DGM-3/BC-11/20-21/CYS-17 dtd:15.05.2020 (Subject to revalidation every year)
9 | M/s Arun Enterprises, B48, Site IV, Sahibabad - 201010, Dist. Ghaziabad(U.P), Contact No: 0120-4560440, 4232685, 4227669 E-mail: enquiry@arunenterprises.in | Deep Drawn metal meter boxes (MMB) for single phase & Three phase energy meter | 24.03.2022 | GM(Q,S&S)DGM -4)/ BC-11/17-18/cys-205 dated: 28.11.2017 (Subject to Revalidation Every Year) | 28.05.2021 BESCOM/GM(QS&S)/DGM-3/BC-11/2020-21/CYS-25 dtd:29.05.2020
|  | Deep drawn LT distribution box upto 250kvA distribution transformers with accessories | 14.09.2022
Deep Drawn Metal Meter boxes for Housing LT AC 3 phase 4 wire, CT operated energy meter, Modem and 4Nos. Epoxy Resin Cast CTs
|  | Deep Drawn LT ABC Distribution Box for Single Phase & Three Phase | 01.06.2022 | BESCOM/GM(QS&S)/DGM-3/ BC-11/2020-21/CYS-30 dtd:01.06.2020 (Subject to Revalidation Every Year)