## LT and HT UG Cables
HT , LT U.G. cables & PVC insulated Al wire
Sl.No | Name of the firm | particulars | Valid upto | O.M.No. & Date | Revalidated upto
1 | M/s. Chandresh Cables Ltd, G-6, New Madhavpura market, Near Police Commissioner Office, Ahmedabad-380004 | Armoured LT UG Cable 1.1 kV Class
|  | 3.5CX240sqmm armoured cable with stranded Al conductor | 30.04.2020 | GM(Q,S&S)DGM -3)/BC-11/15-16/Cys-98 dated:29.10.2015 | 30.04.2020 vide CYS-155 dtd:18.11.2019
Copper Control Cables 1.1kV Class
|  | 19C x 2.5sqmm armoured cable with standed copper conductor(control cable) | 30.10.2020 |  | 30.10.2020 vide CYS-155 dtd:18.11.2019
|  | HT XLPE UG cable | 31.12.2021 | GM(Q,S&S)DGM -4)/BC-11/17-18 /cys-39 dated:19.05.2017 (Subject revalidation every year) | 14.11.2020 GM(Q,S&S)DGM -3)/BC-11/19-20 /cys-155 dated: 18.11.2019
11kV, 3x95 sqmm HT XLPE UG cable
|  | Copper control cables 1.1kV class | 29.06.2021
|  | 1.1 kV 4x2.5sqmm Control cables |  |  | 14.11.2020 vide CYS-155 dtd:18.11.2019
1.1 kV 4x6 sqmm Control cables
1.1kV LT, XLPE, PVC extruded Inner Sheath armoured LT UG cable as per IS-7098-part 1, Armouring strip thickness in average ± 5% and resistivity 14 Ohms/Kms (Max) as per IS 3975
|  | 4C x 16Sq mm,(11 GI Strips - 4.0 x 0.8mm) | 24.10.2024 | GM(Q,S&S)DGM -3)/BC-11/19-20/Cys-182 dated:27.12.20219 (subject to Revalidation every year)
4C x 25Sq mm,(13 GI Strips - 4.0 x 0.8mm)
3.5C x 95Sq mm,(21 GI Strips - 4.0 x 0.8mm)
3.5C x 185Sq mm, (28 GI Strips - 4.0 x 0.8mm)
3.5C x 400Sq mm,(39 GI Strips - 4.0 x 0.8mm)
2 | M/s Universal Cables Limited, P.O. Birla, Vikas, Satna, Madhya Pradesh | 11 kV, 3Cx400 sq.mm XLPE HT UG Cable | 31.12.2020 | GM(Q,S&S)DGM -3)/BC-11/15-16/Cys-133 dated:28.12.2015(subject to Revalidation every year) | 31.12.2020 vide CYS-147 dtd:08.11.2019
|  | 11 kV, 3C X 95 sq.mm XLPE HT UG Cable | 28.02.2021 | GM(Q,S&S)DGM -3)/BC-11/15-16/cys-13 dated:05.05.2016(subject to Revalidation every year) | Ravalidated upto 08.11.2020 vide cys-147dated: 08.11.2019
|  | 11 kV, 3C X 240 sq.mm XLPE HT UG Cable | 31.01.2021
3 | M/s Apar Industries limited, (Unit Uniflex Cables) No: 301/306, Panorama complex R.C Dutt road, Vadodara 39000(Ph.No:91-265-232175/176,2322798,F-912652330309, email-corporate@uniflex.in, www.unicab.com,www.apar.com | 3x95 sq.mm 11kV HT XLPE U.G. Cable | 30.07.2020 | GM(Q,S&S)DGM -3)/BC-11/15-16/cys-175 dated:31.03.2016( subject to revalidation every year) | 30.07.2020 BESCOM/GM(QS&S)/DGM(Ele)-3/BC-11/19-20/CYS-88 dtd:14.08.2019
|  | 3x 400sq mm, 11kV HT XLPE U.G. Cable | 30.01.2021 |  | 13.08.2020 BESCOM/GM(QS&S)/DGM(Ele)-3/BC-11/19-20/CYS-88 dtd:14.08.2019
|  | 11kV HT XLPE UG Cable | 11.08.2020 | GM(Q,S&S)DGM -4)/BC-11/17-18 /cys-149 dated:03.10.2017 (Subject revalidation every year | 11.08.2020 BESCOM/GM(QS&S)/DGM(Ele)-3/BC-11/19-20/CYS-88 dtd:14.08.2019
11kV 3Cx240sq mm, HT XLPE UG Cable
4 | M/s SBEE Cables (India), Ltd, No:29, J.C.W Industrial esteate Kanakapura Road, B'lore-64 (Ph No: 080-26662172, 26860166) | PVC insulated, Unsheathed Aluminium wires, single core multistrand,LT Lead wire, 1.1kV class , |  | GM(Q,S&S)DGM -4)/BC-11/16-17/cys-27 dated:03.06.2016 ( subject to revalidation every year) | BESCOM/GM(QS&S)/DGM(Ele)-3/BC-11/19-20/CYS-90 dtd:16.08.2019
|  | 1C x 95 Sq. mm | 08.03.2021 |  | 14.08.2020
|  | 1C x 120 Sq. mm | 08.03.2021
|  | 1C x 185 Sq. mm | 09.03.2021
|  | 1C x 240 Sq. mm | 09.03.2021
LT XLPE, Copper/Aluminium UG cable (armoured)
|  | 3C x 2.5 Sq. mm | 07.03.2021 |  | 14.08.2020
|  | 4C x 10 Sq.mm | 07.03.2021
|  | 3.5C x 50 Sq. mm | 30.04.2021
|  | 3.5C x 95 Sq. mm | 30.04.2021
|  | 3.5C x 185Sq.mm | 27.02.2021
|  | 3.5C x 240 Sq.mm | 30.04.2021
|  | 4C x 16 Sq.mm | 30.04.2021
LT PVC AL UG Cable (Armoured)
|  | 3.5C x 50 Sq. mm | 29.04.2021 |  | 14.08.2020
|  | 4C x 16 Sq.mm | 30.04.2021
|  | 4Cx 95 Sq. mm | 31.08.2020 |  | 31.08.2020
|  | 4C x 400 Sq. mm | 01.05.2020 |  | 01.05.2020
Copper Control Cable
|  | 4C x 2.5 Sq. mm | 12.05.2020 |  | 12.05.2020
|  | 4C x 6.0 Sq. mm | 12.05.2020 |  | 12.05.2020
|  | 19C x 2.5 Sq.mm | 12.01.2020 |  | 12.01.2020
|  | 11kV, 3Core, HT XLPE UG Cable with pressure extruded, inner sheath ROUND WIRE ARMOURED as per IS-7098 (Part-2) | 19.08.2024 | GM(Q,S&S)DGM -3)/BC-11/19-20/cys-95 dated:23.08.2019 ( subject to revalidation every year)
3CX95sq.mm (54 GI Wires - 2.5mm Dia)
3CX240sq.mm (55 GI Wires - 3.15mm Dia)
3CX400sq.mm (51 GI Wires - 4mm Dia)
1.1kV class HR (Heat Resistant) PVC Insulated & Unsheathed Aluminium wires multistrand single core lead wire as per IS-694:2010
|  | PVC Wire - 16 Sqmm Al Wt: 4.2 Kgs, Total Wt: 7.5Kgs for 100Mtrs | 13.01.2025 | GM(Q,S&S)DGM -3)/BC-11/19-20/cys-204 dated:03.02.2020 ( subject to revalidation every year)
PVC Wire - 25 Sqmm Al Wt: 6.7 Kgs, Total Wt: 11.5Kgs for 100Mtrs
5 | M/s Polycab India Ltd., (Formerly Polycab Wires Limited) 74/8-9, Daman Indl Estate Village, Kadalya, Daman and 67-72 Noorpura, Tal- Halol. B-78, No:18, 4th Main Road, KSSIDC Industrial Estate, 6th block, Rajajinagar, Bangalore – 560010. Contact No: 8017036678 E-mail: kumar.gaurav@polycab.com | 11kV 3C x 95 sq. mm. HT XLPE UG cable | 31.08.2020 | GM(Q,S&S)DGM -4)/BC-11/16-17/cys-04 dated:07.04.2017 (Subject revalidation every year) | 31.08.2020 GM(QS&S)/DGM-3/BC-11/19-20/CYS-134 dtd: 18.10.2019
|  | 11kV 3x240 sq. mm HT XLPE UG cable | 31.08.2020 | GM(Q,S&S)DGM -4)/BC-11/17-18 /cys-111 dated:26.08.2017 (Subject revalidation every year
|  | 11kV 3C x 400 sq. mm. HT XLPE UG cable | 02.01.2022 | GM(Q,S&S)DGM -4)/BC-11/17-18/cys-274 dated:21.02.2018 (Subject revalidation every year) | 15.10.2020 GM(QS&S)/DGM-3/BC-11/19-20/CYS-134 dtd: 18.10.2019
|  | 1.1kV LT, XLPE PVC extruded Inner Sheath armoured LT UG cable as per IS-1554 (Part-1) or IS-7098 Part-1, Armouring strip thickness in average ± 5% and resistivity 14 Ohms/Kms (Max) as per IS 3975 | 05.10.2022 | GM(QS&S)/DGM-3/BC-11/19-20/CYS-133 dtd:18.10.2019
6 Sqmm, 2Core,(24 GI wire - 1.4mm)
10Sqmm, 2Core,(9GI Strips - 4.0 x 0.8mm)
10Sqmm, 4Core,(10 GI Strips- 4.0 x 0.8mm)
16 Sqmm, 2Core,(9 GI Strips - 4.0 x 0.8mm)
16 Sqmm, 4 Core,(11 GI Strips - 4.0 x 0.8mm)
25 Sqmm, 2 Core,(12 GI Strips - 4.0 x 0.8mm)
25 Sqmm, 3.5 Core,(12 GI Strips - 4.0 x 0.8mm)
25 Sqmm, 4 Core,(13 GI Strips - 4.0 x 0.8mm)
35 Sqmm, 3.5Core,(14 GI Strips - 4.0 x 0.8mm)
35 Sqmm, 4 Core,(15 GI Strips - 4.0 x 0.8mm)
50 Sqmm,3.5 Core, (16 GI Strips - 4.0 x 0.8mm)
50 Sqmm, 4 Core, (17 GI Strips - 4.0 x 0.8mm)
70 Sqmm, 3.5 Core,(18 GI Strips - 4.0 x 0.8mm)
95 Sqmm, 3.5 Core,(21 GI Strips - 4.0 x 0.8mm)
120 Sqmm, 3.5Core,(23 GI Strips- 4.0 x 0.8mm)
150 Sqmm, 3.5 Core, (25 GI Strips-4.0 x 0.8mm)
185 Sqmm, 3.5Core,(28 GI Strips - 4.0 x 0.8mm)
240Sqmm, 3.5 Core, (30 GI Strips - 4.0 x 0.8mm)
300 Sqmm, 3.5 Core,(32 GI Strips - 4.0 x 0.8mm)
400 Sqmm, 3.5 Core,(39 GI Strips - 4.0 x 0.8mm)
6 | M/s Gloster Cables Limited, Sy No: 310/E, NH-7, Kallakal Village, Toopran Mandal, Dist., Medak (A.P)-502334 | 11kV 3C x 240 sq.mm HT XLPE UG Cable | 04.04.2022 | GM(Q,S&S)DGM -4)/BC-11/17-18 /cys-26 dated:12.05.2017 (Subject revalidation every year) | 29.04.2020 GM(QS&S)/DGM-3/BC-11/19-20/CYS-20 dtd:02.05.2019
11kV 3C x 400 sq.mm HT XLPE UG Cable
|  | 11kV 3C x 95 sq.mm HT XLPE UG Cable | 20.06.2021 | GM(Q,S&S)DGM -4)/BC-11/17-18 /cys-133 dated:16.09.2017 (Subject revalidation every year | 29.04.2020 GM(QS&S)/DGM-3/BC-11/19-20/CYS-20 dtd:02.05.2019
7 | M/s Havells India Ltd., 5th Floor, The estate, # 121-Dickenson road, Bangalore-560 042 ( Factory unit: A-461/462 & SP-215, MIA, Alwar, Rajasthan) | 11kV 3x95 sq. mm XLPE UG cable | 17.03.2022 | GM(Q,S&S)DGM -4)/BC-11/17-18 /cys-28 dated:17.05.2017 (Subject revalidation every year) | Ravalidated vide cys-70 dated: 18.07.2019
|  | 11kV 3x 240 sq. mm XLPE UG cable | 23.01.2022
|  | LT XLPE AB cable of size 3C x 35 + 25 sq mm( Isulated Messenger) | 28.01.2021 | GM(QS&S)/DGM-4/BC-11/17-18/CYS-51 dtd:05.06.2017 (Subject to revalidation every year)
|  | Armoured LT UG Cable 1.1kV class |  | GM(Q,S&S)DGM -4)/BC-11/17-18 /cys-140 dated:21.09.2017 (Subject revalidation every year
|  | 3.5x 400sq mm | 29.04.2019
|  | 3.5x25sq mm | 20.07.2022
|  | 4x25sq mm | 28.04.2019
|  | 4x16sqmm | 20.12.2021
11kV HT XLPE UG Cable
|  | 3x400sq mm | 08.07.2019
|  | 1.1kV LT, XLPE, PVC exutruted Inner Seath armoured UG LT cable as per IS-7098-part 1, Armouring strip thickness in average ± 5% and resistivity 14 Ohms/Kms (Max) as per IS 3975 |  | GM(Q,S&S)DGM -3)/BC-11/18-19/cys-69 dated:18.07.2019 (Subject revalidation every year)
|  | 2C x 10 sq mm (9 GI Strips - 4.0 x 0.8mm) | 20.12.2021
|  | 4C x 10 sq mm (10 GI Strips - 4.0 x 0.8mm) | 10.01.2024
|  | 3.5C x 35 sq mm (14 GI Strips - 4.0 x 0.8mm) | 31.01.2024
|  | 4C x 50 sq mm (17 GI Strips - 4.0 x 0.8mm) | 20.12.2021
|  | 3.5C x 95 sq mm (21 GI Strips - 4.0 x 0.8mm) | 10.01.2024
|  | 3.5C x 150 sq mm (25 GI Strips - 4.0 x 0.8mm) | 29.01.2024
|  | 3.5C x185 sq mm (28 GI Strips - 4.0 x 0.8mm) | 11.01.2024
|  | 3.5C x 240 sq mm (30 GI Strips - 4.0 x 0.8mm) | 10.01.2024
11kV, 3 Core, HTUG Cable pressure extruded, inner sheath ROUND WIRE ARMOURED as per IS-7098 (Part-2)
|  | 3C x 400 Sq mm, (51 GI Wires - 4mm Dia) | 12.07.2024
8 | M/s Dynamic Cables Ltd., H-581-A-592-A, Road No:6. VKI Area, Jaipur - 302013 | 11kV, 3 x 95 sq. mm HT XLPE UG cable | 12.09.2022 | GM(Q,S&S)DGM -4)/BC-11/17-18 /cys-163 dated:07.10.2017 (Subject revalidation every year | 25.10.2020 GM(QS&S)/DGM(El)-3/BC-11/19-20/CYS-142 dtd:30.10.2019
11kV, 3 x 240 sq. mm HT XLPE UG cable
11kV, 3 x 400 sq. mm HT XLPE UG cable
9 | M/s Insucon cables & Cond(P) Ltd., # 314-A, 3rd Floor, City centre, Sansar chandra Road, Jaipur-302001, Raj(Factory Unit: Road No:5A, F-61-63, Bindayaka Industrial Area, Jaipur-12) | Armoured LT UG Cable 1.1class | 30.06.2022 | GM(Q,S&S)DGM -4)/BC-11/17-18 /cys-72 dated:11.07.2017 (Subject revalidation every year | 25.09.2020 GM(QS&S)/DGM-3/BC-11/19-20/CYS-122 dtd:25.09.2019
4C x 16sq mm
3.5C x 95sq mm
3.5C x 240sq mm
3.5C x 400sq mm
4C x 25sq mm
|  | Copper Control Cables 1.1kV Class | 05.10.2020 |  | 05.10.2020 GM(QS&S)/DGM-3/BC-11/19-20/CYS-122 dtd:25.09.2019
2C x 2.5 Sq.mm
4C x 2.5 Sq.mm
10C x 2.5 Sq.mm
14C x 2.5 Sq.mm
19C x 2.5 Sq.mm
4C x 10 Sq.mm
|  | PVC Insulatec & Unsheathed Aluminium Wires, Single Core Multistrand 1.1kV class | 30.06.2022 |  | 25.09.2020 GM(QS&S)/DGM-3/BC-11/19-20/CYS-122 dtd:25.09.2019
1C x 16 sqmm
1C x 50 sqmm
1C x 95 sqmm
1C x120 sqmm
1C x 150 sqmm
1C x 185 sqmm
1C x 240 sqmm
10 | M/s GEMSCAB INDUSTRIES LTD., No: 40, Rajasthani Udyog Nagar, G.T Karnal Road, Delhi-110 033 (Factory unit: SP-4-868, RIICO Industrial area, Pathredi (Bhiwadi), P.O Tapukara, Dist, Alwar, Rajasthan) Contact No: 7230085142, 7230085143 E-mail:bhiwadi@gemscab.com | 11kV 3CX400sq.mm, HT XLPE UG cable | 18.01.2024 | GM(Q,S&S)DGM -3)/BC-11/18-19/cys-212 dated:12.03.2019 (Subject revalidation every year)
11 | M/s Vishal cables Pvt Ltd., No:56, Gr. Floor, Ashoka Shopping Centre, G.T. Hospital Complex, L.T. Road, Mumbai – 400001 Factory Unit: Plot No: E-41, Addl. Ambernath MIDC, Anandnagar, Ambernath East – 421506, Thane, Maharashtra Contact No: 0251-2620077 (E-mail: vishalcables@gmail.com) | 1.1kV Class HR (Heat Resistant) PVC Insulated, Copper Control cables as per IS-554 (Part-1) |  | GM(Q,S&S)DGM -3)/ BC-11/19-20/cys-64 dated:11.07.2019 (Subject revalidation every year)
|  | 2 Core, 2.5 Sq mm (18 No GI Wires (1.4mm)) | 22.04.2024
4 Core, 2.5 Sq mm, (21 No GI Wires (1.4mm))
19 Core, 2.5 Sq mm, (36 No GI Wires (1.6mm))
2 Core, 6 Sq mm, (24 No GI Wires (1.4mm))
4 Core, 16 Sq mm, (30 No GI Wires (1.6mm))
1.1kV LT, XLPE, PVC extruded Inner Sheath armoured UG LT cable as IS-7098-part 1, Armouring strip thickness in average ± 5% and resistivity 14 Ohms/Kms (Max) as per IS 3975
|  | 2C x 6 Sq mm,(24 GI wire - 1.4mm) | 22.04.2024
4C x 16 Sq mm, (11 GI Strips - 4.0 x 0.8mm)
3.5C x 95 Sq mm, (21 GI Strips - 4.0 x 0.8mm)
3.5C x 400 Sq mm, (39 GI Strips - 4.0 x 0.8mm)
12 | M/s Torrent Cables Limited, Yoginagar, Mission Road, Nadiad - 387002 Changed the Company name to :M/s Torrent Power Limited, Yoginagar, Mission Road, Nadiad - 387002 , Gujarat | 11kV, 3Core, HT XLPE UG Cable with pressure extruded, inner sheath ROUND WIRE ARMOURED as per IS-7098 (Part-2)
|  | 3CX240sq.mm (55 GI Wires - 3.15mm Dia) | 05.10.2022
|  | 3CX400sq.mm (51 GI Wires - 4mm Dia) | 20.05.2024
13 | M/s Gupta Power Infrastructure Ltd, EN 62, sector V, 7th Floor, Salt Lake City, kolkatta – 700091. (E-mail: infor@guptapower.com, rhino@guptapower.com) | HT XLPE UG Cable |  | GM(QS&S)/DGM-3/BC-11/17-18/CYS-90 dtd:05.08.2017 | 13.12.2020 GM(QS&S)/DGM-3/BC-11/19-20/CYS-169 dtd:16.12.2019
|  | 3x95sq mm | 12.04.2022
|  | 3x240sq mm | 10.04.2022
|  | 3x400sq mm | 18.04.2022
LT XLPE UG Cable
|  | 3.5x400sq mm XLPE LT UG cable, | 15.06.2021
|  | 3.5x240sq mm XLPE LT UG cable, | 15.06.2021
|  | 3.5x185sq mm, XLPE LT UG cable, | 19.07.2021
|  | 3.5x95sq mm, XLPE LT UG cable | 15.06.2021
|  | 4x16sq mm, XLPE LT UG cable | 19.07.2021
|  | 4x10sq mm, XLPE LT UG cable | 19.07.2021
14 | M/s KEI Industries Ltd, Okhla industrial Area Phase-1, New Delhi Factory Unit: SP-919/920/922, RIICI Industrial Area, Ph:III, Bhiwadi Distt. Alwar-3010109 | HT XLPE UG Cable
|  | 3x95sq mm | 05.05.2020 | GM(QS&S)/DGM-3/BC-11/17-18/CYS-137 dtd:20.09.2017 | 05.05.2020
|  | 3x240sq mm | 06.05.2020 |  | 06.05.2020
|  | 3x400sq mm | 10.07.2022 |  | 18.01.2021 GM(QS&S)/DGM-3/BC-11/19-20/CYS-196 dtd:18.01.2020
Armoured XLPE insulated LT UG Cable 1.1kV Class
|  | 10 Sqmm, 4 Core | 29.12.2021
|  | 16 Sqmm, 2 Core | 17.08.2022
|  | 16 Sqmm, 4 Core | 28.12.2021
|  | 25 Sqmm, 4 Core | 03.01.2022
|  | 35 Sqmm, 3.5 Core | 17.08.2022
50 Sqmm, 3.5 Core
70 Sqmm, 3.5 Core
95 Sqmm, 3.5 Core
150 Sqmm, 3.5 Core
185 Sqmm, 3.5 Core
240 Sqmm, 3.5 Core
|  | 300 Sqmm, 3.5 Core | 22.06.2022
|  | 400 Sqmm, 3.5 Core | 18.07.2022
15 | M/s Finolex Cables Limited, 26/27, Mumbai Pune Road, Pimpri, Pune-411 018 | 11kV 3 x 240 sq.mm XLPE UG Cables | 30.10.2020 | GM(QS&S)/DGM-3/BC-11/16-17/CYS-18 dtd:28.04.2017 | 30.10.2020 GM(QS&S)/DGM-3/BC-11/19-20/CYS-187 dtd:01.01.2020
11kV 3 x 400 sq.mm XLPE UG Cables
|  | 11kV, 3Core, HT XLPE UG Cable with pressure extruded, inner sheath ROUND WIRE ARMOURED as per IS-7098 (Part-2) | 27.11.2023 (Subject to revalidation every year) | GM(QS&S)/DGM-3/BC-11/19-20/CYS-188 dtd:01.01.2020
3CX95sq.mm (54 GI Wires - 2.5mm Dia)
16 | M/s KEC International Limited(Cables Division), Survey No:803, Village: Godampura Taluka – Salvi Dist, Vadodara – 391520. | 11kV 3 x 95 sq.mm XLPE UG Cables | 03.01.2022 | GM(QS&S)/DGM-4/BC-11/18-19/CYS-27 dtd:28.05.2017 | 23.12.2020 GM(QS&S)/DGM-3/BC-11/19-20/CYS-190 dtd:01.01.2020
11kV 3 x 240 sq.mm XLPE UG Cables
11kV 3 x 400 sq.mm XLPE UG Cables
|  | 4 x 240 sq.mm XLPE, LT UG Cable 1.1kV class | 28.03.2021
17 | M/s Fortune Art Wires & Cables Pvt Ltd., Plot No: 215/A, phase – II, IDA, Chelapally, Hyderabad – 500051. Ph No: 8374098833. E-mail: smbasha@facables.com | 1.1kV LT, XLPE PVC extruded Inner Sheath armoured LT UG cable as per IS-1554 (Part-1) or IS-7098 Part-1, Armouring strip thickness in average ± 5% and resistivity 14 Ohms/Kms (Max) as per IS 3975 | 21.11.2024 | GM(Q,S&S)DGM -3)/ BC-11/19-20/cys-205 dated:04.02.2020 (Subject revalidation every year)
10Sqmm, 4Core,(10 GI Strips- 4.0 x 0.8mm)
16 Sqmm, 4 Core,(11 GI Strips - 4.0 x 0.8mm)
25 Sqmm, 3.5 Core,(12 GI Strips - 4.0 x 0.8mm)
25 Sqmm, 4 Core,(13 GI Strips - 4.0 x 0.8mm)
35 Sqmm, 3.5Core,(14 GI Strips - 4.0 x 0.8mm)
50 Sqmm,3.5 Core, (16 GI Strips - 4.0 x 0.8mm)
70 Sqmm, 3.5 Core,(18 GI Strips - 4.0 x 0.8mm)
95 Sqmm, 3.5 Core,(21 GI Strips - 4.0 x 0.8mm)
120 Sqmm, 3.5Core,(23 GI Strips- 4.0 x 0.8mm)
150 Sqmm, 3.5 Core, (25 GI Strips-4.0 x 0.8mm)
185 Sqmm, 3.5Core,(28 GI Strips - 4.0 x 0.8mm)
300 Sqmm, 3.5 Core,(32 GI Strips- 4.0 x 0.8mm)
400 Sqmm, 3.5 Core,(39 GI Strips- 4.0 x 0.8mm)
|  | 1.1kV Class HR (Heat Resistant) PVC Insulated, Copper Control cables as per IS-554 (Part-1) | 13.12.2023
10Core, 2.5 Sqmm, 28 No GI Wires (1.6mm)
18 | M/s Laser power & Infra Pvt Ltd, 4A, Pollock street, 3rd floor, Kolkata-700001 (Unit-1: Biprannapara, Jalan complex, P.S. Domjur, Hawrah-711411, Unit II: NH-6, Poly Park, Dhulagori, Howrah-711302) | 11kV HT XLPE UG cable (Round & Flat Armour)
|  | 3C x 400sq mm | 09.08.2022 | GM(Q,S&S)DGM -3)/ BC-11/19-20/cys-205 dated:04.02.2020 (Subject revalidation every year) | 13.03.2021 GM(Q,S&S)DGM -3)/ BC-11/19-20/cys-225 dated:13.03.2020
|  | 3C x 240sq mm | 22.11.2021
1.1kV LT XLPE UG Cable
|  | 3.5C x 240sq mm | 14.09.2022
|  | 3.5C x 95sq mm | 16.11.2021
|  | 4C x 16sq mm | 14.09.2022
4C x 10sq mm
4C x 50sq mm
4C x 6sq mm
4C x 25sq mm
|  | 3.5Cx150sq mm | 27.05.2020 |  | 27.05.2020
Copper Control Cables 1.1kV Class
|  | 4Cx2.5sq mm | 03.11.2020 |  | 03.11.2020