## AB Cable
AB Cables
Sl.No. | Name of the Firm | Cables particulars | Valid Upto | O.M.No. & Date | Revalidated upto
1 | M/s Havells India Ltd., 5th Floor, The estate, # 121-Dickenson road, Bangalore-560 042 ( Factory unit: A-461/462 & SP-215, MIA, Alwar, Rajasthan) | 11kV [6.35/11kV(E)] HT Aerial Bunched Cable for insulations High quality clean XLPE compound shall be used (Free from microvoids, Moisture content, ambers and contaminations) with Metallic screen of EC Grade copper Tape 0.5 mm as per IS-7098 (Part-2), 2011
|  | 3x95+1x70 sq.mm 11kV, ST7 Outer sheath AB Cables | 16.03.2022 | GM(Q,S&S)DGM -4)/BC-11/17-18 /cys-28 dated:17.05.2017 (Subject revalidation every year) | 16.03.2022 GM(Q,S&S)DGM -3)/BC-11/20-21/ cys-255 dated:24.02.2021
3x120+1x95 sq.mm 11kV, ST7 Outer sheath AB Cables
|  | 1.1KV, LT Aerial Bunched Cable, confirming to IS-14255:1995. |  | GM(Q,S&S)DGM -4)/BC-11/17-18 /cys-140 dated:21.09.2017 (Subject revalidation every year | 20.07.2022 GM(Q,S&S)DGM -3)/BC-11/20-21/ cys-255 dated:24.02.2021
|  | 3x95+1x70+1x16sq mm | 20.07.2022
2 | M/s Dynamic Cables Ltd., H-581-A-592-A, Road No:6. VKI Area, Jaipur - 302013 | LT XLPE AB cable | 05.09.2022 | GM(QS&S)/DGM-4/BC-11/17-18/CYS-53 dtd:06.06.2017 (Subject to revalidation every year) | GM(QS&S)/DGM(El)-3/BC-11/20-21/CYS-163 dtd:09.11.2020
3x95+1x70+1x16 sq mm LT XLPE AB Cable
3x95+1x70+1x25 sq mm lt XLPE AB cable
3x95+1x70+1x35 sq mm LT XLPE AB cable
|  | HT XLPE AB cable | 25.01.2022
3x95+70 sq mm 11kV, ST7 Outer sheath AB cables
3x120+95 sq mm 11kV, ST7 Outer sheath AB cable
3 | M/s Insucon cables & Cond(P) Ltd., # 314-A, 3rd Floor, City centre, Sansar chandra Road, Jaipur-302001, Raj(Factory Unit: Road No:5A, F-61-63, Bindayaka Industrial Area, Jaipur-12) | 3C x 95 + 1x70+1x16sq mm | 19.06.2022 | GM(Q,S&S)DGM -4)/BC-11/17-18 /cys-72 dated:11.07.2017 (Subject revalidation every year) | 19.06.2022 GM(QS&S)/DGM(El)-3/BC-11/20-21/CYS-169 dtd:12.11.2020
3C x 95 + 1x70+1x25sq mm
3C x 95 + 1x70+1x35sq mm
3C x 35 + 1x25sq mm
3C x 25 + 1Cx25sq mm
4 | M/s Apar Industries limited, (Unit Uniflex Cables) No: 301/306, Panorama complex R.C Dutt road, Vadodara 39000 (Factory Unit: Plot no: 158/163, GIDC, Umergaon Dist, Valsad, Gujrarat - 396171) (Ph.No91(080)23443932/9986049678 email-kr.sanjay@apar.com | 11kV HT AB Cable |  | GM(Q,S&S)DGM -4)/BC-11/17-18 /cys-149 dated:03.10.2017 (Subject revalidation every year | 15.10.2021 BESCOM/GM(QS&S)/DGM(Ele)-3/BC-11/20-21/CYS-139 dtd:15.10.2020
|  | 11kV, 3Cx95+1x70sq.mm HT AB Cable ST7 Outer sheath | 11.09.2022
11kV, 3Cx120+1x95sq.mm HT AB Cables ST7 Outer sheath
|  | 1.1kV, 3C x 95+1C x 70+1C x16 sq. mm LT XLPE Insulated Aerial Bunched cable | 30.11.2023 | GM(Q,S&S)DGM -3)/BC-11/18-19/cys-206 dated:07.03.2019 (Subject revalidation every year)
5 | M/s KEI Industries Ltd, Okhla industrial Area Phase-1, New Delhi Factory Unit: SP-919/920/922, RIICI Industrial Area, Ph:III, Bhiwadi Distt. Alwar-3010109, Rajasthan Tel No:01493-220106/221731, Email:mumbai@kei-ind.com, bhiwadi@kei-ind.com | 11kV, HT Aerial Bunched Cable
|  | 3x95+1x70sq mm (Bare/Insulated messenger Wire) 11kV, ST7 Outer sheath AB cable | 23.01.2022 | GM(Q,S&S)DGM -3)/BC-11/19-20 /cys-41 dated:03.06.2019 (Subject revalidation every year | 21.01.2022 GM(QS&S)/DGM-3/BC-11/20-21/CYS-214 dtd:08.01.2021
|  | 1.1kV,3Cx95+1Cx70+1C x16 sq mm XLPE Insulated AB Cable | 08.01.2024 |  | 07.01.2023 GM(QS&S)/DGM-3/BC-11/20-21/CYS-214 dtd:08.01.2021
|  | 11kV, 3C x 120 + 1C x 95 sqmm AB cable | 07.01.2024 |  | 07.01.2023 GM(QS&S)/DGM-3/BC-11/20-21/CYS-214 dtd:08.01.2021
6 | M/s Shanti Insulated Cable Co., C/o. Arihant Cable Corporation, No:24/1, JHIMIL Industrial Area, Shahdara, Delhi - 110095 (Ph No:080-22262116, 080-41249050 E-mail:arihantcablesu@gmail.com) | 1.1KV, LT Aerial Bunched Cable, confirming to IS-14255:1995 XLPE insulation | 15.03.2024 | GM(Q,S&S)DGM -3)/BC-11/18-19/cys-67 dated:16.07.2019 (Subject revalidation every year) | 22.12.2022 GM(Q,S&S)DGM -3)/BC-11/20-21/CYS-201 dtd:23.12.2020
3x95+1x70+1x16 Sq mm Street light (Insulated messenger cum Neutral)
7 | M/s Vishal cables Pvt Ltd., No:56, Gr. Floor, Ashoka Shopping Centre, G.T. Hospital Complex, L.T. Road, Mumbai – 400001 Factory Unit: Plot No: E-41, Addl. Ambernath MIDC, Anandnagar, Ambernath East – 421506, Thane, Maharashtra Contact No: 0251-2620077 (E-mail: vishalcables@gmail.com) | 1.1KV, LT Aerial Bunched Cable, confirming to IS-14255:1995 XLPE insulation |  | GM(Q,S&S)DGM -3)/ BC-11/19-20/cys-64 dated:11.07.2019 (Subject revalidation every year)
|  | 3x95+1x70+1x35 Sq mm Street light (Insulated messenger cum Neutral) | 02.05.2024
8 | M/s Gupta Power Infrastructure Ltd, EN 62, sector V, 7th Floor, Salt Lake City, kolkatta – 700091. (E-mail: infor@guptapower.com, rhino@guptapower.com) | HT XLPE AB cable |  | GM(Q,S&S)DGM -3)/ BC-11/19-20/cys-64 dated:24.06.2017 (Subject revalidation every year) | 13.12.2020 GM(Q,S&S)DGM -3)/ BC-11/19-20/Cys-169 dated:16.12.2019
|  | 3x95sq mm +1x70sq mm | 15.06.2021
|  | 3x120sq mm +1x95sq mm | 15.06.2021
LT AB Cable
|  | 3x95sq mm + 1x70sq mm+1x16sq mm LT AB cable | 19.07.2021
9 | M/s KEI Industries Ltd, Okhla industrial Area Phase-1, New Delhi Factory Unit: SP-919/920/922, RIICI Industrial Area, Ph:III, Bhiwadi Distt. Alwar-3010109, Rajasthan Tel No:01493-220106/221731, Email:mumbai@kei-ind.com, bhiwadi@kei-ind.com | 11kV, HT Aerial Bunched Cable
|  | 3x95+1x70 Sqmm (Bare/Insulated messenger wire) 11kV, ST7 Outer sheath AB Cables | 23.01.2022 | GM(QS&S)/DGM-3/BC-11/17-18/CYS-137 dtd:20.09.2017 | 23.01.2022 GM(QS&S)/DGM-3/BC-11/20-21/CYS-214 dtd:08.01.2021
1.1kV LT AB Cable
|  | 1.1kV,3Cx95+1Cx70+1Cx16sqmm XLPE Insulated AB Cable | 08.01.2024 | GM(QS&S)/DGM-3/BC-11/17-18/CYS-137 dtd:20.09.2017 | 07.01.2023 GM(QS&S)/DGM-3/BC-11/20-21/CYS-214 dtd:08.01.2021
10 | M/s Asian Galaxy Pvt Ltd, Plot No: 3& 4, 18 & 20A, Sector-IIDC, SIDCUL, Haridwar-249403 Ph No:01334-239638, 09953002912 Email: sales@v-marc.in | 1.1KV, LT Aerial Bunched Cable, confirming to IS-14255:1995 XLPE insulation • 3x95+1x70+1x16 Sqmm Street light (Insulated messenger cum Neutral) | 12.05.2021 | GM(QS&S)/DGM-3/BC-11/20-21/CYS-11 dtd:12.05.2020 (Subject to revalidation every year)
11kV, 3 Core, HTUG Cable for insulations High quality clean XLPE compound shall be used (Free from microvoids, Moisture content, ambers and contaminations) with pressure extruded, inner sheath ROUND WIRE ARMOURED as per IS-7098 (Part-2) Armouring wires dia in average ± 2.5% and resistivity 14.0 Ohms/KM (Max) as per IS-3975 • 95 Sqmm, (54 GI Wires - 2.5mm Dia) • 240 Sqmm, (55 GI Wires - 3.15mm Dia) • 400 Sqmm, (51 GI Wires - 4mm Dia)
1.1kV LT, XLPE or Heat resistant PVC insulated, PVC extruded Inner Sheath armoured UG LT cable as per IS-1554 (Part- 1) or IS-7098 Part-1, Armouring strip thickness in average ± 5% and resistivity 14 Ohms/Kms (Max) as per IS-3975 • 95 Sqmm, 3.5 Core, (21 GI Strips - 4.0 x 0.8mm) • 240 Sqmm, 3.5 Core, (30 GI Strips - 4.0 x 0.8mm) • 400 Sqmm, 3.5 Core , (39 GI Strips - 4.0 x 0.8mm)
11 | M/s Paramount Communications Limited, SP-30A, 30B & E-31, RIICO Industrial area, Khushkhera District, Alwar, Rajasthan-301707 Ph No:91 -11- 45618800 Email: pcl@paramountcables.com | 1.1KV, LT Aerial Bunched Cable, confirming to IS-14255:1995 XLPE insulation • 3x95+1x70+1x16 Sqmm Street light (Insulated messenger cum Neutral) | 14.12.2021 | GM(QS&S)/DGM-3/BC-11/20-21/CYS-18 dtd:18.05.2020 (Subject to revalidation every year)
11kV, 3 Core, HTUG Cable for insulations High quality clean XLPE compound shall be used (Free from microvoids, Moisture content, ambers and contaminations) with pressure extruded, inner sheeth ROUND WIRE ARMOURED as per IS-7098 (Part-2) Armouring wires dia in average ± 2.5% and resistivity 14.0 Ohms/KM (Max) as per IS-3975
|  | • 95 Sqmm, (54 GI Wires - 2.5mm Dia) | 28.02.2022
|  | • 240 Sqmm, (55 GI Wires - 3.15mm Dia) | 27.06.2022
12 | M/s SPM Power & Telecom Pvt Ltd., Regd Office: Plot No: A-28/1/12, Road No.15, I.D.A., Nacharam, Hydrabad – 500076 (Factory Unit 1: Sy No.245 & 246, Ramanthapur Village, Chegunta, Yeldurthy Mandal-502255, Medan Factory Unit 2: Plot No: 136/2, phase II, I.D.A., Cherlapally, Hyderabad - 500051) Contact No: 91 40 29702652, 29702657 E-mail: info@spmcables.in | 1.1KV, LT Aerial Bunched Cable, confirming to IS-14255:1995 XLPE insulation | 10.12.2021 | GM(Q,S&S)DGM -3)/ BC-11/20-21/cys-186 dated:14.12.2020
3x95+1x70+1x16 Sqmm Street light (Insulated messenger cum Neutral)
13 | M/s SBEE cables (India) Ltd, Unit -1, #29, JC Industrial Estate, Kanakapura Road, Bangalore – 560062. Unit 2, #282 & 283, KIADB Industrial Area, Harohalli phase II, kanakapura Taluk, Ramanagara District - 562112 Contact No: 91 80 26662171, 91 80 26860166 E-mail:info@sbeecables.in | 1.1KV, LT Aerial Bunched Cable, confirming to IS-14255:1995 XLPE insulation | 22.01.2026 | GM(Q,S&S)DGM -3)/ BC-11/20-21/cys-229 dated:22.01.2021
3x95+1x70+1x16 Sqmm Street light (Insulated messenger cum Neutral)
14 | M/s Lumino Industries Ltd., Jalan Industtrial complex, Biprannapara, Jangalpur, P.S: Domjur, Howrah-711411 | LT XLPE AB cable
|  | 3x95+1x70+1x16 Sqmm | 04.08.2022 | GM(QS&S)/DGM-4/BC-11/17-18/CYS-103 dtd:17.08.2017 | 04.08.2022 GM(Q,S&S)DGM -3)/ BC-11/20-21/cys-238 dated:02.02.2021
3x95+1x70+1x25 Sqmm
3x95+1x70+1x35 Sqmm
LT PVC Insulated Aluminium Conductor, 1.1kV class
|  | 2x2.5sq mm | 04.08.2022
15 | M/s Prime Cable Industries Pvt Ltd., E-894, 895, D.S.I.I.D.C. Industrial Area, Narela, Delhi – 110040 Ph No:011-27318598, E-mail:info@primecabindia.com, primecableindustries@gmail.com | 1.1KV, LT Aerial Bunched Cable, confirming to IS-14255:1995 XLPE insulation Parameter shall be as below 1. Hot Set Test: a) Elongation under Load: 50% (Max) b) Permanent Elongation After Cooloing: 3% (Max) 2. Thermal Aging in oven: a) Tensile Strength: 16N/mm² (Min) b) Elongation: 375% (Min) 3. Water Absorption Test a) Water absorbed: 0.5mg/cm² (Max) 4. Carbon Black Content shall be ranging from 2% to 3%
|  | 3x95+1x70+1x16 Sqmm Street light (Insulated messenger cum Neutral) | 25.02.2022 | GM(Q,S&S)DGM -3)/ BC-11/20-21/cys-261 dated:26.02.2021