## CT & PT
Current Transformers & Potential Transformers
Sl.No. | Name of the firm | Approved Material | Valid upto | O.M.No. & Date | Revalidated upto
1 | M/s Victory Electrical Industries, #8, Sapthagiri building, sai krupa layout, 1st main road, Thotadagudadahalli, Bangalore – 560073 (Ph No:9342321124, 9741335017, 9902108488) (E-mail:victoryelecindus@gmail.com) | LT current transformers of ratios up to 800/5A | 13.06.2022 | GM(Q,S&S)DGM -4)/BC-11/17-18/Cys-82 dated: 29.07.2017 ( subject to revalidation every year) | 03.02.2021 GM(Q,S&S)DGM -3)/BC-11/19-20 /Cys-207 dated: 04.02.2020
2 | M/s Ampturn Electricals lLP., Survey No:7/2, site No;31, Kachohalli Industrial Area, Vishwaneedam Post, Bangalore - 562123 E-mail :info@ampturn.com sumanya@ampturn.com Ph No:9986067517" | LT Current Transformers of ratio up to 800/5A Ring Type, tape Insulated | 06.12.2022 | GM(Q,S&S)DGM -4)/BC-11/17-18/Cys-273 dated: 20.02.2018 ( subject to revalidation every | 06.12.2022 BESCOM/GM(QS&S)/BC-11/21-22/CYS-124 dtd:23.11.2021
3 | M/s S.K. High Voltage Equipments, No.10&11, S.L.V Industrial Estate, 8th Main, 10th Cross, Andrahalli Main Road, Bangalore-560058 | 11kV Indoor and Outdoor type, CTs of Ratio from 5/1A to 400/1A, accuracy class:0.2 & 0.2S, 2.5VA/3.75VA | 29.12.2022 | GM(Q,S&S)DGM -3)/BC-11/17-18/Cys-36 dated: 04.06.2018 ( subject to revalidation every | Revalidated upto 19.07.2020(Cys-71 dated:19.07.2019
LT CTs Indoor type, CTs of Ratio from 50/5A to 400/5A, accuracy class:0.2 & 0.5
11kV/√3/110V√3, 2.5VA to 50VA, Indoor and Outdoor, Voltage Transformer 0.2 & 0.5 class.
4 | M/s Santosh Electronics, Shed No.165, 2nd Main, 7th Cross, M.S.R. Nagar, Mathikere Post, Bangalore-560054 (Ph No:9632153842, 9483969002) | Tape Insulated ring type, Resin Cast LT current transformers of ratios 50/5A to 250/5A of 0.5 class | 27.06.2022 | GM(Q,S&S)DGM -3)/BC-11/17-18/Cys-153 dated: 14.12.2018 ( subject to revalidation every year) | 27.06.2022 GM(Q,S&S)DGM -3)/BC-11/20-21 /Cys-225 dated: 20.01.2021
5 | M/s EIC meters private limited, No.30 & 31, Dr Anjaneyappa Industrial Estate, Kanakapura road, Near Delhi Public school, Bangalore- 560 080 Contact No: 9686113478 E-mail: eicmpl@gmil.com. | Tape wound, ring Type LT current transformers of ratio 50/5A & 75/5A, Class 1 & 100/5A to 800/5A of 0.5 class | 08.02.2024 | GM(Q,S&S)DGM -3)/BC-11/19-20/ Cys-15 dated:29.04.2019 ( subject to revalidation every | 08.02.2024 GM(QS&S)/DGM-3/BC-11/21-22/CYS-117 dtd:10.11.2021
6 | M/s Kalpa Electrikal Pvt Ltd., No.4413, 149/25, III main, Industrial Town, Rajajinagar, Bangalore - 560073. Contact No: 9945238615/ 23303103 E-mail: sales@kalpaelectrikal.com/ info@kalpaelectrikal.com | 11kV PT PT 11kV √3/110V/√3, 25VA, single phase Insulation level 15/35/95kV as per IS 3156, 0.2 Accuracy class | 31.07.2023 | GM(Q,S&S)DGM -3)/BC-11/19-20 /Cys-83 dated: 06.08.2019 ( subject to revalidation every year) | 31.07.2023 GM(QS&S)/DGM-3/BC-11/21-22/CYS-30 dtd:01.07.2021.
|  | LT current transformers of ratios up to 800/5A | 27.10.2023 | GM(QS&S)/DGM-3/BC-11/21-22/CYS-111 dtd:08.11.2021
7 | M/s Vyoma Switchgear, Plot No:33/1A, 1st floor, 2nd phase, Peenya Industrial Area, Bangalore- 560058 (Ph No: 9844062416/ 9844302358) (E-mail: vyomasg@gmail.com) | 11kV Current Transformers of ratio upto 400/1A | 16.01.2026 | GM(QS&S)/DGM-3/BC-11/20-21/ CYS-222 dated:19.01.2021 (Subject to revalidation once in 2 years)
11kV/110V, 25VA Potential Transformer