## CT & PT
Current Transformers & Potential Transformers
Sl.No. | Name of the firm | Approved Material | Valid upto | O.M.No. & Date | Revalidated upto
1 | M/s Vyoma Switch Gears, Plot No. 28C, II Phase, Near Asian Paints Godown, Peenya Industrial Area, Bangalore, | 11kV Metering cubicle(3CT,3PT) with LBS | 23.06.2021 ( Subject to revalidation every year) | GM(Q,S&S)DGM -4)/BC-11/16-17/cys-49 dated: 28.06.2016 ( subject to revalidation every year) | 25.09.2020 (cys-125 dated:30.09.2019
11kV Metering cubicle (3CT,3PT)
11kV Current Transformers of ratios upto 200/1A
11kV /110V, 25VA Potential Transformers
2 | M/s K.S. Instruments LLP., No: 72, 3rd Main, 1st stage, Industrial suburb, Yeshwantpur, Bangalore-560022 | Tape Insulated ring type LT current transformers of ratios up to 800/5A of 0.5 class. | 13.12.2021 | GM(Q,S&S)DGM -4)/BC-11/16-17/cys-36 dated: 19.05.2017 ( subject to revalidation every year) | Revalidated upto 27.06.2020(Cys-57 dated:04.07.2019
3 | M/s Ampturn Electricals lLP., Survey No:7/2, site No;31, Kachohalli Industrial Area, Vishwaneedam Post, Bangalore - 562123 E-mail :info@ampturn.com sumanya@ampturn.com Ph No:9986067517" | LT Current Transformers of ratio up to 800/5A Ring Type, tape Insulated | 06.12.2022 | GM(Q,S&S)DGM -4)/BC-11/17-18/Cys-273 dated: 20.02.2018 ( subject to revalidation every | 26.07.2020 BESCOM/GM(QS&S)/DGM(Ele)-3/BC-11/19-20/CYS-81 dtd:02.08.2019
4 | M/s S.K. High Voltage Equipments, No.10&11, S.L.V Industrial Estate, 8th Main, 10th Cross, Andrahalli Main Road, Bangalore-560058 | 11kV Indoor and Outdoor type, CTs of Ratio from 5/1A to 400/1A, accuracy class:0.2 & 0.2S, 2.5VA/3.75VA | 29.12.2022 | GM(Q,S&S)DGM -3)/BC-11/17-18/Cys-36 dated: 04.06.2018 ( subject to revalidation every | Revalidated upto 19.07.2020(Cys-71 dated:19.07.2019
LT CTs Indoor type, CTs of Ratio from 50/5A to 400/5A, accuracy class:0.2 & 0.5
11kV/√3/110V√3, 2.5VA to 50VA, Indoor and Outdoor, Voltage Transformer 0.2 & 0.5 class.
5 | M/s EIC meters private limited, No.30 & 31, Dr Anjaneyappa Industrial Estate, Kanakapura road, Near Delhi Public school, Bangalore- 560 080 Contact No: 9686113478 E-mail: eicmpl@gmil.com. | Tape wound, ring Type LT current transformers of ratio 50/5A & 75/5A, Class 1 & 100/5A to 800/5A of 0.5 class | 08.02.2024 | GM(Q,S&S)DGM -3)/BC-11/19-20/ Cys-15 dated:29.04.2019 ( subject to revalidation every
6 | M/s Kalpa Electrikal Pvt Ltd., No.4413, 149/25, III main, Industrial Town, Rajajinagar, Bangalore - 560073. Contact No: 23303103, 23356049,23405248 E-mail: sales@kalpaelectrikal.com/ info@kalpaelectrikal.com | 11kV CT(Secondary – 1A) for 3phase 4wire Metering, Burden:2.5VA,0.2 Accuracy Class Ratio:1.25A to 2.5/1A Ratio: 5/1A to 100/1A Ratio: 125/1A to 200/1A Ratio:225/1A to 400/1A | 31.03.2021 | GM(Q,S&S)DGM -3)/BC-11/19-20 /Cys-83 dated: 06.08.2019 ( subject to revalidation every year)
|  | 11kV PT PT 11kV √3/110V/√3, 25VA, single phase Insulation level 15/35/95kV as per IS 3156, 0.2 Accuracy class | 31.07.2023
7 | M/s Victory Electrical Industries, #8, Sapthagiri building, sai krupa layout, 1st main road, Thotadagudadahalli, Bangalore – 560073 (Ph No:9342321124, 9741335017, 9902108488) (E-mail:victoryelecindus@gmail.com) | LT current transformers of ratios up to 800/5A | 13.06.2022 | GM(Q,S&S)DGM -4)/BC-11/17-18/Cys-82 dated: 29.07.2017 ( subject to revalidation every year) | 03.02.2021 GM(Q,S&S)DGM -3)/BC-11/19-20 /Cys-207 dated: 04.02.2020