Compliance to Preliminary Observations on the application filed by BESCOM for APR for FY-20 and approval of ARR & Retail supply tariff for FY-22 under MYT framework

- Annual Performance Review for FY-20:

- The progress and energy savings of HosaBelaku Scheme and Pavan Scheme during FY-20 is tabulated below.

| Particulars | Progress (FY-20) | Annual Energy Savings in MU |
| --- | --- | --- |
| 9W LED bulbs | 6,45,827 | 9.54 |
| 20W LED tube light | 11,567 | 0.17 |
| BEE 5 star rated Ceiling Fan | 7,670 | 0.11 |
| Solar water Heaters | 41,543 | 20.70 |
| Total |  | 30.52 |

- Comparison of approved vs actual sales for FY-20, there is reduction in LT-5 and LT-6-WS sales and increase in BJ/KJ (upto 40 units), HT-1 and HT-3 categories.

- Though there is a decrease in LT-5, LT-6-W/S categories from the approved figures of the Commission, but there is an increase of 72.12 MU over the previous year FY-19. Comparison between the actual sales for FY19 and FY-20 is shown in the below table:

Sales in MU:

| Category | FY-19 | FY-20 | Difference |
| --- | --- | --- | --- |
| LT-2a | 6919.35 | 7285.82 | 366.47 |
| LT-2b | 51.57 | 56.57 | 5.00 |
| LT-3 | 2083.65 | 2240.82 | 157.17 |
| LT-4 (b) | 1.53 | 1.35 | -0.18 |
| LT-4 (c) | 5.08 | 5.67 | 0.59 |
| LT-5 | 1243.08 | 1217.67 | -25.41 |
| LT-6-WS | 1193.64 | 1317.38 | 123.74 |
| LT-6-SL | 499.92 | 524.64 | 24.72 |
| LT-7 | 135.04 | 205.45 | 70.41 |
| HT-1 | 726.15 | 762.04 | 35.89 |
| HT-2 (a) | 4512.96 | 4173.06 | -339.90 |
| HT-2 (b) | 2448.41 | 2345.62 | -102.79 |
| HT-2c | 321.45 | 331.52 | 10.07 |
| HT-3(a)& (b) | 45.67 | 58.42 | 12.75 |
| HT-4 | 70.04 | 78.30 | 8.26 |
| HT-5 | 85.87 | 89.48 | 3.61 |
| Sub-Total other than BJ/KJ & IP sets | 20343.41 | 20693.81 | 350.40 |
| LT-1 BJ/KJ | 216.75 | 224.43 | 7.68 |
| LT-4 (a)IP Sets | 7202.32 | 6916.36 | -285.96 |
| Sub Total BJ/KJ & IP sets | 7419.07 | 7140.79 | -278.28 |
| Total | 27762.48 | 27834.60 | 72.12 |

There is increase in the overall metered category sales over the previous years. The economic slowdown may have resulted in fall of LT-5 sales. This may be one of the reasons for decrease in sales in LT-5 category. There is no reduction in LT-6-WS sales.

There is continuous increase in HT-1 and HT-3 categories sales at a CAGR of around 4.4% and 33% over the years. Simultaneously, the number of installations of HT-1 and HT-3 categories are also increasing over the years.

- There is reduction in the sales under HT category from FY-15 onwards though there is increase in the number of installations. The reduction in HT2a and HT2b sales is attributed to HT consumers procuring power from captive/group captive/open access/IEX.

- There are no unbilled sales for FY-20. Unbilled sales are not depicted in D-2 format.

- The Actual BJ/KJ sales of FY-19 and FY-20 are compared in the below table.

| Category | FY-19 (MU) | FY-20 (MU) | Difference (MU) |
| --- | --- | --- | --- |
| LT-1 BJ/KJ |  |  |  |
| Less than or equal to 40 units | 171.29 | 177.65 | 6.36 |
| Greater than 40 units | 45.46 | 46.78 | 1.32 |

The Specific consumption of LT-1-BJ/KJ for FY-19 and FY-20 is depicted in the below table:

| Installations |  | Sales in kWh |  | Specific consumption in units/installation/month |  |
| --- | --- | --- | --- | --- | --- |
| 2018-19 | 2019-20 | 2018-19 | 2019-20 | 2018-19 | 2019-20 |
| 46198 | 46057 | 45458961.2 | 46777674 | 82.00 | 84.64 |

- Category-wise sales for FY-22:

- Observations on sales –Data inconsistency: In D-2 format (at page 273) projected sales for FY-22 under LT-1 category i.e. BJ/KJ> 40 units is depicted as 57. 35 MUs which is actually billed under LT-2(a) category and LT-2(a)(i) consumption is depicted as 6902.75 MUs. In D-21 format (at page 302) of the Tariff filing, LT-1(BJ/KJ) installations whose consumption is more than 40 units are considered under LT-2(a)(i) i.e 57.35 + 6902.75= 6960.10MUs.

| Sl. No. | No of Installations | FY-21 | FY-22 | Midyear Installation |
| --- | --- | --- | --- | --- |
| 1 | LT-1> 40 units | 61617 | 61617 | 61617 |
| 2 | LT-2(a)(i) | 6521836 | 6840620 | 6681228 |
| 3 | LT-2(a)(ii) | 2037004 | 2136572 | 2086788 |
| 4 | Sub Total (2+3) | 8558840 | 8977192 | 8768016 |
|  | Total (1+4) | 8620457 | 9038809 | 8829633 |

BJ/KJ installations having consumption more than 40 units are billed under LT-2a category.

- The estimated sales for FY-21 is lower than that in FY20:

The actual sales recorded for FY-21 half year (April- 20 to Sept-20) is 12340.04 MU. HT sale recorded for FY-21 (April- 20 to Sept-20) half year is 2890.58 MU. There is a drastic fall down of HT sales compared to FY-20 half year (4035.0 MU) due to Covid-19 pandemic situation.

First half year category wise sales ratio for Apr-20 to Sept-20 are computed by considering the average of the first half years sales ratio of the financial year from FY-15 to FY-20. Similarly, second half year category wise sales ratio is computed as depicted in the table below:

| Tariff | Avg 1st half year | Avg 2nd half year |
| --- | --- | --- |
| HT-2a | 0.52 | 0.48 |
| HT-2b | 0.54 | 0.46 |
| HT-2c | 0.51 | 0.49 |
| HT-3 | 0.28 | 0.72 |
| HT-4 | 0.54 | 0.46 |
| HT-5 | 0.56 | 0.44 |
| HT total | 0.53 | 0.47 |
| LT-1 | 0.50 | 0.50 |
| LT-2 | 0.52 | 0.48 |
| LT-3 | 0.52 | 0.48 |
| LT-4 | 0.48 | 0.52 |
| LT-5 | 0.51 | 0.49 |
| LT-6a [WS] | 0.48 | 0.52 |
| LT-6b [SL] | 0.48 | 0.52 |
| LT-7 | 0.50 | 0.50 |
| LT total | 0.50 | 0.50 |
| Total | 0.51 | 0.49 |

Since, the tariff application had to be filed before the Hon’ble Commission before 30th November 2020, the sales upto September -20 was considered. Based on the half yearly growth, the total estimated sale for FY-21 is projected as 24485.64 MU.

For FY-22, the forecasts arrived at by using the CAGR method considering FY-20 as base year, need to be modified for impact of any other considerations like specific consumption for IP sets, negative growth due to Open Access etc. The historical data for past years is available. The CAGR for 10 yrs, 9yrs, 8yrs, 7yrs, 6 yrs, 5 yrs, 4 yrs, 3 yrs, 2 yrs and one year growth is computed. Accordingly, 11 scenarios of projections are obtained. An empirical formula is made use of growth rate of 4.6% over FY-21 is considered for projecting sales for FY-22.

In order to estimate of energy sales for FY-22, actual category wise sales for FY-20 is considered for arriving at the CAGR.

Considering all these, BESCOM has projected sales for FY-21 as 24485.64 MU and sales for FY-22 as 25616.08 MU in its tariff filing.

- BESCOM shall furnish the details of how revised sales for FY-21 are estimated.

Actual sales recorded for 1st half of FY-21(upto Sept-20) is 12340.04MU. Category wise half yearly sales for each of the financial year from FY-15 to FY-20 are considered while estimating sales for the 2nd half of the financial year FY-21(i.e. Oct-20 to Mar-21). HT sales have reduced during 1st half of FY-21.

Month wise comparison of HT sales recorded for the FY-19 and FY-20 are shown below:

|  |  |  |  |  |  |  | Sales in MU |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | April | May | June | July | August | September | October | November |
| FY-19 | 677.57 | 767.96 | 547.56 | 668.20 | 700.40 | 673.34 | 629.49 | 622.59 |
| FY-20 | 531.47 | 353.02 | 486.90 | 494.60 | 498.99 | 525.60 | 539.30 | 560.52 |

It can be seen from above table that compared to FY-19, HT sales has reduced considerably for FY-20. Since, the tariff application had to be filed before the Hon’ble Commission before 30th November 2020, the sales upto September -20 was considered.

Based on historical data it can be seen that the first half year sales for a financial year is more than the second half year sales. Hence, BESCOM has computed second half year sales for FY-21 considering the second half year ratio of previous year and adding it to first half – year actual sales.

Comparison of actual sales recorded during the 1st half (Apr to Sep) and 2nd half (Oct-Mar) of the financial years from FY-15 to FY-20 and actual recorded during the 1st of FY-21(Apr-20 to Sep-20) and projected sale of FY-21 2ndhalf (Oct-20 to Mar-21) are shown in below table:

Sales in MU

| Particulars | FY-15 | FY-16 | FY-17 | FY-18 | FY-19 | FY-20 | FY-21 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1st Half (Apr-Sep) | 12245.02 | 12618.96 | 13023.69 | 13098.82 | 14,107.58 | 14,548.18 | 12340.04 |
| 2nd Half (Oct-Mar) | 11837.95 | 11919.23 | 13215.57 | 12868.44 | 13,654.89 | 13286.41 | 12145.60 (Projected) |
| Difference | 407.06 | 699.73 | -191.87 | 230.39 | 452.68 | 1261.76 | 194.44 |

It can be seen from table that actual sales recorded during the 1sthalf of the financial years is more than that of the 2nd half. Sale recorded during 1stof FY-20 was 14,548.18 MU whereas that for FY-21 it was 12340.04 MU. All these factors have an influence on the projection of sales for the financial years 2021.

- Empirical formula: PERT is an estimating technique that uses a weighted average of three numbers to come up with a final estimate. To be more accurate with the projections, BESCOM has adopted PERT formula. 11 years category-wise sales data are considered for computing 10 years CAGR, 9 years CAGR, 8 years CAGR, 7 years CAGR, 6 years CAGR, 5 years CAGR, 4 years CAGR, 3 years CAGR, 2 years CAGR and one year growth rate. All the CAGR growth percentage differs from each other. By selecting 5 year CAGR or 4 year CAGR human intervention is involved. Instead of latter, BESCOM is making use of PERT formula for projecting the sales for future years. BESCOM has adopted this formula from the 2nd control period i.e. FY-11.  It is left to the decision of the Hon’ble Commission to consider the methodology in which the sales are projected.

- Total number of installations as per DCB from FY-15 to FY-20 are considered and projected installations for FY-21 is depicted in the below table:

From the above table, it can be seen that considering the economic slowdown on account of total lock down and other measures /restrictions imposed by GoI/GoK on account of COVID-19, BESCOM has projected only 3.19% of growth for FY-21 based on half yearly increase during FY-21(upto Sept-20). For FY-22, the forecasts arrived at by using the CAGR method considering FY-20 as base year (one year growth of FY-20 over FY-19). Hence, the estimate for FY-22 is more realistic as FY-21 installations are not considered.

- BESCOM shall furnish reasons/replies on the following observations of the Commission which are discussed below:

- LT-1: The BJ/KJ sale for FY-20 is 224.43 MU and the installation for FY-20 is 844227. The average BJ/KJ consumption per installation works out to 27.28 units/installation /month. The BJ/KJ sales for FY-21 (upto Sept-2020) are 138.06MU and the installations for FY-21 (upto Sept-20) is 843409. The average BJ/KJ consumption per installation works out to 27.19 units/ installation/ month. The specific consumption of 27.19 units/installation /month for BJ/KJ is considered for FY-22 based on FY-20 and half yearly data for FY-21.

| Financial Year | Total No of installations | Growth Rate (%) |
| --- | --- | --- |
| FY-15 | 9444518 |  |
| FY-16 | 10146567 | 7.43 |
| FY-17 | 10696029 | 5.42 |
| FY-18 | 11244760 | 5.13 |
| FY-19 | 11810529 | 5.03 |
| FY-20 | 12365413 | 4.7 |
| FY-21 (Projected) | 12760077 | 3.19 |

- FY-21, LT-2a(i) Category sale projection is based on the previous half yearly data. Hence LT-2a(i) sale for FY-21 is depicted as 6538.49 MU in the tariff filing. Whereas LT-2a(i) Category sale projection for FY-22 is based on empirical formula.

- Due to the pandemic the energy sales during the first half of FY-21 had decreased. This has impacted the sales in LT2 (b)(i) & (ii), LT-5(a) & (b) and LT-7category during FY-21. For FY-22, the forecasts arrived at by using the CAGR method considering FY-20 as base year. The CAGR for 10 yrs, 9yrs, 8yrs, 7yrs, 6 yrs, 5 yrs, 4 yrs, 3 yrs, 2 yrs and one year growth is computed. Accordingly, 11 scenarios of projections are obtained. An empirical formula is made use of, growth rate over FY-21 is considered for projecting sales for FY-22. Hence, the sales in LT2 (b)(i) & (ii), LT-5(a) & (b) and LT-7category is lower though there is increase in installations.

- The economic slowdown in the country may have resulted in fall of HT sales.  This may be one of the reasons for decrease in sales in HT-2 (a)(i) & (ii), HT-2(b)(i) & (ii),HT-2(c)(i) & (ii) and HT-4a category though there is increase in installations.

- The half yearly ratio of HT3 sales over the years is shown in the below table:

| Tariff | Apr-16 to Sept-16 | Oct-16 to Mar-17 | Apr-17 to Sept-17 | Oct-17 to Mar-18 | Apr-18 to Sept-18 | Oct-18 to Mar-19 | Apr-19 to Sept-19 | Oct-19 to Mar-20 | Apr-20 to Sept-20 | Oct-20 to Mar-21 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HT-1 | 0.51 | 0.49 | 0.49 | 0.51 | 0.49 | 0.51 | 0.49 | 0.51 | 0.49 | 0.51 |
| HT-2A | 0.53 | 0.47 | 0.50 | 0.50 | 0.54 | 0.46 | 0.52 | 0.48 | 0.52 | 0.48 |
| HT-2B | 0.54 | 0.46 | 0.53 | 0.47 | 0.56 | 0.44 | 0.52 | 0.48 | 0.54 | 0.46 |
| HT-2C | 0.51 | 0.49 | 0.52 | 0.48 | 0.53 | 0.47 | 0.52 | 0.48 | 0.51 | 0.49 |
| HT-3 | 0.30 | 0.70 | 0.13 | 0.87 | 0.30 | 0.70 | 0.27 | 0.73 | 0.28 | 0.72 |
| HT-4 | 0.59 | 0.41 | 0.52 | 0.48 | 0.50 | 0.50 | 0.50 | 0.50 | 0.54 | 0.46 |
| HT-5 | 0.45 | 0.55 | 0.50 | 0.50 | 0.50 | 0.50 | 0.51 | 0.49 | 0.56 | 0.44 |
| HT total | 0.53 | 0.47 | 0.51 | 0.49 | 0.54 | 0.46 | 0.51 | 0.49 | 0.53 | 0.47 |

From the above table, it can be seen that the first half ratio has always been very less than the second half.

| Tariff | FY-20 |  | Total | FY-21 |  | Total |
| --- | --- | --- | --- | --- | --- | --- |
|  | Apr-19 to Sept-19 | Oct-19 to Mar-20 |  | Apr-19 to Sept-19 | Oct-19 to Mar-20 |  |
| HT-1 | 372.11 | 389.93 | 762.04 | 395.55 | 403.73 | 799.28 |
| HT-2A | 2,174.40 | 1998.65 | 4,173.04 | 1,509.50 | 1,368.01 | 2,877.51 |
| HT-2B | 1,214.63 | 1131.00 | 2,345.62 | 747.73 | 643.51 | 1,391.24 |
| HT-2C | 172.69 | 158.82 | 331.51 | 121.54 | 118.89 | 240.43 |
| HT-3 | 16.05 | 42.37 | 58.42 | 37.33 | 95.98 | 133.32 |
| HT-4 | 39.09 | 39.21 | 78.30 | 40.77 | 34.65 | 75.43 |
| HT-5 | 46.07 | 43.42 | 89.48 | 38.16 | 30.36 | 68.52 |
| HT total | 4,035.03 | 3803.40 | 7,838.43 | 2,890.58 | 2,695.14 | 5,585.72 |

Since, for the first half year of FY-21(as per DCB) the sales is on the higher side the total sales for FY-21 works out to 133.32 MU. For FY-22, BESCOM has considered the percentage growth rate which is based on empirical formula. Hence, the sales for HT-3a(i) seems to be on higher side.

- The percentage growth rates for LT-2b, LT-3, LT-6WS, LT-6 SL, HT-2b, HT-2c, HT-3, LT-6 SL are based one year CAGR. Since, the CAGR for 5 years, CAGR for 4 years and CAGR for 3 years are varying it is best to consider the one year CAGR for all these categories.

- The percentage growth rates for LT-2a, HT-1, LT-2band LT5 are based on empirical formula. Since, the CAGR for 5 years, CAGR for 4 years and CAGR for 3 years are varying it is best to consider the empirical formula for these categories.

- Observations on sales to IP sets as submitted by BESCOM in Tariff filing:

- The IP sale depends on the rain, water table and type of crops grown etc. There was a good rainfall in FY-20 and a scanty of rainfall during FY-19 in some parts of BESCOM area, which resulted in decrease in sales by 285.96 MU for FY-20 as compared FY-19 actuals.

- Assessment of IP consumption was arrived more nearer to actual due to       segregation of Agri feeders and regularization of IP sets under different schemes, majority of IP sets were brought under Agri feeders.

Due to increase in the number of IP set installations and increase in their consumption pattern due to good rain fall, there is an increase of sales by 291.27 MU.

- Zero consumption of feeders are due to many reasons viz,

- Changeover of feeders caused by faults occurring on feeders

- Feeder meter burnt out

- Faulty meters

- Breaker fault at station ends

- Pothead burnt out at MUSS GOS

The typographical error in IP assessment details for the month of April and May is regretted.

- F01 CN Halli feeder Challakere -> due to Augmentation work at station its load was fully shifted to newly created feeder F12 Masthsamudra during April to June-19, hence Zero consumption during this month.  From July to Oct-19 newly constructed DevaramariKunte feeder is drawn from existing F1 CN Halli feeder. From Nov-19 to March-20.  During this period F1 CN Halli feeder renamed as F01 – Devaramarikunte feeder and reflected in March-20.

- F03-T Gopagondanahalli of Nymathi subdivision and F10 Jalige feeder of Doddaballapura subdivision, typo error has occurred while entering in portal by field staff and corrected in consecutive months.

- The typographical error while considering the distribution loss for the month of May is regretted. BESCOM has considered an average of 10% distribution loss for agriculture feeder’s for assessing the unmetered sales to IP sets. This average is taken as per the KERC directions vide letter No.91, dt: 20.04.2015, wherein it was stated as the permissible technical allowable loss in Rural / agriculture feeders shall be less than 12%. The average of 10% loss has been considered for only agriculture feeders to arrive at unmetered sales.However, from Nov-20, loss will be taken as per the KERC Tariff Order -2020.

- The total number of installations, GPS Survey and percentage of GPS Survey for FY 2018-19 & FY 2019-20 are as follows:

| FY | LT4-A in Nos | GPS Survey of IP Sets | % of GPS Survey completed |
| --- | --- | --- | --- |
| FY 18-19 | 904463 | 806380 | 89.16% |
| FY 19-20 | 933908 | 881554 | 94.39% |

The above project which was awarded to M/s. Enzen Global Solutions Pvt Ltd was completed on 14-02-2017.Collection of incremental data of IP Sets from the circles & updation of the same in the GIS Software was under progress

Further, the total number of  IP Set installations under LT-4A, LT-4B & LT-4C category as on November 2020 as per DCB is 9,45,621, whereas the total number of IP Sets of LT-4(A) category (<10HP) is 9,43,586 Nos.

As per KERC directions, the work of enumeration of IP sets in BMAZ area is being taken up and 6647 Nos. of enumerated IP Sets data are updated in GIS Software as on November-2020. Balance Number of enumeration of IP sets is under process.

In this regard, the latest status of Enumeration of IP Sets as on November 2020 is as follows:

| Sl No | Circle | Total No of installations of LT-4A category as on Nov 2020 DCB | No of IP DTCs Covered | No of IP installations covered as on Nov 2020 | % of GPS Survey completed | Data as per GPS survey as on Nov 2020 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | No of IP sets surveyed | Dis connected | Total No of live / working IP sets LT4(a) (<10HP) |
| 1 | 2 | 3 | 4 | 5 | 6=5/3*100 | 7=8+9 | 8 | 9 |
| 1 | BMAZ (North & South) | 17878 | 3487 | 6647 | 32.95% | 6647 | 0 | 6647 |
| 2 | Bangalore Rural | 72629 | 22247 | 72102 | 99.27% | 72102 | 3386 | 68716 |
| 3 | Ramanagara | 97039 | 21401 | 96604 | 99.55% | 96604 | 1678 | 94926 |
| 4 | Kolar | 204497 | 31252 | 201779 | 98.67% | 201779 | 1496 | 200283 |
| 5 | Tumkur | 271560 | 37410 | 270856 | 99.74% | 270856 | 970 | 269886 |
| 6 | Davangere | 279983 | 38827 | 277204 | 99.01% | 277204 | 169 | 277035 |
| Total |  | 943586 | 154624 | 925192 | 98.05% | 925192 | 7699 | 917493 |

- The total number of agri feeders taken up for assessment of IP sets varies every month, as the new feeders gets commissioned (Due to bifurcation of agri feeders from other category and feeders added due to commissioning of new substations) they are fetched to the energy audit portal. The details of the feeders taken up for assessment of IP sets for FY-20 are as below:

| Month | No. of agri feeders |
| --- | --- |
| Apr-19 | 1881 |
| May-19 | 1895 |
| Jun-19 | 1899 |
| Jul-19 | 1901 |
| Aug-19 | 1904 |
| Sep-19 | 1905 |
| Oct-19 | 1919 |
| Nov-19 | 1967 |
| Dec-19 | 1968 |
| Jan-20 | 1987 |
| Feb-20 | 1999 |
| Mar-20 | 2014 |

- The revised assessment of sales to IP installations for FY-20 by considering all the above points will be furnished separately.

- BESCOM has projected 978441 number of IP installations for FY-22 by adding 25000 to FY-21 IP installations of 953441numbers. The details of IP installations over the years are depicted in the below table:

| Year | As on 31/03/15 | As on 31/03/2016 | As on 31/03/2017 | As on 31/03/2018 | As on 31/03/19 | As on 31/03/20 |
| --- | --- | --- | --- | --- | --- | --- |
| IP installations | 768516 | 809170 | 841228 | 872229 | 904463 | 933908 |
| Difference |  | 40654 | 32058 | 31001 | 32234 | 29445 |

The difference of IP installations over the years is in the declining trend. Hence, BESCOM has projected 978441 numbers of Installations for FY-22 i.e. 25000 over and above FY-21 IP installations of 953441numbers.

- The IP set installations added over every 6months from FY-17 to FY-21 is shown in the below table:

| Particular | As on 31.03.2017 | As on 30.09.2017 | As on 31.03.2018 | As on 30.09.2018 | As on 31.03.2019 | As on 30.09.2019 | As on 31.03.2020 | As on 30.09.2020 | As on 31.03.2021 (projected) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Installations | 841228 | 854809 | 872229 | 886138 | 904463 | 922874 | 933908 | 938441 | 953441 |
| Installations Added |  | 13581 | 17420 | 13909 | 18325 | 18411 | 11034 | 4533 | 15000 |

It can be seen from the above table that, the number of installations added every 6 months, with an average of 14,027 installations getting added every six months. Hence, based on the previous year’s historical data BESCOM has proposed around 15,000 installations for 2nd half (Oct-20 to Mar-21) of FY-21.

- In Tariff Order 2019, for FY-22 Commission had approved specific consumption of 7260 units/IP/annum for arriving at the IP sales of 6988.09MU and the no. of installations approved was 975047. The computation of IP sales and installations for FY-22 was based on the actual sales and installations of FY-18.

- Since, FY-20 is completed and the half yearly details for FY-21 (upto Sept-20) are available. Hence, the projections for FY-22 are revised with specific consumption of 7200 units/IP/annum and installations at 978441. The revised sales projected for FY-22 is 7044.78MU.

- BESCOM has projected 9, 78,441 installations for the FY-22 (page No 83) so also in D-2 format (page 273). Whereas in D-21 format of the Tariff filing midyear installations are considered as per the format. (9,53,441 (installations projected for FY-21) + 9,78,441(installations projected for FY-22))/2=9,65,941. Hence, in D-21 format total no. of LT-4(a) installations are depicted as 9, 65,941.

- To validate the category-wise sales, the information in the following format shall be furnished by BESCOM:

  - No. of Installations:

| No. of Installations |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Category | 2018-19 Actuals |  | 2019-20 Actuals |  | 2020-21 |  |
|  | As on 30th Nov 2018 | As on 31st March 2019 | As on 30th Nov 2019 | As on 31st March 2020 | As on 30th Nov 2020 | As on 31st March 2021 (Estimate) |
| LT-2a | 7735026 | 7888029 | 8150650 | 8273592 | 8482925 | 8558840 |
| LT-2b | 11843 | 12021 | 12245 | 12377 | 12511 | 12565 |
| LT-3 | 1076824 | 1094837 | 1126949 | 1143767 | 1166361 | 1174117 |
| LT-4 (b) | 282 | 309 | 296 | 255 | 219 | 230 |
| LT-4 (c) | 1618 | 1651 | 1694 | 1756 | 1816 | 1844 |
| LT-5 | 207129 | 210552 | 216194 | 218866 | 223339 | 224700 |
| LT-6 a | 77690 | 79322 | 82680 | 84209 | 86647 | 87747 |
| LT-6 b | 64141 | 65136 | 66996 | 68016 | 69481 | 69730 |
| LT-6C |  |  |  |  | 34 | 54 |
| LT-7 | 665103 | 693370 | 740408 | 766515 | 801675 | 814535 |
| HT-1 | 239 | 248 | 259 | 268 | 274 | 280 |
| HT-2 (a) | 6916 | 7059 | 7285 | 7419 | 7610 | 7665 |
| HT-2 (b) | 6525 | 6787 | 7332 | 7521 | 7729 | 7859 |
| HT2C | 728 | 758 | 799 | 833 | 884 | 883 |
| HT-3(a)& (b) | 49 | 52 | 54 | 59 | 61 | 61 |
| HT-4 | 231 | 252 | 387 | 412 | 445 | 462 |
| HT-5 | 1100 | 1180 | 1334 | 1413 | 1574 | 1655 |
| Sub Total (Other than BJ/KJ and IP ) | 9855444 | 10061563 | 10415562 | 10587278 | 10863585 | 10963227 |
| BJ/KJ<=40units/month | 793705 | 798305 | 791744 | 798170 | 782171 | 781792 |
| BJ/kJ > 40 units/month. | 50919 | 46198 | 52617 | 46057 | 61224 | 61617 |
| IP sets-LT-4a | 890385 | 904463 | 926266 | 933908 | 943586 | 953441 |
| Sub Total (BJ/KJ and IP ) | 1735009 | 1748966 | 1770627 | 1778135 | 1786981 | 1796850 |
| Grand Total | 11590453 | 11810529 | 12186189 | 12365413 | 12650566 | 12760077 |

  - b. Energy Sales

| Category | 2018-19 Actuals |  | 2019-20 Actuals |  | 2020-21 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 1st April 2018 to 30th Nov 2018 (cumulative) | 1st Dec 2018 to 31st March 2019 (cumulative) | 1st April 2019 to 30th Nov 2019 (cumulative) | 1st Dec 2019 to 31st March 2020 (cumulative ) | 1st April 2020 to 30th Nov 2020 (cumulative actuals) | 1st Dec 2020 to 31st March 2021 (cumulative Estimate) |
| LT-2a | 4698.8 | 2220.55 | 4985.24 | 2300.58 | 4959.72 | 2397.01 |
| LT-2b | 34.32 | 17.24 | 37.7 | 18.87 | 20.68 | 10.03 |
| LT-3 | 1403.33 | 680.32 | 1535.53 | 705.29 | 1083.24 | 465.38 |
| LT-4 (b) | 1.12 | 0.4 | 0.93 | 0.42 | 1.1 | 0.41 |
| LT-4 (c) | 3.02 | 2.06 | 3.75 | 1.92 | 3.55 | 2.28 |
| LT-5 | 829.79 | 413.29 | 813.79 | 403.88 | 626.55 | 228.25 |
| LT-6 | 760.27 | 433.37 | 899.69 | 417.69 | 824.2 | 468.17 |
| LT-6 | 325.31 | 174.61 | 348.6 | 176.04 | 321.76 | 174.3 |
| LT-7 | 89.56 | 45.48 | 133.77 | 71.68 | 118.14 | 55.18 |
| HT-1 | 482.61 | 243.54 | 504.76 | 257.28 | 530.48 | 268.8 |
| HT-2 (a) | 3141.24 | 1371.72 | 2798.43 | 1374.63 | 2142.51 | 734.99 |
| HT-2 (b) | 1756.68 | 691.73 | 1611.64 | 733.99 | 986.29 | 404.95 |
| HT2C | 224.33 | 97.12 | 228.57 | 102.94 | 161.95 | 78.49 |
| HT-3(a)& (b) | 26.77 | 18.9 | 31.19 | 27.23 | 61.1 | 72.23 |
| HT-4 | 46.95 | 23.1 | 52.01 | 26.29 | 53.66 | 21.77 |
| HT-5 | 57.3 | 28.56 | 60.52 | 28.96 | 54.43 | 14.09 |
| Sub Total (Other than BJ/KJ and IP sets ) | 13881.4 | 6461.99 | 14046.12 | 6647.69 | 11949.36 | 5396.33 |
| BJ/KJ<=40units/month | 113.18 | 58.11 | 118.25 | 59.4 | 120.64 | 97.2 |
| BJ/kJ > 40 units/month. | 32.65 | 12.81 | 33.39 | 13.39 | 56.87 | 0.48 |
| IP sets LT 4a | 4499.17 | 2703.15 | 4319.47 | 2596.89 | 3839.22 | 3025.55 |
| Sub Total ( BJ/KJ and IP ) | 4645 | 2774.07 | 4471.11 | 2669.68 | 4016.73 | 3123.23 |
| Grand Total | 18526.4 | 9236.06 | 18517.23 | 9317.37 | 15966.09 | 8519.56 |

- Capital Expenditure:

- BESCOM Capex APR FY20:

- During submission of MYT and tariff filing as per the requirement of field officers/corporate sections, anticipated budget of Rs 3173.64 Crs has been proposed for the FY 19-20 and placed before Hon’ble Commission for approval. But, Hon’ble KERC had recognized the capital expenditure of Rs 2165.58 Crs.

Wherein, BESCOM has been incurred Rs 2522.48 Crs for the FY 20 which exceeds the approved capex amount by Rs 356.90 Crs.

Under Service connection head always expenditure will be increased against the anticipated budget since, it is mandatory to arrange power supply to prospective consumers as and when applications are received and registered as per Condition of Supply/Standard of Performance.

Further, it is mandatory to provide power supply to IP sets under GoK initiated scheme such as Ganga kalyana and regularization of unauthorized IP set as and when applications are received and registered.

Projects such as NJY, HVDS, DDUGJY, IPDS and Erection of distribution transformer centers using 11 mts Spun poles, excess expenditure has been incurred against approved budget consequent to verge of completion of project.

- Already replied in para 5 A a.

- Break up of sources of funding for each category of works during FY-20 are shown in the below table:

| Sl. No. | Heads Of Works | Source Of Funds |
| --- | --- | --- |
| 1 | Ganga Kalyana Works | Equity |
| 2 | Service Connection Works | Equity |
| 3 | Water Works | Equity |
| 4 | Planned Works Total |  |
| 5 | 11 KV evacuation line | Borrower funds + Internal Resources |
| 6 | Providing additional DTC's / Enhancement Of DTC's | Borrower funds + Internal Resources |
| 7 | Reconductoring of HT lines in No's circuit kms | Borrower funds + Internal Resources |
| 8 | Reconductoring of LT lines in No's circuit kms | Borrower funds + Internal Resources |
| 9 | Local planning safety works, Emergency / Calamity Works | Internal Resources |
| 10 | SDP Progress | Equity |
| 11 | Replacement of Faulty transformers | Internal Resources |
| 12 | Non-Planned works total |  |
| 13 | Meters | Internal Resources |
| 14 | Providing Infrastructure to Unauthrosied IP sets | Borrower funds + Internal Resources |
| 15 | NJY | Borrower funds + Internal Resources |
| 16 | HVDS | Borrower funds + Internal Resources |
| 17 | RGGVY 12th Plan | Grant + Borrower Funds |
| 18 | RAPDRP | Grant + Borrower Funds |
| 19 | DDUGJY | Grant + Borrower Funds |
| 20 | IPDS | Grant + Borrower Funds |
| 21 | Errection of distribution transfarmer centers using 11mtrs spun poles | Borrower funds + Internal Resources |
| 22 | RAPDRP A | Grant |
| 23 | DAS | Borrower funds + Internal Resources |
| 24 | SG |  |
| 25 | DSM | Borrower funds + Internal Resources |
| 26 | Civil Engineering works | Internal Resources |
| 27 | IT initiative | Internal Resources |
| 28 | TIC | Internal Resources |
| 29 | Auto reclouser | Borrower funds + Internal Resources |
| 30 | Model sub division | Borrower funds + Internal Resources |
| 31 | Smart City | Internal Resources |
| 32 | Model Village | Internal Resources |
| 33 | System improvement works of indiranagar division | Borrower funds + Internal Resources |
| 34 | Conversion of OH line into UG / AB cable | Borrower funds + Internal Resources |
| 35 | T&P | Internal Resources |
| 36 | Others | Internal Resources |

- Already replied in para 5 A a

- The actual capital expenditure as per the audited accounts for FY 20 is Rs 2522.48 Crs

- Break up details for actual capex incurred during FY-20 as per Format-4 will be submitted at the earliest.

- The failed transformers are being replaced by repaired good transformers available in buffer stock. Sufficient buffer stock of 3478 Nos. as on Nov-2020 has been maintained at stores and transformer banks for replacement of failed DTRs. Failed transformers are replaced as per the K.E.R.C norms i.e., within 24 Hours in Urban areas and 72 hours in Rural areas.

BESCOM has established 45 Nos. of repair centers at Taluka level for repair of failed Transformers.  The failed Distribution Transformers are being repaired by agencies and returned to stores. The expenditure has been booked for repair of Transformers is under revenue budget only i.e., 74.116.

The replacements of the faulty transformers are replaced with Repaired goods Transformers only and exceptional cases the failed transformers are replaced by new transformers.

| LC | Acc Unit Name | Acc Codes | Net Expenditure Booked During the Year in Crs. | Materials issued to CWIP from 16 series in Crs. |
| --- | --- | --- | --- | --- |
| 403 | Jayanagar Division /South | 14.1707 | 0.02 | 0.02 |
| 404 | Rajajinagar Division /North | 14.1707 | 0.78 | 0.00 |
| 405 | Indiranagar Division/East | 14.1707 | 0.15 | 0.16 |
| 406 | Vidhanasoudha Division /West | 14.1707 | 0.11 | 0.06 |
| 407 | Nelamangala Division /Rural North | 14.1707 | 4.85 | 0.37 |
| 414 | Tumkur Division | 14.1707 | 14.57 | 12.10 |
| 415 | Madhugiri Division | 14.1707 | 16.52 | 13.85 |
| 416 | Chikkaballapur Division | 14.1707 | 14.36 | 13.85 |
| 417 | KGF Division | 14.1707 | 5.79 | 5.69 |
| 428 | Davanagere division | 14.1707 | 10.78 | 10.02 |
| 429 | Chithradurga Division | 14.1707 | 14.95 | 14.57 |
| 444 | Ramanagar Division /Rural South | 14.1707 | 0.49 | 0.44 |
| 445 | Malleshwaram Division /Central | 14.1707 | 0.14 | 0.14 |
| 452 | Kolar Division | 14.1707 | 5.63 | 5.59 |
| 455 | Tiptur Division | 14.1707 | 14.88 | 14.98 |
| 456 | Harihara Division | 14.1707 | 14.72 | 14.32 |
| 457 | Hiriyur Division | 14.1707 | 12.78 | 11.42 |
| 461 | Chandapura Division /Addl.Rural South | 14.1707 | 3.27 | 0.00 |
| 463 | Yelahanka Division /Addl.Rural North | 14.1707 | 6.40 | 6.34 |
| 465 | Koramangala Division /Addl. South | 14.1707 | -0.01 | 0.00 |
| 466 | RajaRajishware Division /Addl.West | 14.1707 | 0.43 | 0.00 |
| 467 | Hebbal Division /Addl.Central | 14.1707 | 0.46 | 0.41 |
| 469 | Chinthamani Division | 14.1707 | 8.83 | 8.83 |
| 470 | Kengeri Division | 14.1707 | 0.36 | 0.00 |
| 471 | Kanakapura Division | 14.1707 | 2.85 | 2.80 |
| 472 | Kunigal Division | 14.1707 | 5.41 | 5.32 |
| 474 | Jalahalli Division | 14.1707 | 0.10 | 0.00 |
| 475 | Magadi Division | 14.1707 | 1.56 | 0.00 |
|  | Total |  | 161.19 | 141.26 |

Above table depicts that out of Rs 161.19 Crores booked under account code 14.170- Replacement of transformer of similar capacities, Rs 141.26 Crores is utilized from released good or repaired good transformer and structures.

- Statement showing the details No. of Transformers failed, Transformers repaired Transformers issued to field and balance no. of failed Transformers yet to be repaired during FY 19-20.

| Sl. No | Particulars |  | BMAZ North | BMAZ South | BRAZ | CTAZ | BESCOM |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | No.of Transformers Failed during the year | CSS | 0 | 0 | 0 | 0 | 0 |
|  |  | 1000 | 0 | 0 | 0 | 0 | 0 |
|  |  | 990 | 0 | 0 | 0 | 0 | 0 |
|  |  | 750 | 0 | 0 | 0 | 0 | 0 |
|  |  | 500 | 40 | 6 | 1 | 7 | 54 |
|  |  | 250 | 256 | 68 | 166 | 88 | 578 |
|  |  | 100 | 171 | 37 | 3201 | 5301 | 8710 |
|  |  | 63 | 20 | 3 | 4179 | 6401 | 10603 |
|  |  | 25 | 7 | 14 | 3466 | 7319 | 10806 |
|  |  | Total | 494 | 128 | 11013 | 19116 | 30751 |
| 2 | Total No. of Transformers Repaired during the year | CSS | 0 | 0 | 0 | 0 | 0 |
|  |  | 1000 | 0 | 0 | 0 | 0 | 0 |
|  |  | 990 | 0 | 0 | 0 | 0 | 0 |
|  |  | 750 | 1 | 0 | 0 | 0 | 1 |
|  |  | 500 | 59 | 45 | 1 | 9 | 114 |
|  |  | 250 | 573 | 374 | 152 | 75 | 1174 |
|  |  | 100 | 257 | 83 | 3119 | 4323 | 7782 |
|  |  | 63 | 25 | 3 | 3863 | 5139 | 9030 |
|  |  | 25 | 8 | 8 | 3193 | 6209 | 9418 |
|  |  | Total | 923 | 513 | 10328 | 15755 | 27519 |
| 3 | Total No. of Repaired Transformers issued to the field | CSS | 0 | 0 | 0 | 0 | 0 |
|  |  | 1000 | 0 | 0 | 0 | 0 | 0 |
|  |  | 990 | 0 | 0 | 0 | 0 | 0 |
|  |  | 750 | 1 | 0 | 0 | 0 | 1 |
|  |  | 500 | 59 | 45 | 1 | 7 | 112 |
|  |  | 250 | 573 | 374 | 162 | 73 | 1182 |
|  |  | 100 | 243 | 83 | 3235 | 4563 | 8124 |
|  |  | 63 | 25 | 3 | 4198 | 5642 | 9868 |
|  |  | 25 | 8 | 8 | 3478 | 6310 | 9804 |
|  |  | Total | 909 | 513 | 11074 | 16595 | 29091 |
| 4 | Balance failed Transformers Yet to be Repaired | CSS | 0 | 0 | 0 | 0 | 0 |
|  |  | 1000 | 0 | 0 | 0 | 0 | 0 |
|  |  | 990 | 0 | 0 | 0 | 0 | 0 |
|  |  | 750 | 0 | 0 | 0 | 0 | 0 |
|  |  | 500 | 11 | 9 | 0 | 0 | 20 |
|  |  | 250 | 41 | 146 | 4 | 1 | 192 |
|  |  | 100 | 68 | 59 | 91 | 374 | 592 |
|  |  | 63 | 4 | 2 | 231 | 521 | 758 |
|  |  | 25 | 1 | 14 | 119 | 748 | 882 |
|  |  | Total | 125 | 230 | 445 | 1644 | 2444 |
| 5 | No. of failed transformers considered as not repairable | CSS | 0 | 0 | 0 | 0 | 0 |
|  |  | 1000 | 0 | 0 | 0 | 0 | 0 |
|  |  | 990 | 0 | 0 | 0 | 0 | 0 |
|  |  | 750 | 0 | 0 | 0 | 0 | 0 |
|  |  | 500 | 0 | 4 | 0 | 1 | 5 |
|  |  | 250 | 0 | 30 | 0 | 4 | 34 |
|  |  | 100 | 0 | 36 | 26 | 190 | 252 |
|  |  | 63 | 0 | 2 | 43 | 197 | 242 |
|  |  | 25 | 2 | 14 | 55 | 239 | 310 |
|  |  | Total | 2 | 86 | 124 | 631 | 843 |

Statement showing the details No. of Transformers failed, Transformers repaired, repaired Transformers issued to field and balance no. of failed Transformers yet to be repaired during FY 2020-21 upto Oct-20.

| Sl. No | Particulars |  | BMAZ North | BMAZ South | BRAZ | CTAZ | BESCOM |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | No.of Transformers Failed during the year | CSS | 0 | 0 | 0 | 0 | 0 |
|  |  | 1000 | 0 | 0 | 0 | 0 | 0 |
|  |  | 990 | 0 | 0 | 0 | 0 | 0 |
|  |  | 750 | 1 | 0 | 0 | 0 | 1 |
|  |  | 500 | 48 | 58 | 0 | 2 | 108 |
|  |  | 250 | 426 | 360 | 120 | 46 | 952 |
|  |  | 100 | 165 | 102 | 1867 | 2478 | 4612 |
|  |  | 63 | 15 | 13 | 2436 | 2922 | 5386 |
|  |  | 25 | 9 | 7 | 2245 | 3952 | 6213 |
|  |  | Total | 664 | 540 | 6668 | 9400 | 17272 |
| 2 | Total No. of Transformers Repaired during the year | CSS | 0 | 0 | 0 | 0 | 0 |
|  |  | 1000 | 0 | 0 | 0 | 0 | 0 |
|  |  | 990 | 0 | 0 | 0 | 0 | 0 |
|  |  | 750 | 0 | 0 | 0 | 0 | 0 |
|  |  | 500 | 22 | 28 | 0 | 3 | 53 |
|  |  | 250 | 281 | 229 | 109 | 69 | 688 |
|  |  | 100 | 127 | 42 | 1691 | 2585 | 4445 |
|  |  | 63 | 12 | 4 | 2328 | 3557 | 5901 |
|  |  | 25 | 6 | 7 | 2255 | 4193 | 6461 |
|  |  | Total | 448 | 310 | 6383 | 10407 | 17548 |
| 3 | Total No. of Repaired Transformers issued to the field | CSS | 0 | 0 | 0 | 0 | 0 |
|  |  | 1000 | 0 | 0 | 0 | 0 | 0 |
|  |  | 990 | 0 | 0 | 0 | 0 | 0 |
|  |  | 750 | 0 | 0 | 0 | 0 | 0 |
|  |  | 500 | 22 | 28 | 0 | 2 | 52 |
|  |  | 250 | 281 | 229 | 120 | 46 | 676 |
|  |  | 100 | 127 | 42 | 1867 | 2380 | 4416 |
|  |  | 63 | 12 | 4 | 2435 | 2893 | 5344 |
|  |  | 25 | 6 | 7 | 2245 | 3953 | 6211 |
|  |  | Total | 448 | 310 | 6667 | 9274 | 16699 |
| 4 | Balance failed Transformers Yet to be Repaired | CSS | 0 | 0 | 0 | 0 | 0 |
|  |  | 1000 | 0 | 0 | 0 | 0 | 0 |
|  |  | 990 | 0 | 0 | 0 | 0 | 0 |
|  |  | 750 | 1 | 0 | 0 | 0 | 1 |
|  |  | 500 | 43 | 20 | 0 | 1 | 64 |
|  |  | 250 | 262 | 105 | 1 | 4 | 372 |
|  |  | 100 | 122 | 55 | 320 | 468 | 965 |
|  |  | 63 | 11 | 7 | 158 | 418 | 594 |
|  |  | 25 | 6 | 0 | 151 | 504 | 661 |
|  |  | Total | 445 | 187 | 630 | 1395 | 2657 |
| 5 | No. of failed transformers considered as not repairable | CSS | 0 | 0 | 0 | 0 | 0 |
|  |  | 1000 | 0 | 0 | 0 | 0 | 0 |
|  |  | 990 | 0 | 0 | 0 | 0 | 0 |
|  |  | 750 | 0 | 0 | 0 | 0 | 0 |
|  |  | 500 | 0 | 16 | 0 | 0 | 16 |
|  |  | 250 | 2 | 36 | 0 | 0 | 38 |
|  |  | 100 | 1 | 33 | 3 | 158 | 195 |
|  |  | 63 | 1 | 4 | 3 | 191 | 199 |
|  |  | 25 | 0 | 0 | 10 | 307 | 317 |
|  |  | Total | 4 | 89 | 16 | 656 | 765 |

Statement showing the details of replacement of Failed Distribution Transformers by Repaired Good and New Transformers during FY 19-20:

Statement showing the details of replacement of Failed Distribution Transformers by Repaired Good and New Transformers during FY 20-21(Up to Nov-20)

- Gangakalyana scheme includes 5 Development Corporations viz.,

- Dr.B.R. Ambedkar Development Corporation (SC)

- Karnataka Maharshi Valmiki Scheduled Tribes Development Corporation(ST)

- D.Devraju Urs backward Class Development Corproation(BCM)

- Karnataka Minority Development Corporation(KMDC)

- Karnataka Vishwakarma Community Development Corporation (KVCDC)

- BESCOM had fixed energization target of 8000 for FY 20. During 2019-20, out of total 4571 Nos of applications (3073 Nos. of applications registered and 1498 Nos. of pending applications of previous year) BESCOM has energized 3442 Nos.

- Further, BESCOM has fixed energization target of 6000 for FY 21 and has energized 2116 Nos. upto Nov-20 out of 2899 (1770 Nos. of applications registered and 1129 Nos. of pending applications of previous year) and 783 Nos. of pending applications are pending as at the end of Nov-20. Division wise details are shown below.

- Dr B R Ambedkar Development Corporation and Karnataka MaharshiValmiki Scheduled Tribes Development Corporations are releasing energization cost of Rs. 50,000/- per IP set to BESCOM from 01.04.2007

- D DevrajUrs Backward classes Development corporation &  Karnataka Minority Development Corporation are releasing energization cost of Rs. 50,000/- per IP set to BESCOM from 01.04.2013 as per GoK order No. BCWC 649 BCM 2013 dtd 17.12.2013

- The balance amount to be received from Development Corporations as at the end of March-20 and FY 2020-21 Upto Nov-20 as per Rs. 50,000/- per IP set and as per actuals are as shown below:

- Energization amount are being released from Government of Karnataka under Special Component Sub Plan (SCSP) / Tribal Sub Plan (TSP) for energization of IP sets under Gangakalyana Scheme. The amount received and spent during FY 2019-20 and FY 2020-21 Upto Nov-20 are shown in the above table.

- Letter correspondences have been made to Development Corporations to release the balance Energization cost as per actual. The letters are shown below:

- A letter has been addressed to GoK to enhance the average energization cost per IP set being incurred by BESCOM from Rs. 50,000 to Rs. 1.75 Lakhs per IP set are shown below:

- DAS and projects reply:

Assets have been categorized in phased manner as and when package works are completed. The details of Assets categorized are as below;

| Date of asset Categorisation | Amount of asset Categorisation Rs. in Crs | Amount of depreciation charged Rs. in Crs | Amount of interest capitalised Rs. in Crs |
| --- | --- | --- | --- |
| FY 2015-16 | 220.76 | 15.45 | NIL |
| FY 2016-17 | 133.21 | 21.81 |  |
| FY 2017-18 | 16.77 | 6.16 |  |
| FY 2018-19 | 0.66 | 4.97 |  |
| FY 2019-20 | 189.21 | 63.24 |  |

- Disallowance of Capex incurred:

- The estimate is prepared for bifurcation of load of F-1 Namadhari feeder emanating from 66/11kV Kemanahalli MUSS. During work execution, public have not allowed to execute the some portion of line work. At the same time 66/11kV Namadhari station was proposed from KPTCL at Namadhari premises. The proposed load of F-1 Namadhari feeder is nearer to proposed Namadhari station, hence the 11kV link line is re-routed to the newly constructed 66/11kV Namadhari station. The above link line work is completed in all aspects & awaiting for commissioning of 66/11 KV Namdhari MUSS.

Hence, the work shall be considered as prudent.

The estimate cost for the above said work is Rs 18,49,067/- and the estimate is revised to an amount of Rs.19,67,610/- and further the actual booked amount of Rs.14,89,716/-.

- 2X8MVA, 66/11KV Substation Devarabelakere is commissioned on 28.10.2016 and Load taken from BESCOM Harihara Sub-division from 11.01.2017.

- As per the report of Assistant Executive Engineer (Ele), C5 Sub division, the proposed new breaker at 66/11KV 'C' station is commissioned on 13.12.2019. Also the load is taken on the new feeder.

- The work has been awarded to M/s K.M Enterprises and the work has been completed within the awarded period. The above said work is newly evacuated 11 KV feeder from 66/11 KV Vandarguppe MUSS and has been commissioned from M/s KPTCL on 28.12.2019.

- List and number of works sanctioned, completed, balance number of works to be taken up are shown below:

| Name of the Sub Division | No. of Works Sanctioned | No. of Works Completed | No. of Works Balance |
| --- | --- | --- | --- |
| S10 | 75 | 58 | 17 |
| S13 | 38 | 30 | 8 |
| E8 | 13 | 13 | 0 |
| N4 | 24 | 24 | 0 |

Progress of MODEL SUB DIVISION PROJECT, E-8 SUB DIVISION, SHIVAJI NAGAR DIVISION:

| Sl No | Name of the work | Work Status |
| --- | --- | --- |
| 1 | Executing the model sub division works of F16 Canopy apartment feeder of Banaswadi MUSS in BW-II of E-8 Sub Division in SND, East Circle, BMAZ(N), Area, on a total turnkey basis under RC-462 for 2 years. | Work Completed |
| 2 | Executing the model sub division works of F12 Kammanahalli Main Road feeder of Banaswadi MUSS in RSP of E-8 Sub Division in SND, East Circle, BMAZ(N), Area, on a total turnkey basis under RC-462 for 2 years. | Work Completed |
| 3 | Executing the model sub division works of F18 Pilla Reddy Nagar, feeder of Banaswadi MUSS in BW-I of E-8 Sub Division in SND, East Circle, BMAZ(N), Area, on a total turnkey basis under RC-462 for 2 years. | Work Completed |
| 4 | Executing the model sub division works of F14 Babusa Palya feeder of Banaswadi MUSS in BW-II of E-8 Sub Division in SND, East Circle, BMAZ(N), Area, on a total turnkey basis under RC-462 for 2 years. | Work Completed |
| 5 | Executing the model sub division works of FY-21 feeder of Banaswadi MUSS in BW-II of E-8 Sub Division in SND, East Circle, BMAZ(N), Area, on a total turnkey basis under RC-462 for 2 years. | Work Completed |
| 6 | Conversion of HT/LT Overhead conductor with HT UG LT AB Cable of F7 feeder of Banaswadi MUSS | Work Completed |
| 7 | Conversion of HT/LT Overhead conductor with HT UG LT AB Cable of F8 feeder of Banaswadi MUSS | Work Completed |
| 8 | Conversion of HT/LT Overhead conductor with HT UG LT AB Cable of F1 feeder of Banaswadi MUSS | Work Completed |
| 9 | Modernization of F5 Evacuation Hnumantnagar Feeder of 66/11 KV Geddalahalli MUSS in Banaswadi O&M Unit-I, of E-8 Sub Division. | Work Completed |
| 10 | Modernization of F17 Evacuation ABMC Feeder of 66/11 KV Banaswadi MUSS in R.S Palya, of E-8 Sub Division. | Work Completed |
| 11 | Modernization of F10 of 66/11 KV Banaswadi MUSS in BW-I, of E-8 Sub Division. | Work Completed |
| 12 | Modernization of F5 of 66/11 KV Banaswadi MUSS in BW-I, of E-8 Sub Division. | Work Completed |
| 13 | Modernization of F19 (Partial Work) of 66/11 KV Banaswadi MUSS in BW-I, of E-8 Sub Division. | Work Completed |

Progress of MODEL SUB DIVISION PROJECT, N-8 SUB DIVISION, PEENYA DIVISION:

| Sl. No | Nomenclature of Work | Work Status |
| --- | --- | --- |
| 1 | Estimate for conversion of HT Overhead Conductor with HT UG Cable conductor, LT Overhead Conductor by LT AB Cable of Size 3x95+1x70+1x16 Sq.mm of feeder NGH F-02 pertaining to Hegganahally O&M Unit of N4 Sub Division. | Work Completed |
| 2 | Estimate for conversion of HT Overhead Conductor with HT UG Cable conductor, LT Overhead Conductor by LT AB Cable of Size 3x95+1x70+1x16 Sq.mm of feeder Brindavan F-11 pertaining to Hegganahally O&M Unit of N4 Sub Division. | Work Completed |
| 3 | Estimate for conversion of HT Overhead Conductor with HT UG Cable conductor, LT Overhead Conductor by LT AB Cable of Size 3x95+1x70+1x16 Sq.mm of feeder Brindavan F-09 pertaining to Hegganahally O&M Unit of N4 Sub Division. | Work Completed |
| 4 | Estimate for conversion of HT Overhead Conductor with HT UG Cable conductor, LT Overhead Conductor by LT AB Cable of Size 3x95+1x70+1x16 Sq.mm of feeder Brindavan F-01 pertaining to Hegganahally O&M Unit of N4 Sub Division. | Work Completed |
| 5 | Estimate for conversion of HT Overhead Conductor with HT UG Cable conductor, LT Overhead Conductor by LT AB Cable of Size 3x95+1x70+1x16 Sq.mm of feeder Brindavan F-08 pertaining to Hegganahally O&M Unit of N4 Sub Division. | Work Completed |
| 6 | Estimate for conversion of HT Overhead Conductor with HT UG Cable conductor, LT Overhead Conductor by LT AB Cable of Size 3x95+1x70+1x16 Sq.mm of feeder Brindavan F-17 pertaining to Laggere O&M Unit of N4 Sub Division. | Work Completed |
| 7 | Estimate for conversion of HT Overhead Conductor with HT UG Cable conductor, LT Overhead Conductor by LT AB Cable of Size 3x95+1x70+1x16 Sq.mm of feeder Brindavan F-18 pertaining to Laggere O&M Unit of N4 Sub Division. | Work Completed |
| 8 | Estimate for conversion of HT Overhead Conductor with HT UG Cable conductor, LT Overhead Conductor by LT AB Cable of Size 3x95+1x70+1x16 Sq.mm of feeder Brindavan F-15 pertaining to Laggere O&M Unit of N4 Sub Division. | Work Completed |
| 9 | Estimate for conversion of HT Overhead Conductor with HT UG Cable conductor, LT Overhead Conductor by LT AB Cable of Size 3x95+1x70+1x16 Sq.mm of feeder SRS F-24 pertaining to Laggere O&M Unit of N4 Sub Division. | Work Completed |
| 10 | Estimate for conversion of HT Overhead Conductor with HT UG Cable conductor, LT Overhead Conductor by LT AB Cable of Size 3x95+1x70+1x16 Sq.mm of feeder SRS F-11 pertaining to Laggere O&M Unit of N4 Sub Division. | Work Completed |
| 11 | Estimate for conversion of HT Overhead Conductor with HT UG Cable conductor, LT Overhead Conductor by LT AB Cable of Size 3x95+1x70+1x16 Sq.mm of feeder SRS F-08 pertaining to Laggere O&M Unit of N4 Sub Division. | Work Completed |
| 12 | Estimate for conversion of HT Overhead Conductor with HT UG Cable conductor, LT Overhead Conductor by LT AB Cable of Size 3x95+1x70+1x16 Sq.mm of feeder SRS F-25 pertaining to Laggere O&M Unit of N4 Sub Division. | Work Completed |
| 13 | Estimate for Conversion of HT Overhead conductor with HT UG cable conductor, of feeder BRINDAVANA F10 pertaining to O&M LAGGERE N4 Sub division, BESCOM, under Total turnkey basis. | Work Completed |
| 14 | Estimate for conversion of HT Overhead Conductor with HT UG Cable conductor, LT Overhead Conductor by LT AB Cable of Size 3x95+1x70+1x16 Sq.mm of feeder Brindavan F-02 pertaining to Hegganahally O&M Unit of N4 Sub Division. | Work Completed |
| 15 | Estimate for conversion of HT Overhead Conductor with HT UG Cable conductor, LT Overhead Conductor by LT AB Cable of Size 3x95+1x70+1x16 Sq.mm of feeder Brindavan F-06 pertaining to Hegganahally O&M Unit of N4 Sub Division. | Work Completed |
| 16 | Estimate for Conversion of HT Overhead conductor with HT UG cable conductor, of feeder SRS F21 pertaining to O&M LAGGERE N4 Sub division, BESCOM, under Total turnkey basis. | Work Completed |
| 17 | Estimate for Conversion of HT Overhead conductor with HT UG cable conductor, of feeder BRINDAVANA F5 pertaining to O&M HEGGANAHLLI N4 Sub division, BESCOM, under Total turnkey basis. | Work Completed |
| 18 | Estimate for Conversion of HT Overhead conductor with HT UG cable conductor, of feeder SRS F27 pertaining to O&M HEGGANAHLLI N4 Sub division, BESCOM, under Total turnkey basis. | Work Completed |
| 19 | Estimate for Conversion of HT Overhead conductor with HT UG cable conductor, of feeder SRS F20 pertaining to O&M LAGGERE N4 Sub division, BESCOM, under Total turnkey basis. | Work Completed |
| 20 | Estimate for Conversion of HT Overhead conductor with HT UG cable conductor, of feeder SRS F05 pertaining to O&M CHOKKASANDRA N4 Sub division, BESCOM, under Total turnkey basis. | Work Completed |
| 21 | Estimate for Conversion of HT Overhead conductor with HT UG cable conductor, of feeder BRINDAVANA F7 pertaining to O&M HEGGANAHLLI N4 Sub division, BESCOM, under Total turnkey basis. | Work Completed |
| 22 | Estimate for Conversion of HT Overhead conductor with HT UG cable conductor, of feeder SRS F30 pertaining to O&M KG Nagara N4 Sub division, BESCOM, under Total turnkey basis. | Work Completed |
| 23 | Estimate for Conversion of HT Overhead conductor with HT UG cable conductor, of feeder BRINDAVANA F4 pertaining to O&M Laggere N4 Sub division, BESCOM, under Total turnkey basis. | Work Completed |
| 24 | Estimate for Conversion of HT Overhead conductor with HT UG cable conductor, of feeder SRS F23 pertaining to O&M KG Nagara N4 Sub division, BESCOM, under Total turnkey basis. | Work Completed |

Progress of MODEL SUB DIVISION PROJECT, S-10 and S-13 SUB DIVISION, HSR DIVISION:

| Sl No | S/D | Name of the Work | Work Status |
| --- | --- | --- | --- |
| 1 | S10 | Estimate for providing new feeder from Hiranandini substation to reduce the over loaded of existing F9 feeder of BTM MUSS, F10 feeder of BTM MUSS & F3 feeder of BTM MUSS in Hulimavu O&M unit, S-10 Sub Division, HSR Layout Division. | WC |
| 2 | S10 | Estimate for providing new feeder from Hiranandini substation to reduce the over loaded of existing F3 feeder of BTM MUSS & F10 feeder of Gollahalli MUSS in Hulimavu O&M unit, S-10 Sub Division, HSR Layout Division. | WC |
| 3 | S10 | Estimate for providing 11KV feeder/link line & conversion of existing HT overhead system to UG cable system for F-02 feeder of Gollahalli MUSS in Basavanapura O&M unit, S10 sub division. | WC |
| 4 | S10 | Estimate for providing 11KV feeder/link line & conversion of existing HT overhead system to UG cable system for F-06 feeder of L&T Southcity MUSS in Basavanapura O&M unit, S10 sub division. | WC |
| 5 | S10 | Estimate for providing 11KV feeder/link line & conversion of existing HT overhead system to UG cable system for F-03 feeder of BTM MUSS in Hulimavu O&M unit, S10 sub division. | WC |
| 6 | S10 | Estimate for providing 11KV feeder/link line & conversion of existing HT overhead system to UG cable system for F-04 feeder of Gollahalli MUSS in Basavanapura O&M unit, S10 sub division. | WC |
| 7 | S10 | Estimate for Conversion of existing LT Overhead line by LT AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-04 feeder of Gollahalli MUSS in Basavanapura O&M unit, S-10 Sub division. | WC |
| 8 | S10 | Estimate for providing additional 1x250KVA DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-04 feeder of Gollahalli MUSS in Basavanapura O&M unit, S-10 Sub division. | WC |
| 9 | S10 | Estimate for Conversion of existing LT Overhead line by LT AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-02 feeder of Gollahalli MUSS in Basavanapura O&M unit, S-10 Sub division. | WC |
| 10 | S10 | Estimate for Conversion of existing LT Overhead line by LT AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-06 feeder of L&T Southcity MUSS in Basavanapura O&M unit, S-10 Sub division. | WC |
| 11 | S10 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-03 feeder of BTM MUSS in Hulimavu O&M unit, S-10 Sub division, HSR Division Bengaluru. | WC |
| 12 | S10 | Estimate for providing additional 1x250KVA DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-03 feeder of BTM MUSS in Hulimavu O&M unit, S-10 Sub division. | WC |
| 13 | S10 | Estimate for providing 11KV feeder/link line & conversion of existing HT overhead system to UG cable system for F-09 feeder of BTM MUSS in Hulimavu O&M unit, S10 sub division. | WC |
| 14 | S10 | Estimate for providing additional 1x250KVA DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-02 feeder of Gollahalli MUSS in Basavanapura O&M unit, S-10 Sub division. | WC |
| 15 | S10 | Estimate for providing additional 1x250KVA DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of L&T Southcity F6 feeder in S10 sub division. | WC |
| 16 | S10 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16 +1x70 sq mm of different locations of F-09 feeder of BTM MUSS in Hulimavu O&M unit, S10 sub division HSR Division Bengaluru under Model Sub Division Scheme as per Approved RC-460. | WC |
| 17 | S10 | Estimate for providing additional 1x250KVA DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures by Single pole Structures to existing DTC's of F-09 feeder of BTM MUSS in Hulimavu O&M unit, S-10 Sub division, HSR Division Bengaluru under Model Sub Division Scheme as per Approved RC-460. | WC |
| 18 | S10 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16 +1x70 sq mm of different locations of F-11 feeder of Gollahalli MUSS in Basavanapura O&M unit, S10 sub division HSR Division Bengaluru under Model Sub Division Scheme as per Approved RC-460. | WC |
| 19 | S10 | Estimate for providing 11KV new feeder/link line & conversion of existing HT overhead system to UG cable system of F-10 feeder of Gollahalli MUSS in Basavanapura O&M unit, S10 sub division HSR Division Bengaluru under Model Sub Division Scheme as per Approved RC-460. | WC |
| 20 | S10 | Estimate for providing additional 1x250KVA DTC's/Enhancement of 100KVA DTC's to 250KVA DTC's to existing DTC's of F-11 feeder of Gollahalli MUSS in Basavanapura O&M unit, S-10 Sub division | WC |
| 21 | S10 | Estimate for providing additional 1x250KVA DTC's/Enhancement of 100KVA DTC's to 250KVA DTC's and conversion of double pole DTC structures by single pole structures to existing DTC's of F-10 feeder of Gollahalli MUSS in Basavanapura O&M unit, S-10 Sub division | WC |
| 22 | S10 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sq mm of different locations of F-10 feeder of Gollahalli MUSS in Basavanapura O&M unit, S10 sub division. | WC |
| 23 | S19 | Estimate for providing new feeder from Hiranandini substation to reduce the over loaded of existing F10 feeder of BTM MUSS & F13 feeder of BTM MUSS in Vijaya Bank layout O&M unit, S-10 Sub Division, HSR Layout Division. | WC |
| 24 | S19 | Estimate for providing new feeder from Hiranandini substation to reduce the over loaded of existing F2 feeder of BTM MUSS & F8 feeder of Southcity MUSS in Hulimavu O&M unit, S-10 Sub Division, HSR Layout Division. | WC |
| 25 | S19 | Estimate for providing linkline from existing F10 feeder of BTM MUSS to F11 feeder of BTM MUSS to reduce the over load of F11 feeder of BTM MUSS in Bilekahalli O&M unit, S-10 Sub Division, HSR Layout Division. | WC |
| 26 | S19 | Estimate for Conversion of existing HT Overhead System to UG Cable System of F-02 feeder of BTM MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. | WC |
| 27 | S19 | Estimate for Conversion of existing HT Overhead System to UG Cable System of F-07 feeder of L&T SOUTHCITY MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. | WC |
| 28 | S19 | Estimate for Conversion of existing HT Overhead System to UG Cable System of F-08 feeder of BTM MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. Under Model Sub Division Scheme as per Approved RC-460. | WC |
| 29 | S19 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-08 feeder of BTM MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. | WC |
| 30 | S19 | Estimate for Conversion of existing HT Overhead System to UG Cable System of F-08 feeder of L&T Southcity MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. | WC |
| 31 | S19 | Estimate for Conversion of existing HT Overhead System to UG Cable System of F-10 feeder of BTM MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. Under Model Sub Division Scheme as per Approved RC-460. | WC |
| 32 | S19 | Estimate for Conversion of existing HT Overhead System to UG Cable System of F-12 feeder of BTM MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. | WC |
| 33 | S19 | Estimate for Conversion of existing HT Overhead System to UG Cable System of F-05 feeder of BTM MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. Under Model Sub Division Scheme as per Approved RC-460. | WC |
| 34 | S19 | Estimate for Conversion of existing HT Overhead System to UG Cable System of F-12 feeder of Jayadeva MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. | WC |
| 35 | S19 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-02 feeder of BTM MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. | WC |
| 36 | S19 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-07 feeder of L&T SOUTHCITY MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. | WC |
| 37 | S19 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-08 feeder of L&T Southcity MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. | WC |
| 38 | S19 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-10 feeder of BTM MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. | WC |
| 39 | S19 | Estimate for Conversion of existing HT Overhead System to UG Cable System of F-13 feeder of Jayadeva MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. | WC |
| 40 | S19 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-12 feeder of BTM MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. | WC |
| 41 | S19 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-05 feeder of BTM MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. | WC |
| 42 | S19 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-12 feeder of Jayadeva MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. | WC |
| 43 | S19 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-12 feeder of Jayadeva MUSS in S-19 Sub division. | WC |
| 44 | S19 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-8 feeder of L&T Southcity MUSS in S-19 Sub division. | WC |
| 45 | S19 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-7 feeder of L&T Southcity MUSS in S-19 Sub division. | WC |
| 46 | S19 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-10 feeder of BTM MUSS in S-19 Sub division. | WC |
| 47 | S19 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-12 feeder of BTM MUSS in S-19 Sub division. | WC |
| 48 | S19 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-05 feeder of BTM MUSS in S-19 Sub division. | WC |
| 49 | S19 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-08 feeder of BTM MUSS in S-19 Sub division. | WC |
| 50 | S19 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-2 feeder of BTM MUSS in S-19 Sub division. | WC |
| 51 | S19 | Estimate for providing 11KV new feeder/link line & conversion of existing HT overhead system to UG cable system of F-11 feeder of BTM MUSS in S19 sub division | WC |
| 52 | S19 | Estimate for providing 11KV new feeder/link line & conversion of existing HT overhead system to UG cable system of F-13 feeder of BTM MUSS in S19 sub division | WC |
| 53 | S19 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-13 feeder of Jayadeva MUSS in S-19 Sub division. | WC |
| 54 | S19 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-11 feeder of BTM MUSS in S-19 Sub division. | WC |
| 55 | S19 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-13 feeder of BTM MUSS in S-19 Sub division. | WC |
| 56 | S19 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-13 feeder of Jayadeva MUSS in Vijaya Bank Layout O&M unit, S-19 Sub division, HSR Division Bengaluru. | WC |
| 57 | S19 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16 +1x70 sq mm of different locations of F-13 feeder of BTM MUSS in S19 sub division. | WC |
| 58 | S19 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16 +1x70 sq mm of different locations of F-11 feeder of BTM MUSS in S19 sub division. | WC |
| 59 | S10 | Estimate for providing RTU panels for DAS Automation control systems in F-03 feeder of BTM MUSS in Hulimavu O&M, S10 sub division | WTTP |
| 60 | S10 | Estimate for providing RTU panels for DAS Automation control systems in F-02 feeder of Gollahalli MUSS in Basavanapura O&M unit, S10 sub division | WTTP |
| 61 | S10 | Estimate for providing RTU panels for DAS Automation control systems in F-09 feeder of BTM MUSS in Hulimavu O&M unit, S10 sub division | WTTP |
| 62 | S10 | Estimate for providing RTU panels for DAS Automation control systems in F-04 feeder of Gollahalli MUSS in Basavanapura O&M unit, S10 sub division | WTTP |
| 63 | S10 | Estimate for providing RTU panels for DAS Automation control systems in F-10 feeder of Gollahalli MUSS in Basavanapura O&M unit, S10 sub division | WTTP |
| 64 | S10 | Estimate for providing RTU panels for DAS Automation control systems in F-06 feeder of L&T South City MUSS in Basavanapura O&M unit, S10 sub division | WTTP |
| 65 | S19 | Estimate for providing RTU panels for DAS Automation control systems in F-02 feeder of BTM MUSS in Vijaya Bank Layout O&M unit, S19 sub division | WTTP |
| 66 | S19 | Estimate for providing RTU panels for DAS Automation control systems in F-05 feeder of BTM MUSS in Vijaya Bank Layout O&M unit, S19 sub division | WTTP |
| 67 | S19 | Estimate for providing RTU panels for DAS Automation control systems in F-07 feeder of L&T South City MUSS in Vijaya Bank Layout O&M unit, S19 sub division | WTTP |
| 68 | S19 | Estimate for providing RTU panels for DAS Automation control systems in F-08 feeder of L&T South City MUSS in Vijaya Bank Layout O&M unit, S19 sub division | WTTP |
| 69 | S19 | Estimate for providing RTU panels for DAS Automation control systems in F-08 feeder of BTM MUSS in Vijaya Bank Layout O&M unit, S19 sub division | WTTP |
| 70 | S19 | Estimate for providing RTU panels for DAS Automation control systems in F-10 feeder of BTM MUSS in Bilekahalli O&M unit, S19 sub division | WTTP |
| 71 | S19 | Estimate for providing RTU panels for DAS Automation control systems in F-11 feeder of BTM MUSS in Bilekahalli O&M unit, S19 sub division | WTTP |
| 72 | S19 | Estimate for providing RTU panels for DAS Automation control systems in F-12 feeder of BTM MUSS in Bilekahalli O&M unit, S19 sub division | WTTP |
| 73 | S19 | Estimate for providing RTU panels for DAS Automation control systems in F-12 feeder of Jayadeva MUSS in Bilekahalli O&M unit, S19 sub division | WTTP |
| 74 | S19 | Estimate for providing RTU panels for DAS Automation control systems in F-13 feeder of Jayadeva MUSS in Bilekahalli O&M unit, S19 sub division | WTTP |
| 75 | S19 | Estimate for providing RTU panels for DAS Automation control systems in F-13 feeder of BTM MUSS in Bilekahalli O&M unit, S19 sub division | WTTP |
|  |  | S13 Sub Division |  |
| 1 | S13 | Estimates for conversion of existing OH system to UG System of 11KV F-16 feeder of HSR Muss in Singasandra O&M unit, S-13 Sub Division. | WC |
| 2 | S13 | Estimate for Conversion of existing HT Overhead System to UG Cable System of F-01 feeder of Naganathapura MUSS in C.K.Nagar O&M unit, S-13 Sub division, HSR Division Bengaluru. Under Model Sub Division Scheme as per Approved RC-461. | WC |
| 3 | S13 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-20 feeder of HSR MUSS in Singasandra O&M unit, S-13 Sub division, HSR Division Bengaluru. Under Model Sub Division Scheme as per Approved RC-461. | WC |
| 4 | S13 | Estimate for Conversion of existing HT Overhead System to UG Cable System of F-20 feeder of HSR MUSS in Singasandra O&M unit, S-13 Sub division, HSR Division Bengaluru. Under Model Sub Division Scheme as per Approved RC-461. | WC |
| 5 | S13 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-01 feeder of Naganathapura MUSS in C.K.Nagar O&M unit, S-13 Sub division, HSR Division Bengaluru. Under Model Sub Division Scheme as per Approved RC-461. | WC |
| 6 | S13 | Estimate for providing 11KV new feeder link line & Conversion of existing HT Overhead System to UG Cable System of F-8 feeder of Velankini MUSS in E-City O&M unit, S-13 Sub division. | WC |
| 7 | S13 | Estimate for providing 11KV new feeder link line & Conversion of existing HT Overhead System to UG Cable System of F-4 feeder of Naganathapura MUSS in C.K.Nagara O&M unit, S-13 Sub division. | WC |
| 8 | S13 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-04 feeder of Naganathapura MUSS in C.K.Nagar O&M unit, S-13 Sub division. | WC |
| 9 | S13 | Estimate for providing 11KV new feeder link line & Conversion of existing HT Overhead System to UG Cable System of F-8 feeder of Keonics MUSS in E-city O&M unit, S-13 Sub division. | WC |
| 10 | S13 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-08 feeder of Keonics MUSS in E-City O&M unit, S-13 Sub division. | WC |
| 11 | S13 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-03 feeder of Naganathapura MUSS in Singasandra O&M unit, S-13 Sub division. | WC |
| 12 | S13 | Estimate for providing 11KV new feeder link line & Conversion of existing HT Overhead System to UG Cable System of F-9 feeder of Naganathapura MUSS in Singasandra O&M unit, S-13 Sub division. | WC |
| 13 | S13 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sqmm of different locations of F-09 feeder of Naganathapura MUSS in Singasandra O&M unit, S-13 Sub division. | WC |
| 14 | S13 | Estimate for providing 11KV new feeder/link line & conversion of existing HT overhead system to UG cable system of F-24 feeder of Keonics MUSS in S13 sub division | WC |
| 15 | S13 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sq mm of different locations of F-5 feeder of Malgudi MUSS in Electronic city O&M unit, S13 sub division HSR Division Bengaluru under Model Sub Division Scheme as per Approved RC-461. | WC |
| 16 | S13 | Estimate for supply & installation of HRC fuse switch based LT feeder pillar boxes in Singasandra O&M unit, S-13 Sub Division, HSR Layout Division under Model Sub Division Project. | WC |
| 17 | S13 | Estimate for enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures to existing DTC's of F-20 feeder of HSR MUSS in Singasandra O&M unit, S-13 Sub division. | WC |
| 18 | S13 | Estimate for enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures to existing DTC's of F-03 feeder of Naganathapura MUSS in Singasandra O&M unit, S-13 Sub division. | WC |
| 19 | S13 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-8 feeder of Velankini MUSS in S-13 Sub division. | WC |
| 20 | S13 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-9 feeder of Naganathapura MUSS in S-13 Sub division. | WC |
| 21 | S13 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-24 feeder of Keonics MUSS in S-13 Sub division. | WC |
| 22 | S13 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sq mm of different locations of F-8 feeder of Velankini MUSS in Electronic city O&M unit, S13 sub division HSR Division Bengaluru under Model Sub Division Scheme as per Approved RC-461. | WC |
| 23 | S13 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sq mm to exisitng DTC's of F-11 feeder of Naganathapura MUSS in C.K.Nagara O&M unit, S13 sub division HSR Division Bengaluru under Model Sub Division Scheme as per Approved RC-461. | WC |
| 24 | S13 | Estimate for providing additional 1x250KVA DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures to existing DTC's of F-05 feeder of Malgudi MUSS in Electronic city O&M unit, S-13 Sub division, HSR Division Bengaluru under Model Sub Division Scheme as per Approved RC-461 | WC |
| 25 | S13 | Estimate for providing 11KV New feeder/Link line and conversion of existing HT Overhead line by UG cable system of F-19 feeder of Naganathapura MUSS in C.K.Nagara O&M unit, S13 Sub division, HSR Division Bengaluru under Model Sub Division Scheme as per Approved RC-461 | WC |
| 26 | S13 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16+1x70 sq mm of different locations of F-19 feeder of Naganathapura MUSS in C.K.Nagara O&M unit, S13 sub division HSR Division Bengaluru under Model Sub Division Scheme as per Approved RC-461 | WC |
| 27 | S13 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-11 feeder of Naganathapura MUSS in S-13 Sub division. | WC |
| 28 | S13 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-8 feeder of Keonics MUSS in S-13 Sub division. | WC |
| 29 | S13 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-4 feeder of Naganathapura MUSS in S-13 Sub division. | WC |
| 30 | S13 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-1 feeder of Naganathapura MUSS in S-13 Sub division. | WC |
| 31 | S13 | Estimate for evacuation of 11KV feeder from Hulimangala Muss to Neeladri road for reducing the overload in F8 feeder of Keonics muss in Electronic city O&M unit, S13 Sub division, HSR Division Bengaluru under Model Sub Division Scheme as per Approved RC-461 | WUP |
| 32 | S13 | Estimate for providing RTU panels for DAS Automation control systems in F-24 feeder of Keonics MUSS in E-City O&M unit, S13 sub division | WTTP |
| 33 | S13 | Estimate for providing RTU panels for DAS Automation control systems in F-08 feeder of Velankini MUSS in E-City O&M unit, S13 sub division | WTTP |
| 34 | S13 | Estimate for providing RTU panels for DAS Automation control systems in F-19 feeder of Naganathapura MUSS in C.K.Nagara O&M unit, S13 sub division | WTTP |
| 35 | S13 | Estimate for providing RTU panels for DAS Automation control systems in F-04 feeder of Naganathapura MUSS in C.K.Nagara O&M unit, S13 sub division | WTTP |
| 36 | S13 | Estimate for providing RTU panels for DAS Automation control systems in F-01 feeder of Naganathapura MUSS in C.K.Nagara O&M unit, S13 sub division | WTTP |
| 37 | S13 | Estimate for providing RTU panels for DAS Automation control systems in F-16 feeder of HSR MUSS in Singasandra O&M unit, S13 sub division | WTTP |
| 38 | S13 | Estimate for providing RTU panels for DAS Automation control systems in F-20 feeder of HSR MUSS in Singasandra O&M unit, S13 sub division | WTTP |

Source of funding already stated at para 5.A.b. ii

- The physical and financial progress in respect of all schemes in the format -1,2 & 3 will be submitted.

- BESCOM Capex proposal for FY22:

- For the FY 2020-21, budget proposal to an extent of Rs 1685 Crs for spill over and Rs 2856 Crs for new works, Totalling to Rs 4541 Crs was received from field/corporate sections. After detailed deliberation budget proposal amounting to Rs 2900 Crs was placed before Board for approval. Board after detailed deliberations accorded approval to CAPEX to an extent of Rs.2500 Crs for the FY 2020-21, with remarks “If any absolute need arises nearer to end of the financial year, the Director (Technical) shall bring the supplemental proposal with complete justification, before the Board”.

Approved budget was allocated to field offices with guidelines to utilize on priority for on-going works (spill over) and then balance budget for new works. For FY 2021-22 budget of Rs 3878 Crs has been proposed to take up spill over and new works under planned, non-planned and projects. Further, subsequent budget needs to be provisioned for newly initiating projects by GoI/GoK if any.

- Actual expenditure incurred upto 30.11.2020 on Conversion of OH lines into UG/AB cable project is Rs 309.45 Crs against awarded cost of Rs 3672.16.

- UNIP details: In BESCOM the number of UNIP connections existing as on 01.04.2019 is 3,14,123 Nos. No. of UNIP sets consumers who have paid Rs 10,000/- & other required deposits are 2,15,600 Nos. out of which Infrastructure provided for 1,74,182 No. of IP sets. Closing Balance of UNIP installations to be provided with infrastructure during FY20 (as on 31.03.2020) are 31533 Nos. As on 30.11.2020 the closing balance of UNIP sets who are paid Rs 10,000/- & other required deposits for those infrastructure to be provided are 34,495 Nos. For balance 98,523 No. of UNIP sets those who have paid only registration fees of Rs 50/-and already existing in BESCOM network, Infrastructure will be created only after the payment of Rs 10,000/- & other required deposits. Source of funding already stated at para 5.A.b. ii.

- UNIP installations provided with  infrastructure under Tatkal Scheme

For FY 2019-20: 3124 No.s

For 2020-21 (up to 30.11.2020): 1660 No.s

- IPDS scheme: PDS Scheme:

• Date of project sanctioned                                  : 16.03.2016

• Project completion scheduled date                      : 31.03.2019

• Total Sanctioned project cost from PFC               : 457.16 Crores.

• Total No. of Towns covered                                 : 45 towns.

• Eligible grant (60% of sanctioned cost)                : Rs.  274.296  Crores

• Total grant released as on date                           : Rs.   248.72 Crores

• Balance grant to be released                                : Rs.  25.58 Crores

• Total Expenditure booked as on date                   : Rs.  478.94 Crores

including PMA charges.

• Actual date of completion of project                    : 31.03.2019

• As per the PFC guidelines, to release the Balance Grant, it is necessary to submit the prescribed formats finalized by PFC such as, Utilization certificate, PMA(Project Monitoring Agency) reports, Audit Reports (BESCOM and Circle-wise) certified by Charted Accountant, FORM-1 Claim sheets, Annexure-B (showing Invoice details) and Proceedings of recommendations of SLDRC towards Physical closure & Financial closure.

All the above formats except recommendations of SLDRC towards Financial closure have all already submitted to PFC vide E-mail Dated: 02.12.2020. Further, BESCOM have requested to Principal Secretary, Energy department, GoK. to place it before SLDRC for recommendation of Financial closure vide Letter no: BESCOM/MD/SPS/BC-01/20-21/148 dated: 26.11.2020, after this recommendation by submission to M/s PFC, the releasing of Balance Grant and Eligible 15% Additional Grant (as per the guidelines on the basis of completion of Project within the scheduled date) will be processed by M/s PFC.

DDUGJY Scheme:

The total number of BPL households electrified under DDUGJY scheme is 105107 nos. All the identified works are completed by end of March-2020.

• Total Sanctioned project cost  : Rs.235.36 Crores.

• Detailed Work Award cost   : Rs.282.16 Crores

• Total No. of Districts covered  : 8 Districts.

• Eligible grant (60% of sanctioned cost) :  Rs.141.20 Crores

• Total grant released as on date   :  Rs.127.75 Crores

• Expenditure booked as on NOV-20 :  Rs.274.45 Crores

At present preparation of closure proposals are under process. After submission of the same and as per the milestone set by moP/REC the availing of eligible 15% additional grant will be processed.

- The details of new works like APFC, software development and providing IP camera for EV charging stations are detailed below:

Automatic Power Factor Correctors details (APFC):

Scope of work: APFCs are used where the power factor in the distribution network is varying dynamically and it is difficult to maintain consistent power factor by using fixed power factor compensation. APFCs provide the facility of automatically varying the compensation to suit the load requirements. It also avoids the leading power factors.

Benefits:

- Reduces peak kVA demand

- Reduces load current which in turn reduces line losses.

- Improvement in line voltage levels.

- Increased system capacity and reduced system losses in the system.

- Increased voltage level in the system and cooler, more efficient power delivery.

Present Status: The CEA regulations vide notification no. CEA/TETD/MP/R/01/2010 dated 20.08.2010, clause 84 states the need for Reactive Compensation.

As per the clause,

- Where the power factor is low, Reactive Compensation shall be provided on the Distribution Transformers by fixed or Automatic Switch type capacitors of adequate rating.

- In case of fixed capacitors it shall be ensured that the rating of the capacitors is such as to prevent over compensation during the off peak period.

- In cases the loads fluctuate very fast, a suitable dynamic compensation like Static Compensator (STATCOM) / Thyristor switch capacitors shall be considered.

- In loads which are rich in harmonics, suitable harmonic filters or de-tuned filter banks shall be considered.

In line with this, BESCOM has taken up a project to provide the Automatic Power Factor Correctors (APFCs) at 149 DTCs in BESCOM. At present, this project is under tendering stage.

- Software development and deployment for management of EV charging Stations:

Scope of work: Software development and deployment for management of EV charging Stations.

Benefits: BESCOM has set-up 126 Nos. of Electric Vehicle Chargers in Bengaluru. These are open to public and the charges for usage of these Electric Vehicle chargers will be collected by BESCOM.

CMS is a software which has database of all the EV Chargers, Charging Stations and the Users. An admin can monitor the usage of each of the charger at the level of individual connectors. Usage can be tracked in terms of energy consumed, hours of utilisation or revenue generated. Each of the transactions will be logged and the events will be generated. It is also possible for maintenance of the EV Chargers (at software level) through CMS. A user can track his vehicle charging behaviour, money spent on charging, available EV Charging Stations in his vicinity, reservation of the Charging Points/Connectors at the desired time, digital payment for the charging transactions etc. It is also possible to get the private Charging Station Service Providers on-board without having them create their own CMS and a mobile application for their users. Roaming facilities can be provided to the users for using the same application across the country for availing charging facilities of other service providers.

Booking of chargers, billing of the charging sessions and EV charging stations is required to be done on real-time basis. Hence, Software solution plays a major role for management of EV charging stations.

Present Status: Evaluation of various business models are being done to finalise the suitable one for BESCOM. Subsequently tender documents are being prepared.

- Providing IP Cameras for EV charging Stations

Scope of work: To install IP Cameras at 12 EV Charging Stations set-up at BESCOM premises.

Benefits: The 126 EV Chargers are set-up by BESCOM in Bengaluru City. IP cameras are necessary to monitor the operation of the charging stations and to ensure safety along with security of the equipment. Hence, IP cameras have to be provided for viewing/monitoring of all EV charging Stations.

Present Status: The project is yet to be taken up.

- GPS based vehicle tracking system along with the cost thereon are detailed below:

Scope: Development and Deployment of GPS based Vehicle Tracking System for 750 Nos. vehicles in BESCOM and integration of GPS VMS with PGRS application.

Benefits: Live vehicle tracking, vehicle movement history, 2 way communication, All Docket Push to Vehicles, Complaint Resolution Vehicle Tracking, MIS reports.

The consumers will be able to track the assigned service station vehicle when a complaint is lodged. BESCOM can make sure that the vehicles are not misused for other purposes with the help of Geo-Fencing.

Status: The supply and installation of GPS tracker to Vehicles and related IT Hardware are completed. Integration with iPGRS and SIM Cards procurement is in progress.

Cost details:

- DWA Amount:Rs. 4,82,99,960.00

- Details of Payment made as on date:

| Sl No. | Description | Particulars of Payment | Payment Processed in Rs. |
| --- | --- | --- | --- |
| 1 | Submission of DPR to BESCOM as Project Advance | 20% of Total Cost except AMC | Rs. 76,43,062/- |
| 2 | Supply of Hardware for the project | 80% of MS-1 after the Hardware is delivered | Rs. 1,52,74,624/- |
|  | Total |  | 2,30,49,463.00 |

- Model sub division: Details of work proposed under Model Sub-division (already stated at para 5.A.b.xi) and system improvement works of indiranagar division are shown below:

System improvement works of Indiranagar:

| Sl.No. | Nomenclature of the work |
| --- | --- |
| 1 | Estimate for replacement of old PILC 240SQMM Trunk cable by New 400SQMM XLPE cable of the feeder F14 ''Amarjyothi'' Station, Halasoor O&M unit of E-3 sub division in Indiranagar division under rate contract basis. |
| 2 | Estimate for replacement of old PILC 95SQMM cable by New 95SQMM XLPE cable of the feeder F2 ''B'' Station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 3 | Estimate for replacement of old PILC 95SQMM cable by New 95SQMM XLPE cable of the feeder F12 Austin town, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 4 | Estimate for replacement of old PILC 95SQMM cable by New 95SQMM XLPE cable of the feeder F7 NGEF, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 5 | Estimate for replacement of old PILC 95SQMM cable by New 95SQMM XLPE cable of the feeder F22 B station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 6 | Estimate for replacement of old PILC 95SQMM cable by New 95SQMM XLPE cable of the feeder F24 ''B'' Station, Halasoor O&M unit E-3 sub division Indiranagar division under rate contract basis RC No.468 |
| 7 | Estimate for replacement of old PILC 240SQMM Trunk cable by New 400SQMM XLPE cable of the feeder F14 ''NGEF'' Station, in Halasoor O&M unit of E-3 sub division in Indiranagar division under rate contract basis. |
| 8 | Estimate for replacement of old PILC 95SQMM cable by New XLPE 95SQMM cable of the feeder F6 EDC B Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 9 | Estimate for replacement of old PILC 95SQMM cable by New 95SQMM XLPE cable of the feeder F7 B station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 10 | Estimate for replacement of old PILC 95SQMM cable by New XLPE 95SQMM cable of the feeder F5 B Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 11 | Estimate for replacement of old PILC 95SQMM cable by New 95SQMM XLPE cable of the feeder F30 ''B'' Station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 12 | Estimate for replacement of old PILC 95SQMM cable by New 95SQMM XLPE cable of the feeder F4 Austin Town, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 13 | Estimate for replacement of old PILC 95SQMM cable by New XLPE 95SQMM cable of the feeder F14 BMTC, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 14 | Estimate for replacement of old PILC 95SQMM cable by New XLPE 95SQMM cable of the feeder F-5 Austintown, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 15 | Estimate for replacement of old PILC 400SQMM cable by New XLPE 400SQMM cable of the feeder F-29 B station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 16 | Estimate for replacement of old PILC 400SQMM cable by New XLPE 400SQMM cable of the feeder F-12 B station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 17 | Estimate for replacement of old PILC 95SQMM cable by New XLPE 95SQMM cable of the feeder F-10 B station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 18 | Estimate for replacement of old PILC 95SQMM cable by New XLPE 95SQMM cable of the feeder F-3 EDC station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 19 | Estimate for replacement of old PILC 95SQMM cable by New XLPE 95SQMM cable of the feeder F-6 NGEF MUSS Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 20 | Estimate for conversion of LT OH by LT UG cable at OM road (Bhaskaran junction to philips RMZ) TC no. 83 of the F-11 'C' station Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 21 | Estimate for conversion of LT OH by LT UG cable from Kensingh Town Road to Opp. Hotel CoNRAD (Gurudwar) TC no. 43 of the F-7 NGEF MUSS Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 22 | Estimate for providing addl. 1x250KVA transformer to reduce overload on existing Hindu burial ground corner DTC (no. 110) on CMH road, Laxmipura, F-24 B station in Halasur O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 23 | Estimate for providing addl. 1x250KVA transformer to reduce overload on existing Tank Bound DTC (no. 30) near Dhobi Ghat, F-11 of C station in Halasur O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 24 | Estimate for providing addl. 1x250KVA transformer to reduce overload on existing 500KVA TC at 5th cross, Kerala Masjid TC (no. 149 F-30 of B station in Halasur O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 25 | Estimate for providing addl. 1x250KVA transformer to reduce overload on existing 500KVA TC at Bangalore One TC opp. to Halasur Lake GAnapathi Temple (no. 49) F-11 of C station in Halasur O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 26 | Estimate for replacing Rabbit ACSR conductor by LT AB cable size of 3x95+ 1x70+ 1x16 sq.mm for existing DTC's at PK colony TC (250KVA TC No. 116) of F-12 feeder 'B' station in "S' O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 27 | Estimate for replacing Rabbit ACSR conductor by LT AB cable size of 3x95+ 1x70+ 1x16 sq.mm for existing DTC's at Kalahalli TC (250KVA TC No. 50) of F-11 feeder 'C' station in "S' O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 28 | Estimate for replacing Rabbit ACSR conductor by LT AB cable size of 3x95+ 1x70+ 1x16 sq.mm for existing DTC's at Markham road TC (250KVA TC No. 84) of F-10 feeder 'B' station in "S' O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 29 | Estimate for replacing Rabbit ACSR conductor by LT AB cable size of 3x95+ 1x70+ 1x16 sq.mm for existing DTC's at Halasur road TC (250KVA TC No. 115) of F-10 feeder 'B' station in "S' O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 30 | Estimate for replacing Rabbit ACSR conductor by LT AB cable size of 3x95+ 1x70+ 1x16 sq.mm for existing DTC's at Madhura Coats TC (500KVA TC No. 95) of F-23 feeder 'B' station in "S' O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 31 | Estimate for replacing Rabbit ACSR conductor by LT AB cable size of 3x95+ 1x70+ 1x16 sq.mm for existing DTC's at Midford House TC (250KVA TC No. 27) of F-4 feeder Austin Town station in "S' O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 32 | Estimate for replacing Rabbit ACSR conductor by LT AB cable size of 3x95+ 1x70+ 1x16 sq.mm for existing DTC's at Various location of F-17 feeder Austin Town station in "S' O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 33 | Estimate for replacing Rabbit ACSR conductor by LT AB cable size of 3x95+ 1x70+ 1x16 sq.mm for existing DTC's at 5th corss Halasur road TC (500KVA TC No. 27) of F-30 feeder 'B' station in "S' O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 34 | Estimate for replacing Rabbit ACSR conductor by LT AB cable size of 3x95+ 1x70+ 1x16 sq.mm for existing DTC's at Girl school TC-17 750KVA CSS of F-4 feeder 'B' station in 'Halasur O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 35 | Estimate for replacing Rabbit ACSR conductor by LT AB cable size of 3x95+ 1x70+ 1x16 sq.mm for existing DTC's at 2nd cross CB layout single pole TC-2 of F-14 feeder Amarjyothi MUSS in 'Halasur O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 36 | Estimate for replacing Rabbit ACSR conductor by LT AB cable size of 3x95+ 1x70+ 1x16 sq.mm for existing DTC's at K.S. Garden TC-22, Burial ground TC-53,G Street 8th cross dead end TC-41 of F-24 feeder B MUSS in 'Halasur O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 37 | Estimate for replacement of old PILC 95 sqmm cableby new XLPE 95 sqmm cable of the feeder F5 Austin town ,Brigade O & M,E3SD |
| 38 | Estimate for replacement of old PILC 95 sqmm cableby new XLPE 95 sqmm cable of the feeder F31 B station ,S O & M,E3SD |
| 39 | Estimate for replacement of old PILC 95 sqmm cableby new XLPE 95 sqmm cable of the feeder F2 B MUSS ,H O & M,E3SD |
| 40 | Estimate for replacement of old PILC 95 sqmm cableby new XLPE 95 sqmm cable of the feeder F23 B MUSS ,S O & M,E3SD |
| 41 | Estimate for replacement of 3pole structures by 3Way(2OD+1VL) RMU @ Claramount Apartment of feeder F7 "EDC" Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW (RC-468). |
| 42 | Estimate for replacement of 3pole structures by 3Way(2OD+1VL) RMU @ Skyline Apartment of feeder F13 "Kanteerava" Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW (RC-468). |
| 43 | Estimate for replacement of 3pole structures by 3Way(2OD+1VL) RMU @ Regency Place Appartment of feeder F18 "Austin Town" Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW (RC-468). |
| 44 | Estimate for replacement of 4pole structures by 3Way(2OD+1VL) RMU @ Tata Docomo of feeder F2 "EDC" Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW (RC-468). |
| 45 | Estimate for replacement of 4pole structures by 4Way(2OD+2VL) RMU @ Hanumanthappa layout TC of feeder F22 B station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW (RC-468). |
| 46 | Estimate for replacement of 3pole structures by 4Way(2OD+2VL) RMU @ Markhram road TC of feeder F17 Austin town, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW (RC-468). |
| 47 | Estimate for replacement of 2pole (Iron pole DP) structure by 3Way(2OD+1VL) RMU @ BSNL HT10 of feeder F6 'NGEF' station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW (RC-468). |
| 48 | Estimate for replacement of 4pole structures by 3Way(2OD+1VL) RMU @ Shilpa HT72 of feeder F31 'B' station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. ( System Improvement Works ) |
| 49 | Estimate for replacement of 3pole structure by 3Way(2OD+1VL) RMU @ Thrikal TC44 of feeder F30 'B' station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW (RC-468). |
| 50 | Estimate for replacement of 4pole structure by 4Way(2OD+2VL) RMU @ Bharghavi builders of feeder F28 'B' station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW (RC-468). |
| 51 | Estimate for replacement of 3pole structures by 3Way(2OD+1VL) RMU @ Pinto Towers HT-90 of feeder F5 'Austin Town' station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW (RC-468). |
| 52 | Estimate for replacement of 3/4pole structures by 4Way(2OD+2VL) RMU @ Golden Towers of feeder F9 "EDC" Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW (RC-468). |
| 53 | Estimate for replacement of 3/4pole structures by 4Way(2OD+2VL) RMU @ Lachinda Appartment of feeder F5 "Austin Town" Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW (RC-468). |
| 54 | Estimate for replacement of 3/4pole structures by 3Way (2OD+1VL) RMU @ Rusthumji Appartment of feeder F19 "Austin Town" Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW (RC-468). |
| 55 | Estimate for replacement of OH HT line by HT UG cable From Philips Double TC 500KVA &250kva (TC No.13&14) to M V Garden Arch TC 250KVA (TC No.68) of the feeder F2 ''B'' Station, Halsoor O&M unit E-3 sub division Indiranagar division under rate contract basis.No.468 |
| 56 | Estimate for replacement of OH HT AB Cable by HT UG cable From Balaji TC 500kva(NO.36) to church TC 250KVA(TC no.64) of the feeder F4 ''B'' Station, in Halsoor O&M unit E-3 sub division Indiranagar division under rate contract basis. No.468 |
| 57 | Estimate for replacement of OH HT AB Cable by HT UG cable (loop in loop out)from Naala road RMU to Ananth nair road TC (No.54) to nala road spun pole of the feeder F24 ''B'' Station, in Halsoor O&M unit of E-3 sub division Indiranagar division under rate contract no.468 basis. |
| 58 | Estimate for replacement of multi joints and faulty LT cable by new XLPE LT UG Cable of the feeder F-23 B Station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis |
| 59 | Estimate for replacement of multi joints and faulty LT cable by new XLPE LT UG Cable of the feeder F-30 B station Station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis |
| 60 | Estimate for replacement of multi joints and faulty LT cable by new XLPE LT UG Cable of the feeder F-17 Austin Town station Station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis |
| 61 | Estimate for replacement of multi joints and faulty LT cable by new XLPE LT UG Cable of the feeder F-7 EDC Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis, under rate contract basis. Under SIW RC-468. |
| 62 | Estimate for replacement of multi joints and faulty LT cable by new XLPE LT UG Cable of the feeder F-2 EDC Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis, under rate contract basis. Under SIW RC-468. |
| 63 | Estimate for replacement of multi joints and faulty LT cable by new XLPE LT UG Cable of the feeder F-26 B Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis, under rate contract basis. Under SIW RC-468. |
| 64 | Estimate for replacement of multi joints and faulty LT cable by new XLPE LT UG Cable of the feeder F-5 B Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis, under rate contract basis. Under SIW RC-468. |
| 65 | Estimate for replacement of multi joints and faulty LT cable by new XLPE LT UG Cable of the feeder F-9 LEELA Station, Halasur O&M unit E-3 sub division Indiranagar division under rate contract basis, under rate contract basis. Under SIW RC-468. |
| 66 | Estimate for replacement of detoriated 3Way(2OD+3VL) RMU by new 3Way(2OD+1VL) RMU @ Abharan of F15 Austin town, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 67 | Estimate for replacement of detoriated 3Way(2OD+3VL) RMU by new 3Way(2OD+1VL) RMU @ Salrpuriya appartment of F30 B station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 68 | Estimate for replacement of detoriated 3Way(2OD+3VL) RMU by new 3Way(2OD+1VL) RMU @ Hayatt Hotel of F30 Austin Town, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis. |
| 69 | Estimate for bifurcation of Good Earth Apartment long loop to short loop of F-14 NGEF station in Halasur O&M unit of E-3 sub division in Indiranagar division under rate contract basis. |
| 70 | Estimate for bifurcation of Syndicate Bank long loop to short loop of F-24 'B' station in Halasur O&M unit of E-3 sub division in Indiranagar division under rate contract basis. |
| 71 | Estimate for replacement of multi joints and faulty LT cable by new XLPE LT UG Cable of the feeder F-7 B Station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis |
| 72 | Estimate for replacement of multi joints and faulty LT cable by new XLPE LT UG Cable of the feeder F-19 Austin Town Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis, under rate contract basis. Under SIW RC-468. |
| 73 | Estimate for replacement of multi joints and faulty LT cable by new XLPE LT UG Cable of the feeder F-3 EDC Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis, under rate contract basis. Under SIW RC-468. |
| 74 | Estimate for replacement of multi joints and faulty LT cable by new XLPE LT UG Cable of the feeder F-9 EDC Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis, under rate contract basis. Under SIW RC-468. |
| 75 | Estimate for replacement of multi joints and faulty LT cable by new XLPE LT UG Cable of the feeder F-14 NGEF Station, Halasur O&M unit E-3 sub division Indiranagar division under rate contract basis, under rate contract basis. Under SIW RC-468. |
| 76 | Estimate for conversion of LT OH by LT UG Cable From RK Mutt Circle to Kadairayanapalya of the feeder F-2 B Station, Halsoor O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW (RC-468). |
| 77 | Estimate for replacement of multi joints and faulty LT cable by new XLPE LT UG Cable of the feeder F-14 NGEF Station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis |
| 78 | Estimate For linking underloaded NGEF F4 feeder with 3x 400 Sq mm XLPE cable and a DAS RMU to link overloaded F2 feeder of B Station in Halasur O&M Unit of E3 Sub Division, Indiranagar Division under Rate Contract Basis. Under SIW RC-468 |
| 79 | Estimate for replacement of existing Rabbit ACSR conductor by LT Aerial Bunched cable size 3x95+1x70+1x16sq.mm for exiting DTC’s LT circuits at various locations of ‘B’ station F-2 feeder in Halasur O&M unit of E-3 sub division in Indiranagar division under rate contract basis. |
| 80 | Estimate for replacement of Rabbit ACSR conductor by LT Aerial Bunched cable size 3x95+1x70+1x16sq.mm for exiting DTC’s LT circuits at various locations of NGEF MUSS F-14 feeder in Halasur O&M unit of E-3 sub division in Indiranagar division under rate contract basis. |
| 81 | Estimate for providing additional 1x250KVA transformer to reduce overload on exiting DTC at various locations of ‘B’ station F-2 feeder in Halasur O&M unit of E-3 sub division in Indiranagar division under rate contract basis. |
| 82 | Estimate for providing Express feeder from Amarjyothi Station to an extent of 2.7 KM using 3x 400 Sq mm XLPE cable to link overloaded F4 B Station and F14 amarjyothi at DAD pump house RMU in Halasur O&M Unit of E3 Sub Division, Indiranagar Division under Rate Contract Basis. |
| 83 | Estimate For linking under loaded NGEF F-14 feeder with 3x 400 Sq mm XLPE cable and a DAS RMU to link overloaded F-2 feeder of B Station and F-9 feeder of Leela station in Halasur O&M Unit of E3 Sub Division, Indiranagar Division under Rate Contract Basis. |
| 84 | Estimate for replacement of multi joints and faulty LT cable by new XLPE LT UG Cable of the feeder F-5 Austin Town Station, Brigade O&M unit E-3 sub division Indiranagar division under rate contract basis, under rate contract basis. Under SIW RC-468. |
| 85 | Estimate for replacement of multi joints and faulty LT cable by new XLPE LT UG Cable of the feeder F-10 B station Station, Someshwara O&M unit E-3 sub division Indiranagar division under rate contract basis |
| 86 | Estimate for conversion of LT OH by LT UG Cable near Hotel CONRAD (Gurudwar) to RK Mutt Circle of the feeder F-2 B Station, Halsoor O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW (RC-468). |
| 87 | Estimate replacement of 2/3/4pole structures by 3Way(2OD+1VL), 4Way(2OD+2VL) & 5Way(2OD+3VL)RMU @ Ranka corner TC-24, Ranka corner TC-75, HM appartment TC-51, AAI Apartment TC29 & TC61, Chief Construction Engineer (3EHT151), Cambridge Apartment TC03, Pump house (3EHT30), Sai Samaja TC121 & GTOC 3HT40 of feeder F08 "B" station, Halasuru O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW (RC-468). |
| 88 | Estimate for conversion of Existing Transformer Mounted on 1/2/3/4 pole structures to 750KVA CSS Unit for various TC-48 1X500kva and TC-95 1X500KVA at Car Street of the feeder F-14 NGEF Station in Halasur O&M unit E-3 sub division Indiranagar division under rate contract basis. Under SIW RC-468 |
| 89 | Estimate for replacement of 3 pole structure by 4way (2OD+2VL) RMU @ Deaville Apartment, Purva mall and Spencer feeder F5 “EDC” station in Brigade O&M, E-3 sub division. |
| Model Sub Division |  |
| 90 | Estimate for providing RTU panels for DAS Automation control systems in F-03 feeder of BTM MUSS in Hulimavu O&M, S10 sub division |
| 91 | Estimate for providing RTU panels for DAS Automation control systems in F-02 feeder of Gollahalli MUSS in Basavanapura O&M unit, S10 sub division |
| 92 | Estimate for providing RTU panels for DAS Automation control systems in F-09 feeder of BTM MUSS in Hulimavu O&M unit, S10 sub division |
| 93 | Estimate for providing RTU panels for DAS Automation control systems in F-04 feeder of Gollahalli MUSS in Basavanapura O&M unit, S10 sub division |
| 94 | Estimate for providing RTU panels for DAS Automation control systems in F-10 feeder of Gollahalli MUSS in Basavanapura O&M unit, S10 sub division |
| 95 | Estimate for providing RTU panels for DAS Automation control systems in F-06 feeder of L&T South City MUSS in Basavanapura O&M unit, S10 sub division |
| 96 | Estimate for providing RTU panels for DAS Automation control systems in F-02 feeder of BTM MUSS in Vijaya Bank Layout O&M unit, S19 sub division |
| 97 | Estimate for providing RTU panels for DAS Automation control systems in F-05 feeder of BTM MUSS in Vijaya Bank Layout O&M unit, S19 sub division |
| 98 | Estimate for providing RTU panels for DAS Automation control systems in F-07 feeder of L&T South City MUSS in Vijaya Bank Layout O&M unit, S19 sub division |
| 99 | Estimate for providing RTU panels for DAS Automation control systems in F-08 feeder of L&T South City MUSS in Vijaya Bank Layout O&M unit, S19 sub division |
| 100 | Estimate for providing RTU panels for DAS Automation control systems in F-08 feeder of BTM MUSS in Vijaya Bank Layout O&M unit, S19 sub division |
| 101 | Estimate for providing RTU panels for DAS Automation control systems in F-10 feeder of BTM MUSS in Bilekahalli O&M unit, S19 sub division |
| 102 | Estimate for providing RTU panels for DAS Automation control systems in F-11 feeder of BTM MUSS in Bilekahalli O&M unit, S19 sub division |
| 103 | Estimate for providing RTU panels for DAS Automation control systems in F-12 feeder of BTM MUSS in Bilekahalli O&M unit, S19 sub division |
| 104 | Estimate for providing RTU panels for DAS Automation control systems in F-12 feeder of Jayadeva MUSS in Bilekahalli O&M unit, S19 sub division |
| 105 | Estimate for providing RTU panels for DAS Automation control systems in F-13 feeder of Jayadeva MUSS in Bilekahalli O&M unit, S19 sub division |
| 106 | Estimate for providing RTU panels for DAS Automation control systems in F-13 feeder of BTM MUSS in Bilekahalli O&M unit, S19 sub division |
| 107 | Estimate for evacuation of 11KV feeder from Hulimangala Muss to Neeladri road for reducing the overload in F8 feeder of Keonics muss in Electronic city O&M unit, S13 Sub division, HSR Division Bengaluru under Model Sub Division Scheme as per Approved RC-461 |
| 108 | Estimate for providing RTU panels for DAS Automation control systems in F-24 feeder of Keonics MUSS in E-City O&M unit, S13 sub division |
| 109 | Estimate for providing RTU panels for DAS Automation control systems in F-08 feeder of Velankini MUSS in E-City O&M unit, S13 sub division |
| 110 | Estimate for providing RTU panels for DAS Automation control systems in F-19 feeder of Naganathapura MUSS in C.K.Nagara O&M unit, S13 sub division |
| 111 | Estimate for providing RTU panels for DAS Automation control systems in F-04 feeder of Naganathapura MUSS in C.K.Nagara O&M unit, S13 sub division |
| 112 | Estimate for providing RTU panels for DAS Automation control systems in F-01 feeder of Naganathapura MUSS in C.K.Nagara O&M unit, S13 sub division |
| 113 | Estimate for providing RTU panels for DAS Automation control systems in F-16 feeder of HSR MUSS in Singasandra O&M unit, S13 sub division |
| 114 | Estimate for providing RTU panels for DAS Automation control systems in F-20 feeder of HSR MUSS in Singasandra O&M unit, S13 sub division |
| 115 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-11 feeder of Naganathapura MUSS in S-13 Sub division. |
| 116 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-8 feeder of Keonics MUSS in S-13 Sub division. |
| 117 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-4 feeder of Naganathapura MUSS in S-13 Sub division. |
| 118 | Estimate for providing additional DTC's/Enhancement of existing 100KVA DTC's to 250KVA DTC's and conversion of Double pole DTC structures by single pole structures of different locations of F-1 feeder of Naganathapura MUSS in S-13 Sub division. |
| 119 | Estimate for Conversion of existing LT Overhead line by 1.1KV class 3 phase AB Cable of 3x95+1x16 +1x70 sq mm of different locations of F-11 feeder of BTM MUSS in S19 sub division. |

- 100 % Grants will be releasing from GoK for taking up SDP works. Hence it is not included in capex proposals.

- Budget of Rs 100 crs has been proposed for FY 22 under Local planning/Safety/Emergency & Calamity Works (Head of accounts 14.149/14.148/14.180) will be taken up at various hazardous locations. Actual expenditure incurred during FY20 and up to November 2020 in FY21 is shown below:

| Heads of works | Expenditure incurred during FY 20 Rs in Crs | Expenditure incurred up to Nov-20 in FY21 Rs in Crs |
| --- | --- | --- |
| Local planning, Safety works, Emergency / Calamity Works | 79.24 | 33.55 |

- For the FY 2020-21 proposals to an extent of Rs 285 Crs, 206 Crs and Rs 257 Crs were received for taking up new works under 11kV Evacuation of lines, strengthening of HT and LT network respectively. Since approved budget was limited to Rs 2500 Crs, budget of Rs 56 Crs, 35 Crs and Rs 26 Crs has been allocated to take up the works under 11kV Evacuation of lines, strengthening of HT and LT network respectively.

For FY 22 proposals were made to an extent of Rs.200 crores, Rs.250 crores, Rs.250 crores for 11kV Evacuation of lines, strengthening of HT and LT network respectively to take up pending balance works of FY 21 and new works for the FY 22.

- BESCOM Power Purchase:

i. Annual Performance Review for FY-20:

- The deviation charges are to be settled as per CERC (Deviation Settlement Mechanism and related matters) regulations, 2014 and its amendments issued from time to time. Under the 4th and 5th amendment Regulation dated 28.05.2019, the deviation charges are now linked to the daily Average clearing Price (ACP) of bid area in day ahead market in energy exchange (IEX or PXIL). As per clause 4.5, if the sustained deviation from schedule continued in one direction (positive or negative) for 6 time blocks, the regional entity (buyer or seller), shall correct its position, by making the sign of its deviation from schedule changed or by remaining in the range of +/- 20 Mw with reference to its schedule, at least once latest by 7th time block. If this clause is violated, the additional charges in addition to deviation charges needs to be payable as below.

| No of violations in a day | Additional Charges payable |
| --- | --- |
| From first to fifth violation | For each violation, an additional charges @ 3% of daily base DSM charge payable or receivable. |
| From Sixth to tenth violation | For each violation, an additional charges @ 5% of daily base DSM charge payable or receivable. |
| From eleventh violation onwards | For each violation, an additional charge @ 10% of daily base DSM charge payable or receivable. |

SLDC, KPTCL maintains the CGS UI Pool account in the Bank. SLDC prepares weekly deviation bills (UI). If the amount is payable the same is paid out of UI pool account and in turn collects this amount from ESCOMs. If the amount is receivable, the same is credited to UI pool account and in turn disburse it among five ESCOMs in their share of allocation of power approved by GOK.

Karnataka is RE Rich State and permitted to under draw up to 250 Mw only. Due to not changing the sign after 6th time block and under drawal beyond 250 Mw, the additional charges and penalty is to be payable though State had under drawn (-ve energy). The total under drawal beyond the limits specified during the year is 20.06 Mu (-ve energy) and charges paid is Rs 3.90 Crore. The copy of the Deviation Settlement Account bill furnished by SLDC for the week 01.04.2019 to 07.04.2019 along with details of schedule and drawal in each 15 minute time block is shown below:

From this bill, it could be seen that the energy under drawn by BESCOM is 3662911 kWh and amount paid Is Rs 1,11,37,456/-. Thus, though there is negative energy the amount is payable and hence added to power purchase cost.

- Generally the months from June to October of every year will receive heavy rains and wind generation is also high. Most of the demand of BESCOM will be met out from RE and hydel and from thermal stations having low variable costs running at technical minimum. The thermal stations having higher variable cost are kept under reserve shut down and backed down and as per agreed PPA, BESCOM need to pay fixed charges. As the RE is having must run status, the RE injection is to be taken by BESCOM. SLDC estimates the availability, requirement of ESCOMs and furnish the quantum of surplus power available to PCKL for trading in IEX on day ahead basis.

The benefit for trading in IEX is, the energy traded will reduces the under drawal beyond 250 Mw otherwise the surplus power will go as under drawn without any cost and for exceeding under drawal beyond 250 Mw, penalty is to be payable. Instead of allowing energy without any cost in the grid, earning Rs 2.76 per unit is an additional income and reduces the power purchase liability under agreed contracts to that extent.

For example:

- The average RE rate is Rs 4.15 per unit. The surplus RE energy sold in exchange at Rs 2.76 then the power purchase payment liability will be reduced to the extent of Rs 2.76 per unit and the actual liability will be Rs 1.39 (rs 4.15 – Rs 2.76).

- If the surplus hydel power whose cost is 92 paise per unit, sold at Rs 2.76, then there is saving of Rs 1.84 per unit.

- SLDC normally declares surplus power during solar hours ie., between 9.00 hours in morning to 4.00 hours in evening. Solar is having must run status and thermal stations having higher variable cost are backed down or kept under reserve shut down under merit order dispatch. Hence, any sum realized for sale in IEX will account for reduction in Solar power purchase cost. During 2018-19 the rates in IEX was attractive and average rate realized was Rs 4.20 per unit. During 2019-20, since all States may have surplus power, the rates in IEX is fall down and average rate realized is only Rs 2.76 per unit.

- The thermal stations having lower variable cost are scheduled first in MOD by SLDC. Since more RE penetration in the State / BESCOM, the thermal stations having higher variable cost such as KPCL’s RTPS 1 to 7, BTPS 1 to 3, YTPS, RTPS 1 * 250 Mw, CGS’s NTPC Simhadri, Vallur, Kudgi, NLC’s NLC Expansion II, NTPL and UPCL are backed down or kept under reserve shut down or run partially in most of the months in the year say June to December. The details of energy utilized and un utilized are furnished in the prescribed format Annexure-1

- Due to various Government policies, like purchase of power from Solar plants under farmer scheme, Taluka wise scheme, NTPC’s NSM scheme, SECI’s VGF scheme and Pavagada Solar park, the solar power is procured by executing the long term PPAs for period of 25 years and these PPAs are approved by the Hon’ble Commission. Further, the target for solar RPO had been increased from 6% to 7.25% for FY 20. To meet the increased solar target RPO, the solar energy is required. In some of the years, BESCOM was unable to meet non solar RPO target. As approved in Tariff order the surplus solar RPO is setoff against short fall in non-solar RPO. Further the excess RE power may be traded in IEX under Green Term ahead market and through bilateral contracts with other States like Goa, Haryana and New Delhi.

- The surplus RE power, highest of the targets set by State Commission, Ministry of Power and National Action plan on Climate Change, may be traded in IEX by purchasing Renewable Energy Certificates (REC). Hence, the purchase of excess RE energy will benefit BESCOM through additional income.

- The transmission Charges payable to PGCIL is determined as per CERC (sharing of Inter State transmission charges and related matters) Regulations 2010. As per these regulations POC Charges depends on injection and drawal quantum. POC charges contribute 90% and Reliability index charge and HVDC charges contribute 10%. As the method of calculation of POC charges is on higher side, most of the States like Assam, Punjab, Karnataka, Andhra Pradesh, Telangana etc., are paying higher POC charges.

- The States paying high POC charges had requested MOP, GOI for revision of the POC charges. CERC had constituted a Task Force Committee to study the present POC Mechanism and suggest modifications. The Committee had submitted the report. CERC has issued revised sharing of Transmission charges Regulations 2020 on 04.05.2020. This is effective from 1st November 2020 with trial period of 2 months. The POC bills in revised Regulation will be issued from 1st January 2021 and it is expected that more than 25% of existing POC bill amount will be reduced.

- BESCOM had executed the Long Term Open Access (LTOA) transmission services Agreements with PGCIL for a period of 25 years and BESOCM is bound to pay the POC charges as determined by CERC unless the contract is terminated. As per CERC new sharing Regulations 2020, the POC charges will be reduced from January 2021. The reduction in POC charge will be intimated to the Commission upon receipt of the transmission bill as per new regulations.

- The energy injected at ex-bus and energy drawn at IF point for 66 KV and above is reconciled among ESCOMs under energy balancing is done by TBC of SLDC. For energy injected and drawn by ESCOMs below 33 KV is accounted under inter ESCOM energy exchanges and reconciled among ESCOMs. The statement showing inter ESCOM energy exchange for FY 20 are shown below:

- As already stated TBC of SLDC is doing energy balancing for energy injected at ex-bus by each sources and energy drawn at IF points above 66 Kv level by all ESCOMs and arrange reconciliation among ESCOMs. As per prevailing KERC / CERC Regulations the deviation is to be calculated in each 15 minute time block under Intra State ABT. As ABT featured meters are not fully installed, the Intra State ABT based on SCADA details, done earlier is stopped since SCADA consumption is meant only for monitoring purpose but not for financial implication. Hence, TBC, SLDC is doing energy balancing on monthly basis and arriving over drawal / under drawal by each ESCOM. As per provisional energy balancing furnished by TBC, SLDC for BESCOM, BESCOM had considered 1702.86 Mu and Rs 706.74 Crore as over drawn and payable to other ESCOMs. As BESCOM has to receive energy balancing amounts of earlier years from other ESCOMs, the payable amount would be set off against the receivable amount by BESCOM from other ESCOMs.

- The energy and cost approved by Commission in ARR is based on some assumption and past history ie., based on average of previous 3 months or for previous month. The energy is projected under merit order and availability furnished by PCKL/KPCL. But during real time operations, the actuals will differ based on environmental and whether conditions. For example: If Commission approves 8000 Mu of thermal power, during real time in the year due to good rain, wind and solar, the thermal consumption may fall down to 4000 Mu. Thus, Commission approved figures which are estimated may vary during real time operation and that actuals is furnished in D1-Format.

- For the reasons stated in SL No. (h) once the actual energy varies compared to the Commission approved figures, there is variation in tariff. Further in respect of CGS and UPCL, CERC had issued new tariff Regulations for the period 2019 to 2024. As per these new Regulations, the tariff for capacity charge and variable charge is also varied.

- BESCOM is having common PPA for kaiga 1 to 4, kudankulam 1 & 2 and DVC, Koderma 1 & 2 Mejia 7 & 8, Karnataka is having allocation of 32.3% from Kaiga 1 to 4, 22.65 % from KKNP 1 & 2 and 20% from DVC Mejia and 25% from Koderma. Out of this, BESCOM’s share is 53.6741% for FY 20. In the Regional Energy account furnished by SRPC, the Kaiga Unit 1 & 2 energy is clubbed and separate energy in available for Kaiga 3 & 4 and KKNP 1 & 2. The separate energy details are as below.

| SL NO | Name | Energy in MU |
| --- | --- | --- |
| 1. | Kaiga 1 & 2 | 551.72 |
| 2. | Kaiga 3 | 260.97 |
| 3. | Kaiga 4 | 290.75 |
|  |  | 1140.59 |
| 1. | DVC Mejia | 574.79 |
| 2. | Koderma | 923.58 |
|  |  | 1498.37 |
| 1. | KKNP 1 | 826.23 |
| 2. | KKNP 2 | 425.75 |
|  |  | 1251.98 |

- The details of Power Purchase Cost of NNTPS is as below.

The capacity Charges – Rs 4.49 Crore

The Variable Charges – Rs 5.03 Crore

Total                           - Rs 9.52 Crores

- The correction made and corrected statement is shown below:

- KERC had issued Tariff norms on 03.08.2009 for KPCL existing hydel stations, RTPS 1 to 7 and Yelahanka diesel plant. As per the norms, the tariff of KPCL existing hydel stations is comprising of capacity charges, primary energy charges, secondary energy charges and royalty. The said norms is agreed in PPA executed on 10.05.2010. As such, BESCOM has shown capacity charges and variable charges (primary energy charge, secondary energy charge and Royalty) in D1-Format as per tariff norms approved by KERC and PPA with KPCL.

ii. Power Purchase for ARR Projections for FY-22:

- BESCOM had projected for FY-22 based on the actuals of FY-18 during MYT 5th control period. In Tariff Order 2019, for FY-22 Commission had approved energy requirement and power purchase cost at 36894.27 MU and Rs.20412.40 Crs. based on the actuals of FY-18 and FY-19 (upto Nov-18).  BESCOM has projected the energy input for FY-22 based on the actual sales for FY-20 and half yearly sales for FY-21(upto Sept-20).

The actual sales recorded for FY-21 half year (April- 20 to Sept-20) is 12340.04 MU. HT sale recorded for FY-21 (April- 20 to Sept-20) half year is 2890.58 MU. There is a drastic fall down of HT sales compared to FY-20 half year (4035.0 MU) due to Covid-19 pandemic situation.

Since, the tariff application had to be filed before the Hon’ble Commission before 30th November 2020, the sales upto September -20 was considered. Based on the half yearly growth, the total estimated sale for FY-21 is projected as 24485.64 MU.

For FY-22, the forecasts arrived at by using the CAGR method considering FY-20 as base year, need to be modified for impact of any other considerations like specific consumption for IP sets, negative growth due to Open Access etc. The historical data for past years is available. The CAGR for 10 yrs, 9yrs, 8yrs, 7yrs, 6 yrs, 5 yrs, 4 yrs, 3 yrs, 2 yrs and one year growth is computed. Accordingly, 11 scenarios of projections are obtained. An empirical formula is made use of growth rate of 4.6% over FY-21 is considered for projecting sales for FY-22.

In order to estimate of energy sales for FY-22, actual category wise sales for FY-20 is considered for arriving at the CAGR. Considering all these, BESCOM has projected sales for FY-21 as 24485.64 MU and sales for FY-22 as 25616.08 MU in its tariff filing. Considering distribution loss at 11.75 % and transmission loss at 3.102%, BESCOM has projected the energy requirement for FY-22 at 29955.93 MU.

- The projected energy and cost allocated among the ESCOMs is as per GoK order dated 08.05.2020 for FY 2021-22 except energy from the RE projects. As per this, BESCOM will be allocated total energy of 32765.04 MUs, however requirement of BESCOM for the FY 22 is only 29955.95 MU, thereby the excess energy of BESCOM allocation would be used by other ESCOMs. The average cost projected from all the sources works out to Rs 5.0775/ per unit. The same cost is considered for the excess energy of BESCOM used by other ESCOMs.

- The actual source-wise energy revised for October, 2020 and November -2020 and the cost thereon will be submitted shortly.

- Gok vide order dated 28.7.2014 accorded approval to KPCL to implement 1X350 MW Combined cycle Gas Power at Yelahanka. Further, approval given to modify the existing PPA in respect of the existing DG plant with 108 MW to 350 MW gas based Combined Cycle power plant with BESCOM. The power purchase agreement will be executed after approval of the Hon’ble Commission and is under process. Further, KPCL  has informed  that project  will be declared COD  in the month of July 2021  and hence capacity charges and energy charges proposed by KPCL in the  email  dated 18.11.2020  for FY 2021-22 is considered which is subject to approval of the commission. Since the Energy charge rate proposed by KPCL is little higher than the other thermal Generating stations and hence offtake of the energy from this project has considered only 207.37 Mus i.e. only peak hours.

- The Tariff in respect of Central Generating Stations like NTPC, NLC and DVC stations for the Control period 2019 to 2024 is yet determined by CERC for the stations belonging to Generators. The Capacity charges billed by generator to ESCOMs of Karnataka for the year 2020-21 are considered for the FY 2021-22.  The capacity charge considered based on various orders are as detailed below;

| Sl. No. | Stations | Date of order/as per claims | Capacity charges applicable for 2021-22 (Amount in Rs. Crore) |
| --- | --- | --- | --- |
| 1 | RSTP-I&II | As per bill | 1057.68 |
| 2 | RSTP-III | As per bill | 268.05 |
| 3 | RSTP-Talcher | As per bill | 996.95 |
| 4 | Simhadri station II | As per bill | 1066.71 |
| 5 | Vallur unit-I & II | 11.7.2017 | 1858.96 |
| 6 | NLC II Stage-1 | 12.6.2017 | 299.80 |
| 7 | NLC II Stage-2 | 12.06.2017 | 414.29 |
| 8 | NLC expansion I | 18.10.2016 | 276.18 |
| 9 | NLC expansion Stage II (U-1) | 24.7.2017 | 728.06 |
| 10 | New NLC Thermal projects | 29.1.2020 | 996.25 |
| 11 | NTPL-2X 500 MW | 11.7.2017 | 1090.17 |
| 12 | Kudigi | As per the bill | 2795.24 |
| 13 | DVC-Mejia | 3.10.2016 | 1019.21 |
| 14 | DVC-Koderma | 28.2.17 | 1175.74 |

The average variable cost for the month of Aug-2020, Sep-2020 and Oct-2020 is considered for energy charges for FY 2021-2022.  In respect of MAPS, Kaiga, and Kundamkulam power station the average rate per unit for the months of Aug-2020, Sep-2020 and October -2020 is considered.

Rs/ unit

| Particulars | MAPS | Kaiga Units 1 to 4 | Kudamkulam Unit -1 | Kudamkulam Unit -2 |
| --- | --- | --- | --- | --- |
| Base Price | 2.427 | 3.270 | 3.545 | 3.545 |
| Heavy Water adjustment charges | 0.002 | 0.000 | 0.379 | 0.379 |
| Heavy Water lease adjustment charges | 0.000 | 0.015 | 0.000 | 0.000 |
| Insurance | 0.100 | 0.062 | 0.042 | 0.042 |
| Decommissioning Levy | 0.020 | 0.020 | 0.020 | 0.020 |
| Forex Variation Adjustment Charges | 0.050 | 0.050 | 0.053 | 0.053 |
| Nuclear Liability & Forex adjustment | 0.000 | 0.000 | 0.050 | 0.050 |
| Others |  |  | 0.000 | 0.000 |
| Total tariff | 2.599 | 3.417 | 4.090 | 4.090 |

The capacity charges (Fixed Cost) and variable cost   considered for 2021-22 in respect of Central Generating stations are detailed below:

| Central Projects | Fixed Cost (Rs in Cr) | Variable Cost (Paise per Kwh) |
| --- | --- | --- |
| N.T.P.C-Ramagundam | 199.85 | 241.27 |
| NTPC-VII | 53.66 | 237.87 |
| NTPC-Talcher | 182.76 | 208.77 |
| NLC TPS2-Stage 1 | 69.92 | 268.57 |
| NLC TPS2-Stage 2 | 97.47 | 277.17 |
| NLC TPS1-Expn | 71.62 | 255.20 |
| NLC II Expansion-1 | 188.33 | 262.47 |
| New NLC Thermal Power project | 73.94 | 234.40 |
| MAPS | 0.00 | 259.88 |
| Kaiga unit I &II | 0.00 | 341.67 |
| Kaiga Unit 3 &4 | 0.00 | 341.67 |
| Simhadri Unit -1 &2 | 199.68 | 296.43 |
| Vallur TPS Stage I &2 &3 | 210.99 | 314.80 |
| NTPL | 234.17 | 288.43 |
| KudamKulam Unit1 | 0.00 | 408.95 |
| KudamKulam Unit2 | 0.00 | 408.95 |
| Kudigi | 1494.87 | 346.40 |
| DVC- Mejia thermal Power Station | 203.84 | 273.37 |
| DVC Kodemma thermal Power Station | 293.93 | 247.63 |

- KPCL is not yet declare Commercial Operation of its Yelahanka Combined Cycle Power Plant and tariff yet to be determined by KERC. Hence, tariff proposed in the E-mail dated 18.11.2020 of KPCL is considered for all thermal generating stations including YTPS units, as detailed below.  These tariffs are subject to revision based on Generation Tariff Regulation 2019 determined by KERC.

| Sl. no. | Stations | 2021-22 |  |
| --- | --- | --- | --- |
|  |  | Fixed cost Rs in Crores | Variable cost Paise per Kwh |
| 1 | RTPS unit 1 to 7 | 941.99 | 300.00 |
| 2 | RTPS unit-8 | 248.30 | 280.00 |
| 3 | BTPS unit-1 | 323.78 | 295.00 |
| 4 | BTPS unit-II | 463.39 | 294.00 |
| 5 | BTPS Unit-III | 990.43 | 299.00 |
| 6 | Yelahanka Combined Cycle | 356.08 | 320.00 |
| 7 | Yermarus TPS - 1 & 2 | 2269.10 | 290.00 |

- Capacity to be filled by BESCOM:

| Sl No | RE Sources . | Commissioned Capacity in MW | Likely to be Commissioned Capacity in MW | Forecasted energy (in MU) | Total Cost Rs. Crs. |
| --- | --- | --- | --- | --- | --- |
| 1 | Co-generation |  |  | 0.00 | 0.00 |
| 2 | Biomass |  |  | 73.94 | 42.59 |
| 3 | Mini Hydel |  |  | 513.04 | 156.99 |
| 4 | Wind mill |  |  | 2353.60 | 837.88 |
| 5 | KPCL wind mill |  |  | 6.74 | 3.26 |
| 6 | Solar |  |  | 4456.01 | 1350.17 |
| 7 | Solar rooftop |  |  | 90.67 | 44.64 |
| 8 | KPCL Solar |  |  | 3.97 | 2.38 |
| 9 | NTPC Bundled Power Solar |  |  | 56.21 | 59.17 |
| 10 | Captive/Banking energy |  |  | 42.10 | 5.03 |
| 11 | NTPC Bundled Power Solar, Pavagada |  |  | 640.55 | 307.52 |
|  | Total |  |  | 8236.83 | 2809.62 |

- In respect of RE projects, energy actual purchased during year 2020-21 upto Sep-2020 and  actual  energy purchased for the period from Oct-2019 to March 2020 has been considered for FY 2021-22.

- BESCOM’s Distribution:

- Details showing Town-wise T&D Loss for the FY-20 & FY-21 (UptoOct-20)

| Sl. No | Name of the town/City | FY-20 |  |  | FY-21 (UptoOct-20) |  |  | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Energy Input in MU | Energy Sold in MU | Distribution loss in % | Energy Input in MU | Energy Sold in MU | Distribution loss in % |  |
| 1 | ANEKAL | 48.05 | 44.14 | 8.12 | 23.50 | 23.24 | 1.09 | Low Loss is due to accounting of average bill consumption in themonth of April-2020 and the actual consumption accounted in May -2020 |
| 2 | BANGALORE | 16416.60 | 15277.46 | 6.94 | 7849.30 | 7274.47 | 7.32 |  |
| 3 | BANGARAPETE | 31.91 | 27.76 | 13.02 | 19.39 | 18.54 | 4.39 |  |
| 4 | CHALLAKERE | 26.30 | 23.26 | 11.57 | 14.21 | 15.18 | -6.82 | Due to Corona (Covid-19) April month reading is done through software by avg basis & then May month reading is done by manual and it bills 2 months consumption by auto cancelling the April month avg bill. Therefore, consumption is very high compare to input that way all feeders T&D loss comes under negative . |
| 5 | CHANNAPATNA | 48.66 | 44.11 | 9.36 | 28.70 | 25.25 | 12.01 |  |
| 6 | CHIKKABALLAPURA | 48.84 | 43.81 | 10.31 | 28.58 | 28.47 | 0.41 | Low Loss is due to accounting of average bill consumption in the month of April-2020 and the actual consumption accounted in May -2020 |
| 7 | CHINTHAMANI | 47.27 | 40.95 | 13.37 | 27.89 | 24.23 | 13.11 |  |
| 8 | CHITRADURGA | 66.05 | 60.14 | 8.95 | 36.39 | 32.77 | 9.95 |  |
| 9 | DAVANAGERE CSD | 233.87 | 212.16 | 9.29 | 131.23 | 127.03 | 3.20 |  |
| 10 | DODDABALLAPURA | 74.96 | 64.62 | 13.80 | 38.96 | 36.70 | 5.80 |  |
| 11 | GOWRIBIDANUR | 33.44 | 28.46 | 14.91 | 19.22 | 18.10 | 5.86 |  |
| 12 | HARAPPANAHALLI | 15.10 | 12.85 | 14.87 | 8.76 | 7.86 | 10.25 |  |
| 13 | HARIHARA | 41.16 | 36.97 | 10.19 | 23.84 | 21.38 | 10.34 |  |
| 14 | HIRIYUR | 24.24 | 21.15 | 12.73 | 13.77 | 12.31 | 10.61 |  |
| 15 | HOSAKOTE | 49.98 | 44.31 | 11.34 | 28.27 | 27.27 | 3.52 |  |
| 16 | KANAKAPUR | 25.75 | 23.60 | 8.35 | 14.54 | 13.23 | 9.02 |  |
| 17 | KGF | 70.79 | 61.63 | 12.93 | 42.33 | 39.50 | 6.67 |  |
| 18 | KOLAR | 78.19 | 69.05 | 11.69 | 50.70 | 44.48 | 12.26 |  |
| 19 | KUNIGAL | 18.29 | 14.80 | 19.09 | 11.22 | 11.11 | 0.99 | 19 Water supply Installations has not been billed properly in previous months and in July-20, all 19 Water supply Installation has been billed with Effect to the present date so consumption recorded is more and the recorded consumption is 954782 so the T&D Losses is low |
| 20 | MULABAGILU | 29.50 | 26.19 | 11.23 | 18.18 | 17.79 | 2.15 | Due to Covid-19 lockdown in the month of Apr-20 average consumption was taken for billing |
| 21 | RAMANAGARA | 63.95 | 60.93 | 4.72 | 36.16 | 36.52 | -0.99 | Due to Covid-19 lockdown in the month of Apr-20 average consumption was taken for billing and more number of installations was DL in may-20. During the billing period of June-20 actual consumption is taken for billing, therefore billed consumption is more than i/p, hence T& loss is Negative. |
| 22 | SHIDLAGATTA | 31.81 | 27.87 | 12.38 | 17.59 | 15.43 | 12.30 |  |
| 23 | SIRA | 27.96 | 24.87 | 11.05 | 15.99 | 16.50 | -3.21 | Due to Covid-19 lockdown in the month of Apr-20 average consumption was taken for billing and more number of installations was DL in may-20. |
| 24 | TIPTUR | 43.28 | 38.83 | 10.28 | 25.54 | 23.83 | 6.68 |  |
| 25 | TUMKUR CSD | 335.37 | 278.23 | 17.04 | 181.80 | 152.53 | 16.10 |  |
| Grand Total |  | 17931.34 | 16608.15 | 7.38 | 8706.04 | 8063.71 | 7.38 |  |
| Note | DCB base method for calculation of loss. i.e. Previous month input and present month DCB. |  |  |  |  |  |  |  |

- During submission of Multi Year Tariff for 5th Control period, Capital Investment Plan of Rs 1924.92 Crs was proposed for FY-22. Subsequently Capital Investment Plan of Rs 2000 Crs was provisioned for Conversion of OH by UG/AB cable project for the FY 2021-22. Hence the revised budget proposal of Rs. 3878 Crs was submitted to Hon’ble KERC.

Total estimate cost for Conversion of OH by UG/AB cable project is Rs 4590.72 Crs. after completion of project expected Annual Energy savings is around 343.36 MU and Energy increase in sales is around 196.58 MU. It is anticipated that the above project will be completed in a phased manner. Hence the Commission is requested to consider BESCOM’s proposed distribution loss of 11.75% for FY-22.

To calculate the distribution loss of the Company, the total input to the network and sales from the network has to be considered to get the accurate distribution loss.

- RPO Compliance:

- The Total Energy purchase as per D1 Format FY-20 is 32392.70 Mu. The hydel energy procured from KPCL Hydel sources is 995.93 Mu and from other Hydel stations (Jurala, TBHE) is 101.42 Mu. The energy over drawn by BESCOM for 2019-20 as per provisional energy balancing is 1702.86 Mu out of which Hydel energy over drawn is 257.64 Mu. By deducting 257.64 MU out of total energy the net energy is shown as 31037.72 Mu. The break up details of energy considered for RPO compliance is as below.

In Mu

| Total Energy | 32392.7 |
| --- | --- |
| Less KPCL Hydro | 995.93 |
| Less other Hydro (Jurala, TBHE) | 101.42 |
| Less hydel energy over drawn from energy balancing | 257.63 |
| Net Energy for RPO compliance | 31037.72 |

Non Solar Energy:

|  | Energy in Mu |
| --- | --- |
| CO Generation | 751.96 |
| Biomass | 70.32 |
| Mini Hydel | 446.34 |
| Wind Mill | 2781.29 |
| KPCL Wind | 7.19 |
| Shimsha | 5.72 |
| Banked Energy | 29.37 |
|  | 4092.18 |

Solar Energy:

| PPA route including rooftop and KPCL Solar | 4133.91 |
| --- | --- |
| Bundled Power | 650.08 |
| Banked Energy | 12.73 |
| Less Solar Energy sold to Goa not to be considered for RPO | 64.25 |
| Total | 4732.47 |

The data as per the Format for Solar and Non-Solar RPO compliance for FY-20 is shown below:

| a. | Non Solar RPO: |  |  |
| --- | --- | --- | --- |
| Sl no | Particulars | Quantum in MU | Cost Rs Crs |
| 1 | Total Power Purchase quantum from all sources excluding Hydro energy | 31037.72 | 18997.92 |
| 2 | Non solar Renewable energy purchased under PPA ROUTE AT Generic tariff including Non solar RE Purchased from KPCL | 4,062.81 | 1601.77 |
| 3 | Non Solar Short term Purchase from RE sources excluding Sec 11 purchase | 0 |  |
| 4 | Non Solar Short term Purchase from RE sources under Sec 11 purchase | 0 |  |
| 5 | Non solar RE purchased at APPC | 0 |  |
| 6 | Non solar RE pertaining to green energy sold to consumers under green tariff | 0 |  |
| 7 | Non solar RE purchased from other ESCOMs | 0 |  |
| 8 | Non solar RE sold to other ESCOMs | 0 |  |
| 9 | Non solar RE purchased from any other source like banked energy purchased at 85% of generic tariff | 29.37 | 3.18 |
| 10 | Total non-solar RE Energy purchased (No 2+3+4+5+7+9) | 4092.18 | 1604.95 |
|  | Non solar RE accounted for the purpose of RPO (No 10-5-6-8) | 4092.18 | 1604.95 |
|  | Non solar RE complied in % (No 11/No 1)*100 | 13.18 |  |

| b. | Solar RPO: |  |  |
| --- | --- | --- | --- |
| Sl no | Particulars | Quantum in MU | Cost Rs Crs |
| 1 | Total Power Purchase quantum from all sources excluding Hydro energy | 31037.72 | 18997.92 |
| 2 | Solar Renewable energy purchased under PPA ROUTE AT Generic tariff including solar RE Purchased from KPCL | 4133.91 | 1760.80 |
| 3 | Solar Short term Purchase from RE sources excluding Sec 11 purchase | 0 |  |
| 4 | Solar Short term Purchase from RE sources under Sec 11 purchase | 0 |  |
| 5 | Solar energy purchased at APPC | 0 |  |
| 6 | Solar energy pertaining to green energy sold to consumers under green tariff | 0 |  |
| 7 | Solar energy purchased from other ESCOMs |  |  |
| 8 | Solar energy sold to other ESCOMs |  |  |
| 9 | Solar Energy purchased from NTPC or others as bundled power | 650.08 | 328.75 |
| 10 | Solar Energy purchased from any other source like banked energy purchased at 85% of generic tariff | 12.73 | 1.85 |
| 11 | Energy sold to GOA not to be considered for RPO | 64.25 |  |
| 11 | Total solar Energy purchased (No 2+3+4+5+7+9+10-11) | 4732.47 | 2091.41 |
| 12 | Solar energy accounted for the purpose of RPO (No 11-5-6-8) | 4732.47 | 2091.41 |
| 13 | Solar RPO complied in % (No 12/No 1)*100 | 15.25 |  |

RPO for FY-22:

- Non solar RPO:

|  | Non solar RPO |  |  |
| --- | --- | --- | --- |
| SL. No. | Particulars | Quantum in MU | Cost – Rs. Crs. |
| 1 | Total Power Purchase quantum from all sources excluding Hydro energy | 25618.01 | 16093.07 |
| 2 | Non-solar Renewable energy purchased under PPA route at Generic tariff including Non-solar RE purchased from KPCL | 2947.326 | 1040.719 |
| 3 | Non-solar short-term purchase from RE sources, excluding se-11 purchase |  |  |
| 4 | Non-solar short term purchase from RE sources, excluding sec 11 purchase |  |  |
| 5 | Non-solar RE purchased at APPC |  |  |
| 6 | Non-solar RE pertaining to green energy sold to consumers under green tariff |  |  |
| 7 | Non-solar RE purchased from other ESCOMs |  |  |
| 8 | Non-solar RE sold to other ESCOMs |  |  |
| 9 | Non-solar RE purchased from any other source like banked energy purchased at 85% of Generic Tariff | 42.10 | 5.03 |
| 10 | Total Non-solar RE Energy Purchased (No.2+No.Total Non-solar RE Energy Purchased (No.2+No.3+No.4+No.5+No.7+No.9) | 2989.426 | 1045.749 |
| 11 | Non-solar RE accounted for the purpose of RPO (No.10+No.5+No.6+No.8) | 2989.426 | 1045.749 |
| 12 | Non-solar RPO complied in % (No.11/No.1)*100 | 11.66924 | 6.498129 |

- Solar RPO:

| No: | Particulars | Quantum in MU | Cost – Rs. Crs. |
| --- | --- | --- | --- |
| 1 | Total Power Purchase quantum from all sources excluding Hydro energy | 25618.01 | 16093.07 |
| 2 | Solar energy purchased under PPA route at Generic Tariff including solar energy purchased from KPCL | 4550.65 | 1397.19 |
| 3 | Solar energy purchased under short term excluding sec-11 purchase |  |  |
| 4 | Solar short-term purchase from RE under sec-11 |  |  |
| 5 | Solar energy purchased under APPC |  |  |
| 6 | Solar energy pertaining to green energy sold to consumers under green tariff |  |  |
| 7 | Solar energy purchased from other ESCOMs |  |  |
| 8 | Solar energy sold to other ESCOMs |  |  |
| 9 | Solar energy purchased from NTPC (or others) as bundled power | 696.76 | 366.68 |
| 10 | Solar energy purchased from any other source like banked energy purchased at 85% of Generic Tariff |  |  |
| 11 | Total Solar Energy Purchased (No.2+No.3+No.4+No.5+No.7+No.9+No.10) | 5247.41 | 1763.88 |
| 12 | Solar energy accounted for the purpose of RPO (No.11-No.5-No.6-No.8) | 5247.41 | 1763.88 |
| 13 | Solar RPO compiled in % (No.12/No.1)*100 | 20.48327 | 10.96047 |

Estimates for complying with Solar and Non-Solar RPO for FY-21 will be submitted shortly.

- Observations on other items of ARR:

- APR for FY-20

- Employee cost: The cadre wise details of employees covered under ‘other employees’ are shown below:

| Sl. No. | Cadre | S | W | V |
| --- | --- | --- | --- | --- |
| Group-C |  |  |  |  |
| 1 | Junior Engineer(Ele) | 870 | 673 | 197 |
| 2 | Junior Engineer(TCD) | 13 | 0 | 13 |
| 3 | Junior Engineer(Civil) | 8 | 5 | 3 |
| 4 | Sr. Draughtsman(Civil) | 2 | 0 | 2 |
| 5 | Store Keeper Gr-II | 20 | 17 | 3 |
| 6 | Assistant Store Keeper | 45 | 27 | 18 |
| 7 | Senior Assistant | 603 | 280 | 323 |
| 8 | Assistant | 1269 | 898 | 371 |
| 9 | Jr. Assistant | 1955 | 1257 | 698 |
| 10 | Jr. Assistant Gr-II | 72 | 72 | 0 |
| 11 | Typist | 43 | 24 | 19 |
| 12 | Junior Personal Assistant | 41 | 5 | 36 |
| 13 | Senior Gr. Typist | 48 | 6 | 42 |
| 14 | Meter Reader | 1273 | 947 | 326 |
| 15 | Junior Meter Reader | 375 | 66 | 309 |
| 16 | Oversear | 553 | 383 | 170 |
| 17 | Operator | 58 | 29 | 29 |
| 18 | Driver Gr-I | 17 | 5 | 12 |
| 19 | Driver Gr-II | 326 | 49 | 277 |
| 20 | Special Gr. Driver | 2 | 1 | 1 |
| 21 | Cable Jointer | 5 | 0 | 5 |
| 22 | Asst. Cable Jointer | 2 | 0 | 2 |
| 23 | Mechanic Gr-II (Station) | 5 | 2 | 3 |
| 24 | Line Mech Gr-I (O & M) | 294 | 173 | 121 |
| 25 | Line Mech Gr-II (O & M) | 1543 | 1221 | 322 |
| 26 | Line Mech Gr-I (TCD) | 3 | 0 | 3 |
| 27 | Line Mech Gr-II (TCD) | 7 | 0 | 7 |
| 28 | Auto Mechanic Gr-I | 2 | 0 | 2 |
| 29 | Mech Gr-I (MT) | 33 | 7 | 26 |
| 30 | Mech Gr-II (MT) | 71 | 42 | 29 |
| 31 | Tracer(Civil) | 1 | 0 | 1 |
| 32 | Daffedar | 17 | 9 | 8 |
| 33 | Senior Mechanic | 129 | 66 | 63 |
| 34 | Senior Mechanic(TCD) | 2 | 0 | 2 |
| 35 | Senior Maistry(Stores) | 2 | 1 | 1 |
| 36 | Store Maistry Gr-I | 17 | 2 | 15 |
| 37 | Store Maistry Gr-II | 26 | 3 | 23 |
|  | Total of Group 'C' | 9752 | 6270 | 3482 |
| Group-D |  |  |  |  |
| 1 | Mali Gr-I | 2 | 2 | 0 |
| 2 | Mali Gr-II | 56 | 46 | 10 |
| 3 | Sanitary Worker | 151 | 57 | 94 |
| 4 | Watchman(Office) | 78 | 32 | 46 |
| 5 | Watchman(Stores) | 75 | 35 | 40 |
| 6 | Office Attendant Gr-I | 31 | 9 | 22 |
| 7 | Office Attendant Gr-II | 393 | 235 | 158 |
| 8 | Station Attendant Gr-I | 14 | 0 | 14 |
| 9 | Station Attendant Gr-II | 39 | 2 | 37 |
| 10 | Store Attendant Gr-I | 85 | 2 | 83 |
| 11 | Store Attendant Gr-II | 149 | 10 | 139 |
| 12 | Attendent Gr-I (TCD) | 17 | 0 | 17 |
| 13 | Attendent Gr-II (TCD) | 16 | 0 | 16 |
| 14 | Attendent Gr-I (MT) | 36 | 8 | 28 |
| 15 | Attendent Gr-II (MT) | 41 | 3 | 38 |
| 16 | Jamedar(Watch & Ward) | 4 | 4 | 0 |
| 17 | Powerman | 3965 | 2833 | 1132 |
| 18 | Junior Powerman | 4455 | 3468 | 987 |
| 19 | Assistant Powerman | 3125 | 764 | 2361 |
| 20 | Helper(Stores) | 37 | 2 | 35 |
| 21 | Cleaner/Auto Helper | 36 | 3 | 33 |
| 22 | Cook-cum Caretaker | 0 | 0 | 0 |
| 23 | Daftary | 336 | 190 | 146 |
|  | Total of Group 'D' | 13141 | 7705 | 5436 |
| Deputation Staff |  |  |  |  |
| 1 | Superintendent of Police | 1 | 1 | 0 |
| 2 | Deputy Superintendent of Police | 1 | 1 | 0 |
| 3 | Police Inspector | 11 | 11 | 0 |
| 4 | Police Sub Inspector | 12 | 5 | 7 |
| 5 | Head Constable | 24 | 21 | 3 |
| 6 | Police Constable | 68 | 40 | 28 |
|  | Total | 117 | 79 | 38 |
| ABSTRACT |  |  |  |  |
| 1 | GROUP 'C' | 9752 | 6270 | 3482 |
| 2 | GROUP 'D' | 13141 | 7705 | 5436 |
|  | Sub Total | 22893 | 13975 | 8918 |
| 3 | Deputation Staff | 117 | 79 | 38 |
|  | GRAND TOTAL | 23010 | 14054 | 8956 |

As against 22,893 sanctioned posts of ‘C’ & ‘D’ group, 13,975 employees are working and 8,918 posts are vacant. BESCOM is managing the gap by engaging 4,208 no of outsource personnel through outsource agencies by calling e-tender and cost incurred is Rs.103.19 Crs during FY-20. Further, notification was issued for recruitment of 374 no. of ‘C’ & ‘D’ group of posts on 25.02.2019 and the same was cancelled on 21.11.2020 due to administrative reasons. Government of Karnataka in its circular dated 06.07.2020 stated all the recruitment process is withheld till further orders. Further recruitment process will be carried out as per the Government of Karnataka directions.

- Incentive on Distribution Losses:

Section 3.4 of the MYT regulation is reiterated

“3.4 Treatment of Distribution losses

3.4.1 Transaction should be charged on the basis of average losses arrived at for the distribution system. The loss framework should ensure that the loss compensation is reasonable and linked to applicable benchmark determined by the Commission

3.4.1 In case the actual distribution loss exceeds the normative loss level approved by the Commission, such excess loss shall be to the account of the Distribution Licensee.

3.4.2 In case the actual distribution loss is less than the approved loss level, such savings shall be shared between the distribution licensee and the consumers in the ratio of 70:30 during the first Control Period and in the ratio as may be decided by the Commission in the subsequent Control periods.”

Based on the above, the efficiency for reduction in distribution loss is depicted in the below table:

| Particulars | FY-20 |
| --- | --- |
| Actual input at IF point as per audited accounts in MU | 31625.73 |
| Retail sales in MU | 27834.60 |
| Distribution loss after rounding off | 11.99 |
| Target upper limit of distribution loss | 12.5 |
| Target distribution loss | 12.25 |
| Target lower limit of distribution loss | 12 |
| Reduction in loss - in percentage point | 0.01 |
| Input energy at upper limit of target loss for actual sales in MU | 31630.22 |
| Decrease in input energy due to reduction in distribution loss in MU | -4.49 |
| Average cost of power purchase in Rs./unit | 5.91 |
| Incentive due to decrease in losses Rs. Crores | 2.66 |

The Hon’ble Commission is requested to allow an amount of Rs.2.66 Crores towards incentive due to decrease in losses.

- Remuneration paid to contract agencies: Details of number of persons engaged through contract agencies and payment made and nature of work for which they were engaged are depicted in the below tables against respective head of account:

| Account code | Descriptions | Amount in Rs. |
| --- | --- | --- |
| 76.116 | Franking Machine renewal fees and etc., | 16905 |
| 76.128 | Remuneration paid Chartered Accountants for auditing Cash & Revenue Accounts | 37450 |
| 76.129 | Remuneration paid Contract Agencies / Services obtained | 265832486.4 |
| 76.130 | Remuneration paid to GramaVidhyuth prathinidhi-11KV | 174975298.5 |
| 76.140 | Remuneration paid to Contract agencies for obtaining Manpower services. | 1031958845 |
| 76.141 | Amount paid to Total Revenue Management agencies for providing services relating to Billing & Collection activities - other than RAPDRP (Infosys) | 312754352.8 |
| 76.142 | Amount paid to Service provider for obtaining IT related Web services, SMS Services and Broadband charges etc., | 47633916 |
| 76.144 | Remuneration paid to Contract agencies for supplying, integration and onsite maintenance of android based spot billing device on contract basis. | 588071448 |
|  | Total | 2421280702 |

76.129

| Sl.NO. | Name of the Firm/ Contract agencies | No. of Person Engaged through Contract agencies | Nature of work | Amount paid to work during FY 20 (Crs.) |
| --- | --- | --- | --- | --- |
| 1 | Idea infinity IT solutions | 233 | ATP COUNTER | 13.72 |
| 2 | Sri Ranganatha Electricals | 9 | O&M SERVICE STATION | 0.10 |
| 3 | Atop Security Services |  | Security Services | 0.01 |
| 4 | BESCOM | 4 | Scavenger's | 0.00 |
| 5 | Ceinsys Tech ltd |  | Renewal of ATS of ESRI Products | 0.18 |
| 6 | D H Sathynarayana Gowda | 1 | Revenue Audit | 0.01 |
| 7 | Graduate Asst. Salary | 1 | Revenue Asst. | 0.00 |
| 8 | Infosys |  | FMS | 4.27 |
| 9 | KEONICS | 4 | IT Graduate Assistant | 0.02 |
| 10 | KSF-9 Corporate Services P Ltd | 15 | Man power | 0.73 |
| 11 | M/S Galaxy KM Solutions |  | AMC for Web based core financial accounting software | 0.01 |
| 12 | M/S IDSI Technologies India Pvt Ltd |  | AMC of E-office paperless | 0.01 |
| 13 | M/S Kalya Technology Pvt Ltd |  | AMC for Financial accounting software & AMC for Cloud server rental | 0.01 |
| 14 | M/s North South GIS (india)Pvt. Ltd., | 16 | Engaging Technical man Power for GIS Cell in BESCOM | 0.43 |
| 15 | M/s Pyrumas software pvt |  | AMC for Maintenance of BESCOM website & provisioning of servers on rental basis to host bescom website | 0.13 |
| 16 | National Informatics Centre |  | Support of e-govt project | 0.07 |
| 17 | Nxtra Data Ltd |  | DRC Co hosted | 0.92 |
| 18 | R. Manjunatha CGRF | 1 | CGRF | 0.00 |
| 19 | Remuneration to Rtd employee, | 3 |  | 0.05 |
| 20 | Runtime Error Solutions, |  | Providing dedicated server to host integrated PGRS application deployed at BESCOM helpline | 0.09 |
| 21 | Sify Technologies |  | DC CO HOSTING CHARGES | 2.90 |
| 22 | Virtual Technologies |  | Renewal of ATS of HP Software Product | 0.43 |
| 23 | Sonata Information (12457126) |  | ATS of Software Products | 1.86 |
| 24 | Taashee Linux Service |  | ATS of Red hat products | 0.21 |
| 25 | Value Point Systems | 9 | Engaging Technical man Power for help desk | 0.22 |
| 26 | The Energy & Resources Institute ,Monitoring |  | Monitoring & verification reporting of BESCOM under PAT cycle-2 | 0.05 |
| 27 | Supermax Components P Ltd | 3 | Temporary Billing | 0.16 |
|  | Total | 290 |  | 26.58 |

| 76.130 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl.NO. | Name of the Firm/ Contract agencies |  | No. of Person Engaged through Contract agencies | Nature of work | Amount paid to work during FY 20 (Crs.) |
| 1 | Grama Vidyuth Prathinidhi |  | 1047 | Meter reading & Collection | 17.50 |
| 2 | KSF 9 |  | 1 | Man power | 0.00 |
|  | Total |  | 1048 |  | 17.50 |

| 76.140 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl.No. |  | Name of the Firm/ Contract agencies |  | No. of Person Engaged through Contract agencies | Nature of work |  | Amount paid to work during FY 20 (Crs.) |  |
| 1 |  | Detect well security services |  | 21 | Manpower services |  | 0.91 |  |
| 2 |  | Golden facilitation services (p) ltd |  | 965 | Manpower services |  | 14.28 |  |
| 3 |  | Idea infinity IT solutions |  |  | ATP Counters , Meter reader |  | 2.30 |  |
| 4 |  | Home Guard AEE Vigilance DVG |  |  | Home Guards |  | 0.03 |  |
| 5 |  | Arun man power |  | 21 | Sweeper |  | 0.24 |  |
| 6 |  | BVG India (p) ltd |  | 110 | Housekeeping & Security guard services |  | 3.03 |  |
| 7 |  | CARITOR SOLUTIONS PVT LTD |  | 84 | Contract staffing for project engineers& Project executives |  | 1.49 |  |
| 8 |  | Delta Electricals |  | 49 | Housekeeping ( West circle) |  | 0.58 |  |
| 9 |  | M/s Elite Detectives Pvt Ltd |  | 257 | Security guard's |  | 4.42 |  |
| 10 |  | G.S.Management Services Pvt Ltd., |  | 269 | Providing Manpower Services to 30 Seater+15+15 Seaters 24x7 Customer Helpline at Corporate Office, K.R.Circle, BESCOM, Bangalore (Customer Executives, Team Managers, Team Leaders) |  | 13.74 |  |
| 11 |  | GANGMAN SPARK ELECTRICALS |  | 26 | GANGAMAN |  | 0.47 |  |
| 12 |  | Geminy Security Services |  | 62 | Security |  | 0.29 |  |
| 13 |  | KSF -9 Corporate services Pvt Ltd |  | 600 | Manpower services, DEO & Office Attenders |  | 18.72 |  |
| 14 |  | Karnataka State Electronics Development Corporation Ltd., |  | 608 | Monsoon Gangmen's , FTNC Manpower |  | 9.36 |  |
| 15 |  | M/s Novel Security Services |  | 12 | Security guard's |  | 0.10 |  |
| 16 |  | M/s Poojyaya security |  | 9 | Security |  | 0.16 |  |
| 17 |  | M/S SHIVA ELECTRICALS (24*7) SERVICE STATION |  | 9 | (24*7) SERVICE STATION |  | 0.12 |  |
| 18 |  | M/S Spark Electricals Bangalore |  | 654 | Gangmen |  | 21.62 |  |
| 19 |  | M/s Sreeparvathi |  | 3 | Sweeper |  | 0.49 |  |
| 20 |  | Mani enterprises |  | 4 | House keeping |  | 0.03 |  |
| 21 |  | Meru Info Solutions, |  | 49 | Setting up & Managing the Integrated (24*7) call centre by providing qualified Personnel with necessary Infrastructure for the 13 seater circle control room for Tumkur & daavanagere Circle of CTAZ and BRC, Kolar and Ramanagara Circles of BRAZ of BESCOM in a single premises to be located in Bangalore (Customer Executives, Team Managers, Team Leaders) |  | 2.41 |  |
| 22 |  | M/s Poojyaya security |  | 72 | SECUIRITY SERVICE |  | 0.86 |  |
| 23 |  | RanganthaEle, Bengaluru |  | 9 | Shift Helpers |  | 0.20 |  |
| 24 |  | Service station gangamen's |  | 10 | Service station gang men's |  | 0.12 |  |
| 25 |  | SP Enterprises |  | 5 | House keeping |  | 0.02 |  |
| 26 |  | SWISS Security services |  | 113 | Security services |  | 1.35 |  |
| 27 |  | VILLACE ENTERPRICES |  | 15 | SERVICE STATION OERATORS & GANGMANS |  | 2.57 |  |
| 28 |  | Usha security services |  | 100 | Security Guard (Upto Oct-2019) |  | 1.29 |  |
| 29 |  | Vindhya E-Info media Pvt Ltd., |  | 72 | Providing Manpower Services for Circle Control Rooms of North south, East and West Circles, 5 Seater each at their respective Circle offices (total 20 Seater) pertaining to BMAZ(North) and BMAZ(South) areas of BESCOM (Customer Executives, Team Managers, Team Leaders) |  | 2.00 |  |
|  |  | Total |  | 4208 |  |  | 103.20 |  |
| 76.141 |  |  |  |  |  |  |  |
| Sl.NO. | Name of the Firm/ Contract agencies |  | Nature of work |  |  | Amount paid to work during FY 20 (Crs.) |  |
| 1 | Idea Infinity Solutions Pvt. Ltd |  | ATP Services |  |  | 3.63 |  |
| 2 | M/s BCITS Pvt Ltd b'lore |  | Total revenue management |  |  | 5.16 |  |
| 3 | N-Soft India Pvt. Limited |  | TRM software FOR Billing & Collection activities |  |  | 22.45 |  |
| 4 | Reliance Communication Ltd |  | Bandwidth Services |  |  | 0.03 |  |
|  |  |  | Total |  |  | 31.28 |  |

| 76.142 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sl.No. | Name of the Firm/ Contract agencies |  |  | Nature of work |  | Amount paid to work during FY 20 (Crs.) |  |
| 1 | M/s. Bharathi Airtel ltd & M/s. Reliance Communication |  |  | Internet Charges,, Network Maintenance , Broad Band charges etc |  | 2.61 |  |
| 2 | Act Fibernet |  |  | Internet charges |  | 0.02 |  |
| 3 | AMI Tech India |  |  | Integrated into M Das GPRS Data Centre |  | 0.96 |  |
| 4 | Atria convergence Technologies |  |  | Internet connectivity |  | 0.02 |  |
| 5 | Bilva Infra, |  |  | AMC for BESCOM MITRA App |  | 0.19 |  |
| 6 | Durvah IT Consulting Pvt Ltd., |  |  | Implementation of BESCOM GST software using cloud server |  | 0.09 |  |
| 7 | Enzen Global Solutions |  |  | Server Hosting |  | 0.00 |  |
| 8 | KEONICS |  |  | Hiring of Linux based Server |  | 0.00 |  |
| 9 | LNG Technologies |  |  | Deployment of Software |  | 0.05 |  |
| 10 | M/ s SDS Info systems |  |  | PO bill supply of CAT-6 UTP network cabling chopping with labour. |  | 0.00 |  |
| 11 | M/s Galaxy KM Solutions |  |  | AMC for Web based core financial accounting software |  | 0.02 |  |
| 12 | M/s Kalya Technology Innovations Pvt Ltd |  |  | AMC for Cloud server rental |  | 0.02 |  |
| 13 | M/s Virtual Technologies |  |  | PO bill provisioning of servers on cloud rental basis |  | 0.02 |  |
| 14 | M/s.STQC IT Services, |  |  | Charges for the IT infrastructure audit pertaining to BESCOM helpline |  | 0.01 |  |
| 15 | Maverick Media Ventures, |  |  | Development of a video about consumer centric projects of BESCOM for consumer awareness meet 2019 |  | 0.05 |  |
| 16 | Nanobi Data & Analytics Pvt Ltd. |  |  | AMC for BESCOM MITRA App |  | 0.37 |  |
| 17 | Nihon Communication Solutions Pvt Ltd.,2nd |  |  | Providing dedicated lease based server & administrative setup for hosting web based TB applications |  | 0.03 |  |
| 18 | Pyrumas Software Pvt Ltd., 6th Milestone AMC |  |  | AMC for FBLCS |  | 0.17 |  |
| 19 | RELYON SOFYECH LTD |  |  | Taxation software |  | 0.00 |  |
| 20 | Sheeltron Digital Systems |  |  | Installation & Commissioning of Rack server |  | 0.12 |  |
| 21 | Sumukha office solution |  |  | Antivirus |  | 0.00 |  |
| 22 | Virtual Technologies |  |  | Supplied & Installed windows & operating Systems |  | 0.00 |  |
|  |  |  |  | Total |  | 4.76 |  |
| 76.144 |  |  |  |  |  |  |
| Sl.No. |  | Name of the Firm/ Contract agencies | Nature of work |  | Amount paid to work during FY 20 (Crs.) |  |
| 1 |  | M/S. Idea infinity IT solutions (p) LTD | Hiring of SBD machines & Meter reading |  | 58.81 |  |
|  |  |  | Total |  | 58.81 |  |

- Conveyance and Travelling expenses for FY-20 are shown in the below table:

|  |  | Regular Employees related expenses |  | Service stations Maintenance expenses |  | Total (Amount in Rs.) |
| --- | --- | --- | --- | --- | --- | --- |
| Account code | Description | No. of Vehicles | Expenditure incurred | No. of Vehicles | Expenditure incurred |  |
| 76.131 | Conveyance expenses | - | 1967548 | - |  | 1967548 |
| 76.132 | Travelling expenses | - | 542881 | - |  | 542881 |
| 76.133 | Travelling allowance employees | - | 105119955 | - |  | 105119955 |
| 76.134 | Travelling Allowance to Contract A.E/J.E. | - | 15876 | - |  | 15876 |
| 76.137 | Vehicle hiring expenses | 581 | 221175017.8 | 461 | 199747200.5 | 420922218.3 |
| 76.138 | Vehicle License, Registration fee and Taxes | - | 5469953 | - |  | 5469953 |
|  | Total |  |  |  |  | 534038431.3 |

- Additional employees cost (Terminal Benefits): The detailed computation sheet for incurring the terminal benefit expenditure along with actuarial Valuation Report are shown in the below tables:

| Account Code | Description | Amount | In crs |
| --- | --- | --- | --- |
| 75.810 | Terminal Benefits (PF) Corporation’s Contribution | 815707 | 0.08 |
| 75.811 | Company portion of EPF contribution in respect of Contract Junior Engineers and Gangmen. | 1655862.17 | 0.17 |
| 75.820 | Terminal Benefits (FPS) Corporation’s Contribution | 0 | 0.00 |
| 75.830 | Terminal Benefits (Pension) Corporation’s Contribution | 3140679690 | 314.07 |
| 75.831 | Terminal Benefits- BESCOM contribution to new defined contributory Pension scheme w.e.f.from 1.4.2006 | 611177313.3 | 61.12 |
| 75.832 | Terminal Benefits - BESCOM Contribution to Contributory Pension Scheme (Other than KPTCL & ESCOM P&G Trust) for employees deputed to BESCOM from other Departments. | 1292454 | 0.13 |
| 75.833 | Lumpsum Compensation paid to the legal heirs on death of the employee/Officers while in service in respect of employees/officers appointed on or after 01.04.2006 under NDCP Scheme. | 18361903 | 1.84 |
| 75.835 | Terminal Benefits (Pension Charges) | 0 | 0.00 |
| 75.840 | Terminal Benefits (Gratuity) | 207864812 | 20.79 |
| 75.850 | Provident Fund Inspection and Audit Charges | 0 | 0.00 |
| 75.860 | Family Benefit Fund Contribution | 12158672 | 1.22 |
| 75.870 | Contribution KPTCL life cover scheme 1987 | 10500 | 0.00 |
| 75.880 | Compensation under KPTCL life cover scheme, 1987 | 396250 | 0.04 |
| 75.890 | Pension & leave contribution of employees on deputation. | 1357030 | 0.14 |
|  | Total | 3995770193 | 399.58 |

Statement showing the details of Basic DP and DA all O & M Divisions for the financial Year 2019-20:

| SL no. | Month | No.of EMP | Basic | Dearness pay | Dearness Allowance | Total | Basic +DP | Rate of pension 42.53% in Lakhs (From Oct 19 onwards 57.30%) | Rate of Gratuity6.08% | Total Amount in Crs. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | April-19 | 4598 | 20.3 | 9.2 | 3.3 | 32.8 | 29.5 | 18.8 | 1.8 | 20.6 |
| 2 | May-19 | 4650 | 20.5 | 9.3 | 2.8 | 32.5 | 29.7 | 18.6 | 1.8 | 20.4 |
| 3 | June-19 | 4578 | 19.9 | 9.0 | 2.1 | 31.1 | 28.9 | 17.8 | 1.8 | 19.6 |
| 4 | July-19 | 4518 | 22.8 | 10.3 | 2.2 | 35.3 | 33.0 | 20.2 | 2.0 | 22.2 |
| 5 | August-19 | 4483 | 17.0 | 7.7 | 1.6 | 26.4 | 24.7 | 15.1 | 1.5 | 16.6 |
| 6 | September-19 | 4448 | 19.7 | 8.9 | 1.9 | 30.5 | 28.5 | 17.5 | 1.7 | 19.2 |
| 7 | October-19 [57.30%] | 4420 | 19.4 | 8.8 | 1.8 | 30.0 | 28.1 | 17.2 | 1.7 | 18.9 |
| 8 | November-19 | 4419 | 19.3 | 8.7 | 8.4 | 36.4 | 27.9 | 20.8 | 1.7 | 22.5 |
| 9 | December-19 | 4395 | 19.0 | 8.6 | 3.2 | 30.9 | 27.7 | 17.7 | 1.7 | 19.4 |
| 10 | January-20 | 4379 | 19.2 | 8.7 | 2.9 | 30.8 | 27.9 | 17.6 | 1.7 | 19.3 |
| 11 | February-20 | 4333 | 19.4 | 8.7 | 3.2 | 31.4 | 28.1 | 18.0 | 1.7 | 19.7 |
| 12 | March-20 | 4307 | 19.0 | 8.6 | 3.1 | 30.7 | 27.6 | 17.6 | 1.7 | 19.3 |
| Grand Total |  |  | 235.5 | 106.4 | 36.7 | 378.5 | 341.9 | 216.9 | 20.8 | 237.7 |

Pension Contribution rate at (57.30%) & Gratuity Contribution (6.08%) has been calculated as per the Actuarial Valuation report vide order No. KEPGT/KCO123/P7/2019-20/CYS-13 Bengaluru dated:30.10.2019

NDCPS  Statement of Amount Contribution towards Employees  & Employer Contribution for the  financial year 2019-20 in respect of those who are appointed on or after 01.04.2006.

| SL N0 | MONTH | No of Employees | TOTAL BP+DP+DA | Employee Contribution (10%) | Employer Contribution (14%) | Total Contribution |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Apr-19 | 8488 | 347913658 | 34791710 | 34791710 | 69583420 |
| 2 | May-19 | 8566 | 347314071 | 34731739 | 34731739 | 69463478 |
| 3 | Jun-19 | 8594 | 332485127 | 33249077 | 33249077 | 66498154 |
| 4 | Jul-19 | 8607 | 338686949 | 33869109 | 33869109 | 67738218 |
| 5 | Aug-19 | 8652 | 341292727 | 34129845 | 34129845 | 68259690 |
| 6 | Sep-19 | 8740 | 357506915 | 35751385 | 49052286 | 84803671 |
| 7 | Oct-19 | 8775 | 365858647 | 36586447 | 49998770 | 86585217 |
| 8 | Nov-19 | 8765 | 360466066 | 41821690 | 122712088 | 164533778 |
| 9 | Dec-19 | 8830 | 393283101 | 39332437 | 53682760 | 93015197 |
| 10 | Jan-20 | 8873 | 396556951 | 39668615 | 54415503 | 94084118 |
| 11 | Feb-20 | 8863 | 370793008 | 37281653 | 51847690 | 89129343 |
| 12 | Mar-20 | 8898 | 418580435 | 41858094 | 56453349 | 98311443 |
| Grand Total : for the FY 2019-20 |  |  | 4370737655 | 443071801 | 608933926 | 1052005727 |

|  | Pension Contribution (57.30%) | Gratuity (6.08%) | TOTAL(Rs.) |
| --- | --- | --- | --- |
| P & G Contribution for the FY 2019-20 | 216.90 | 20.79 | 237.69 |
| NDCPS Contribution | Employee Contribution (10%) | Employer's Contribution (14%) |  |
|  | 44.31 | 60.89 | 105.20 |
| Grand Total |  |  | 342.89 |

- Long term borrowings for FY-20: Capex loan exhibited in Annexure-II is Rs.1762.30 Crs which includes Rs.500 Crs interest free loan for working capital which directly paid to power purchase dues of KPC from GOK. The remaining balance of Rs.1262.30 Crs which is required for CAPEX payments, even after the receipt of Grants/Equity. The subsidy cannot be used for Capex payment which is revenue in nature. Details of loan wise capital loans are submitted in the Commission prescribed format Annexure-2.

- Short term /Over draft borrowings for FY-20: Out of Rs.6150 Crs, short term loan of Rs.750 Crs is the line of credit availed in BOB (Vijaya Bank) for 3 months with 3 months MCLR rate to be renewed every 3 months. (Rs.750 Crs* 4 quarters= Rs.3000 Crs). Further an amount of Rs.500 Crs is converted to shorterm loan from Cash credit/Overdraft availed in Bank of Baroda. Hence the OD limit is reduced from Rs.800 Crs to Rs.300 Crs.

Out of cash credit/Overdraft sanctioned by SBI amounting Rs.500 Crs, initially Rs.200 Crs converted to Working Capital Demand Loan (WCDL). Then it has been enhanced to 400 quarters for 3 months to be renewed every 3 months. (Rs.400 Crs*2 quarters= Rs.800 Crs). Hence the OD limit is reduced from Rs.500 Crs to Rs.100 Crs. Rs.1650 Crores is the new  short term loan availed during FY20 (Rs.6150-3000-500-200-800=1650)

Details of loan wise short term/overdraft drawn are submitted in the Commission prescribed format Annexure-3.

- Details of Bank charges for FY-20 are depicted in the below table:

| Account code |  | Description |  | Amount in Crs. |  |
| --- | --- | --- | --- | --- | --- |
| 78.880 |  | Other Charges |  | 0.03 |  |
| 78.883 |  | Other Bank Charges |  | 4.96 |  |
| 78.885 |  | Other Bank Charges (Non Operative Account) |  | 0.36 |  |
| 78.886 |  | Transaction charges charged by collection agencies like Post Office, IMI etc., for collecting Revenue from consumers. |  | 14.56 |  |
|  |  | Total |  | 19.91 |  |
| Breakup Details for Account code 78.886 |  |  |  |  |  |  |
| SL NO. | Name of the party/firm |  | Nature of expenditure |  | Expenditure incurred for FY 2019-20 In Crs |  |
| 1 | Department of Post |  | Service Charges for BESCOM Bill Payment Collections at Rs.5 per transaction on monthly basis as per the agreement executed. |  | 0.17 |  |
| 2 | Directorate of Electronic Delivery of Citizen Services, GOK |  | Payment of Transaction charges for the services rendered throughout the Mobile-One at Rs.2.85 per transaction on monthly basis as per the agreement executed |  | 0.01 |  |
| 3 | M/s.Bank of Baroda(Vijaya Bank) |  | Payment of interchange fee for Collection of Electricity Bills through BBPS Platform at Rs.2 per transaction on monthly basis as the agreement executed |  | 8.66 |  |
| 4 | M/s.IndiaIdeas.Com Ltd, |  | Payment of Interchange fee for collection of Electricity Bills through Bill desk platform on Net Banking Transactions and for Credit Card Transactions as per the agreement executed. |  | 0.64 |  |
| 5 | Bangalore One & Karnataka |  | Transaction charges |  | 5.09 |  |
|  |  |  | Total |  | 14.56 |  |

- Observations on ARR for FY-22 – Borrowing, Interest rates etc.

- BESCOM has proposed Rs.2500 Crs. and Rs.3878 Crs. as Capital expenditure for FY-21 and FY-22 respectively. For estimation of long term loans the asset categorized for the respective years is computed as shown in the below table:

| Particulars | FY-21 | FY-22 |
| --- | --- | --- |
| Capital Expenditure (Capex) envisaged | 2500 | 3878.0 |
| Estimated Booking Cost at (75% of the capex + prev. year 25%) | 2505.6 | 3533.5 |
| Assets categorized (90% of booking Cost) | 2255.1 | 3012.0 |

As can be seen in table 4.44 of BESCOM filing, the new loans (Borrowings) proposed for FY-21 and FY-22 is Rs.1476 Crs. and Rs.2109 Crs respectively.

For FY-21, along with the borrowings of Rs. 1476 Crs. (Capital Loan) an amount of Rs.1925 Crs. is considered as borrowings for payment of outstanding dues of CPSU GENCOs/TRANSCOs, IPPs and RE generators as on 31st March 2020 as per GoK Order No. Energy 308 PSR 2020, dated 01.10.2020. Hence, the total new borrowing for FY-21 is estimated as Rs.3401 Crs.

For FY-22, the Capital loans (Borrowings) proposed is Rs.2109 Crs to meet the capex and no amount is earmarked for liquidation of power purchase dues for FY-22.

- Measures taken /action plan to reduce the interest burden on Capital Loans/Working Capital and late payment surcharge payable to power generators:

1. While borrowing, BESCOM calls the enquiries from various lenders and the loan is availed from the lender who quotes the lowest interest.

2. Release of loans are availed as and when the progress is achieved and liability is booked. No loans are availed without any liability.

3. During the COVID period, BESCOM has approached all the lenders to reduce the rate of interest on par with one year MCLR.

4. BESCOM has availed the capex loan from KUIDFC at the rate of 6.5% per annum.

- Interest on Consumer Security Deposit: BESCOM has considered Reserve Bank of India, Term Deposit Rate >1 year as on 3rd April 2020 of 5.70% as the rate of Interest as shown in the below table for calculation of Interest on Consumer Security Deposit for future years.

| 5. Ratios and Rates |  |  |
| --- | --- | --- |
| (Per cent) |  |  |
| Item/Week Ended | 2019 | 2020 |
|  | Apr. 5 | Apr. 3 |
|  | 1 | 6 |
| Ratios |  |  |
| Cash Reserve Ratio | 4.00 | 3.00 |
| Statutory Liquidity Ratio | 19.25 | 18.25 |
| Cash-Deposit Ratio | .. | .. |
| Credit-Deposit Ratio | .. | .. |
| Incremental Credit-Deposit Ratio | .. | .. |
| Investment-Deposit Ratio | .. | .. |
| Incremental Investment-Deposit Ratio | .. | .. |
| Rates |  |  |
| Policy Repo Rate | 6.00 | 4.40 |
| Reverse Repo Rate | 5.75 | 4.00 |
| Marginal Standing Facility (MSF) Rate | 6.25 | 4.65 |
| Bank Rate | 6.25 | 4.65 |
| Base Rate | 8.95/9.40 | 8.15/9.40 |
| MCLR (Overnight) | 8.05/8.50 | 7.20/7.75 |
| Term Deposit Rate >1 Year | 6.25/7.50 | 5.70/6.20 |
| Savings Deposit Rate | 3.50/4.00 | 3.00/3.50 |
| Call Money Rate (Weighted Average) | 6.18 | 4.33 |
| 91-Day Treasury Bill (Primary) Yield | 6.23 | 4.36 |
| 182-Day Treasury Bill (Primary) Yield | 6.29 | 4.97 |
| 364-Day Treasury Bill (Primary) Yield | 6.31 | 4.94 |
| 10-Year G-Sec Par Yield (FBIL) | 7.37 | 6.84 |
| FBIL@ Reference Rate and Forward Premium |  |  |
| INR-US$ Spot Rate (₹ Per Foreign Currency) | 69.20 | 75.83 |
| INR-Euro Spot Rate (₹ Per Foreign Currency) | 77.73 | 82.22 |
| Forward Premium of US$ 1-month | 4.86 | 4.98 |
| 3-month | 4.51 | 4.62 |
| 6-month | 4.16 | 4.46 |
| @ Financial Benchmarks India Private Limited (FBIL) has taken over from RBI, the computation and dissemination of reference rate for spot USD/INR and exchange rate of other major currencies with effect from July 10, 2018. |  |  |

- LT2 – domestic category

The Average Cost of Supply for BESCOM for FY-22 is Rs.8.94/unit (excluding the revenue deficit for FY-20). If the Revenue deficit of FY-20 i.e Rs.1559.37 Crs is also added to the ARR of FY-22 then the Average Cost of Supply works out to Rs. 9.55/unit.

The industrial and commercial categories are already burdened with the cross subsidization. The HT industrial and commercial consumers are opting for open access due which the sales under these categories have dropped substantially. The HT consumption during FY-20 has plummeted to 28% of the total consumption. The decrease in growth in sales of HT sales has clearly affected BESCOM adversely as they are high paying and cross subsidizing category. The Average Realization Rate for FY-20 of LT domestic and HT industrial and commercial category is Rs.6.78/unit and Rs.9.92/unit respectively.

The energy charges proposed by BESCOM under non-telescopic tariff upto 200 units is less than the existing tariff. BESCOM has proposed intra cross subsidization within the domestic category so that the impact of cross subsidizing domestic consumers by HT industrial and commercial consumers is reduced. Further, due to the huge revenue deficit of Rs.3556.64 Crs. for FY-22, the fixed charges of Domestic consumers was increased by Rs.45/kW.

- Actual details of number of consumers, sanctioned load and sales for FY20 under LT2a and LT2b in the prescribed format is shown below:

| Sl.No. | Slab | No. of Consumer | Sanctioned load in Kw | Sales in MU | Demand in Rs. Crs. |
| --- | --- | --- | --- | --- | --- |
| 1 | 0-50 | 3704117 | 38194104.14 | 811.32 | 698.39 |
| 2 | 50-100 | 1806380 | 27275539.07 | 1539.91 | 999.52 |
| 3 | 100-150 | 938995 | 22206618.18 | 1423.31 | 968.39 |
| 4 | 150-200 | 454885 | 14741117.36 | 1024.74 | 738.05 |
| 5 | 200 and above | 457514 | 115875161.50 | 2576.58 | 1588.90 |
| Total |  | 7361891 | 218292540.25 | 7375.86 | 4993.25 |

- The details of trade receivables for FY-20 is shown in the below table:

| Sl.No | Particulars | FY 2019-20 (Crs.) |
| --- | --- | --- |
| 1 | Sundry debtors for sale of power from LT & HT Consumers ( For break up refer ARR Sheet) | 6660.84 |
| 2 | Sundry Debtors for electricity tax LT & HT (23.3) | 387.69 |
| 3 | Sundry debtors for Misc receipts (23.7) | 50.07 |
| 4 | Provision for unbilled demand LT & HT (23.4) | 1370.91 |
| 5 | Provision for bad & doubtful (23.900) | -1203.21 |
| 6 | Provision for withdrawal of revenue demand LT & HT (23.800 23.801) | -20.4 |
| 7 | Dues from permanently disconnected LT & HT (23.5) | 100.99 |
| 8 | Other receivables | 185.36 |
| 9 | Tariff receivables from Gok | 1023.61 |
| 10 | 47 series Revenue suspense (47.6) | -106.54 |
| 11 | Total (1 to 10) | 8449.31 |
| 12 | Note 2.10 Total - trade receivable | 8525.2 |
| 13 | Differences (11)-(12) | 75.89 |
| 14 | Note 2.24 Advance consumption charges from Temporary Installation (included under item No. 1 above but depicted in Note No. 2.24) | -75.89 |
| Net Total |  | 8525.2 |

Details for Sl.No. 1 - Sundry debtors for sale of power from LT & HT Consumers (For break up refer ARR Sheet) of the above of Table and percentage of total arrears outstanding:

| Sl. No | Particulars | Amount in crs | % Percentage |
| --- | --- | --- | --- |
| 1 | IPSets (10HP & BELOW) FREEZED BALANCE Upto 31-07-2008 | 1356.10 | 20 % |
| 2 | Water supply/Street lights | 2699.61 | 41 % |
| 3 | IPSets (10HP & BELOW) FREE LIGHTING From 01-08-2008 (Subsidy Due for GOK) | 2071.24 | 31% |
| 4 | Others categories | 533.88 | 8% |
|  | Total | 6660.84 | 100% |

From the above table for FY 20, an amount of Rs. 6660.84 crs. is the sundry debtors from Sale of power to LT & HT consumers. Out of which Rs. 1356.10 crs (20% of Total arrears) is towards freezed arrears of IP set as on August 2008 and provision for Bad debts is created for Rs.973.56 crs. IP subsidy receivable from Gok as on 31.03.2020 is Rs.207124 Crs (31% of Total arrears). Water supply & Street light arrears receivables from Governments departments as on 31.03.2020 is Rs 2699.61 crs. (41% of Total arrear). The balance receivables of Rs.534 crs contribute to others categories.

BESCOM has considered 98% collection efficiency and accumulated 2 % of the current year revenue demand as arrears for FY 22 along with Closing Balance of Previous years.

- Category/Sub category –wise details under LT and HT in respect of Poultry farms, Cold Storage Plants and Ice Manufacturing Plants:

| FY-20 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Category of consumers | No. of consumer | Sanctioned load in Kw/HP | Sales in MU | Demand in Crs. |
| HT-2(a)(i) | 1 | 175.00 | 0.09 | 0.10 |
| HT-2(a)(ii) | 13 | 804.00 | 0.66 | 0.72 |
| LT-5(a) | 176 | 1281.23 | 0.43 | 0.39 |
| LT-5(b) | 2531 | 18895.14 | 8.69 | 7.29 |
| Total | 2721 | 21155.37 | 9.88 | 8.50 |

| FY-21 (As on Nov-2020) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Category of consumers | No. of consumer | Sanctioned load in Kw/HP | Sales in MU | Demand in Crs. |
| HT-2(a)(i) | 1 | 175 | 0.08 | 0.09 |
| HT-2(a)(ii) | 17 | 1429.00 | 0.18 | 0.31 |
| LT-5(a) | 178 | 1302.23 | 0.33 | 0.27 |
| LT-5(b) | 2907 | 22588.14 | 6.87 | 5.62 |
| Total | 3103 | 25494.37 | 7.46 | 6.29 |

The above details are fetched from Non-RAPDRP based on the type of installation.

- Cross subsidy surcharge:

The working sheet of cost of supply at 66kV and at HT level is shown in the below table:

| BESCOM's Energy Input for FY22 (MU) |  | 29955.95 |
| --- | --- | --- |
| Power Purchase Cost (Crs.) |  | 17629.57 |
| Average Power Purchase Cost - Paise/unit |  | 588.52 |
|  | Details of surcharge at 66 kV level-paise/unit | Details of surcharge at 33 kV/11 kV level-paise/unit |
| Cost of power purchase /unit | 588.52 | 588.52 |
| Transmission loss % | 3.10 | 3.10 |
| Cost after accounting for transmission loss | 606.77 | 606.77 |
| Loss at 33 kv/11kv level % |  | 3.45 |
| Power purchase cost after accounting for 33 kV/11kV loss | 606.77 | 627.69 |
| Transmission charge per unit | 80.77 | 80.77 |
| Average Wheeling charge at 33 kV/11 kV level |  | 41.44 |
| Add carrying cost of regulatory asset/ unit | 34.94 | 34.94 |
| Overall Cost of supply | 722.48 | 784.84 |

- Additional Surcharge:

BESCOM has computed the additional surcharge as per KERC Order dated 30.05.2019. Presently, Karnataka is a Renewable Energy rich State. Hence, the concept of concession to RE sources in additional surcharge may be revised.

- Observations on BESCOM Directives:

- Directive on Consumer interaction meeting at Sub divisional level.

Compliance:

BESCOM is conducting Consumer Interaction Meetings chaired by the Asst. Executive Engineers, are conducted in each of its O&M sub-divisions every 3rd Saturday of the month without fail with all prior preparations. Superintending Engineers and Executive Engineers are chairing the Consumer Interaction Meetings at the Sub-Divisions jurisdiction on rotation basis.

In regard of the Commission’s observation, the Customers are approaching Local officers for their grievances over telephone and service centers and resolving then and there itself. BESCOM has facilitated Customers with 1912, 24x7 Helpline to register their complaints and complaints are resolved at the earliest and within the time limits. Apart from 1912, consumers are facilitated with various other modes of lodging complaints such as e-mail, BESCOM Mitra App, whatsapp, facebook and twitter. Sub-Divisional officers are also resolving the complaints at local level itself for the complaints received in any mode. Further any complaints out of the purview of the concerned officers at Sub-Divisions will be escalated to Executive Engineers and Superintending Engineer of the respective circle and are resolved within the specified time limits. Even though the CIMs are being conducted on a particular day in all Sub-Divisions in a month, the Concerned SEEs and EEs are chairing the CIMs in their respective jurisdictions on rotation basis so that they cover all Sub-Divisions.

Further, the commission has observed that, the number of consumers who have attended the meetings on 21.03.2020 for 3rd qtr of FY-20 in South, west, Bangalore Rural Circle, Ramanagar and Kolar Circles is zero. During the said date, BESCOM has conducted the Customer Interaction Meeting at all the Sub-Divisions, the consumers might have not attended the meetings fearing contacting of the COVID -19 Pandemic, however consumers grievances received at local offices and through 24X7 Customer Helpline are resolved. Conducting of Customer interaction Meetings on 21.03.2020 has been widely publicized through Newspapers, Facebook and twitter. Consumer meeting Ad shown during March-2020 on Facebook is attached below for kind reference.

BESCOM is conducting Customer Interaction Meetings at all Sub-Divisions on 3rd Saturday of Every Month. BESCOM has furnished the details of Customer Interaction Meetings held indicating the dates on which the meetings were conducted and the Officer chairing such meetings.  The details of Sub-Divisions wise for the FY21 till September 2020 are shown below. BESCOM is submitting the quarterly details of Customer Interaction Meetings regularly.

For 1st Quarter (Apr-20 to Jun-20)

For 2nd Quarter (July-20 to Aug-20)

2. Directive on preparation of energy bills by considering 15 minute’s time block period

Compliance:

Revenue gained from open access consumers for FY-20 is depicted in the below   table:

| Months | No. of Consumers | SLDC Schedule in MU | Forfeited energy in MU | Actual Consumption in MU | Open Access Units in MU | BESCOM Units in MU |  | Revenue Gain in Crs. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Apr-19 | 45 | 32.23 | 1.14 | 77.95 | 31.10 | 46.85 | 1.13 |  |
| May-19 | 41 | 27.38 | 1.34 | 79.43 | 26.04 | 53.39 | 1.34 |  |
| Jun-19 | 46 | 25.77 | 1.72 | 92.48 | 24.05 | 68.43 | 1.72 |  |
| Jul-19 | 46 | 25.33 | 1.12 | 84.83 | 24.21 | 60.62 | 1.11 |  |
| Aug-19 | 45 | 23.86 | 0.87 | 71.85 | 22.99 | 48.86 | 0.86 |  |
| Sep-19 | 44 | 31.68 | 0.98 | 82.44 | 30.70 | 51.74 | 0.98 |  |
| Oct-19 | 41 | 35.26 | 0.83 | 82.48 | 34.43 | 48.04 | 0.83 |  |
| Nov-19 | 45 | 38.23 | 0.81 | 84.54 | 37.43 | 47.11 | 0.80 |  |
| Dec-19 | 43 | 32.02 | 0.83 | 77.51 | 31.18 | 46.33 | 0.83 |  |
| Jan-20 | 41 | 33.42 | 0.85 | 79.81 | 32.57 | 47.24 | 0.84 |  |
| Feb-20 | 43 | 30.54 | 0.64 | 75.12 | 29.91 | 45.21 | 0.64 |  |
| Mar-20 | 35 | 25.27 | 1.66 | 56.95 | 23.61 | 33.33 | 1.66 |  |
| FY-20 |  | 361.01 | 12.79 | 945.38 | 348.22 | 597.17 | 12.74 |  |

Revenue gained from open access consumers for FY-20 half year (from April-20 to

Sep-20) is depicted in the below table:

| Months | No. of Consumers | SLDC Schedule in MU | Forfeited energy in MU | Actual Consumption in MU | Open Access Units in MU | BESCOM Units in MU | Revenue Gain in Crs. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Apr-20 | 21 | 17.74 | 0.36 | 44.49 | 17.39 | 27.10 | 0.42 |
| May-20 | 35 | 29.77 | 0.24 | 34.68 | 29.52 | 5.15 | 0.28 |
| Jun-20 | 39 | 31.26 | 1.46 | 73.68 | 29.80 | 43.88 | 1.73 |
| Jul-20 | 33 | 27.42 | 1.36 | 65.39 | 26.06 | 39.33 | 1.61 |
| Aug-20 | 30 | 32.10 | 1.44 | 66.07 | 30.65 | 35.42 | 1.70 |
| Sep-20 | 33 | 34.27 | 1.17 | 65.66 | 33.10 | 32.56 | 1.38 |
| FY-21 (Upto Sep-20) |  | 172.55 | 6.03 | 349.96 | 166.52 | 183.44 | 7.14 |

3. Directive on Energy Conservation

Compliance:

- The progress of Hosa Belaku Scheme and Pavan Scheme for Quarter-I (April-20 to June-20) is as follows

| Particulars | Progress (Nos) |
| --- | --- |
| 9W LED bulbs | 63,305 |
| 20W LED tube light | 0 |
| BEE 5 star rated Ceiling Fan | 0 |

- The progress of Hosa Belaku Scheme and Pavan Scheme for Quarter-11 (July-20 to Sep-20) is as follows

| Particulars | Progress (Nos) |
| --- | --- |
| 9W LED bulbs | 96,766 |
| 20W LED tube light | 0 |
| BEE 5 star rated Ceiling Fan | 0 |

- The progress of Hosa Belaku Scheme and Pavan Scheme for (Oct-20 to Nov-20) is as follows

| Particulars | Progress (Nos) |
| --- | --- |
| 9W LED bulbs | 51,716 |
| 20W LED tube light | 0 |
| BEE 5 star rated Ceiling Fan | 0 |

- The cumulative progress of Hosa Belaku Scheme and Pavan Scheme as on Nov-20 is as follows

| Particulars | Progress (Nos) |
| --- | --- |
| 9W LED bulbs (Dec-2015 to Nov-2020) | 1,12,31,397 |
| 20W LED tube light (Jan-2017 to Nov-2020) | 2,73,454 |
| BEE 5 star rated Ceiling Fan (Apr-2017 to Nov-2020) | 41,757 |

- Circular has been issued for the field officers vide No.: BESCOM/BC-51/ 003/2020-21/CYS-18 dtd:13.11.2020 regarding creating awareness among the consumers for use of Energy efficient equipment, LED bulbs, LED tube lights and its advantages in reduction of monthly energy bills.

Copy of the circular is shown below.

- Action will be initiated to replace all conventional lighting system to LED based lighting system in BESCOM owned buildings.

- BESCOM has conducted following  consumer awareness program

a) Aadvertisements through magazines, newspapers, website, posters, pamphlets, brochure.

- The Energy Savings tips also made available in BESCOM mobile App-BESCOM Mithra, for consumer awareness.

- Awareness on use of LED, star rated equipment, solar water heater in the monthly electricity bills is also made available.

- Awareness through stalls, TV, Radio Jingles.

- Consumer Interaction meeting at Sub divisional Offices.

- Engaged an NGO viz, M/s. TIDE to create awareness among consumers for optimal utilization of electricity through behavioral changes of the consumers by a programme called Vidyuth Rakshak.

BESCOM will continue to take up awareness program to educate the consumers.

- As per the GoK circular dated: 14.07.2016, BESCOM has issued circular vide dated: 30.07.2016 to use only BEE 5 star rated Energy Efficient Appliances at all offices of BESCOM.

- As per the GoK circular dated: 27.09.2017, BESCOM has issued circular vide dated: 26.03.2018 for mandatory use LED lamps at all offices of BESCOM.

4. Directive on implementation of Standards of Performance (SoP)

Compliance:

BESCOM has taken measures to carry out effective supervision over the functioning of field offices particularly in rendering of services to the consumers, relating to restoration of supply of electricity.

BESCOM has taken action in displaying the SoP parameters as stipulated in the (Licensee’s Standards of Performance) Regulations, 2004 for information of the consumers in all Sub-division Offices, Divisions and circles, which can be viewed by all the visitors to the Office.  BESCOM as directed all the Superintending Engineers of O&M Circles to  conduct necessary orientation programme for all the field officers and the staff up to linemen circle office wise to educate public on the SoP and the consequences of non- adherence to the Standards of Performance. BESCOM has also directed its field officers to create awareness among public on SoP at Hobli level in their respective jurisdictions. This shall be followed up and ensure the work is accomplished. BESCOM has published the “HAND BOOK” in Kannada on the SoP and distributed to all the staff and stake holders.

Due to Covid-19 Pandemic, this FY-2020-21 the gatherings are avoided to contain the spread of the pandemic. Further BESCOM takes measures to educate the customers and public about the SoP and compliance is being submitted regularly in the format as directed by the Commission.

5. Directive on use of Safety gear by linemen

Compliance:

Safety gears are provided to all the working staff i.e for the men working on line

Works

6. Directive on providing Timer Switches to Street lights by ESCOMs

Compliance:

| No. of Streetlight installation. Existing as at the beginning of the year Fy-20 | Serviced During the year Fy-20 | No. of Installation Provided with Timer Switches during Fy-20 |
| --- | --- | --- |
| 57081 | 1875 | 875 |

- BESCOM has issued circular vide dated 15.09.2016 and 06.05.2017 to the field officers to insist installation of timer switches to new street light installations and also for any extension/modification carried out to the existing street light installations.

- In continuation to the above circulars, D.O. letters vide dtd:13.11.2020, have been addressed to all the CEEs of Zonal offices to strictly adhere to service all new streetlight/high mast installations only after ensuring that LED lamps/energy efficient lamps like induction lamps are provided to the street light points. Compliance will be submitted in this regard.

7. Directive on Load Shedding

Compliance:

The projections of availability and demand for power and planned outages for every succeeding month in the last week of the preceding month is being uploaded in the BESCOM web site and submitting the same to the Hon’ble Commission.

In BESCOM, the total No. of transformers existing as on 2020-21 (Up to Nov-20) is 404765 Nos.

The Transformers failure is due to Overloading, un-authorized connections, aging of Transformers, manufacturing defects, improper maintenance.  On an average, about 26,000 transformers fail in a year and average cost of their repairs is about Rs. 67.71 crores.  Nearly 93% of transformer failure occurs in rural areas.

In order to ensure quality, safe, uninterrupted power supply to all the consumers at affordable cost and to procure quality materials BESCOM has adopted guarantee clause in procurement of materials like Transformers, RMUs, UG Cable, AB cable, insulated aluminum/copper conductor, Optical fiber, Insulators, GOS and CSS where in these materials shall be guaranteed for 5 years for the defects in materials and workmanship from the date of commissioning

- To reduce the Transformer failures BESCOM has taken several steps which are as follows:

a. HVDS scheme is implemented to reduce Distribution Transformers failure by reducing  lengthy LT line, avoiding overloading of LT line, reducing LT to HT line ratios, arranging LT less service connection to IP Sets by providing 25 KVA DTCs. Each 25KVA transformer is connected with 2 to 3 IP Sets thereby avoiding over loading and reduction in LT Distribution line.

b. Reducing lengthy spans by providing intermediate poles, replacement of old deteriorated ACSR conductors by new ACSR conductors. Also HT & LT re-conductoring work has been taken up to reduce the Transformer failure. DTC refurbishment works are being taken up such as replacement of oil, toping up of oil, providing groundings, replacement of deteriorated equipment's like GOS, HG Fuse Units, LA’s, Distribution Boxes, Feeder piller Boxes, LT wiring Kits etc.,

c. Action has been initiated for Conversion of Overhead lines to underground cables in BMAZ South / North.

d. BESCOM has taken action for regularization of Unauthorized IP Sets loads by creating infrastructure duly collecting necessary deposits, providing 25 KVA additional Distribution transformers. Feeder wise energy audit is also being done.

- Buffer stocks of repaired good transformers are kept in the 26 No’s of Divisional Stores and 46 No’s of Transformers Banks. Further as at the end of Nov-20 there are 2689 No’s & 789 No’s of New & repaired good Transformers are available at Stores & bank respectively.  Failed transformers are replaced as per the K.E.R.C norms by using the transformers available at divisional stores and banks.

The failed transformers at field are immediately replaced with the repaired good transformers which are available at bank. Subsequently, the transformers at bank are been replenished again by repaired good transformers.

- BESCOM has established 45 No’s of Transformer repair centres at Taluks level as listed at Annexure-A for carrying out repairs and reconditioning of failed Distribution Transformers of various capacities from 15/16 KVA to 990/1000KVA of both Conventional and Star Rated Transformers and conversion of CSP to Conventional bolt & nut type.

- The work of carrying out repairs to faulty Distribution Transformers at Repair Centres are awarded to the Agencies who have compiled to the Technical & Financial Qualifying Requirements prescribed in the tender document.

- The required tests as per IS are conducted as per the standard of Testing before and after repair of transformers.

- Repair activities at Repair Centre are monitored by BESCOM.

- The Distribution transformer failed during FY 19-20 and FY 20-21 up to Nov-20 are shown in graph indicating that the failure rate has been comparatively reduced. The comparative statements are shown below

Graph showing the details of Transformers Existing, failed and % failure for the year 2019-2020 (Up to Nov-20):

| Sl. No. | For the period of | Existing Tr's | Failed Tr's | % Failure |
| --- | --- | --- | --- | --- |
| 1 | 2019-20(Up to Nov-19) | 369830 | 19547 | 5.29 |
| 2 | 2020-21(Up to Nov-20) | 404765 | 19791 | 4.89 |

- BESCOM has taken action to purchase Transformers from reputed manufacturers and also from Government undertakings such as KAVIKA, Andrew yule and KEL.

- Consumers can register their complaints regarding transformer failure in PGRS application. The acknowledgement will be sent to consumers through SMS.

- The field officers have been directed to take up periodical maintenance of distribution transformers to reduce the failure rate and also to carryout following activities:

- To refurbish the DTC's with the materials available at stores.

- To use the proper/rated Fuses.

- To supervise the repair process & testing of repaired transformers as per

technical specification.

- To carryout maintenance of lines and transformers to avoid failure of distribution transformers.

- Action will be taken to conduct orientation program workshop to the field staff to motivate them for attending to minor faults at site itself in co-ordination with the agencies who have been entrusted to carryout repairs to faulty Distribution transformers which are established at taluk a level. Hence the concerned Executive Engineers and Assistant Executive Engineers have been advised to take up the orientation program at their respective Division/Sub Division.

8. Directive on establishing a 24 X 7 fully equipped centralized consumer service centers

The Commission has directed to reduce the downtime to address complaints.

In this regard, the established well equipped 24x7 Consumer Service Center at BESCOM is monitoring the complaints registered at its 24x7 helpline and is followed up till the complaints are resolved within the time limits as prescribed under SoP parameters as stipulated in the  (Licensee’s Standards of Performance) Regulations 2004. Further in order to reduce the down time, the existing 30 seater helpline is enhanced to 60 seater thus deploying more customer support executive for follow up of the complaints registered at consumer service center for speedy restoration of grievances.

The comparison of the down time analysis for FY19 and FY20 are as shown in the graph below

Consolidated statistics on the complaints handling for FY-20 is depicted in the below table

- Directives on Energy Audit:

Compliance:

KERC vide its Tariff order 2008-09, has directed ESCOMS to meter all distribution Transformers for energy auditing purpose. Accordingly BESCOM has taken up metering of DTCs under various projects.

DTC metering details in urban and rural areas of BESCOM are as below:

| Nov-20 | DTCs existing | DTCs Metered | AMR enabled DTCs |
| --- | --- | --- | --- |
| (a)Urban DTs | 80493 | 65956 | 50872 |
| (b) Rural DTs | 324272 | 54226 | 45000 |
| Total DTs (a+b) | 404765 | 120182 | 95872 |

Regarding Communication issues of RAPDRP area:

- Percentage of AMR communication: Out of 50,816 modems configured to DTCs, 28,000 – 29,000 (55% day to day communication count varies) modems were communicating meter data to MDAS during the end of 36 months contract period, the communication count steadily declined due to lack of AMC as the firm was not ready to extend the contract post expiry of RC and post March-2020 the SIM connection was discontinued due to lack of AMC.

As the DTC AMR data is not available currently, DTC reading are being collected through SBM for generation of DTC-wise energy audit in RAPDRP system. However, meter data of majority of DTCs are not available in SBM due to metering system related issues such as “no DTC meters, Meter bypass, display error, DTC metering system fault etc.

- Percentage of Energy Audit conducted: 28,901 DTCs were audited in the month February 2019. The AMC ended on March 2020.

- Consumer Indexing: Already consumer indexing has been completed as per the details furnished by the field.

Regarding Communication issues of Non-RAPDRP area:

- Percentage of AMR communication:

Details of % communication achieved at the end of Contract period in rural areas are as below:

| AMR enabled DTCs in nos. | No. of DTCs Communicated as on March-2019 | % communication |
| --- | --- | --- |
| 45,000 | 40,461 | 89.91% |

However month wise communication percentage varies.

- Percentage of Energy Audit conducted

| MR enabled DTCs in nos. | No. of DTCs Energy Audited as of OCT-2020 | %Energy audit conducted with the AMI fetched readings (Non RAPDRP) |
| --- | --- | --- |
| 45,000 | 33,437 | 74.30% |

- Consumer indexing: Consumer indexing has been completed. Incremental data are being updated.

Present status:

Contract period with the agencies in both urban and rural areas has been expired. Hence for making the modems communicating again for enabling the DTC wise Energy Audit, it is proposed to float tender under OPEX model for maintenance of existing DTC metering system i.e. payments will be made per meter per month basis.

Losses recorded in Towns and Cities for the FY-20 as against the FY-19 are shown below:

| Details Showing Town-wise T&D Loss for the FY-19-20 |  |  |  |
| --- | --- | --- | --- |
|  |  | FY-19 | FY-20 |
| Sl. No | Name of the Town | % T&D Loss | % T&D Loss |
| 1 | ANEKAL | 8.30 | 8.12 |
| 2 | BANGALORE | 6.98 | 6.94 |
| 3 | BANGARAPETE | 11.99 | 13.02 |
| 4 | CHALLAKERE | 12.06 | 11.57 |
| 5 | CHANNAPATNA | 7.61 | 9.36 |
| 6 | CHIKKABALLAPURA | 12.33 | 10.31 |
| 7 | CHINTHAMANI | 15.06 | 13.37 |
| 8 | CHITRADURGA | 9.94 | 8.95 |
| 9 | DAVANAGERE | 10.49 | 9.29 |
| 10 | DODDABALLAPURA | 16.91 | 13.80 |
| 11 | GOWRIBIDANUR | 17.60 | 14.91 |
| 12 | HARAPPANAHALLI | 9.01 | 14.87 |
| 13 | HARIHARA | 11.31 | 10.19 |
| 14 | HIRIYUR | 10.95 | 12.73 |
| 15 | HOSAKOTE | 12.26 | 11.34 |
| 16 | KANAKAPUR | 8.50 | 8.35 |
| 17 | KGF | 12.76 | 12.93 |
| 18 | KOLAR | 11.07 | 11.69 |
| 19 | KUNIGAL | 12.52 | 19.09 |
| 20 | MULABAGILU | 12.00 | 11.23 |
| 21 | RAMANAGARA | 4.63 | 4.72 |
| 22 | SHIDLAGATTA | 20.97 | 12.38 |
| 23 | SIRA | 15.04 | 11.05 |
| 24 | TIPTUR | 11.82 | 10.28 |
| 25 | TUMKUR | 16.55 | 17.04 |

The compliance to the town wise comparison and DTC wise loss range is already furnished in the compliance to the Energy Audit directive at page 174 & 175 of BESCOM’s tariff filing.

13. Directive on Implementation of Financial Management Framework

Compliance:

Compliance in respect of implementation of Financial Management Framework on quarterly basis will be submitted regularly to the Hon’ble Commission.

14. Prevention of Electrical Accidents

Compliance:

Details of Hazardous locations identified, rectified and balance as on Sept-20 is furnished below

| Progress of Hazardous Locations for the month of Sept-20 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Particulars |  |  |  | Unit | OB | Identified for the month | Attended | Bal |
| 1 | Over Head Line supports |  |  |  |  |  |  |  |
|  | a | Replacement of Damaged/ Broken poles |  | Nos | 216 | 277 | 264 | 229 |
|  | b | Providing Intermediate Poles | LT | Nos | 239 | 103 | 125 | 217 |
|  |  |  | HT | Nos | 98 | 101 | 111 | 88 |
|  | c | Straighting of Slanted poles |  | Nos | 110 | 317 | 335 | 91 |
| 2 | Overhead Line Conductors |  |  |  |  |  |  |  |
|  | a | Replacement of Deteriorated Conductor |  | Km | 64 | 535 | 536 | 62 |
|  | b | Enhancement of Conductor |  | Km | 14 | 380 | 384 | 10 |
|  | c | Replacement of Copper Conductor |  | Km | 5 | 33 | 23 | 15 |
|  | d | Stringing of Loose spans |  | Nos | 53 | 959 | 978 | 34 |
|  | e | Shifting of Lines close to building for creating safety clearance |  | Nos | 35 | 79 | 79 | 36 |
| 3 | Service Mains |  |  |  |  |  |  |  |
|  | a | Replacement of Deteriorated Service mains |  | Nos | 217 | 599 | 670 | 146 |
|  | d | Replacement of Deteriorated Fuse Carrier |  | Nos | 57 | 619 | 611 | 65 |
| 4 | Distribution Transformer Centres |  |  |  |  |  |  |  |
|  | a | Shifting of DTC from Hazardous Locations like Public places/Schools |  | Nos | 43 | 10 | 7 | 46 |
|  | b | Shifting of DTC from Footpath with Special Design Trnfrs |  | Nos | 0 | 0 | 3176 | 0 |
|  | c | Replacement of Deteriorated LTD box/LT kit |  | Nos | 26 | 38 | 40 | 24 |
|  | d | Refurbishment of grounding to the Transformers |  | Nos | 27 | 261 | 244 | 44 |

Summary of the analysis made on the reports submitted by Electrical Inspectorate for FY20 up to September 2020 is shown below

| Sl. No | Regulation details |  | HUMAN |  | TOTAL |
| --- | --- | --- | --- | --- | --- |
|  | Reg No. | Details | FATAL | NON-FATAL |  |
| (i) | CEA 12 | General Safety requirements, pertaining to construction, installation, protection, operation and maintenance of electric supply line apparatus | 2 | 0 | 2 |
| (ii) | CEA 13 | Service Lines & apparatus on consumer's premises | 3 | 0 | 3 |
| (iii) | CEA 64 | Transporting and Storing of material near overhead lines | 2 | 1 | 3 |
| (iv) | CEA 19 | Handling of Electric supply lines and apparatus | 1 | 7 | 8 |
| (v) | CEA 14 | Switchgear on consumer's premises | 0 | 0 | 0 |
| (vi) | IE 2003 135 | Theft of Electricity | 2 | 0 | 2 |
| (vii) |  | Others | 2 | 0 | 2 |
|  |  | TOTAL | 12 | 8 | 20 |

Action taken to prevent accidents in future are shown below

- Various Safety Awareness Programmes Conducted from 2018-19 for creating awareness among the Public are as under:

- Detailed advertisements regarding dos and don’ts in matters relating to handling of electricity along with pictorial representation were published in various daily newspapers, which are of generic in nature from 18.05.2019 to 10.06.2019.

- Audio Messages and Audio jingles are broadcasted in Various FM Radio Channels regarding safety measures to be exercised by public from 30.05.2019 to 25.06.2019.

- Safety Videos were telecasted in all Kannada GEC and News channels of   Television from 20.05.2019 to 26.05.2019 & 08.07.2019 to 14.07.2019.

- Posters/Pamphlets were distributed to each household in BESCOM    jurisdiction regarding safety measures along with monthly June-19 bill.

- Safety Videos were projected on screens of all Cinema Theatres in BESCOM Jurisdictional Area from 07.06.2019 to 13.06.2019.

- To create awareness among children, essay competition, painting and Elocution competitions were held at Govt. schools/PU colleges in coordination with Education Dept. in the month of Aug-19 & Sept-19, Taluk wise cash reward with certificates issued to winners.

- Circle wise Street Plays -90 Nos, were organized to create awareness among public regarding electrical safety in the month of Nov-2019 in BESCOM Jurisdiction.

- Coordination meeting chaired by MD, BESCOM with BBMP officers held on 09.05.2019 at BESCOM corporate office, regarding electrical accidents which occur due to poor maintenance of street light wires/cables and street light control boxes and also to take necessary action for replacement of the same by giving the Photographs of street light hazardous locations.

- 10718 nos Notices served to the consumers wherever the clearance of the buildings are under EHT lines &  are having less clearance as per IEA guidelines joint inspection carried out with KPTCL & BBMP, details are furnished to BBMP for further action.

- Safety Day conducted on every third Saturday of the month for creation of awareness among the public.

- In the same way BESCOM has taken up various awareness Programmes for educating field Staff as well such as

- All kind of Safety materials such as Tool kit with 7 sets of hand tools, Reflective Jackets, rain wear, LED hand torch, FRP Ladder, Safety eye wear & Poly propylene rope etc have been issued to all Power men working in the field.

- Strict guidelines & instructions issued to all the Power men to use the safety gear in day to day routine works & officials to ascertain the use of safety gear by Power men working under them.

- Section officer will conduct a safety meeting every Monday before starting the work and will preach Safety Mantra to all field staff.

- Instructions are issued from corporate office to conduct the surprise checks of works to check whether the safety materials are being used, safety zone is created etc as per check list provided and deduct one day Casual Leave if any of the staff is not using safety equipment’s for three times and issue a notice for the fourth time.

- To create safety awareness while working, short film on the Safety awareness programme for Power men with a theme “My Safety My Responsibility “was shot and sent through whatsapp to all Officers/Power men.

- Safety month is celebrated every year during May & December months and Safety training will be imparted to all field staff. To encourage the working field staff Safety awards are being issued to the section officer and Power men for adopting/observing safety measures in day to day routine works, for Section officer as Best Supervision Officer and for Power men as Best Power men with Cash awards and certificates on Republic Day  Jan 26th, of every year.

Year wise Comparison of accidents are shown as under:

| Sl No. | Year | Fatal |  |  | Non-Fatal |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Dept | Non-dept | Total | Dept | Non-dept | Total |
| 1 | 2014-15 | 7 | 147 | 154 | 43 | 42 | 85 |
| 2 | 2015-16 | 7 | 125 | 132 | 57 | 42 | 99 |
| 3 | 2016-17 | 12 | 106 | 118 | 55 | 26 | 81 |
| 4 | 2017-18 | 10 | 104 | 114 | 45 | 34 | 79 |
| 5 | 2018-19 | 8 | 128 | 136 | 47 | 44 | 91 |
| 6 | 2019-20 | 9 | 83 | 92 | 20 | 37 | 57 |
| 7 | 2020-21 Up to Oct-20 | 2 | 33 | 35 | 11 | 11 | 22 |

- Apart from above, various works taken up for Rectification of Hazardous locations and Prevention of  Electrical accidents are as under

- 1250 Kms of 11 KV OH bare conductor replaced by covered conductor in thickly populated areas.

- 2400 Kms of LT OH bare conductor replaced by Aerial Bunched cable.

- 3,40,000 Nos of Spacers are provided for LT lines across BESCOM to avoid    snapping of conductors due to short circuit during heavy wind & rain.

- Providing of 1540 Nos Auto Reclosures and Load break switches for speedy isolation of faulty zones to avoid accidents in DAS project & 1000 nos of Auto Reclosures for semi mixed feeders in Rural Zone area is under progress.

- Completely enclosed Insulated HRC based LT distribution boxes are proposed in Bangalore City to ensure safety to the installations & pedestrians.

- Replacement of deteriorated poles during 2020-21 till Nov-20 is 7679 Nos.

- Modification of 11KV GOS obstructing the footpath in the urban area of about 11,447 Nos.

- Shifting of 3176 Nos of existing Footpath DTC with new Design Transformers as on Nov-20.

- Further in BMAZ area, the work of Conversion of existing OH bare 11 KV Conductor in to UG Cable and Conversion of existing LT Overhead lines by UG/AB Cable have been taken up.