## Format 1
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
STANDARDS OF PERFORMANCE AND AMOUNT TO BE PAID TO CONSUMERS FOR DEFAULT IN EACH CASE
Tenure: FY-20
Nature of Service | As per KERC Regulations |  | BESCOM
| Standards of Performance | Amount payable to affected consumer | Total No. of Complaints | Overall Standards of Performance (indicative Time Limit as per column 2) |  |  |  | Amount paid to affected consumer
| (Indicative Maximum time limit for rendering service) |  |  | No. of Complaints redressed |  | Complaints redressed in Percentage
|  |  |  | Within | After | Within | After
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1. Normal Fuse-off
Cities and Towns | Within 6 hours | Rs.50 in each case of default | 533209 | 533134 | 75 | 99.99% | 0.01407% |  | 0 | 0
Rural areas | Within 24 hours | Rs.50 in each case of default | 113487 | 113333 | 154 | 99.86% | 0.1357% |  | 0 | 0
2.Line Breakdowns | [8 empty] | 0 | 0
Cities and Towns | i) Within 6 hours (10 hrs if poles are broken down) | Rs.50 to each affected consumer | 9388.4 | 9383.4 | 5 | 99.95% | 0.05326% |  | 0 | 0
Rural areas | ii) Within 24 hours in all cases | Rs.50 to each affected consumer | 5989 | 5980 | 9 | 99.85% | 0.1503% |  | 0 | 0
3. Distribution Transformer Failure | [8 empty] | 0 | 0
Cities and Towns | i) Within 24 hours | Rs.50 to each affected consumer | 3111.4 | 3110.4 | 1 | 99.97% | 0.03214% |  | 0 | 0
Rural areas | ii) Within 72 hours | Rs.50 to each affected consumer | 25041 | 24902 | 139 | 99.44% | 0.5551% |  | 0 | 0
4. Period of Scheduled outages | [8 empty] | 0 | 0
Maximum duration in a single stretch | i) Not to exceed 12 hours | Rs.50 to each affected consumer | 4447.1028 | 4447.1028 | 0 | 100% | 0% |  | 0 | 0
Restoration of supply | ii) By 6 PM on any day | Rs.50 to each affected consumer | 2619 | 2615 | 4 | 99.85% | 0.1527% |  | 0 | 0
5. Voltage Variations | [8 empty] | 0 | 0
Where no expansion or enhancement of network is involved | Within 7 days | Rs.50 in each case of default | 3333 | 3326 | 7 | 99.79% | 0.21% |  | 0 | 0
Where up-gradation of distribution system is required | Within 120 days | Rs.50 in each case of default | 874 | 874 | 0 | 100% | 0% |  | 0 | 0
Opening of neutral and neutral voltage exceeding 2% of supply voltage | i) Within 6 hours in Cities | Rs.50 in each case of default | 507 | 507 | 0 | 100% | 0% |  | 0 | 0
| ii) Within 24 hours in Rural Areas | Rs.50 in each case of default | 5 | 5 | 0 | 100% | 0% |  | 0 | 0
6. Meter Complaints | [8 empty] | 0 | 0
Inspect and check correctness | Within 7 days | Rs.50 in each case of default | 14701.2 | 14697.2 | 4 | 99.97% | 0.02721% |  | 0 | 0
Replace slow, creeping or stuck meters | Within 10 days | Rs.50 in each case of default | 13036 | 13029 | 7 | 99.95% | 0.0537% |  | 0 | 0
Replace burnt meters if cause not attributable to consumer | Within 7 days of receipt of complaint | Rs.50 in each case of default | 5762 | 5760 | 2 | 99.97% | 0.03471% |  | 0 | 0
Replace burnt meters in all other cases | Within 24 hours of payment of charges by consumer | Rs.50 in each case of default | 5595.8 | 5591.8 | 4 | 99.93% | 0.07148% |  | 0 | 0
7. Application for new connection/ additional load | [8 empty] | 0 | 0
Release of supply where service is feasible from existing network. | Within one month of receipt of application. (as per section 43 of Act) | Rs.200 for each day of default | 236606 | 235859 | 747 | 99.68% | 0.3157% |  | 0 | 0
Release of supply where Network expansion/ enhancement required for providing connection | As specified by the Commission in KERC (Duty of the Licensee to Supply Electricity on request) Regulations 2004. | Rs.50 for each day of default in Case of LT and Rs. 500 for each day of default in case of HT & EHT. | 12130 | 12086 | 44 | 99.64% | 0.3627% |  | 0 | 0
IP sets | Within 30 days after attaining seniority (The number of new connections shall be limited to the target fixed for the year) | Rs.50 for each day of default | 8560 | 8505 | 55 | 99.36% | 0.6425% |  | 0 | 0
8. Erection of sub-station for release of supply | As specified by the Commission in KERC (Duty of the Licensee to Supply Electricity on request) Regulations 2004. | Rs.1000 for each day of default | 13 | 13 | 0 | 100% | 0% |  | 0 | 0
9. Transfer of ownership and conversion of service Title transfer of ownership Change of category | Within 7 days of receipt of application | Rs.50 for each day of default | 51753 | 51753 | 0 | 100% | 0% |  | 0 | 0
10. Conversion of LT single phase to LT three phase. Conversion from LT to HT and vice-versa | Within 30 days from the date of payment of charges | Rs.50 for each day of default | 7703 | 7703 | 0 | 100% | 0% |  | 0 | 0
11.Resolution of complaints on consumer's Bills | [8 empty] | 0 | 0
If no additional information is required | Within 24 hours of receipt of complaint | Rs.50 for each day of default | 61062 | 61059 | 3 | 100% | 0.004913% |  | 0 | 0
If additional information is required | Within 7 days of receipt of complaint | Rs.50 for each day of default | 17827 | 17827 | 0 | 100% | 0% |  | 0 | 0
12. Reconnection of supply following disconnection | [8 empty] | 0 | 0
Towns and cities | On the same day | Rs.50 for each day of default | 2639120 | 2639112 | 8 | 100% | 0.0003031% |  | 0 | 0
Rural areas | Within 24 hours of receipt of payment from consumer | Rs.50 for each day of default | 360258.5 | 360239.5 | 19 | 99.99% | 0.005274% |  | 0 | 0
13. Payment of Solatium in case of electric accidents | [8 empty] | 0 | 0
Cases where it is established beyond doubt that the accident is not due to the fault of the victim | Within 7 days without waiting for the report from CEIG | Rs.50 for each day of default | 1.5455 | 1.5455 | 0 | 100% | 0% |  | 0 | 0
In other cases | Within 30 days after receipt of report from CEIG | Rs.50 for each day of default | 171 | 171 | 0 | 100% | 0% |  | 0 | 0
14. Refund of Deposits | Within 60 days after receipt of request | Rs.50 for each day of delay | 408 | 408 | 0 | 100% | 0% |  | 0 | 0
15. Issue of certificates | On the same day of receipt of request | Rs.50 for each day of default | 3321 | 3321 | 0 | 100% | 0% |  | 0 | 0

## Format 2
BESCOM
Standard of performance inrespect of consumers related services for FY 20
SLNO | Nature of Services | Opening Balance of Complaints | Complaints Received during the month | Complaints Attended during the month | Complaints Attended during the month | Complaints Attended during the month | Closing Balance of Complaints | % of Performance
1 | 2 | 3 | 4 | 5 |  | 5 | 6=[3+4-5] | 7
1 | Application for new connection/additional load | 0 | 257296 | #REF! | #REF! | 257296 | 0 | 100%
2 | Transfer of ownership and conversion of service Title transfer of ownership Change of category | 0 | 51753 |  |  | 51753 | 0 | 100%
3 | Conversion of LT single phase to LT three phase. Conversion from LT to HT and vice-versa | 0 | 7703 |  |  | 7703 | 0 | 100%
4 | Normal Fuse-off | 0 | 646696 |  |  | 646696 | 0 | 100%
5 | Reconnection of supply following disconnection | 0 | 2999378.5 |  |  | 2999378.5 | 0 | 100%
6 | Refund of Deposits | 0 | 408 |  |  | 408 | 0 | 100%
7 | Issue of certificates | 0 | 3321 |  |  | 3321 | 0 | 100%
8 | Meter Complaints | 0 | 39095 |  |  | 39095 | 0 | 100%
9 | Line Breakdowns | 0 | 15377.4 |  |  | 15377.4 | 0 | 100%
10 | Distribution Transformer Failure | 0 | 28152.4 |  |  | 28152.4 | 0 | 100%
| Grand Total | 0 | 4049180.3 | #REF! | #REF! | 4049180.3 | 0 | 100%